## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | LABOUR RATE | MATERIAL RATE | LABOUR AMOUNT | MATERIAL AMOUNT | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings, Tools & Mechinaries rentals, Transportation charges for materials, Labors and similar. | 1 | item | 0 | 0 | 0 | 0 | 0
1.3 | Sign Board
1 ) | Allow for sign board | 1 | no | 0 | 0 | 0 | 0 | 0
1.4 | Clean - up
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 1 | item | 0 | 0 | 0 | 0 | 0
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others
1 ) | Excavation for raft footings and Foundation beams | 149.33 | m³ | 0 | 0 | 0 | 0 | 0
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 ) | Earth Filling as per given drawings including stage | 372.35 | m² | 0 | 0 | 0 | 0 | 0
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under Footing | 182.17 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under Ground Slab | 926.74 | m² | 0 | 0 | 0 | 0 | 0
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation(if necessary). | 1 | Item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
3.1 | a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item | 0 | 0 | 0 | 0 | 0
0
3.2 | Lean Concrete | [6 empty] | 0
| 50mm thick lean concrete under the Footing, Foundation Beam & Steps with a mix of 1:2:6 | 182.17 | m² | 0 | 0 | 0 | 0 | 0
3.3 | Reinforced Concrete
In-situ reinforced concrete to:
*Add Mega Flow P for all Super Structure concrete
*Add Mega ADD WL3 for all Sub Structure concrete
*Apply the MOYA SHIELD RBE for all Structure below ground level as water proofing compound
3.3.1 | Foundation
1 ) | Foundation Footing - F1 - 900 x 900 x 300 mm | 13.12 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Footing - F2 - 1350 x 1350 x 300 mm | 14.22 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Beam FB1 - 200 mm x 300 mm | 15.43 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Column C1 - 200 x 200 mm up to GFFL | 2.05 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Column - C2 - 250 x 350 mmup to GFFL | 2.16 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Stiffner Column SC - 150 x 150 mm up to GFFL | 0.13 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Staircase starter up to GFFL | 0.22 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column C1 - 200 x 200 mm up to First Slab | 7.78 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 x 200 mm up to First Slab | 8.19 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Stiffner Column SC - 150 x 150 mm up to First Slab | 0.88 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Ground Concrete including Stasge floor - 100 mm thick | 92.67 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Staircase Concrete with 150mm thick waist slab, 250 mm thread, 160mm riser including | 3.01 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.3 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Attached Beam - B1 - 250mm x 400 mm | 10.05 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Attached Beam - B2 - 200mm x 400 mm | 6.86 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | RCC slab 150mm & 160mm thick | 62.92 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | 100 mm thick Parapet wall | 18.88 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Column C1 - 200 x 200 mm up to Roof Beam | 0.56 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Column - C2 - 200 x 200 mm up to Roof Beam | 6.37 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.4. | Roof Level |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Attached Beam - B2 - 200mm x 400 mm | 1.18 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | RCC slab 150mm thick | 4.49 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Roof beams RB, 200 X 400 mm | 7.14 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4 | Formwork |  |  | 0 | 0 | 0 | 0 | 0
| a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used. |  |  | 0 | 0 | 0 | 0 | 0
3.4.1. | Foundation |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Foundation Footing - F1 - 900 x 900 x 300 mm | 60.48 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Footing - F2 - 1350 x 1350 x 300 mm | 42.12 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Beam FB1 - 200 mm x 300 mm | 155.4 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Column C1 - 200 x 200 mm up to GFFL | 41.04 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Column - C2 - 250 x 350 mmup to GFFL | 29.64 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Stiffner Column SC - 150 x 150 mm up to GFFL | 3.42 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Staircase starter up to GFFL | 3.19 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4.2. | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column C1 - 200 x 200 mm up to First Slab | 155.52 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250 x 350 mm up to First Slab | 112.32 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Stiffner Column SC - 150 x 150 mm up to First Slab | 23.34 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Ground Concrete including Stasge floor - 100 mm thick | 44.12 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Staircase Concrete with 150mm thick waist slab, 250 mm thread, 160mm riser including | 30.04 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4.3. | First Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Attached Beam - B1 - 250mm x 400 mm | 106.5 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Attached Beam - B2 - 200mm x 400 mm | 102.9 | m² | 0 | 0 | 0 | 0 | 0
3 ) | RCC slab 150mm & 160mm thick | 344.2 | m² | 0 | 0 | 0 | 0 | 0
4 ) | 100 mm thick Parapet wall | 372 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Column C1 - 200 x 200 mm up to Roof Beam | 11.2 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Column - C2 - 250 x 350 mm up to Roof Beam | 87.36 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4.4 | Roof Level |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Attached Beam - B2 - 200mm x 400 mm | 16.51 | m² | 0 | 0 | 0 | 0 | 0
2 ) | RCC slab 150mm thick | 28.85 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Roof beams RB, 200 X 400 mm | 62.44 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.5 | Reinforcement |  |  | 0 | 0 | 0 | 0 | 0
| a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages. |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.5.1 | Foundation |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Foundation Footing - F1 - 900 x 900 x 300 mm |  |  | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 731.81 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Footing - F2 - 1350 x 1350 x 300 mm |  |  | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 709.28 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Beam FB1 - 200 mm x 300 mm |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 212.1 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 1812.58 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4 ) | Column C1 - 200 x 200 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 74.13 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 631.37 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
5 ) | Column - C2 - 250 x 350 mmup to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 92.29 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 607.98 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
6 ) | Stiffner Column SC - 150 x 150 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 13.73 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 59.64 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
7 ) | Staircase starter up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 50.22 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column C1 - 200 x 200 mm up to First Slab |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 199.58 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 1365.12 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250 x 350 mm up to First Slab |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 243.44 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 1314.56 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3 ) | Stiffner Column SC - 150 x 150 mm up to First Slab |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 44.62 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 85.56 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4 ) | Ground Concrete including Stasge floor - 100 mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 2922.04 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
5 ) | Staircase Concrete with 150mm thick waist slab, 250 mm thread, 160mm riser including |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 355.57 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.3 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Attached Beam - B1 - 250mm x 400 mm |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 210.67 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 1363.22 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2 ) | Attached Beam - B2 - 200mm x 400 mm |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 187.51 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 925.88 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3 ) | RCC slab 150mm & 160mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 6517.21 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4 ) | 100 mm thick Parapet wall |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 1749.14 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
5 ) | Column C1 - 200 x 200 mm up to Roof Beam |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 18.48 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 123.24 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
6 ) | Column - C2 - 250 x 350 mm up to Roof Beam |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 243.44 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 1281.7 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.4. | Roof Level |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Attached Beam - B2 - 200mm x 400 mm |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 33.26 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 154.16 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2 ) | RCC slab 150mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 386.05 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3 ) | Roof beams RB, 200 X 400 mm |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 59.99 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 568.8 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.6 | OTHER CONCRETE WORKS |  |  | 0 | 0 | 0 | 0 | 0
3.6.1 | (a) Rates shall include for: excavation, blinding, concrete, formwork and reinforcement as per drawings and specifications |  |  | 0 | 0 | 0 | 0 | 0
1) | Complete supply and installation of lintel beam on top Door and Windows as per the given Specification and details (except - W1) | 1 | Item | 0 | 0 | 0 | 0 | 0
2) | Complete supply and installation of Sill beam on below the Windows as per the given specification and details (except - W1). | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3) | Complete construction of Stage Steps (04 nos) by block work, plastering & Painting works as per the given specification and details | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4) | Constrction of 1200mm Dia: Ground water well with 100 mm thick RCC cover wall with R6@150mm c/c as per the given drawings | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
5) | Constrction of 1800mm Dia Soak pit tank with 100 mm thick RCC cover wall & 175 mm cover slab with reinforcement as per the given drawings | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.7 | WATERPROOFING |  |  | 0 | 0 | 0 | 0 | 0
3.7.1 | (a) Rates shall include for: dressing around and sealing to all penetrations |  |  | 0 | 0 | 0 | 0 | 0
1) | Apply Conmix Moya Proof HF waterproof memberane for under ground Water tank , terrace including Gutter area, Head room top and toilet screed as specified. | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2) | Application of damp proof membrane Conmix Moya Shield RBE on all underground concrete structures, Bothe side of Block work, Stage well inner side as shown in the drawing. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
(b) Rates shall include for providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
(c) 150mm Thick solid blocks shall be used for exterior masonry walls, & 100 thick solid blocks shall be used for interior masonry wall
(d) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981.
(e) For masonry, plastering and screeding works manufactured sand shall be used with prior approval of consultant.
4.1.1 | BLOCK WORK
1) | BELOW GROUND FLOOR
| 150 mm wide Solid block wall (external walls) | 293.52 | m2 | 0 | 0 | 0 | 0 | 0
4.1.2 | GROUND FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) | 303.37 | m2 | 0 | 0 | 0 | 0 | 0
2) | 150 mm wide Solid block wall, laid on and including mortar (internal walls) | 271.74 | m2 | 0 | 0 | 0 | 0 | 0
4.1.3 | FIRST FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) | 249.51 | m2 | 0 | 0 | 0 | 0 | 0
2) | 150 mm wide Solid block wall, laid on and including mortar (internal walls) | 11.33 | m2 | 0 | 0 | 0 | 0 | 0
4.2 | PLASTERING
4.2.1 | PLATERING - EXTERNAL
a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats).
1) | Below Ground Level | 648.37 | m² | 0 | 0 | 0 | 0 | 0
2) | Ground Floor | 420.6 | m² | 0 | 0 | 0 | 0 | 0
3) | First Floor | 598.94 | m² | 0 | 0 | 0 | 0 | 0
4.2.3 | PLASTERING - INTERNAL
a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
1) | Ground Floor | 774.4 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 422.16 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.2.4 | CEMENT SCREED
A | 35 mm thick Cement screed on top of out side steps, Corridors,Toilets ,Gutter area etc., for General Areas.
1) | Ground Floor | 355.04 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 316.72 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
B | 50 mm thick Cement screed for Hall, Stage, Catwalk area etc., |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 569.92 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 73.79 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
C | 25 mm thick Cement screed for Main Staircase & Stage steps etc., |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 30.2 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 05
CEILING WORKS
5.1 | GENERAL
(a) Rates shall include for: all labour in framing, notching and fitting around projections, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
5.1.1 | CEILING
A | Supply & Fixing the Acoustic ceiling system by using Boral Plaster board and suspended aluminium frame with proper support system for Staff Room & Main Hall, Storage & Electrical rooms etc.,
1) | Ground Floor | 577.84 | m² | 0 | 0 | 0 | 0 | 0
B | Supply & Fixing the ceiling by using 4mm thick cement board with 48 x 35 mm treated timber frame of 600 mm grid with proper support system for Toilets
1) | Ground Floor | 12.09 | m² | 0 | 0 | 0 | 0 | 0
C | Supply & Fixing the 4mm thick cement sheet ceiling over the 50 x 38mm timber grid in the spacing of 600 mm c/c grid supported in truss with proper support for holding the entire ceiling system etc., in the Eves
1) | Roof | 72.3 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 05 (CEILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 6
FINISHES
6.1 | GENERAL
(a) Rates shall include for: motar, fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
(b) All tiles used be of Lanka Tiles brand or similar as given in Technical Specifications
(c) Contractor shall submit samples of all tiles for approval of Consultant prior to procurement
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede.
(e) All items are for supply and complete installation
(f) All tiles shall be fixed using Conmix C-800 tile adhesive with proper water proofing(wherever necessary) application by using Conmix Moyaproof HF water proofing Memberane as per the manufacturer guidelines and instructions.
6.2 | FLOOR FINISHES
6.2.1 | 300 x 300 mm Ceramic Floor tiles including 100 mm skirting border laying by using Conmix C-800 tile adhesive and the price need to include 100 mm skirting etc., For the Staff room etc.,
1) | Ground Floor | 102.92 | m² | 0 | 0 | 0 | 0 | 0
6.2.2 | 300 x 300 mm Non skid Ceramic Floor tiles laying by using Conmix - C- 800 tile adhesive for the Toilets & Corridors
1) | Ground Floor - Toilet | 12.09 | m² | 0 | 0 | 0 | 0 | 0
2) | Ground Floor - Corridor and stair areas | 342.95 | m² | 0 | 0 | 0 | 0 | 0
3) | First Floor - Gutter areas | 342.95 | m² | 0 | 0 | 0 | 0 | 0
6.2.3. | Epoxy Floor finishing (Non Skid Floor painting) with approved color for the Outside steps, Varandahs, Main Hall, Stages Store rooms, Electrical Rooms etc., as per the manufacturers specification and instruction | 467 | m² | 0 | 0 | 0 | 0 | 0
6.2.4. | Epoxy Floor finishing (Non Skid Floor painting) with approved color for the Main Staircase etc., as per the manufacturers specification and instruction | 40.81 | m² | 0 | 0 | 0 | 0 | 0
6.2.4. | Epoxy Floor finishing (Non Skid Floor painting) with approved color for the Gutter area, Head room top etc., as per the manufacturers specification and instruction | 379.91 | m² | 0 | 0 | 0 | 0 | 0
6.3 | WALL FINISHES
6.3.1 | Wall tile 300 x 300 mm Ceramic Wall up to Door height and tiles laying by using Conmix - C- 800 tile adhesive
1) | Ground Floor | 57.72 | m² | 0 | 0 | 0 | 0 | 0
6.4 | WASH BASIN COUNTER TOPS
6.4.1 | Complete installation of counter tops of wash basin as per the given details including concrete base and finished by the 600mm x 600mm polished granite tile counter top by using Conmix - C- 800 tile adhesive and Conmix Moyaproof HF for water proofing etc.,
1) | For Toilet | 3 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 06 (TILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 7
PAINTING
7.1 | PAINTING
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
(c) The brand of paint used shall be SKK or Sigma for exterior walls & SKK, Crown or Nippon for interior walls
(d) The colour and type of paint will be selected by the architect/client.
7.1.1 | WALLS
A | Weather bond exterior paint for External wall 1 coat of wall sealer & 2 coats of paints
1) | Ground Floor | 516.93 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 621.17 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
B | Internal Painting 1 coat of wall sealer & 2 coats of paints |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 716.68 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 422.16 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
C | Internal Ceiling Painting 1 coat of sealer & 2 coats of paints |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 417.6 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 25.19 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
D | Weather bond exterior paint for Eves Ceiling Paint 1 coat of sealer & 2 coats of paints |  |  | 0 | 0 | 0 | 0 | 0
1) | Toiets | 12.09 | m² | 0 | 0 | 0 | 0 | 0
2) | Eves Ceiling | 72.3 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 07 (PAINTING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminum windows shall be white powder(80 Micron) coated aluminium.
8.2 | Alumimium Doors
1) | D1 - 2500 x 2650 mm Aluminium Framed openable Door with 6mm thick blue tinted laminated Glass | 1 | nos | 0 | 0 | 0 | 0 | 0
2) | D2 - 1850 x 2650 mm Aluminium Framed openable Door with 6mm thick blue tinted laminated Glass | 16 | nos | 0 | 0 | 0 | 0 | 0
3) | D3 - 950 x 2000 mm Aluminium Framed openable Door with 4mm thick clear glass | 4 | nos | 0 | 0 | 0 | 0 | 0
4) | D4 - 950 x 2000 mm Aluminium Framed openable Door with 4mm thick clear glass | 3 | nos | 0 | 0 | 0 | 0 | 0
5) | D5 - 950 x 2000 mm Aluminium Framed openable Door with 4mm thick clear glass | 5 | nos | 0 | 0 | 0 | 0 | 0
6) | D6 - 700 x 2000 mm Aluminium Framed openable Door with 4mm thick clear glass | 3 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
8.3 | Alumimium Window & Louver Units |  |  | 0 | 0 | 0 | 0 | 0
1) | W1 - 1850 x 2700 mm- Aluminium Framed Fixed Window Panel with 6mm thick blue tinted laminated glass & Alumimum Louver | 18 | nos | 0 | 0 | 0 | 0 | 0
2) | W2 - 1920 x 1600 mm- Aluminium Framed Fixed Window Panel with 6mm thick blue tinted laminated glass & Alumimum Louver | 6 | nos | 0 | 0 | 0 | 0 | 0
3) | V1 - Type -1 - 3000 x 900 mm Aluminium framed fixed Louvers | 28 | nos | 0 | 0 | 0 | 0 | 0
4) | V2 - Type -2 - 2800 x 900 mm Aluminium framed fixed Louvers | 1 | nos | 0 | 0 | 0 | 0 | 0
5) | V3 - Type -3 - 2200 x 900 mm Aluminium framed fixed Louvers | 3 | nos | 0 | 0 | 0 | 0 | 0
6) | V4 - Type -4 - 1900 x 900 mm Aluminium framed fixed Louvers | 2 | nos | 0 | 0 | 0 | 0 | 0
7) | V5 - Type -5 - 1800 x 900 mm Aluminium framed fixed Louvers | 2 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
METAL WORKS
9.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
9.2 | ROOF TRUSS
9.2.1 | Roof truss made with 60.3mm dia with 2.5mm thick GI pipe top and bottom chord and 42.4 mm dia with 2mm tk GI pipe bracing chord as per the given drawings
1 ) | TR1 - 11250 mm | 4 | Nos | 0 | 0 | 0 | 0 | 0
2 ) | TR2 - 7800 mm | 10 | Nos | 0 | 0 | 0 | 0 | 0
3 ) | TR3 - 6450 mm | 4 | Nos | 0 | 0 | 0 | 0 | 0
4 ) | TR4 - 3250 mm | 8 | Nos | 0 | 0 | 0 | 0 | 0
5 ) | TR5 - 8500 mm | 6 | Nos | 0 | 0 | 0 | 0 | 0
6 ) | TR6 - 1700 mm | 2 | Nos | 0 | 0 | 0 | 0 | 0
6 ) | TR7 - 3150 mm | 3 | Nos | 0 | 0 | 0 | 0 | 0
9.2.2 | C10010 Purlins with
1 ) | Steel purlins @900 c/c connected with 50mm x 50 mm cleat angle as per the given drawings | 881.8 | Mtr | 0 | 0 | 0 | 0 | 0
9.2.3. | Stainless Steel Hand rail as per the given drawing and specification for the Main staircase | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 09 (METAL WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
HYDRAULICS & DRAINAGE
10.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
10.2 | Ground Water water supply pipework
1 ) | Ground water supply pipework
| Allow for water connection to fixtures from Ground water Well | 1 | item | 0 | 0 | 0 | 0 | 0
10.3 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows, plugs and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Watertec" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All kitchen sinks shall be of SS type with chrome plated taps.
5 ) All water pumps shall be of "Davey" brand or equivalent.
1 ) | Water Closet | 3 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Wash basin | 3 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Wash basin tap | 3 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Muslim Shower | 3 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Floor waste with gully trap | 16 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Mirror Set with all accesseries | 3 | nos | 0 | 0 | 0 | 0 | 0
10.4 | Pumping System
Supply and installation of water pump complete including connecting valves to pipework and electricity as per requirements.
1 ) | Ground water pump | 1 | Item | 0 | 0 | 0 | 0 | 0
10.5 | Drainage
Discharge pipework
1 ) | All pipework connection from fixtures and upto the inspection chamber and Soak pit | 1 | item | 0 | 0 | 0 | 0 | 0
2 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
11.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board | 1 | item | 0 | 0 | 0 | 0 | 0
11.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Main panel board | 1 | Item | 0 | 0 | 0 | 0 | 0
2 ) | DB (P33) | 1 | nos | 0 | 0 | 0 | 0 | 0
11.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to;
1 ) | 1.5mm2 Wiring to light fixtures and its switches | 66 | points | 0 | 0 | 0 | 0 | 0
2 ) | 2.5mm2 Wiring to Fans and Dimmer switches | 83 | points | 0 | 0 | 0 | 0 | 0
3 ) | Cabling to Main Distribution boards | 1 | points | 0 | 0 | 0 | 0 | 0
4 ) | computer Network Outlet | 4 | points | 0 | 0 | 0 | 0 | 0
5 ) | Cabling to Multimedia Projector | 2 | points | 0 | 0 | 0 | 0 | 0
6 ) | Cabling to Speaker | 4 | points | 0 | 0 | 0 | 0 | 0
11.5 | Ceiling Fans
1 ) | " KDK" or similar of 1200MM dia. Complete (V01) | 53 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Fan Dimmer Switch (P23) | 53 | nos | 0 | 0 | 0 | 0 | 0
11.6 | Lighting
1 ) | 1 x 60 W Incandescent Lamps in recessed Decorative Luminaire(L03) | 40 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 2x36 W Fluorescent Lamps in Surface Mount Luminaire with diffuser (L04) | 18 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 1 x 60 W Incandescent Lamps in Surface Mount Weather proof Luminaire(L05) | 8 | nos | 0 | 0 | 0 | 0 | 0
11.7 | Light Switches
All sockets shall be "Clipsal" / " ABB" or equivalent
1 ) | 1Gang 1 Way Switch (P01) | 10 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 2Gang 1 Way Switch(P02) | 5 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 3Gang 1 Way Switch(P03) | 19 | nos | 0 | 0 | 0 | 0 | 0
4 ) | 4Gang 1 Way Switch(P04) | 6 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Speaker(T03) | 4 | nos | 0 | 0 | 0 | 0 | 0
6 ) | computer Network Outlet - (RJ45-Connecters) (T04) | 4 | nos | 0 | 0 | 0 | 0 | 0
7 ) | Multimedia Projector (T05) | 2 | nos | 0 | 0 | 0 | 0 | 0
11.8 | Socket outlets
All switches shall be "Clipsal"/ "ABB" or equivalent
1 ) | 2Gang 13A Socket(P01) | 28 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 1Gang 13A Socket(P02) - Ceiling Conceled | 2 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ROOF
GENERAL
12.1 | (a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
12.2 | ROOF COVERING
1 ) | BHP Lysaght Trimdek Hi-Ten or equivalent roofing sheet, including all fixings, fixed in accordance with manufacturer's instructions. | 709.32 | m2 | 0 | 0 | 0 | 0 | 0
2 ) | 50mm rockwool insulation with Aluminium foil backing on both side and PVC mesh including | 709.32 | m2 | 0 | 0 | 0 | 0 | 0
12.3 | CAPPING AND FLASHING
1 ) | 400 mm Ridge capping | 63.8 | Rmt | 0 | 0 | 0 | 0 | 0
2 ) | Cable wall Flasing | 16 | Rmt | 0 | 0 | 0 | 0 | 0
3 ) | 25mm x 250mm Facia Board | 113.6 | Rmt | 0 | 0 | 0 | 0 | 0
12.4 | DOWN PIPE
1 ) | 100 mm dia PVC down pipes including down spouts, bends, junctions, straps, brackets, clips and all fixings. | 1 | item | 0 | 0 | 0 | 0 | 0
12.5 | GUTTER
1 ) | 200 mm wide MS Gutter | 113.6 | Rmt | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 12 (ROOF) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT: N.KENDHIKOLHUDHOO HALL
CONSTRUCTION OF 02 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | 0
5 ) | TOTAL OF BILL NO. 05 (CEILING WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (TILING WORKS) | 0
7 ) | TOTAL OF BILL NO. 07 (PAINTING WORKS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | 0
9 ) | TOTAL OF BILL NO. 09 (METAL WORKS) | 0
10 ) | TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | 0
11 ) | TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS) | 0
12 ) | TOTAL OF BILL NO. 12 (ROOF) | 0
GRAND TOTAL |  | 0
Total area in Sq.ft
Rate per sq.ft

## Cover
BILL OF QUANTITIES
PROJECT: N.KENDHIKOLHUDHOO HALL
PROPOSED 02-STOREY BUILDING - STRUCTURE & FINISHING
JULY -2015