## COVER SHEET
Bill of Quantities
Construction of Two Storey
OFFICE BLOCK
at Ha. Hoarafushi Police Station

## SUMMERY
Maldives Police Service
Infrastructure Unit
Finance Department
Male' Rep of Maldives
Date: 09 th September 2015
PROJECT: Construction of Ha. Hoarafushi Police Station / OFFICE BLOCK
CLIENT: Maldives police service
LOCATION: Ha. Hoarafushi
SUMMERY
Bill No | Description | Amount
1 | GROUND WORKS
2 | CONCRETE
3 | MASSONRY AND PLASTERING
4 | ROOFING, WOOD, METAL AND GLASS WORKS
5 | CEILING
6 | DOORS, WINDOWS AND VERTICAL BLINDS
7 | FINISHES
8 | PAINTING
9 | HYDRAULIC AND DRAINAGE
10 | ELECTRICAL AND SPESIFIC INSTALLATION
11 | ADDITION
12 | OMISSION
GRAND TOTAL CARRIED OVER TO SUMMARY
Prepared By:
Police Station Inspactor Ismail Rafeeu (1676)
Infrastructure Management Section
Finance Department
Maldives Police Service
100

## BOQ
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
GROUND WORKS
1.1 | GENERAL
(a) Rates Shall include for: leveling, grading, triming, compecting to faces of excavation, keep sides plumb, back filling, consolidating and disposing surplus soil.
1.2 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days.
1 | Excavation for Footing (F1) | 7.2 | m³
2 | Excavation for Footing (F2) | 6.912 | m³
3 | Excavation for Footing (F3) | 12.544 | m³
4 | Excavation for Footing (F4) | 8 | m³
5 | Excavation for Footing (F5) | 5.3952 | m³
6 | Excavation for Tie beam (TB) | 15.302 | m³
7 | Excavation for Stair starter beam | 0.1125 | m³
1.3 | BACK FILLING
Note:(a) Rates shall include for levelling, grading, trimming, compacting and similar.
(b) Ground need to be compected to the requred density by the consultant.
1 | Earth filling for Footings and Ground Beam | 27.56 | m³
2 | Well compacted earth filling under ground slab | 62.75 | m³
1.4 | DAMP PROOF MEMBRANE
1.4.1 | Note: Rates shall include for: dressing around and sealing to avoid all penetrations, laps and turnups.
Polythene damp proof membrane (500 gauge) under:-
1 | Footing (F1) | 9 | m2
2 | Footing (F2) | 8.64 | m2
3 | Footing (F3) | 15.68 | m2
4 | Footing (F4) | 10 | m2
5 | Footing (F5) | 6.744 | m2
6 | Tie Beam | 30.604 | m2
7 | Ground Slab | 224.1175 | m2
8 | Stair Starter Beam | 0.225 | m2
1.4.2 | Apply 2 coats of Masterseal or similar brush bond damp proof membrance on all concrete and masonry plastered surfaces below ground level and up to 300mm finished floor level in accordance with manufacturer's instructions.
1 | Footing (F1) | 16.2 | m2
2 | Footing (F2) | 17.28 | m2
3 | Footing (F3) | 29.12 | m2
4 | Footing (F4) | 22 | m2
5 | Footing (F5) | 13.488 | m2
6 | Tie Beam | 91.812 | m2
7 | Stair Starter beam | 0.9 | m2
7 | Below ground level and upto 300mm above floor level walls | 159.81 | m2
1.4.3 | Apply 2 coats of Masterseal or similar brush bond water proof membrance on all concreted RCC walls in accordance with manufacturer's instructions.
1 | 100mm thick RCC Walls | 18.048 | m2
2 | Balcony Slabs | 24.3128 | m2
3 | RCC gutter | 134.681 | m2
BILL No: 01 - GROUND WORKS
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
CONCRETE
2.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume.
2.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete to Footings | 58.564 | m²
2 | 50mm thick lean concrete to bottom of Ground Beam | 30.604 | m²
3 | 50mm thick lean concrete to bottom of Stair starter beam | 0.225 | m²
0
2.3 | REINFORCED CONCRETE |  | 0
| Note: In-situ reinforced concrete to: |  | 0
Add water proofing compound to concrete mix for walls and cover slab below ground level.
2.3.1 | Foundation |  | 0
1 | Footing (F1) | 2.7 | m³
2 | Footing (F2) | 2.592 | m³
3 | Footing (F3) | 4.704 | m³
4 | Footing (F4) | 3 | m³
5 | Footing (F5) | 2.0232 | m³
6 | Tie Beam (TB) | 9.1812 | m³
7 | Columns C1, (200x200mm) | 0.12 | m³
8 | Columns C2, (200x200mm) | 0.24 | m³
9 | Columns C3, (200x200mm) | 0.22 | m³
10 | Columns P1, (450x100mm) | 0.27 | m³
11 | Stair Starter beam, (250x900mm) | 0.1125 | m³
2.3.2 | Ground Floor
1 | Columns C1, (200x200mm) | 0.852 | m³
2 | Columns C2, (200x200mm) | 1.704 | m³
3 | Columns C3, (200x200mm) | 1.562 | m³
4 | Columns P1, (450x100mm) | 1.917 | m³
5 | Columns P2, (450x75mm) | 1.4378 | m³
6 | 75mm thick ground slab | 16.8088 | m³
7 | 100mm thick shoulder | 3.603 | m³
8 | Staircase including waist, raise, going, midlanding, etc.. upto first floor level. | 1.6785 | m³
2.3.3 | First Floor
1 | Columns C1, (200x200mm) | 0.72 | m³
2 | Columns C2, (200x200mm) | 1.44 | m³
3 | Columns C3, (200x200mm) | 1.32 | m³
4 | Columns P2, (450x75mm) | 1.215 | m³
5 | 150mm thick RCC Slab | 3.6469 | m³
6 | 130mm thick RCC Slab | 27.1905 | m³
7 | Attached Beams B1, (200x350mm) | 9.968 | m³
8 | Attached Beams B2, (200x350mm) | 0.742 | m³
9 | Attached Beams CB1, (200x350mm) | 0.6405 | m³
10 | 100x300mm drop beam | 0.3765 | m³
11 | 100mm thick RCC balcony walls | 1.8048 | m³
2.3.4 | Roof Level
1 | Attached Beams RB1, (200x350mm) | 4.1391 | m³
2 | Attached Beams RB2, (200x300mm) | 5.472 | m³
3 | Attached Beams CB1, (200x350mm) | 0.3024 | m³
4 | RCC Roof Gutter Slab | 6.578 | m³
5 | RCC Roof Gutter Wall | 4.9077 | m³
2.4 | FORMWORK
Note: Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps,Grounds, hangers, pipes and removal of formwork.
2.4.1 | Foundation |  | 0
1 | Footing (F1) | 7.2 | m²
2 | Footing (F2) | 8.64 | m²
3 | Footing (F3) | 13.44 | m²
4 | Footing (F4) | 12 | m²
5 | Footing (F5) | 6.744 | m²
6 | Tie Beam (TB) | 91.812 | m²
7 | Columns C1, (200x200mm) | 2.4 | m²
8 | Columns C2, (200x200mm) | 4.8 | m²
9 | Columns C3, (200x200mm) | 4.4 | m²
10 | Columns P1, (450x100mm) | 6.6 | m²
11 | Stair Starter beam, (250x900mm) | 0.9 | m²
2.4.2 | Ground Floor
1 | Columns C1, (200x200mm) | 17.04 | m²
2 | Columns C2, (200x200mm) | 34.08 | m²
3 | Columns C3, (200x200mm) | 31.24 | m²
4 | Columns P1, (450x100mm) | 46.86 | m²
5 | Columns P2, (450x75mm) | 44.73 | m²
6 | 100mm thick shoulder | 6.24 | m²
7 | Staircase including waist, raise, going, midlanding, etc.. upto first floor level. | 15.41 | m²
2.4.3 | First Floor
1 | Columns C1, (200x200mm) | 14.4 | m²
2 | Columns C2, (200x200mm) | 28.8 | m²
3 | Columns C3, (200x200mm) | 26.4 | m²
4 | Columns P2, (450x75mm) | 37.8 | m²
5 | 150mm thick RCC Slab | 24.3128 | m²
6 | 130mm thick RCC Slab | 209.1575 | m²
7 | Attached Beams B1, (200x350mm) | 128.16 | m²
8 | Attached Beams B2, (200x350mm) | 9.54 | m²
9 | Attached Beams CB1, (200x350mm) | 8.235 | m²
10 | 100x300mm drop beam | 8.785 | m²
11 | 100mm thick RCC balcony walls | 36.096 | m²
2.4.4 | Roof Level
1 | Attached Beams RB1, (200x350mm) | 53.217 | m²
2 | Attached Beams RB2, (200x300mm) | 82.08 | m²
3 | Attached Beams CB1, (200x350mm) | 3.888 | m²
4 | RCC Roof Gutter Slab | 57.56 | m²
5 | RCC Roof Gutter Wall | 77.121 | m²
2.5 | REINFORCEMENT |  | 0
| Note: (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports includingGround wire and chair supports, laps and wastage. |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars. |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
2.5.1 | Foundation
Pad Footings
1 | 12 mm dia. bars in ground beam | 0.65 | t
Tai beam
2 | 16 mm dia. bars in tie beam | 0.97 | t
3 | 6 mm dia. bars in tie beam | 0.28 | t
Columns (C1, C2, C3, P1)
4 | 16 mm dia. bars in columns | 0.05 | t
5 | 12 mm dia. bars in columns | 0.06 | t
6 | 6 mm dia. bars in columns | 0.04 | t
Stair starter
7 | 10 mm dia. bars in stair case | 0.02 | t
2.5.2 | Ground Floor
Columns (C1, C2, C3, P1, P2)
1 | 16 mm dia. bars in columns | 0.38 | t
2 | 12 mm dia. bars in columns | 0.59 | t
3 | 6 mm dia. bars in columns | 0.37 | t
600mm width Shoulder
7 | 10 mm dia. bars in stair case | 0.23 | t
Staircase
4 | 10 mm dia. bars in stair case | 0.12 | t
2.5.2 | First Floor
Columns (C1, C2, C3, P2)
1 | 16 mm dia. bars in columns | 0.32 | t
2 | 12 mm dia. bars in columns | 0.34 | t
3 | 6 mm dia. bars in columns | 0.25 | t
Beams (B1, B2, CB1)
4 | 16 mm dia. bars in beams | 1.45 | t
5 | 12 mm dia. bars in beams | 0.04 | t
6 | 6 mm dia. bars in beams | 0.28 | t
RCC slab
7 | 10 mm dia. bars in slabs | 3.38 | t
RCC Balcony Wall
8 | 10 mm dia. bars in balcony wall | 0.11 | t
2.5.3 | Roof Level
Roof Beam (RB) & RCC Walls
1 | 16 mm dia. bars in beams | 1 | t
2 | 12 mm dia. bars in beams | 0.11 | t
3 | 6 mm dia. bars in beams | 0.27 | t
Roof Slab
4 | 10 mm dia. bars in slab and gutter | 0.76 | t
2.6 | OTHER CONCRETE WORKS
2.6.1 | RCC Well
1 | 1800mm dia RCC ground water well 1.2m depth of water level as per the instruction given in the drawing all necessary pipe connections and all related works. | 1 | item
2.6.2 | RCC lintel and sill beams
1 | Asper the drawings lintel beams on all doors and windows, sill beam under the windows shown in the sectional drawings with the reinforcement, shuttering, plastering, etc…. | 1 | item
2.6.3 | Flag Post
1 | Asper the drawings construct a flag post. Rates should include all necessary works. | 1 | item
2.6.4 | Wash basin Counter
1 | Asper the drawings RCC wash basin counter. Allow for holes for basin and finished with granite top. (1400x600x750mm height) | 2 | nos
2.6.4 | Forensic Unit Counter
1 | Asper the drawings RCC forecsic unit counter. Allow for holes for basin and finished with granite top. (3000x600x700mm height) | 1 | nos
2.6.4 | Rein water tank base
Construction of rainwater tank base foundation as per drawings. Rates shall include completion of all necessary works shown in the drawings with the reinforcement, shuttering, massonry, plastering, painting, connection of all down pipes to the tank. etc…………….
1 | 2500mm dia Rein water tank base | 1 | nos
BILL No: 02 - CONCRETE
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
MASONRY AND PLASTERING
3.1 | GENERAL
(a)Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames.
(b) Mix ratio for Plastering & masonry shall be 1:3 Cement Mortar,Ground rods, compression gap filler, nylon / plastic mesh as specified.
3.2 | ALL EXTERNAL WALLS
3.2.1 | 150mmhtick solid brick wall
1 | Under ground | 26.635 | m²
2 | Ground floor | 154.83 | m²
3 | First floor | 150.14 | m²
3.3 | ALL INTERNAL WALLS
3.3.1 | 150mm thick solid brick walls
1 | Under ground | 34.44 | m²
2 | Ground floor | 222.47 | m²
3 | First floor | 176.97 | m²
3.3.2 | 100mmhtick solid brick wall
1 | Ground floor | 11.8925 | m²
2 | First floor | 4.95 | m²
3.4 | PLASTERING
3.4.1 | Note: 20mm Thick cement plastering on all EXTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | Under ground | 53.27 | m²
2 | Ground floor | 154.83 | m²
3 | First floor | 150.14 | m²
4 | 20mm thick plastering on Balcony Walls | 36.096 | m²
3.4.2 | Note: 12mm Thick cement plastering on all INTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | Under ground | 140.98 | m²
2 | Ground floor | 555.915 | m²
3 | First floor | 487.15 | m²
3.5 | CEMENT SCREED FINISH
Note: 40mm Thick cement screed on the concrete floor with 1:4 cement mortar mix incl. float finish to receive the tiles.
1 | Ground floor | 230.96 | m²
2 | First floor | 291.92 | m²
BILL No: 03 - MASONRY AND PLASTERING
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
ROOFING, WOOD, METAL AND GLASS WORKS
ROOFING
4.1 | GENERAL
| (a) Rates shall include for: fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps. | 0
0
4.2 | ROOF COVERING
1 | Lysaght Trim Dek Hi-Ten 0.47mm thick x 760mm wide or equivalent. | 209.78 | m²
2 | 8mm thick Heat insulation with two side aluminium | 209.78 | m²
3 | PVC Mesh | 209.78 | m²
4.3 | CAPPING AND FLASHING
1 | Ridge capping, Lysaght Trim Deck Hi-Ten 0.47mm thick or equivalent. | 40.94 | m
WOOD WORKS
4.5 | GENERAL
| (a) Rates shall include for: all labour in framing, notching and fitting around projection, pipes, light fitting around hatches, grilles and similar and complete with cleats, packers, wedges and similar and nails, screws, bolts, nuts and wasers. | 0
4.6 | STRUCTURAL TIMBER
1 | Timber beam 70 x 150mm, incl. fixing and aply of wood preservative oil. | 8.6 | m
2 | Timber purlins 50 x 100mm, incl. fixing and aply of wood preservative oil. | 44.2286 | m
| Timber ridge beams 75 x 250mm, incl. fixing and aply of wood preservative oil. | 40.94 | m
| Timber intermediate rafters support beams 75 x 200mm, incl. fixing and aply of wood preservative oil. | 32.86 | m
3 | Timber rafters 50 x 150mm, incl. fixing and aply of wood preservative oil. | 207.59 | m
4 | Timber wall plate 150 x 50mm, incl. fixing and aply of wood preservative oil. | 57 | m
5 | Timber purlins 50 x 50mm, incl. fixing and aply of wood preservative oil. | 374.08 | m
4.7 | RECEPTION COUNTER
1 | Asper the drawings make a reception counter. Rates should include all necessary works |  | item
METAL WORKS
4.8 | GENERAL
(a) Rates shall include for: welding , fixing and all other necessary works.
4.9 | STAIR RAILING
1 | 100x100mm. SS Pipe post | 2 | nos
2 | 38mm dia. SS Pipe railing | 14.02 | m
3 | 25mm dia. SS Pipe railing | 21.03 | m
4 | 20mm dia. SS Pipe railing | 22.8 | m
GLASS WORKS
4.1 | GENERAL
(a) Rates shall include for: fixing and all other necessary works.
4.11 | LAMINATED GLASS
1 | 12mm thick laminated glass | 15.48 | m²
BILL No: 04 - METAL & WOOD WORKS
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
CEILING
5.1 | GENERAL
Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and timber beeding, etc…. similar nail and screws.
5.2 | TIMBER FRAME GYPSUM BOARD CEILING
1 | Ground Floor | 188.93 | m²
2 | First Floor | 199.82 | m²
5.3 | TIMBER FRAME CEMENT BOARD CEILING
1 | Ground Floor | 98.1 | m²
2 | First Floor | 4.51 | m²
5.4 | Timber Skirting on Ceiling
Note: Rates shall include for: Supply and installation of 100mm height timber skirting. Fix as per manufactures instructions.
1 | Ground Floor | 153.67 | m
2 | First Floor | 170.86 | m
5.5 | Tile Skirting
Note: Rates shall include for: Cutting and installation of 100mm height tile skirting. Fix as per manufactures instructions.
1 | Ground Floor | 142.87 | m
2 | First Floor | 161.86 | m
BILL N0: 05 - CEILINGS
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
DOORS, WINDOWS AND VERTICAL BLIND
DOORS AND WINDOWS
6.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges,door closer,door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) All Aluminium door abd windows shall be 60-80 micron aluminium.
(d) All Timber doors shall Solid timber paneled door with paint finish.
(e) All Windows Glazing shall be 6-12mm blue reflective glass. (see door and window schedule)
6.1.1 | Glass door units
1 | Door MD1 (3075x3200mm) | 1 | Nos
6.1.2 | Timber door units
1 | Door D2 (2220x900mm) | 19 | Nos
2 | Door D3 (2220x900mm) | 4 | Nos
6.1.4 | Aluminium window units
1 | Fixed Glass W1 (2700X6250mm) | 2 | Nos
2 | Window W2 (1800x1425mm) | 18 | Nos
3 | Window W3 (1100x1425mm) | 2 | Nos
4 | Window W4 (600x1425mm) | 9 | Nos
5 | Window W5 (2700x3000mm) | 1 | Nos
6 | Window V1 (800x550mm) | 4 | Nos
VERTICAL BLINDS
6.2 | GENERAL
Note: Supply and fixing of verticle blind for all windows. Rates shall include for all accessaries and completion of all necessary works. Specifications manufactures details shall be submited for consultants approval.
1 | Fixed Glass W1 (600X6250mm) | 2 | Nos
2 | Window W2 (1800x2000mm) | 18 | Nos
3 | Window W3 (1100x2000mm) | 2 | Nos
4 | Window W4 (600x2000mm) | 9 | Nos
5 | Window W5 (600x3000mm) | 1 | Nos
5 | Window V1 (800x700mm) | 4 | Nos
BILL N0: 06 -DOORS AND WINDOWS
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
FINISHES
7.1 | GENERAL
| Rates for tiling shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
0
7.2 | FLOOR FINISHES |  | 0
7.2.1 | Ground Floor
1 | 600x600mm Homogenous tiles on interia rooms | 186.23 | m²
2 | 300x300mm non-skid Ceramic tiles on toilet floor | 8.7 | m²
3 | 300x450mm homogenous tiles on toilet walls (3m Height.) | 28.25 | m²
4 | 200x600mm non-skid Homogenous tiles with Homogenous nosing strip on stair. | 7.37 | m²
5 | Application of 2 coats of floor paint finish "NIPPON" or Equivalent". | 45.39 | m²
7.2.2 | First Floor
1 | 600x600mm Homogenous tiles on interia rooms | 185.12 | m²
3 | 300x300mm Ceramic tiles on toilet floor | 8.7 | m²
4 | 300x450mm homogenous tiles on toilet walls (1.5m Height.) |  | m²
4 | 300x300mm non-skid ceramic floor tiles balconys | 98.1 | m²
Application of 2 coats of floor paint finish "NIPPON" or Equivalent".
BILL No: 07 - FINISHES
TOTAL OF BILL No: 07 - Carried over to summary
BILL No: 08
PAINTING
8.1 | GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications of "NIPPON PAINT or Equivalent". |  | 0
8.2 | WALLS / CONCRETE SURFACES |  | 0
8.2.1 | Note: Oil based emultion paint system with textured finish on plastered and concrete surfaces of all EXTERNAL WALL. 1 coat of wall sealer, 1 coat of textured and 2 coat of paint.
1 | Ground floor | 154.83 | m²
2 | First Floor | 186.236 | m²
8.2.2 | WALLS |  | 0
Note: Emultion paint mat finish surfaces of all INTERNAL WALL. 1 coat of wall sealer and 2 coat of paint.
1 | Ground floor | 555.915 | m²
2 | First floor | 487.15 | m²
8.3 | CEILING / SOFFIT OF SLAB
Note: Emultion paint oil based finish surfaces of all EXTERIOR CEILING and Emultion paint mat finish surfaces of all INTERIOR CEILING . 1 coat of wall sealer and 2 coat of paint.
8.3.1 | Gypsum Ceiling
1 | Ground Floor | 188.93 | m²
2 | First Floor | 199.82 | m²
8.3.2 | Cement board Ceiling
1 | Ground Floor | 98.1 | m²
2 | First Floor | 4.51 | m²
BILL No: 08 - PAINTING
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 9
HYDRAULICS & DRAINAGE
9.1 | GENERAL
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC.
(c) Rates shall include for supply and fixing of all pipes.
9.2 | PIPE WORK
1 | Allow for ground water connection and internal pipe works well to all toilets, laundarys inc. supply and laying of all pipe works. | 1 | item
2 | Allow for fresh water connection and internal pipework rain water tank to all toilets, laundarys, kitchen and counters inc. supply and laying of all pipes. | 1 | item
9.3 | SANITARY FIXTURES & ACCESSORIES
Note: (a)Sanitary fixtures complete including brackets, stop valves, fittings etc.
(b)All sanitary fittings shall be of 'COTTO' brand.
(c)All fixtures shall be of 'COTTO' brand.
(d) All Taps, Hand shower, Head shower, Bidet shower, towel ring, and towel bar should be plastic.
( e) All pipes shall be of 'UPVC' .
1 | Water Closets | 4 | Nos
2 | Oval Wash Basins | 2 | Nos
3 | Rectangular Wash Basin | 1 | Nos
4 | Floor drain | 6 | Nos
5 | Muslim Shower | 4 | Nos
6 | Stop Valves | 4 | Nos
7 | Wash Basin Taps | 2 | Nos
8 | 10,000 liters PVC Rein water tank | 1 | Nos
9 | Tap | 1 | Nos
9.4 | PUMPING SYSTEM
Note: Supply and installation of appropriate capacity water pump ( fresh water and ground water ) complete pump system with automatic controle board including connecting valves to pipework and electricity as per requirements "Davy, Groundfos or equivalant".
1 | For Ground Water Connection | 1 | nos
9.5 | DRAINAGE
Note: (a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
9.5.1 | Discharge pipe work
1 | All pipe connection from fixtures and upto the inspection chember. | 1 | item
2 | Connecting to the Septic tank. | 1 | item
9.5.2 | Inspection chember
1 | PCC Inspection Chambers (600 x600x600) for toilets with PVC screening net. | 1 | nos
9.5.3 | Rein water discharge pipe
1 | 75mm ø UPVC Rainwater down pipe from roof to the rainwater collection tank | 65.5 | m
BILL No: 9 - HYDRAULIC AND DRAINAGE
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
ELECTRICAL & SPECIFIC INSTALLATIONS
10.1 | GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to the standerds set by the local governing body 'STELCO'.
| (b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(c) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(d) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(e) Light end and switch end of wiring together measured as one point.
(f) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(g) Rates shall include for supply and complete installation.
(h) Three phase power supply.
10.2 | MAIN CONNECTIONS |  | 0
1 | Allow for connection to electrical mains from out side substation to main panel board. | 1 | item
2 | Allow for connection to electrical mains from main panel board to floor floor distribution boards. | 1 | item
10.3 | ELECTRICAL BOARDS
Note: Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | 3 Phase Panel Board | 1 | Nos
2 | Electric meter | 1 | Nos
3 | 3 Phase Distribution Board | 2 | Nos
10.4 | ELECTRICAL WIRING |  | 0
| Note: Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lights and fans. | 1 | item
2 | Wiring to Socket outlets. | 1 | item
10.5 | LIGHTING
Note: All lights shall be of 'PHILIPS brand or equivalent', all switches, sockets etc. shall be 'LEGRAND brand or equivalent'.
1 | Weather proof eve light | 13 | nos
2 | Down light | 101 | nos
4 | Wall mount light weather proof | 16 | nos
5 | Emergency light 2 hours non maintained. | 9 | nos
6 | Ceiling fan | 2 | nos
7 | Fan regulator | 2 | nos
8 | One way switch (1gang) | 4 | nos
9 | One way switch (2gang) | 9 | nos
10 | One way switch (3gang) | 3 | nos
10 | One way switch (4gang) | 21 | nos
11 | One way switch (5gang) | 2 | nos
14 | 2x13 Amp Socket out let | 62 | nos
15 | 2x15 Amp Socket out let | 21 | nos
10.6 | TELECOMUNICATION SYSTEM
1 | Note: Telephone networking cables with DBs including all necessary wiring, fittings, and connection from the concern authorities and PABX etc.. for state no. of lines and number of extensions. |  | item
2 | Telephone extension sockets |  | nos
10.7 | CABLE TV EXTENSION
1 | Note: Cable TV extension as per the drawings and from the concern authorities rules and regulations including all the connections and required TAPS/DBs, etc. |  | item
2 | Cable TV sockets outlets | 2 | nos
10.8 | IT NETWORK
Provide & install with all necessary wiring, fittings & accessaries IT Network System for the entire building as per drawings, specifications & contractor's shop drawings subject to consultants approval.
1 | Internet outlet extension sockets | 30 | nos
2 | Telephone outlet extension sockets | 31 | nos
3 | Network Gigabit Switch | 1 | nos
4 | Wall mount rack 6U | 1 | nos
10.9 | SPLIT WALL MOUNT AIR-CONDITIONING SYSTEM
| Supply and installation of appropriate capacity "HITACHI" or equivalent WALL MOUNT AIR-CINDITIONING SYSTEM including electricity and complete . Rates shall include pipes, fixing and all necessary works. Contractor's shall submit shop drawings subject to consultants approval | 1 | item
10.1 | FIRE FIGHTING
Provide & install fire fighting equipment inclusive of all necessary connection as per local regulations as described.
1 | CO2 Fire Extinguisher(2kg) | 2 | Nos
2 | H2O Water Extinguisher(9ltr, 13A) | 2 | Nos
BILL No: 10 - ELECTRICAL
TOTAL OF BILL No: 10 - Carried over to summary
BILL No:11
ADDITIONS
| BILL No: 11 -ADDITIONS |  | 0
TOTAL OF BILL No: 11 - Carried over to summary
BILL No:12
OMMITIONS
| BILL No: 12 -OMISSIONS |  | 0
TOTAL OF BILL No: 12 - Carried over to summary