## COVER SHEET
Bill of Quantities
Construction of Single Storey
CELL BLOCK
at Ga. Gemanafushi Police Station

## SUMMERY
Maldives Police Service
Infrastructure Unit
Finance Department
Male' Rep of Maldives
Date: 09 th September 2015
PROJECT: Construction of Ha. Hoarafushi Police Station / Boundary wall
CLIENT: Maldives police service
LOCATION: Ha. Hoarafushi
SUMMERY
Bill No | Description | Amount
1 | GROUND WORKS
2 | CONCRETE
3 | MASSONRY AND PLASTERING
4 | DOORS AND WINDOWS
5 | FINISHES
6 | PAINTING
7 | HYDRAULIC AND DRAINAGE
8 | ELECTRICAL AND SPESIFIC INSTALLATION
9 | ADDITION
10 | OMISSION
GRAND TOTAL CARRIED OVER TO SUMMARY
Prepared By:
Police Station Inspactor Ismail Rafeeu (1676)
Infrastructure Management Section
Finance Department
Maldives Police Service
100

## BOQ
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
GROUND WORKS
1.1 | GENERAL
(a) Rates Shall include for: leveling, grading, triming, compecting to faces of excavation, keep sides plumb, back filling, consolidating and disposing surplus soil.
2.516
1.2 | EXCAVATION | [10 empty] | 33.25
| Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days. | [10 empty] | 92.6 | 128.366
1 | Excavation for Tie beam (TB) | 12.837 | m³
2 | Excavation Footing (F2) 750x750x300mm | 3.6 | m³
3 | Excavation Footing (F1) 1000x1000x300mm | 4.8 | m³
1.3 | BACK FILLING
Note:(a) Rates shall include for levelling, grading, trimming, compacting and similar.
(b) Ground need to be compected to the requred density by the consultant.
1 | Earth filling for Tie Beam | 1.2837 | m³
2 | Earth filling for Footing (F2) | 2.25 | m³
3 | Earth filling for Footing (F1) | 3 | m³
4 | Well compacted earth filling under ground slab | 41.2359 | m³
1.4 | DAMP PROOF MEMBRANE
1.4.1 | Note: Rates shall include for: dressing around and sealing to avoid all penetrations, laps and turnups. | [10 empty] | 375
Polythene damp proof membrane (500 gauge) under:-
1 | Tie Beam | 25.674 | m2
2 | Footing (F2) | 4.5 | m2
3 | Footing (F1) | 6 | m2
4 | Ground Slab | 109.9625 | m2
1.4.2 | Apply 2 coats of Masterseal or similar brush bond damp proof membrance on all concrete and masonry plastered surfaces below ground level and up to 300mm finished floor level in accordance with manufacturer's instructions.
1 | TieBeam | 102.696 | m2
2 | Footing (F2) | 11.7 | m2
3 | Footing (F1) | 13.2 | m2
4 | Below ground level and upto 300mm above floor level walls | 243.903 | m2
BILL No: 01 - GROUND WORKS
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
CONCRETE
2.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume.
2.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete to bottom of TieBeam | 1.2837 | m³
2 | 50mm thick lean concrete to bottom of Footings F2 | 0.225 | m³
3 | 50mm thick lean concrete to bottom of Footings F1 | 0.3 | m³
2.3 | REINFORCED CONCRETE |  | 0
| Note: In-situ reinforced concrete to: |  | 0
Add water proofing compound to concrete mix for walls and cover slab below ground level.
2.3.1 | Foundation |  | 0
1 | TieBeam | 7.7022 | m³
2 | Footing (F2) 750x750x300mm | 1.35 | m³
3 | Footing (F1) 1000x1000x300mm | 1.8 | m³
4 | Columns C1, (200x200mm) | 0.525 | m³ |  |  | up to floor level
4 | Columns C2, (150x150mm) | 0.34875 | m³ |  |  | up to floor level
2.3.2 | Ground Floor
1 | Columns C1, (200x200mm) | 2.226 | m³
2 | Columns C2, (150x150mm) | 1.4906 | m³
3 | 75mm thick ground slab | 8.2472 | m³
4 | lintel beam (150x150mm) | 0.85387 | m³
2.3.3 | Roof Level
1 | Attached Beams RB, (200x350mm) | 5.5685 | m³ |  |  |  | 46.3
2 | 125mm thick RCC Roof Slab | 17.9988 | m³ |  |  |  | 33.25
79.55
2.4 | FORMWORK
Note: Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps,Grounds, hangers, pipes and removal of formwork.
2.4.1 | Foundation |  | 0
1 | Tie Beam | 77.022 | m²
2 | Footing (F2) 750x750x300mm | 7.2 | m²
3 | Footing (F1) 1000x1000x300mm | 7.2 | m²
4 | Columns C1, (200x200mm) | 10.5 | m²
5 | Columns C2, (150x150mm) | 9.375 | m²
2.4.2 | Ground Floor
1 | Columns C1, (200x200mm) | 44.52 | m²
2 | Columns C2, (150x150mm) | 39.75 | m²
3 | 75mm thick ground slab | 109.9625 | m²
4 | lintel beam (150x150mm) | 13.6575 | m²
2.4.3 | Roof Level | [7 empty] | 0.9
1 | Attached Beams RB, (200x350mm) | 71.595 | m²
2 | 125mm thick RCC Roof Slab | 128.08 | m² | [5 empty] | 15.91
2.5 | REINFORCEMENT |  | 0
| Note: (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports includingGround wire and chair supports, laps and wastage. |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars. |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
79.55
2.5.1 | Foundation
1 | 16 mm dia. bars in Tie Beam | 0.8113 | t | [5 empty] | 855.8 | 0.8
2 | 6mm dia. bars in Tie Beam | 0.15203 | t | [5 empty] | 5
3 | 12 mm dia. bars in Footing (F2) 750x750x300mm | 0.068198 | t | [5 empty] | 6.6667
4 | 12 mm dia. bars in Footing (F1) 1000x1000x300mm | 0.082051 | t
Columns C1 & C2
5 | 12 mm dia. bars in Columns | 0.11846 | t | [5 empty] | 4.1667
6 | 6mm dia. bars in Columns | 0.030636 | t
2.5.2 | Ground Floor
1 | 10 mm dia. bars in 75mm thick ground slab | 0.5516 | t | [5 empty] | 92.6
| Columns C1 & C2 | [7 empty] | 17.6667
2 | 12 mm dia. bars in Columns C1, (200x200mm) | 0.43299 | t
3 | 6mm dia. bars in Columns C1, (200x200mm) | 0.11642 | t
2.5.3 | Roof Level | [7 empty] | 530.3333
Roof Beam (RB)
1 | 16 mm dia. bars in Roof Beam (RB) | 0.50276 | t
2 | 6 mm dia. bars in Roof Beam (RB) | 0.10609 | t
| Roof Slab | [7 empty] | 161.3333
3 | 12 mm dia. bars in slab | 1.719 | t | [5 empty] | 39.6667
2.6 | REINFORCEMENT
2.6.1 | RCC lintel beams
Asper the drawings lintel beams on all doors shown in the sectional drawings with the reinforcement, shuttering, plastering, etc….
| Lintel beams on all doors | [6 empty] | 0.04725 |  |  | 14
1 | 10 mm dia. bars in lintel beam (150x150mm) | 0.069362 | t
2 | 6mm dia. bars in lintel beam (150x150mm) | 0.018102 | t | [6 empty] | 0.0051744
BILL No: 02 - CONCRETE
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
MASONRY AND PLASTERING
3.1 | GENERAL
(a)Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames.
(b) Mix ratio for Plastering & masonry shall be 1:3 Cement Mortar,Ground rods, compression gap filler, nylon / plastic mesh as specified.
3.2 | ALL EXTERNAL WALLS
3.2.1 | 150mmhtick solid brick wall
1 | Under ground | 40.009 | m² |  |  |  |  | 10.2 | 3.99 | 6
2 | Ground floor | 147.87 | m² |  |  |  |  | 8.67 |  | 4.75
3 | Walking area walls | 30.804 | m²
[8 empty] | 18.87 |  | 10.75
3.3 | ALL INTERNAL WALLS
3.3.1 | 150mm thick solid brick walls | [6 empty] | 69.45 | 46.3
1 | Under ground | 29.3125 | m² |  |  |  |  | 33.25 | 9.5
2 | Ground floor | 124.285 | m² |  |  |  |  | 102.7 | 55.8 | 46.9
25.67
3.4 | PLASTERING | [9 empty] | 128.37
3.4.1 | Note: 20mm Thick cement plastering on all EXTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | Under ground | 80.018 | m²
2 | Ground Floor | 147.87 | m²
3 | Walking area walls | 61.608 | m²
3.4.2 | Note: 12mm Thick cement plastering on all INTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | Under ground
2 | Ground floor | 58.625 | m²
|  | 396.44 | m²
3.5 | CEMENT SCREED FINISH
Note: 40mm Thick cement screed on the concrete floor with 1:4 cement mortar mix incl. float finish to receive the tiles.
1 | Ground floor | 109.9625 | m²
BILL No: 03 - MASONRY AND PLASTERING
TOTAL OF BILL No: 03 - Carried over to summary
BILL N0: 04
DOORS AND WINDOWS
4.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges,door closer,door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) All Aluminium door abd windows shall be 60-80 micron aluminium.
(d) All Timber doors shall Solid timber paneled door with paint finish.
(e) All GI pipe grill doors should be fillet welded and fixed by anchor bolts to beams and columns
4.2 | GI Pipe door units
1 | Door CD1 (1350x2050mm) | 11 | nos
2 | Door GV (700x700mm) | 10 | nos
4.3 | Timber door units
1 | Door D2 (900x2100mm) | 2 | nos
BILL N0: 04 -DOORS AND WINDOWS
TOTAL OF BILL No: 04 - Carried over to summary
BILL N0: 05
FINISHES
5.1 | GENERAL
| Rates for tiling shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
0
5.2 | FLOOR FINISHES |  | 0
5.2.1 | Ground Floor |  |  |  |  | 21
1 | 300x300mm Ceramic tiles on store and guard post | 10.2125 | m²
2 | Application of 2 coats of floor paint finish "NIPPON" or Equivalent" on parking area | 99.75 | m²
5.3 | WATER PROOFING
Rates shall include for: dressing around and sealing to all penetrations.
1 | Apply 2 coats Master seal 550 or equivalent type water proofing material to the surface of roof slab in accordance with the specifications and manufacturer's instruction. | 143.99 | m²
BILL No: 05 - FINISHES
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
PAINTING
6.1 | GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications of "NIPPON PAINT or Equivalent". |  | 0
6.2 | WALLS / CONCRETE SURFACES |  | 0
6.2.1 | Note: Oil based emultion paint system with textured finish on plastered and concrete surfaces of all EXTERNAL WALL. 1 coat of wall sealer, 1 coat of textured and 2 coat of paint.
1 | Ground Floor | 147.87 | m²
2 | Walking area walls | 61.608 | m²
6.2.2 | WALLS |  | 0
Note: Emultion paint mat finish surfaces of all INTERNAL WALL. 1 coat of wall sealer and 2 coat of paint.
1 | Ground floor | 396.44 | m²
BILL No: 06 - PAINTING
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 7
HYDRAULICS & DRAINAGE
7.1 | GENERAL
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC.
(c) Rates shall include for supply and fixing of all pipes.
7.2 | PIPE WORK
1 | Allow for fresh water connection and internal pipework rain water tank to all toilets, supply and laying of all pipes. | 1 | item
7.2.1 | Sanitary Fixtures & Accessories
Note: (a)Sanitary fixtures complete including brackets, stop valves, fittings etc.
(b)All sanitary fittings shall be of Stainless Steel.
(d) All Taps, drains shall be of stainless steel.
( e) All pipes shall be of 'UPVC' .
1 | SS Water Closets | 10 | nos
2 | SS Floor drain | 10 | nos
3 | Stop Valves | 2 | nos
4 | Low level PVC taps | 10 | nos
5 | Cleaning eye | 10 | nos
7.3 | DRAINAGE
Note: (a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
7.4 | DISCHARGE PIPEWORK
1 | All pipe connection from fixtures and upto the inspection chember. | 1 | item
2 | Connecting to the Septic tank. | 1 | item
7.5 | INSPECTION CHEMBER
1 | PCC Inspection Chambers (600 x600x600) for toilets with PVC screening net. | 2 | nos
BILL No: 7 - HYDRAULIC AND DRAINAGE
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 8
ELECTRICAL & SPECIFIC INSTALLATIONS
8.1 | GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to the standerds set by the local governing body 'STELCO'.
| (b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(c) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(d) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(e) Light end and switch end of wiring together measured as one point.
(f) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(g) Rates shall include for supply and complete installation.
(h) Three phase power supply.
8.2 | MAIN CONNECTIONS |  | 0
2 | Allow for connection to electrical mains from main panel board to cell distribution boards. | 1 | item
8.3 | ELECTRICAL BOARDS
Note: Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Single Phase Distribution Board | 1 | Nos
8.4 | ELECTRICAL WIRING |  | 0
| Note: Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lights and fans. | 18 | points
2 | Wiring to Socket outlets & switch. | 13 | points
8.5 | LIGHTING
Note: All lights shall be of 'PHILIPS brand or equivalent', all switches, sockets etc. shall be 'LEGRAND brand or equivalent'.
1 | down light with 20W energy saving light | 16 | nos
2 | Wall mount eve light with 20W energy saving light | 1 | nos
3 | Emergency light 2 hours non maintained. | 2 | nos
4 | One way switch 1.2m (5gang) | 3 | nos
5 | One way switch 1.2m (2gang) | 1 | nos
6 | 1x13 Amp Socket out let | 5 | nos
7 | 1x15 Amp Socket out let | 2 | nos
8 | Fan with Regulator | 1 | nos
8.6 | IT NETWORK & landline
Provide & install with all necessary wiring, fittings & accessaries IT Network System for the entire building as per drawings, specifications & contractor's shop drawings subject to consultants approval.
1 | Internet outlet extension sockets | 1 | nos
2 | Phone extension sockets | 1 | nos
8.7 | FIRE FIGHTING
Provide & install fire fighting equipment inclusive of all necessary connection as per local regulations as described.
1 | CO2 Fire Extinguisher(2kg) | 1 | nos
2 | H2O Water Extinguisher(9ltr, 13A) | 1 | nos
BILL No: 08 - ELECTRICAL
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
ADDITIONS
| BILL No: 09 -ADDITIONS |  | 0
TOTAL OF BILL No: 09 - Carried over to summary
BILL No:10
OMMITIONS
| BILL No: 10 -OMISSIONS |  | 0
TOTAL OF BILL No: 10 - Carried over to summary