## Summary
PROJECT: HOARAFUSHI AIRPORT
FIRE STATION WITH FIRE STAFF ACCOMMODATION
SUMMARY OF BILLS
BILL No. | WORK DESCRIPTION | TOTAL AMOUNT (MVR)
BILL No. 01 | PRELIMINARIES | 0
BILL No. 02 | GROUND WORKS | 0
BILL No. 03 | CONCRETE WORKS | 0
BILL No. 04 | MASONRY AND PLASTERING | 0
BILL No. 05 | ROOFING AND CEILING WORKS | 0
BILL No. 06 | FINISHES | 0
BILL No. 07 | PAINTING | 0
BILL No. 08 | HYDRAULICS & DRAINAGE | 0
BILL No. 09 | ELECTRICAL INSTALLATION | 0
BILL No. 10 | DOORS AND WINDOWS | 0
BILL No. 12 | CONTENGENCIES ( For materials not covered in the BOQ to complete the items )
TOTAL OF SUMMARY OF BILLS |  | 0

## Material & Labour
PROJECT: HOARAFUSHI AIRPORT
FIRE STATION WITH FIRE STAFF ACCOMMODATION
BILLS OF QUANTITIES
ITEM | DESCRIPTION | UNIT | QTY | LABOUR & MATERIAL
|  |  |  | RATE | TOTAL
BILL No: 01
PRELIMINARIES
1.1 | GENERAL
m3 - cubic metre
m2 - square metre
LM - Linear metre
t - tonnes
incl - including
mm - millimetre
SS - Stainless Steel
GI - Galvanised Iron
Notes
1.2 | SITE MANAGEMENT COSTS
1.2.1 | Allow for all on and off site management cost including Mobilization and Demobilization upon completion of the project | LS | 1 |  | 0
1.2.3 | SERVICES AND FACILITIES
1.2.1 | Allow provision for such as scaffolding, props, and fuel required till the completion of the project, water, power supply, lighting, and fuel AS required etc. to complete the project | LS | 1 |  | 0
1.3 | SITE CLEANING
1.3.1 | Cleaning site before handing over | LS | 1 |  | 0
BILL No: 01- PRELIMINARIES
| TOTAL OF BILL No:01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2.1 | GENERAL
Rates shall include for : leveling,. Grading, trimming, compacting to faces of execavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.3 | EXCAVATION
Excavtion quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork and backfill and compaction. Rates shall also include transporting surplus soil away from the site to where directed by the Client's repressentative
2.3.1 | Excavation for Pads and Ground Beams | m3 | 34.97 |  | 0
2.4 | FILLING
Rates shall include for : leveling,. Grading, trimming, compacting
2.4.1 | Earthfilling under ground floor slab, Screed as shown in the drawing. | m3 | 52.35 |  | 0
2.5 | WATER PROOFING MEMBERANE
Rates shall incl. For dressing around & sealing etc.
2.5.1 | Polythene damp proof membrane (500gauge) laid under blinding layer | m2 | 482.16 |  | 0
2.5.2 | Water proof membrane to sides of pads, beams and walls below floor level | m2 | 210.6 |  | 0
2.5.3 | Application of 'MASTERSEAL 550' chemical to Toilets Area up 300mm Height of wall | m2 | 18 |  | 0
BILL No: 02- GROUND WORKS
| TOTAL OF BILL No:02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE WORKS
3.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
3.2 | LEAN CONCRETE
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
3.2.1 | 50mm thick lean concrete to bottom of Foundation & Ground Beams | m3 | 3.01 |  | 0
3.3 | REINFORCED CONCRETE
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:4)
Rates shall include: Formwork and Reinforcement as required
3.3.1 | Foundation Pads & Beams | m3 | 17.95 |  | 0
3.3.2 | Columns | m3 | 5.81 |  | 0
3.3.3 | Lintel Beam Beams 150 x 100 top of door/window | m3 | 0.21 |  | 0
3.3.4 | Beams Lower Roof | m3 | 10.07 |  | 0
3.3.5 | Beams Upper Roof & WT | m3 | 6.31 |  | 0
3.3.6 | Ground floor slab at Garage area using 6mm bars @ 300 c/c - 100mm thick icluding ramp as shown in the drawing | m3 | 27.5 |  | 0
3.3.7 | First floor slab (mezzanine floor) | m3 | 1.71 |  | 0
3.3.8 | Staircase | m3 | 0.65 |  | 0
3.3.9 | Ground floor slab at Pavement area using 6mm bars @ 300 c/c - 100mm thick icluding ramp as shown in the drawing | m3 | 2.72 |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No:03 - Carried over to summary |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: all cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of cutting or leaving holes and openings, as recesses for and building in pipes, conduits, sleeves and similar as required for all trades, leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | EXTERNAL MASONRY WALLS
4.2.1 | 150mm thick masonry walls (mix ratio; 1:4) using 150 x 150 x 300 Solid blocks | m2 | 271.25 |  | 0
4.3 | INTERNAL MASONRY WALLS
4.3.1 | 100mm thick masonry walls (mix ratio; 1:4) using 100 x 150 x 300 Solid blocks | m2 | 315.59 |  | 0
4.4 | PARTITION WALLS
4.4.1 | 9mm thick Gypsum board Partition walls 2 sided (Full height) incuding D3 &W7 | m2 | 9 |  | 0
4.5 | EXTERNAL WALLS PLASTERING
4.5.1 | Cement plastering as specified masonry walls & beams(ratio; 1:4) | m2 | 271.25 |  | 0
4.6 | INTERNAL WALLS PLASTERING
4.6.1 | Cement plastering as specified masonry walls & beams(ratio; 1:4) | m2 | 1350.58 |  | 0
4.7 | COLUMN PLASTER
4.7.1 | Cement plastering as specified masonry walls & beams(ratio; 1:4) | m2 | 110.86 |  | 0
4.8 | BEAM PLASTER ( Internal & Externa )l Upper & Lower Roof Beam
4.8.1 | Cement plasteriing - beams (ratio; 1:4) | m2 | 190.67 |  | 0
4.9 | FLOORING
4.9.1 | 80mm thick cement screed inluding toilets (mix ratio; 1:4) using 4.5mm thick PVC mesh reinforcement of 25mmx25mm grid | m2 | 221 |  | 0
4.9.2 | 50mm thick cement screed laid on Steps ; (mix ratio; 1:4) | m2 | 12 |  | 0
4.1 | PLANTER BOX
4.10.1 | Masonry and Plaster works on Planter box as required 100 x 150 x 300 hollow blocks | sqm | 131 |  | 0
BILL No: 04 - MASONRY AND PLASTER
| TOTAL OF BILL No:04 - Carried over to summary |  |  |  | 0
BILL No: 05
ROOFING AND CEILING WORKS
5.1 | GENERAL
Rates shall include for: plant, tools, bolts, nuts, washers, nail, screws, preservative paint and any other related items not in the List of Material.
(a) Rates shall include for: fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screws and other fixings and laps
(b) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(c) Rates shall include for all painting and finishing as specified
(d) Rates shall include for fabrication and erection and temporary supports and fixing into position
Fabrication and install the Trusses including all necessary paints specified in the specification.
5.2 | ROOFING WORKS
5.2.1 | Truss (as shown in the drawing) | nos | 3 |  | 0
5.2.2 | 75 dia GI Pipe Rafter (as shown in the drawing) | m | 8.5 |  | 0
5.2.3 | Timber Beam (50x200mm) | m | 24 |  | 0
5.2.4 | Timber Beam (50x200mm) | m | 24 |  | 0
5.2.5 | Timber Rafter (50x150mm) | m | 214 |  | 0
5.2.6 | Timber Wall plate(75x100mm) | m | 18.5 |  | 0
5.2.7 | Timber Purlin (50x50mm) | m | 404 |  | 0
5.2.8 | Any other material to complete this work | LS | 1 |  | 0
5.2.1 | " C "Purlins 35 x 100 or Square pipe | m | 261 |  | 0
5.3 | ROOF COVERING
5.3.1 | Supply and installation Lysaght Roofing Sheets as per the Manufacturer's specification. | m2 | 542 |  | 0
5.3.2 | 50mm thick single sided glass wool insulation. | m2 | 542 |  | 0
5.3.3 | PVC net to place 50mm thick single sided glass wool insulation. | m2 | 542 |  | 0
5.3.4 | Fixing and Application of 25x200mm timber fascia board with Wood Preservative Primer | m | 49 |  | 0
5.3.6 | Fixing of Lysaght Ridge capping | mts | 13 |  | 0
5.3.7 | Fixing of Lysaght flashing | mts | 63 |  | 0
5.3.8 | Fixing of Lysaght gutter | mts | 49 |  | 0
5.3.9 | Fixing of 100mm dia. PVC down pipes, with elbows and tee as required | nos | 11 |  | 0
5.4 | INTERNAL CEILING
Rates shall include for: all fabrications, fixings, temporary supports, grooves, cuttings etc.
5.4.1 | Supply and install PVC 600x600x13 ceiling system as shown in the drawing | m2 | 110.6 |  | 0
5.4.1 | Supply and install PVC Tongue & Groove ceiling system as shown in the drawing | m2 | 90 |  | 0
5.5 | EXTERNAL CEILING
Rates shall include for: all fabrications, fixings, temporary supports, grooves, cuttings etc.
5.5.1 | 6mm thick Cement Board ceiling with timber Framing @ 600 c/c and with application of Wood Primer | m2 | 58.5 |  | 0
BILL No: 05- ROOFING AND CEILING WORKS
| TOTAL OF BILL No:05 - Carried over to summary |  |  |  | 0
BILL No: 06
FINISHES
6.1 | GENERAL
Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes sanitary fixtures and similar; cleaning down and polishing
6.2 | INTERIOR FLOOR TILING
6.2.1 | 300x300mm Ceramic Floor Tiles laid on the floor , as required grouting and all inclusive to complete job.
| Rest Area | m2 | 16 |  | 0
| Breathing Apparatus Room | m2 | 32 |  | 0
| Emergency Operating Centre | m2 | 34 |  | 0
| Office | m2 | 29 |  | 0
| Watch Room / ATC | m2 | 16 |  | 0
| Stair | m2 | 5 |  | 0
| Rooms | m2 | 54 |  | 0
| Sitting | m2 | 19 |  | 0
6.3 | TOILET FLOOR TILING
6.3.1 | 300x300mm ceramic wall Tiles laid as required grouting and all inclusive to complete job. | m2 | 16.5 |  | 0
6.4 | TOILET WALL TILING
6.4.1 | 300x300mm ceramic wall Tiles laid as required grouting and all inclusive to complete job. | m2 | 110 |  | 0
6.5 | STEPS TILING
6.5.1 | 300x300mm ceramic wall Tiles laid as required grouting and all inclusive to complete job. | m2 | 12 |  | 0
BILL No: 06 - FINISHES
| TOTAL OF BILL No:06 - Carried over to summary |  |  |  | 0
BILL No: 07
PAINTING
7.1 | WALLS
(a)One undercoat and two coats of exterior emulsion paint on exterior surfaces of masonry walls
(b) One coat of wall sealer and two coats of semi-gloss emulsion paint on interior surfaces of masonry walls and under , after making good with application of wall putty
7.2 | EXTERIOR
7.2.1 | Exterior surfaces of plastered walls (shall include: Wall sealer, Exterior wall putty & Weather proof exterior paint) | m2 | 271.25 |  | 0
7.3 | INTERIOR
7.3.1 | Interior surfaces of plastered walls (shall include: Wall sealer, Interior wall putty & Semi-gloss emulsion paint) | m2 | 1350.58 |  | 0
7.4 | BEAMS & COLUMNS
7.4.1 | Exterior/ Interior surfaces of beams (shall include: Wall sealer, putty & Weather proof exterior paint) | m2 | 301.53
7.5 | PARTITIONS
7.5.1 | All surfaces of partition walls (shall include: Wall sealer, Interior wall putty & Semi-gloss emulsion paint) | m2 | 9 |  | 0
7.6 | CEILING SYSTEM
7.6.1 | 6mm thick Cement Board ceiling Exterior Ceiling (shall include: Wall sealer, Exterior putty & Weather proof exterior paint) | m2 | 59 |  | 0
BILL No: 07 - PAINTING
| TOTAL OF BILL No:07 - Carried over to summary |  |  |  | 0
BILL No: 08
HYDRAULICS & DRAINAGE
GENERAL
(a) Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches
(b) Contractors shall provide all pumbing work within the site boundries. Plumbing work that may be recuired to carry outside the site boundries are not included under this Contract.
(c)Pipes, Elbows bends sockets, faucets, valve sockets brackets, flush pipes, overflows, plugs and washersetc. to complete the works shall be supplied by the Contractor
8.1 | GROUND LEVEL
8.1.1 | PLUMBING WORK
| Complete construction of supply water pipework including all pipework, fittings, valves, connection to Main Supply (MS) network etc. | item | 5 |  | 0
8.1.2 | Any additional material given in the material list ( Pipes, Elbows bends sockets, faucets, valve sockets etc.) to complete the works shall be supplied by the Contractor ( Refer material list ) | item | 5 |  | 0
8.1.3 | Complete construction of discharge pipework , work including all pipework, vent pipework, fittings, valves, inspection chambers etc. to complete the works shall be supplied by the Contractor | item | 5 |  | 0
8.1.4 | Any additional material given in the material list ( Pipes, Elbows bends sockets, faucets, valve sockets etc.) to complete the works shall be supplied by the Contractor ( Refer material list ) | item | 5 |  | 0
8.2 | SANITARY FIXTURES & ACCESSORIES
Sanitary fixtures complete shall provide with all fittings, elbowsg, bends, etc. as necessary to complete the job.
8.2.1 | Water closet complete | nos | 5 |  | 0
8.3.2 | Wash Basins complete | nos | 5 |  | 0
8.2.2 | Floor waste with water trap | nos | 6 |  | 0
8.3.3 | Basin taps | nos | 5 |  | 0
8.2.3 | Muslim showers | nos | 5 |  | 0
8.3.4 | Water taps | nos | 5 |  | 0
8.2.4 | Mirror units | nos | 5 |  | 0
8.3.5 | Soap Despenser | nos | 6 |  | 0
8.2.5 | Hand Dryer | nos | 1 |  | 0
8.3.6 | Paper holder | nos | 6 |  | 0
8.2.6 | Valve | nos | 10 |  | 0
BILL No: 080 - HYDRAULICS & DRAINAGE
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL No: 09
ELECTRICAL INSTALLATION
9.1 | GENERAL
(a) Rates shll include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackates, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) A light fixtures is measured as one point; switches end of wire is not included in the quantity.
(e) A point wiring for power points is measured (regardless of 1 gang, 2 gang ect) as one point for each socket outlet; other end of wire is not included in the quantity
(f) Rates shall include for supply and complete installation
(g) Contractor shall provide all cabling, wiring, conduites, etc. outside the site boundries are not included under this Contract.
9.2 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
9.2.1 | Distribution board with all necessary accessories to complete the job. | nos | 2 |  | 0
9.3 | ELECTRICAL WIRING
Complete wiring with copper conductors cable in conductor cable in conduits in walls and in casing on soffits of slab as similar of:
9.3.1 | Wiring to light fixtures | points | 54 |  | 0
9.3.2 | Wiring to power points | points | 26 |  | 0
9.3.3 | Other material required to completethe job | LS | 1 |  | 0
9.4 | LIGHT AND SWITCHES AND SOCKET OUTLETS
9.4.1 | Ceiling mounted Light 300 X 1200 | nos | 9 |  | 0
9.4.2 | Ceiling mounted Light 300 X 600 | nos | 8 |  | 0
9.4.3 | outdoor ceiling led light | nos | 2 |  | 0
9.4.4 | Ceiling mounted led light | nos | 22 |  | 0
9.4.5 | Ceiling mounted led light square type | nos | 3 |  | 0
9.4.6 | Emergency Light | nos | 6 |  | 0
9.4.7 | 1x 1 Switch ( single gang ) | nos | 6 |  | 0
9.4.8 | 2x 1 Switch ( double gang ) | nos | 16 |  | 0
9.4.9 | 3x 1 Switch ( three gang ) | nos | 4 |  | 0
9.4.10 | 1x13A socket outlets | nos | 37 |  | 0
9.4.11 | 2x13A socket outlets | nos | 7 |  | 0
9.4.12 | 1x13A socket outlets for Emergency light | nos | 6 |  | 0
9.4.13 | 1x15A socket outlets | nos | 8 |  | 0
9.4.14 | 1x13A Shaver socket outlets | nos | 5 |  | 0
9.5 | AIRCONDITIONING & VENTILATION
9.5.1 | Fan Control | nos | 10 |  | 0
9.5.2 | Ceiling Fans | nos | 10 |  | 0
9.5.3 | AC 12000 BTU | nos | 6 |  | 0
9.5.4 | AC 18000 BTU | nos | 2 |  | 0
9.6 | TELEPHONE & NETWORK PONTS
9.6.1 | Telephone outlets -Office / Watch (ATC) | points | 2 |  | 0
9.6.2 | Single Tata PointsData outlets Office / Watch (ATC) | points | 2 |  | 0
9.6.3 | WIFI points Office / Watch (ATC) | nos | 2 |  | 0
9.6.4 | TV Points Emergency Operating Room / Sitting | nos | 2 | 0 | 0
BILL No: 09 ELECTRICAL INSTALLATION
| TOTAL OF BILL No:09 - Carried over to summary |  |  |  | 0
BILL No: 10
DOORS AND WINDOWS
10.1 | GENERAL
(a) Rates shll include for:Locks, hinges, Latcches, screws, nails, bolts, nuts, all labour and material as required with all incidental accessories
10.2 | EXTERNAL & INTERNAL
10.2.1 | D3 | nos | 1 |  | 0
10.2.2 | W1 | nos | 7 |  | 0
10.2.3 | F1 | nos | 5 |  | 0
10.2.4 | W2 | nos | 1 |  | 0
10.2.5 | W3 | nos | 2 |  | 0
10.2.6 | W4 | nos | 1 |  | 0
10.2.7 | W6 | nos | 1 |  | 0
10.2.8 | D1 | nos | 5 |  | 0
10.2.9 | D2 | nos | 5 |  | 0
10.2.10 | D3 | nos | 5 |  | 0
10.2.11 | W1 | nos | 5 |  | 0
BILL No: 10 DOORS AND WINDOWS
| TOTAL OF BILL No:10 - Carried over to summary |  |  |  | 0