## Cover
BILL OF QUANTITIES
PROPOSED PROTOTYPE MOSQUE CONSTRUCTION WORK - 300 PAX
CLIENT - MINISTRY OF ISLAMIC AFFAIRS

## BOQ Summary
SUMMARY OF BILL OF QUANTITIES - CONSTRUCTION OF MINARET
Project: Proposed Proto Type Mosque Construction Work - 300 Pax | Date:
Version:
Client: Ministry of Islamic Affairs | Prepared by:
DESCRIPTION |  | AMOUNT (MVR) | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - EXCAVATION AND FILLING
Bill №: 03 - INSITU CONCRETE WORKS
Bill №: 04 - MASONRY
Bill №: 05 - STRUCTURAL METAL WORKS
Bill №: 06- CARPENTRY
Bill №: 07 - SUSPENDED CEILING
Bill №: 08- WINDOWS, SCREENS & LIGHTS
Bill №: 09 - DOORS, SHUTTERS & HATCHES
Bill №: 10 - DECORATIONS
Bill №: 11 - FLOOR, WALL, CEILING AND ROOF FINISHES
Bill №: 12 - ROOFING
Bill №: 13 - HYDRAULICS AND DRAINAGE
Bill №: 14 - ELECTRICAL INSTALLATIONS
Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 16 - SOLAR PANEL
Bill №: 17 - MINARET
Bill №: 18 - BOUNDARY WALL
Bill №: 19 - LIBRARY
Bill №: 20 - ADDITIONS AND OMMISIONS
TOTAL AMOUNT (exclusive of GST)
GST 8%
TOTAL (INCLUDING GST)
NOTES to BoQ:

## BOQ
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | Total Rate | Amount
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | lm | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | item | - quote a lumpsum amount for the item
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
1.2.01 |  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.3.00 | SIGN BOARD
1.3.01 |  |  |  | Allow for sign board. | nr | 1
1.4.00 | CLEAN-UP
1.4.01 |  |  |  | Allow for clean-up upon completion of works. | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
1.5.01 |  |  |  | Insurance: | item | 1
Contractor’s All Risk (CAR) insurance covering physical loss or damage.
Workers' compensation and employer’s liability insurance.
Third-party liability insurance.
1.5.02 |  |  |  | Bonds: | item | 1
Performance bonds ensuring project completion.
Payment bonds ensuring all subcontractors and suppliers are paid.
1.5.03 |  |  |  | Guarantees: | item | 1
Manufacturer guarantees for materials and equipment.
Contractor guarantees for workmanship and materials.
1.6.00 | As-built Drawing
1.6.01 |  |  |  | Rate shall include prodiving as-built upon completion of the work. Include, MEP, achitectural & Structural drawings. | item | 1
1.11.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
2.2.1 |  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. | m2 | 1125
2.2.2 |  |  |  | Removal of trees larger than girth 0.6m and clearing the site as required, Rate shall include for backfilling and level to natural ground level after uprooting the vegetations (40 Palm trees) | item | 1
2.3.00 | SITE PREPARATION
2.3.1 |  |  |  | Demolition of existing building on the site and clearing of debris | item | 1
2.4.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.4.1 |  |  |  | Excavation for column bases / beam | m3 | 50
2.5.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.5.01 |  |  |  | Compacted earth filling under ground slab, column bases & tie Beam area | m3 | 60
2.6.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.6.01 |  |  |  | Water Proof Membrane - DPM | m2 | 375
2.7.00 | DE-WATERING
2.7.01 |  |  |  | De-watering the excavation until completion of concrete work as required | item | 1
2.7.00 | DEMOLITION
2.7.01 |  |  |  | Demolition of existing building on the site and clearing of debris as necessary | item | 0
2.8.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Concrete grade for all elements C25 and for water retaining structures should be C30A
|  |  | (c) | Rates shall include for: concrete, formwork, reinforcements (stirups and ties), cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (d) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (e) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (f) | All reinforcing bars shall be high strength bars.
|  |  | (g) | Waterproofing shall be added to all areas specified.
|  |  | (h) | All works complete as per drawing and specification
3.2.00 | LEAN CONCRETE
FOUNDATION BEAMS
3.2.01 | 350 | x | 350 | mm Foundation beam, TB1 | m3 | 1
3.2.02 | 200 | x | 200 | mm Foundation beam, TB2 | m3 | 1
COLUMNS
Column Bases
3.2.03 | 1600 | x | 1600 | x 250 mm Concrete column base F1 | m3 | 0.5
3.2.04 | 800 | x | 800 | x 250 mm Concrete column base F2 | m3 | 0.15
3.2.05 | 600 | x | 600 | x 250 mm Concrete column base F3 | m3 | 0.3
3.2.06 | 600 | x | 600 | x 250 mm Concrete column base F3a | m3 | 0.1
3.3.00 | REINFORCED INSITU CONCRETE
SUB-STRUCTURE
FOUNDATION BEAMS
3.3.01 | 350 | x | 350 | mm Foundation beam, TB1 | m3 | 7
3.3.02 | 200 | x | 200 | mm Foundation beam, TB2 | m3 | 4
3.3.03 |  |  |  | 16mm dia. Reinforcement bar | t | 0.89
3.3.04 |  |  |  | 6mm dia. Reinforcement bar | t | 0.21
COLUMNS
Column Bases
3.3.05 | 1600 | x | 1600 | x 250 mm Concrete column base F1 | m3 | 2.5
3.3.06 | 800 | x | 800 | x 250 mm Concrete column base F2 | m3 | 0.6
3.3.07 | 600 | x | 600 | x 250 mm Concrete column base F3 | m3 | 1.5
3.3.08 | 600 | x | 600 | x 250 mm Concrete column base F3a | m3 | 0.5
Column Shaft
3.3.09 | 350 | x | 350 | mm Concrete column shaft C1 | m3 | 0.5
3.3.10 | 300 | x | 300 | mm Concrete column shaft C2 | m3 | 0.4
3.3.11 | 200 | x | 200 | mm Concrete column shaft C3 | m3 | 0.6
3.3.12 |  |  |  | 20mm dia. Reinforcement bar | t | 0.5
3.3.13 |  |  |  | 16mm dia. Reinforcement bar | t | 0.28
3.3.14 |  |  |  | 6mm dia. Reinforcement bar | t | 0.09
3.4.00 | GROUND FLOOR
SLAB
3.4.01 |  |  | 100 | mm thick Ground Floor Slab | m3 | 36
3.4.02 |  |  |  | 10mm dia. Reinforcement bar | t | 4.35
COLUMNS
Column Shaft
3.4.03 | 350 | x | 350 | mm Concrete column shaft C1 | m3 | 2.5
3.4.04 | 300 | x | 300 | mm Concrete column shaft C2 | m3 | 1.6
3.4.05 | 200 | x | 200 | mm Concrete column shaft C3 | m3 | 3.5
3.4.06 |  |  |  | 20mm dia. Reinforcement bar | t | 0.81
3.4.07 |  |  |  | 16mm dia. Reinforcement bar | t | 0.7
3.4.08 |  |  |  | 6mm dia. Reinforcement bar | t | 0.38
3.5.0 | FIRST FLOOR
ROOF BEAMS
3.5.01 | 300 | x | 600 | mm Roof beam, B1 | m3 | 10
3.5.02 | 300 | x | 400 | mm Roof beam, B2 | m3 | 2.5
3.5.03 | 200 | x | 350 | mm Roof beam, B3 | m3 | 0.6
3.5.04 | 200 | x | 300 | mm Roof beam, B4 | m3 | 2.5
3.5.05 | 200 | x | 300 | mm Gutter beam, GUB1 | m3 | 4
3.5.06 | 200 | x | 300 | mm Gutter beam, GUB2 | m3 | 4
3.5.07 |  |  |  | 16mm dia. Reinforcement bar | t | 0.5
3.5.08 |  |  |  | 12mm dia. Reinforcement bar | t | 0.64
3.5.09 |  |  |  | 10mm dia. Reinforcement bar | t | 0.23
3.5.10 |  |  |  | 6mm dia. Reinforcement bar | t | 0.45
COLUMNS
Column Shaft
3.5.11 | 350 | x | 350 | mm Concrete column shaft C1 | m3 | 0.6
3.5.12 |  |  |  | 20mm dia. Reinforcement bar | t | 0.28
3.5.13 |  |  |  | 6mm dia. Reinforcement bar | t | 0.03
3.6.0 | ROOF LEVEL
ROOF BEAMS
3.6.01 | 300 | x | 300 | mm Roof beam, B5 | m3 | 3.5
3.6.02 |  |  |  | 12mm dia. Reinforcement bar | t | 0.14
3.6.03 |  |  |  | 6mm dia. Reinforcement bar | t | 0.08
3.7.0 | OTHER WORKS
3.7.01 |  |  | G20 Mass Concrete Fill in Ramp Areas |  | m3 | 1.5
3.7.02 |  |  | G20 Mass Concrete Fill in Staircase Areas |  | m3 | 11
3.8.00 | ARCHES
150mm concrete Arches opening and rate shall include all the necessary works as specified in drawings & specifications
Ground Floor
3.8.01 |  |  |  | A0 Arch opening (3 no's) | m | 24
3.8.02 |  |  |  | A1 Arch opening (1 no's) | m | 6
3.8.03 |  |  |  | A2 Arch opening (2 no's) | m | 14
3.8.04 |  |  |  | A3 Arch opening (1 no's) | m | 6
3.8.05 |  |  |  | A4 Arch opening (1 no's) | m | 5
3.8.06 |  |  |  | a2 Arch opening (8 no's) | m | 48
3.9.00 | LINTEL AND SILL BEAMS
3.9.01 | 150 | x | 200 | mm Lintel & Sill Beam above openings | item | 1
3.9.02 |  |  |  | 10mm dia. Reinforcement bar | t | 0.11
3.9.03 |  |  |  | 6mm dia. Reinforcement bar | t | 0.04
3.10.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
|  |  | (b) | All works complete as per drawing and specification
4.2.00 | BLOCK WORK
150mm thk masonry block wall including making of blocks laid to form alternate courses of headers and stretchers, laid on and inc. mortar.
4.2.01 |  |  |  | Ground Floor | m2 | 485
4.2.02 |  |  |  | First Floor | m2 | 26
100mm thk masonry block wall including making of blocks laid to form alternate courses of headers and stretchers, laid on and inc. mortar.
4.2.03 |  |  |  | Ground Floor | m2 | 52
4.3.00 | PLASTERING
External Plastering
20mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
4.3.01 |  |  |  | Ground Floor | m2 | 490
4.3.02 |  |  |  | First Floor | m2 | 30
Internal Plastering
16mm thk cement plaster on internal surface as specified on the drawing
4.3.03 |  |  |  | Ground Floor | m2 | 780
4.3.04 |  |  |  | First Floor | m2 | 30
4.4.00 | GLASS BLOCK WALLING
Ground Floor
4.4.01 |  |  |  | 900 x 375 mm b1 glass boxes breeze wall opening | nr | 10
First Floor
4.4.02 |  |  |  | 900 x 600 mm b2 glass boxes breeze wall opening | nr | 22
4.5.00 | CEMENT SCREED
Cement screeding work as specified in drawings & specifications
4.5.01 |  |  |  | Ground floor Internal areas | m2 | 380
4.6.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - STRUCTURAL METAL WORKS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
|  |  | (c) | All works complete as per drawing and specification
5.2.00 | RAMP HAND RAILING
5.2.01 |  |  |  | Manufacture, Supply & Installation of SS Handrails in Ramp areas as per drawings & specifications | m | 15
5.3.00 | GI ROOF FRAMING
5.3.01 |  |  |  | Steel Truss work with including CHS 48 X 1.5 & CHS 60 X 2 as specified in drawings & specifications - TR1 | m | 10
5.3.02 |  |  |  | Steel Truss work with including CHS 48 X 1.5 & CHS 60 X 2 as specified in drawings & specifications - TR2 | m | 20
5.4.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06- CARPENTRY
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labor in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
6.2.00 | TIMBER ROOF FRAMING
First Floor Level
6.2.01 |  |  |  | 50 X 50 mm Battens | m | 315
6.2.02 |  |  |  | 50 X 150 mm Rafters | m | 330
Roof Apex Level
6.2.03 |  |  |  | 50 X 50 mm Battens | m | 135
6.2.04 |  |  |  | 50 X 150 mm Rafters | m | 210
6.2.05 |  |  |  | 75 X 200 mm Ridge | m | 10
6.3.00 | FIXED FURNITURES
6.3.01 | Timber finish mimbar chair rate to include all necessary carpentry works such as platform, steps with lattice design paint finish as mentioned in drawings & specifications |  |  |  | Item | 1
6.3.02 | Timber Book Shelf |  |  |  | nr | 2
6.3.03 | Timber podium |  |  |  | Item | 1
6.3.04 | Mihrab back wall feature with timber frame and 'QURUAN SURAH' as specified in the drawing |  |  |  | Item | 1
6.4.00 | TIMBER FLOORING
Timber flooring/steps works including requied finishes
6.4.01 |  |  |  | Mimbar area | m2 | 2
6.5.00 | PARTITIONS
6.5.01 | 8800 | x | 2000 | Moveable Privacy Partition | nr | 1
6.6.00 | NAME BOARD
6.6.01 | Masjid Name Board with cut out Letter |  |  |  | nr | 1
6.6.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - SUSPENDED CEILING
7.1.0 | GENERAL
|  |  | (a) | Rates shall include for: all labor in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
7.2.0 | CEILING
7.2.01 | Flat Ceiling |  |  |  | m2 | 220
7.2.02 | Decorative Ceiling |  |  |  | m2 | 60
7.3.00 |  |  |  | TOTAL OF BILL №: 07- Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08- WINDOWS, SCREENS & LIGHTS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminum other wise specified.
|  |  | (h) | All works complete as per drawing and specification
8.2.00 | WINDOWS
Ground Floor
8.2.01 | 750 | x | 500 | W1 -Aluminum Swing Window | nr | 6
8.2.02 | 1200 | x | 2500 | W2 -Aluminum French door window | nr | 4
8.2.03 | 1600 | x | 2800 | W3 -Aluminum French door window | nr | 2
8.3.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Aluminium door frames and sashes to be 25-60 micron black powder coated aluminum other wise specified.
|  |  | (g) | Rates shall include all items specified in the door schedule and specification.
9.2.00 | DOORS
9.2.01 | 650 | x | 2100 | D1 - Aluminium door | nr | 4
9.2.02 | 900 | x | 2100 | D2 - Aluminium door | nr | 5
9.2.03 | 750 | x | 2100 | D3 - Aluminium door | nr | 2
9.2.04 | 750 | x | 2100 | D4 - Timber solid panel door | nr | 1
9.2.05 | 750 | x | 2100 | D5 - Timber solid panel door | nr | 1
9.2.06 | 1600 | x | 3000 | D7 - French door | nr | 3
9.2.07 | 1200 | x | 3000 | D8 - French door | nr | 4
9.3.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - DECORATIONS
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
WALL PAINTING
10.2.0 | EXTERIOR WALL PAINTING
Ground Floor
10.2.01 |  |  |  | Weather shield solar reflective exterior paint -P2 | m2 | 490
First Floor
10.2.02 |  |  |  | Weather shield solar reflective exterior paint -P2 | m2 | 30
10.3.0 | INTERIOR WALL PAINTING
Ground Floor
10.3.01 |  |  |  | Vinyl acrylic Emulation Paint | m2 | 725
10.3.02 |  |  |  | Interior grade vinyl acrylic emulsion paint finish with featured wall of verses from Quran as specified | m2 | 55
10.3.03 |  |  |  | Decorative interior column, 350 x 350 x 3975mm height as per drawing | nr | 2
First Floor
10.3.04 |  |  |  | Vinyl acrylic Emulation Paint | m2 | 30
10.4.0 | CEILING PAINTING
Ceiling painting work as specified in drawings & specifications
10.4.01 |  |  |  | Flat ceiling | m2 | 220
10.4.02 |  |  |  | Decorative ceiling | m2 | 60
10.4.00 | CEILING PAINTING
10.4.1 |  |  |  | Masjid Name Board with cut out Letter and Backlighting (Design and suply) should be approved from the client | nos | 1
10.5.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - FLOOR, WALL, CEILING AND ROOF FINISHES
11.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, with necessary waterproofing and similar; cleaning down and polishing including skirting.
|  |  | (b) | Rates shall include all the works as mentioned in finishing schedule and specification.
11.2.00 | FLOOR TILING
11.2.01 |  |  |  | Size 1200 X 600mm Homogeneous Textured Floor Tiles in Prayer Hall (T1) | m2 | 177
11.2.02 |  |  |  | Size 600 X 600mm Homogeneous Textured Floor Tiles in Indoor corridor, Mimbar, Equip Room & Stores (T2) | m2 | 91
11.2.03 |  |  |  | Size 300 X 600mm Homogeneous Non slip Floor Tiles in Ablution & Toilet areas (T3) | m2 | 26
11.2.04 |  |  |  | Size 300 X 600mm Homogenous Anti Slip Step Tiles with Nosing Strips (T4) | m2 | 25
11.2.05 |  |  |  | PVC Vinyl flooring with prayer lines in Prayer Hall (Design shall be approved) | m2 | 177
11.3.00 | PAVING
11.3.01 |  |  |  | Cement paving blocks in paved area -A1 | m2 | 205
11.4.00 | WALL TILING
11.5.1 |  |  |  | Wall Tiling work in Ablution area | m2 | 25
11.5.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12 - ROOFING
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labors, circular edges, nails, screws and other fixings and laps.
|  |  | (b) | Measured as per the drawing area and all the slop length should be considered to the unit rates
|  |  | (c) | Rate shall include all the rock wool insulation, PVC boards and other necessary requirement's as mentioned in drawings & specifications
|  |  | (d) | All works should complete as per drawing and specification
12.2.00 | ROOF COVERING
12.2.01 |  |  |  | First Floor Level | m2 | 215
12.2.02 |  |  |  | Roof Apex Level | m2 | 115
12.3.00 | CAPPING
12.3.01 |  |  |  | Lysaght Flashing as per drawing | m | 110
12.4.00 | GUTTER
12.4.01 |  |  |  | Zinc gutter 150 x 150mm with gutter strap fixed to purlins | m | 10
12.5.00 | DRAIN PIPE
12.5.01 |  |  |  | 100mm dia. Drain pipe with wiremesh gutter strainer | m | 50
12.6.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
13.1.0 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backmost and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipe work and fittings shall be uPVC.
|  |  | (f) | All works complete as per drawing and specification
|  |  | (g) | Rate to include all pumps, Valves & accessories
13.2.0 | FRESH WATER SUPPLY NETWORK
Ground Floor
13.2.01 |  |  |  | Cold water supply network in toilets at ablution area including all necessary accessories and fixtures | item | 1
13.3.0 | RAIN PIPEWORK
Ground Floor
13.3.01 |  |  |  | Rain water drainage network in toilets at ablution area including all necessary accessories and fixtures | item | 1
Roof Floor
13.3.02 |  |  |  | Rain water drainage network in Roof area including all necessary accessories and fixtures | item | 1
13.4.0 | SANITARY FITTINGS
13.4.01 |  |  |  | WC, 4.8 LPF Gravity Tank | nr | 5
13.4.02 |  |  |  | Faucet | nr | 16
13.4.03 |  |  |  | Hose Bip | nr | 4
13.4.04 |  |  |  | Bidet Spray | nr | 7
13.4.05 |  |  |  | Floor drain gully trap | nr | 15
13.4.06 |  |  |  | Water supply tapping point | nr | 5
13.4.07 |  |  |  | Floor clean out | nr | 15
13.5.0 | GENERAL
|  |  | (a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
|  |  | (b) | All pipework's shall be uPVC.
|  |  | (c) | All works complete as per drawing and specification
|  |  | (d) | Rate to include all pumps, Valves & accessories
13.6.0 | DRAINAGE PIPEWORKS
13.6.01 |  |  |  | Waste water & drainage Network in Toilets at Ablution area including all necessary accessories and fixtures | item | 1
13.7.0 | WATER METERS
13.7.01 |  |  |  | MWSC Water Meters | item | 1
13.8.0 | OTHERS
13.8.01 |  |  |  | DN 400 HDPE inspection chamber including all necessary accessories and fixtures | nr | 1
13.8.02 |  |  |  | 6 cum capacity 2 m dia internal size Underground rain water tank including all necessary accessories and fixtures | nr | 1
13.8.03 |  |  |  | Construction of concrete gutter with SS gutter drains at ablution area including all necessary accessories and fixtures | item | 1
13.8.04 |  |  |  | 1m internal diameter Ground well including all necessary accessories and fixtures | nr | 1
13.8.05 |  |  |  | 500mm x1450mm Internal chamber including all necessary accessories and fixtures | nr | 1
13.09.00 |  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary
14.0.00 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
14.1.0 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO / FENAKA.
|  |  | (b) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (c) | The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (d) | Rate shall include for necessary chasings,conduits,cables,cable trays, fittings and clips, cutting holes and chases in brick/block/concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
|  |  | (e) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (f) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc.) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (g) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
|  |  | (h) | Rate for all electrical panels shall include for supply and installation of all necessary MCCBs, MCBs, EFRs, ELCBs, auxiliary contracts, Voltmeters, Ammeters, Digital Analyser,kWh meters, Indicator lamps, Selector switches, Copper bus bars, Inter locks, Aligning and grounding of the panel,Inter connectors, Internal wiring connection to switch gear, Steel channels and necessary hardware fixing insulating materials, All in fully enclosed metal clad panels and distribution boards completed as shown in drawing.
|  |  | (i) | All works complete as per drawing and specification
14.2.00 | MAINS CONNECTION & BOARD | [7 empty] | 9737.8947 | 2000 | 19475789.4501
14.2.01 |  |  |  | Allow for connection to electrical mains | item | 1
14.3.00 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
14.3.01 |  |  |  | Light, Power & AC Distribution Board | nr | 5
14.4.00 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
14.4.01 |  |  |  | Wiring To Lights, Fittings socket | pt | 273
14.5.00 | LIGHTING
14.5.01 |  |  |  | 6W,230V,4000K Wall Light IP55 - LF05 | nr | 59
14.5.02 |  |  |  | 5W/m,230V,3000K LED Strip Light - LF10 | nr | 4
14.5.03 |  |  |  | 6W,230V,3000K Bollard Light Type A - LF11.a | nr | 22
14.5.04 |  |  |  | 28W,230V,4000K Surface mounted down light Type 2 - LF14 | nr | 36
14.5.05 |  |  |  | 17W,230V,3000K Recessed down light Type 2 - LF20 | nr | 23
14.5.06 |  |  |  | 70W,230V,3000K Pole mounted outdoor light - LF26 | nr | 12
14.5.07 |  |  |  | 500W,230V,3000K Chandelier - LF27 | nr | 2
14.6.00 | FAN
14.6.01 |  |  |  | Ceiling mounted fan | nr | 8
14.7.00 | SWITCHES
14.7.01 |  |  |  | Light switch one way-1 way 1 gang | nr | 35
14.7.02 |  |  |  | Fan Switch with Regulator | nr | 8
14.8.00 | SOCKETS
14.8.01 |  |  |  | 13A, Switch Type Single Power Outlet, SSO | nr | 40
14.8.02 |  |  |  | 13A, Switch Type Single Power Outlet, SSO WP | nr | 2
14.8.03 |  |  |  | 3P Isolation | nr | 1
14.8.04 |  |  |  | DATA Telephone Outlet | nr | 2
14.9.00 | PA & ICT
14.9.01 |  |  |  | Speakers 30W wall fixed shall be "JBL", "Bose" or equivalent (White color) | nr | 10
14.9.02 |  |  |  | Biometric Scanner (ZKT or Equiv.) | nr | 1
14.9.03 |  |  |  | Wireless Headworn mic shall be "Sennheiser", "SHURE" or Equivalent | nr | 1
14.9.04 |  |  |  | 12U-IT rack | nr | 1
14.9.05 |  |  |  | Microphone Cable with Connection Jacks and Extension | nr | 1
14.9.06 |  |  |  | Amplifier 360w, 100v (Line 6, or YAMAHA or equiv) | nr | 2
14.9.07 |  |  |  | Horn Loudspeaker 75W (TOA or equiv) | nr | 4
14.9.08 |  |  |  | 2kVA UPS | nr | 1
14.9.09 |  |  |  | Audio Mixer (8 Channel), phantom power shall be "YAMAHA", "Sound Craft" or Equivalent | nr | 1
14.9.10 |  |  |  | Goose neck mic with shock mount shall be "SHURE" OR "Sennheiser" OR equivalent | nr | 1
14.9.11 |  |  |  | Cable Mic shall be "Bose" or "JTS" or equivalent | nr | 1
14.9.12 |  |  |  | Adjustable mic stand with round Base | nr | 1
14.10.0 | AIR CONDITION AND VENTILATION
a. All the ACV equipment should be Anti corrosive
Rates shall include for complete installation of units
14.10.01 |  |  |  | Cassette type AC unit - 14KW | nr | 4
14.10.02 |  |  |  | Cassette type AC unit - 16KW | nr | 2
14.10.03 |  |  |  | Split Type AC - 2.8 KW | nr | 1
14.10.04 |  |  |  | Outdoor Unit - 44 KW-VRF | nr | 2
14.10.05 |  |  |  | Wall mounted exhaust Fan 25 L/S | nr | 6
14.10.06 |  |  |  | Wall mounted exhaust Fan 80 L/S | nr | 2
14.10.07 |  |  |  | Wall mounted exhaust Fan 60 L/S | nr | 1
14.10.08 |  |  |  | 200 X 200 Louver on door Bottom | nr | 6
14.10.09 |  |  |  | 0.3 Sqm Louver on door Bottom | nr | 2
14.10.10 |  |  |  | EA Louver 200 X 200 | nr | 4
14.10.11 |  |  |  | FA Louver 200 X 200 | nr | 1
14.10.12 |  |  |  | 50 L/S Louver 150 X 150 | nr | 2
14.11.0 | LIGHTENING PROTECTION SYSTEM
14.11.01 |  |  |  | Lightning protection system to cover total building structure with level 1 protection comply with BS 62305 recommendations as per the drawings and specifications. | item | 1
14.12.00 |  |  |  | TOTAL OF BILL №: 14 Carried Over To Summary
15.0.00 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
15.01.0 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable pipes, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion as per drawing and specification
|  |  | (d) | All items shall be supply and complete installation
|  |  | (e) | All works complete as per drawing and specification
15.02.0 | FIRE FIGHTING SYSTEM
15.02.01 |  |  |  | Smoke detector | nr | 7
15.02.02 |  |  |  | Fire Alarm control panel | nr | 1
15.02.03 |  |  |  | Emergency light with battery backup | nr | 12
15.02.04 |  |  |  | Exit sign board | nr | 3
15.02.05 |  |  |  | 2kg Co2 fire extinguisher | nr | 1
15.02.06 |  |  |  | 9L H2O fire extinguisher | nr | 1
15.02.07 |  |  |  | Fire alarm sounder W/ Strobe light 95 db | nr | 1
15.02.08 |  |  |  | Manual call point | nr | 1
15.3.00 |  |  |  | TOTAL OF BILL №: 15- Carried Over To Summary
16.0.00 |  |  |  | Bill №: 16 - SOLAR PANEL
16.1.00 | GENERAL
|  |  | (a) | The price includes all builders’ works, making good and reinstatement including necessary materials and workmanship as well as removal of unwanted materials to dump sites approved by the engineer to complete the job successfully. • All the following items include supply, install, commission and operate of the complete PV solar system
|  |  | (b) | The contractor shall submit for approval technical data regarding the panels to the consultant prior to procuring the solar panels
|  |  | (c) | All the following items include supply, install, commission and operate of the complete solar panel system
|  |  | (d) | All works complete as per drawing and specification
16.2.00 | SOLAR PANELS
16.2.01 |  |  |  | Supply, Installation testing and commisssionin of 56nos 430 WP Capacity PV solar panels, Rate to include all the necessary Panels modulars,inverters as specified in drawings & specifications | item | 1
16.3.00 |  |  |  | TOTAL OF BILL №: 16 - Carried Over To Summary
17.0.00 |  |  |  | Bill №: 17 - MINARET
17.1.00 | GENERAL
17.1.01 |  |  |  | Refer to above general notes
17.2.00 | EXCAVATION
17.2.01 |  |  |  | Excavation for Foundation raft | m3 | 20
17.3.00 | FILLING
17.3.01 |  |  |  | Compacted earth filling under ground screed. | m2 | 15
17.4.00 | DAMP-PROOF MEMBRANE
17.4.01 |  |  |  | Water Proof Membrane - DPM | m2 | 10
17.5.00 | MASS CONCRETE
17.5.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 1.5
17.6.00 | REINFORCED INSITU CONCRETE
FOUNDATION -0.7M LEVEL
17.6.01 | 450 | x | 400 | mm Foundation beam, FB1 | m3 | 0.6
17.6.02 | 450 | x | 350 | mm Foundation beam, FB2 | m3 | 0.4
17.6.03 | 3200 | x | 3200 | x 350mm concrete column base F4 | m3 | 3.6
17.6.04 |  |  |  | 20mm dia. Reinforcement bar | t | 0.11
17.6.05 |  |  |  | 10mm dia. Reinforcement bar | t | 0.06
GROUND FLOOR - +3.35M LEVEL
17.6.06 |  |  | 150 | mm thk ground level Slab | m3 | 1
17.6.07 | 250 | x | 200 | mm Concrete column shaft C5 | m3 | 0.35
17.6.08 | 250 | x | 350 | mm Concrete column shaft C6 | m3 | 0.6
17.6.09 | 250 | x | 400 | mm Foundation beam, MB1 | m3 | 0.2
17.6.10 | 400 | x | 400 | mm Foundation beam, MB2 | m3 | 0.2
17.6.11 |  |  |  | 16mm dia. Reinforcement bar | t | 0.09
17.6.12 |  |  |  | 12mm dia. Reinforcement bar | t | 0.04
17.6.13 |  |  |  | 6mm dia. Reinforcement bar | t | 0.02
FIRST FLOOR - +6.475M LEVEL
17.6.14 | 250 | x | 200 | mm Concrete column shaft C5 | m3 | 0.35
17.6.15 | 250 | x | 350 | mm Concrete column shaft C6 | m3 | 0.6
17.6.16 | 200 | x | 350 | mm Foundation beam, MB3 | m3 | 0.25
17.6.17 |  |  |  | 16mm dia. Reinforcement bar | t | 0.09
17.6.18 |  |  |  | 12mm dia. Reinforcement bar | t | 0.04
17.6.19 |  |  |  | 6mm dia. Reinforcement bar | t | 0.02
UP TO TOP LEVEL - +9.6M LEVEL
17.6.20 | 175 mm dia Round Concrete column shaft C6 |  |  |  | m3 | 0.35
17.6.21 | 200 | x | 350 | mm Foundation beam, MB3 | m3 | 0.3
17.6.22 |  |  |  | 16mm dia. Reinforcement bar | t | 0.03
17.6.23 |  |  |  | 12mm dia. Reinforcement bar | t | 0.06
17.6.24 |  |  |  | 6mm dia. Reinforcement bar | t | 0.02
17.7.00 | BRICK WORK
150mm thick external wall
17.7.01 |  |  |  | 4.5m Level | m2 | 20
17.7.02 |  |  |  | 6.035m Level | m2 | 6
17.7.03 |  |  |  | Above 6.035m Level | m2 | 7
17.8.00 | CEMENT SCREED
17.8.01 |  |  |  | Ground floor Internal areas | m2 | 2
17.9.00 | PLASTERING
20mm thk cement plaster on external surface
17.9.01 |  |  |  | 4.5m Level | m2 | 26
17.9.02 |  |  |  | 6.035m Level | m2 | 10
17.9.03 |  |  |  | Above 6.035m Level | m2 | 25
15mm thk cement plaster on internal surface
17.9.04 |  |  |  | 4.5m Level | m2 | 26
17.9.05 |  |  |  | 6.035m Level | m2 | 10
17.9.06 |  |  |  | Above 6.035m Level | m2 | 25
17.10.00 | GLASS BLOCK WALLING
|  |  |  | 600 x 5600 mm b2 glass boxes breeze wall opening | nr | 2
17.11.00 | STRUCTURAL METAL WORKS
|  |  |  | Manufacture, Supply & Installation of Steel Ladder inside Minaret as per the drawings & specifications | Item | 1
17.12.00 | WINDOWS / DOORS
17.12.01 | 750 | x | 2100 | D6 - Solid Timber door | nr | 1
17.13.00 | PAINTING
Exterior grade weathershield solar reflective emulsion paint finish in general and including 10mm cement render emboss with textured finish on specified areas
17.13.01 |  |  |  | 4.5m Level | m2 | 26
17.13.02 |  |  |  | 6.035m Level | m2 | 10
17.13.03 |  |  |  | Above 6.035m Level | m2 | 25
17.13.04 |  |  |  | Interior grade wall paint finish,
17.13.05 |  |  |  | 4.5m Level | m2 | 26
17.13.06 |  |  |  | 6.035m Level | m2 | 10
17.13.07 |  |  |  | Above 6.035m Level | m2 | 25
17.14.00 | FLOOR FINISH
17.14.01 |  |  |  | Epoxy paint finish on polished floor screed - C1 | m2 | 2
17.15.00 | ELECTRICAL
17.15.01 |  |  |  | Earth rod 18mm x 1m deep ground (4no) with lightning counter including LAVATA 25x3CU solid tape eritech ericore or equivalent down conductor | item | 1
17.15.02 |  |  |  | Eritech® dynasphere air terminal or equivalent lightning arrester anchored to concrete beam | item | 1
17.15.04 |  |  | LF05 | 17W,230V,4000K, wall light, IP55 | nr | 3
17.15.05 |  |  |  | Light switch 1gang, 1way | nr | 1
17.16.00 | MISCELLANEOUS
17.16.01 |  |  |  | Chrome crescent inside metal panel to design as per drawing. | item | 1
17.17.00 |  |  |  | TOTAL OF BILL №: 17 - Carried Over To Summary
18.0.00 |  |  |  | Bill №: 18 - BOUNDARY WALL
18.1.00 | GENERAL
18.1.01 |  |  |  | Refer to above general notes
18.2.00 | EXCAVATION
18.2.01 |  |  |  | Excavation for Foundation beam | m3 | 30
18.3.00 | DAMP-PROOF MEMBRANE
18.3.01 |  |  |  | Water Proof Membrane - DPM | m2 | 110
18.3.02 |  |  |  | Bituminous coating | m2 | 110
18.4.00 | MASS CONCRETE
18.4.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 2
18.5.00 | REINFORCED INSITU CONCRETE
18.5.01 | 250 | x | 300 | mm Foundation beam, | m3 | 10
18.5.02 | 200 | x | 200 | mm Concrete columns, | m3 | 0.9
18.5.03 | 150 | x | 600 | mm Concrete gate way marker | m3 | 1.5
18.5.04 |  |  |  | 6mm dia. Reinforcement bar | t | 0.23
18.5.05 |  |  |  | 12mm dia. Reinforcement bar | t | 0.64
18.5.06 |  |  |  | 10mm dia. Reinforcement bar | t | 0.22
18.6.00 | BRICK WORK
18.6.01 |  |  |  | 150mm thick boundary wall | m2 | 140
18.7.00 | PLASTERING
18.7.01 |  |  |  | 25mm thk cement plaster on both surface with 50mm thick groove line as specified in the drawing. | m2 | 280
18.8.00 | PAINTING
18.8.01 |  |  |  | Exterior grade wall paint including putty finish on both side of wall and concrete surface, | m2 | 280
18.9.00 | ELECTRICAL
18.9.01 |  |  |  | Globe light with frosted cover | no | 10
18.9.02 |  |  |  | LED strip light 1.15m with transparent cover on getway marker column | no | 10
18.10.00 |  |  |  | TOTAL OF BILL №: 18 - Carried Over To Summary
19.0.00 |  |  |  | Bill №: 19 - LIBRARY
19.1.00 | GENERAL
19.1.01 |  |  |  | Refer to above general notes
19.2.00 | EXCAVATION
19.2.01 |  |  |  | Excavation for Foundation raft | m3 | 23.96
19.3.00 | FILLING
19.3.01 |  |  |  | Compacted earth filling under ground screed. | m2 | 84.83
19.3.02 |  |  |  | Compacted coarse aggregate layer under foundation | m2 | 84.83
19.3.03 |  |  |  | 50mm thick sand blinding below ground slab | m2 | 84.83
19.4.00 | DAMP-PROOF MEMBRANE
19.4.01 |  |  |  | Water Proof Membrane - DPM | m2 | 19.17
19.4.02 |  |  |  | Bituminous coating | m2 | 73.82
19.5.00 | MASS CONCRETE
19.5.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 0.96
19.6.00 | REINFORCED INSITU CONCRETE
FOUNDATION
19.6.01 | 950 | x | 950 | x 300mm Foundation pads, F5 | m3 | 2.17
19.6.02 | 350 | x | 225 | mm Foundation beam, TB2 | m3 | 4.19
19.6.03 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.76
19.6.04 |  |  |  | 12mm x 6m length | t | 0.34
19.6.05 |  |  |  | 16mm x 6m length | t | 0.34
19.6.06 |  |  |  | 6mm x 6m length | t | 0.1
GROUND FLOOR
19.6.07 |  |  | 100 | mm thk Ground Slab | m3 | 9.08
19.6.08 | 275 | x | 275 | mm Concrete columns C4 | m3 | 0.76
19.6.09 | 350 | x | 200 | mm Roof Beam B1 | m3 | 0.11
19.6.10 | 375 | x | 200 | mm Roof Beam B2 | m3 | 0.08
19.6.11 |  |  |  | 6mm x 6m length | t | 0.13
19.6.12 |  |  |  | 12mm x 6m length | t | 0.45
19.7.00 | BRICK WORK
150mm thick external wall
19.7.01 |  |  |  | GROUND FLOOR | m2 | 139.72
19.8.00 | PLASTERING
20mm thk cement plaster on external surface
19.8.01 |  |  |  | GROUND FLOOR | m2 | 134.7
16mm thk cement plaster on internal surface
19.8.02 |  |  |  | GROUND FLOOR | m2 | 120.67
19.9.00 | CEMENT SCREED
19.9.01 |  |  |  | 50mm thk cement screed waterproofed with SIKA product or equivalent | m2 | 84.83
19.10.00 | GI ROOF FRAMING
GI pipe truss, including welding, bolting, washers and fixing to reinforced concrete as shown in the drawing.
19.10.01 |  |  |  | Truss (span 7.3m) - TR 3 | no | 4
50x100mm C purlin, including welding to truss, bolting, washers and fixing to positing as shown in the drawing.
19.10.02 |  |  |  | C Purlins | m | 130
19.11.00 | CEILING
19.11.01 |  |  |  | False flat ceiling with 6mm thick gypsum board under 50x50mm ceiling joist as per drawing. | m2 | 84.83
19.12.00 | WINDOWS / DOORS
19.12.01 | 1000 | x | 1500 | W4 - Aluminium window | nr | 6
19.12.02 | 1000 | x | 2450 | W5 - Aluminium window | nr | 5
19.12.03 | 1200 | x | 2800 | D6 - Aluminium frame door | nr | 1
19.13.00 | PAINTING
19.13.01 |  |  |  | Exterior grade wall paint finish - P2 | m2 | 134.7
19.13.02 |  |  |  | Interior grade wall paint finish - P1 | m2 | 120.67
19.13.03 |  |  |  | Gypsum board ceiling paint finish - P1 | m2 | 84.83
19.14.00 | TILING
19.14.01 |  |  |  | 600 x 600mm homogeneous textured floor tile - T2 | m2 | 84.83
19.15.00 | ROOF COVERING
19.15.01 |  |  |  | BHP Lysaght Trimdek Hi-Ten or equivalent roofing sheet, over C purlin frame including all fixings, fixed in accordance with manufacturer's instructions. | m² | 100.5
19.15.02 |  |  |  | 50mm mineral wool insulation inbetween purlins and PVC net to hold the insulation | m² | 100.5
19.16.00 | CAPPING
19.16.01 |  |  |  | Lysaght ridge Flashing as per drawing | m | 13.4
19.16.02 |  |  |  | Lysaght Flashing as per drawing | m | 15
19.17.00 | GUTTER
19.17.01 |  |  |  | Zinc gutter 150 x 150mm with gutter strap fixed to purlins | m | 13.4
19.18.00 | DRAIN PIPE
19.18.01 |  |  |  | 100mm dia. Drain pipe with wiremesh gutter strainer | m | 9
19.19.00 | ELECTRICAL
19.19.01 |  |  |  | Light, Power & AC Distribution Board | nr | 1
19.19.02 |  |  |  | Wiring To Lights, Fittings socket | pt | 45
19.19.03 |  |  | LF05 | 17W,230V,4000K, wall light, IP55 | nr | 4
19.19.04 |  |  | LF25 | 18W,230V,3000K, ceiling mounted recessed light | nr | 15
19.19.05 |  |  |  | Ceiling mounted fan | nr | 8
19.19.06 |  |  |  | Light switch 1gang, 1way | nr | 4
19.19.07 |  |  |  | 13A, switch type, single power outlet | nr | 10
19.19.08 |  |  |  | 15A, switch type, single power outlet | nr | 3
19.19.09 |  |  |  | Isolator 3 P | nr | 1
19.20.00 | AIR CONDITION AND VENTILATION
a. All the ACV equipment should be Anti corrosive
b. The minimum Energy efficient value for AC [EER] Should be 3.5 [KW/KW]
Rates shall include for complete installation of units
19.20.01 |  |  |  | Outdoor Unit 24KW-VRF | nr | 1
19.20.02 |  |  |  | 4 way cassette unit, 8KW | nr | 3
19.20.03 |  |  |  | Exhaust air Louver with bird screen, 150 x 150mm | nr | 3
19.20.04 |  |  |  | 100 x 100mm exhaust air duct, 25L/S, | item | 1
19.21.00 | FIRE FIGHTING SYSTEM
19.21.01 |  |  |  | 2Kg Carbondioxide fire Extinguishers | nr | 1
19.21.02 |  |  |  | 9Liters H2O fire Extinguishers | nr | 1
19.21.03 |  |  |  | Smoke detectors | nr | 3
19.21.04 |  |  |  | Manual call point | nr | 1
19.21.05 |  |  |  | Exist sign light | nr | 1
19.21.06 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 1
19.21.07 |  |  |  | Fire resistance cable | item | 1
19.22.00 |  |  |  | TOTAL OF BILL №: 19 - Carried Over To Summary
20.0.00 |  |  |  | Bill №: 20 - ADDITIONS AND OMMISIONS
20.1.01 | ADDITIONS
20.1.1 |  |  |  | Bill №: 01 - PRELIMINARIES
20.1.2 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
20.1.3 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
20.1.4 |  |  |  | Bill №: 04 - MASONRY
20.1.5 |  |  |  | Bill №: 05 - STRUCTURAL METAL WORKS
20.1.6 |  |  |  | Bill №: 06- CARPENTRY
20.1.7 |  |  |  | Bill №: 07 - SUSPENDED CEILING
20.1.8 |  |  |  | Bill №: 08- WINDOWS, SCREENS & LIGHTS
20.1.9 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
20.1.10 |  |  |  | Bill №: 10 - DECORATIONS
20.1.11 |  |  |  | Bill №: 11 - FLOOR, WALL, CEILING AND ROOF FINISHES
20.1.12 |  |  |  | Bill №: 12 - ROOFING
20.1.13 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
20.1.14 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
20.1.15 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
20.1.16 |  |  |  | Bill №: 16 - SOLAR PANEL
20.1.17 |  |  |  | Bill №: 17 - MINARET
20.1.18 |  |  |  | Bill №: 18 - BOUNDARY WALL
20.1.19 |  |  |  | Bill №: 19 - LIBRARY
TOTAL
20.2.0 | OMISSIONS
20.2.1 |  |  |  | Bill №: 01 - PRELIMINARIES
20.2.2 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
20.2.3 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
20.2.4 |  |  |  | Bill №: 04 - MASONRY
20.2.5 |  |  |  | Bill №: 05 - STRUCTURAL METAL WORKS
20.2.6 |  |  |  | Bill №: 06- CARPENTRY
20.2.7 |  |  |  | Bill №: 07 - SUSPENDED CEILING
20.2.8 |  |  |  | Bill №: 08- WINDOWS, SCREENS & LIGHTS
20.2.9 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
20.2.10 |  |  |  | Bill №: 10 - DECORATIONS
20.2.11 |  |  |  | Bill №: 11 - FLOOR, WALL, CEILING AND ROOF FINISHES
20.2.12 |  |  |  | Bill №: 12 - ROOFING
20.2.13 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
20.2.14 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
20.2.15 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
20.2.16 |  |  |  | Bill №: 16 - SOLAR PANEL
20.2.17 |  |  |  | Bill №: 17 - MINARET
20.2.18 |  |  |  | Bill №: 18 - BOUNDARY WALL
20.2.19 |  |  |  | Bill №: 19 - LIBRARY
TOTAL
TOTAL OF BILL №: 19 - Carried Over To Summary