## Sheet1
MHI ANNEX BUILDING MATERIAL COST ESTIMATION
Item | Space | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
1 | FLOORING
1.1 | Ground Floor
1.1.1 | LBD office area | PVC flooring | m² | 455 | 450 | 204750
1.1.2 | Prayer room | Carpet flooring | m² | 18.21 | 600 | 10926
1.2 | First Floor
1.2.1 | Engineering office area | PVC flooring | m² | 415 | 450 | 186750
1.2.2 | 1F Meeting Room 01 | Carpet flooring | m² | 46.54 | 600 | 27924
1.2.3 | 1F Meeting Room 02 | Carpet flooring | m² | 62.28 | 600 | 37368
1.3 | Second Floor
1.3.1 | Existing building (Bureau) | Carpet flooring | m² | 440 | 600 | 264000
1.3.2 | 2F Meeting Room | Carpet flooring | m² | 39.35 | 600 | 23610
1.3.3 | Corridor | PVC flooring | m² | 51 | 450 | 22950
1.4 | Third Floor
1.4.1 | Planning & Housing office area | PVC flooring | m² | 436 | 450 | 196200
1.4.2 | 3F Meeting Room | Carpet flooring | m² | 29.7 | 600 | 17820
1.5 | Fourth Floor
1.5.1 | CIDD | PVC flooring | m² | 357.4 | 450 | 160830
[5 empty] | TOTAL | 1153128
2 | EXISTING SECOND FLOOR INTERIOR WORKS
2.1 | Bureau Floor | Partitions | m² | 325 | 118 | 38350
|  | Painting | m² | 380 | 45 | 17100
|  | Doors | Nos | 13 | 2500 | 32500
|  | Fixed glass ( 1200x900mm) | Nos | 11 | 500 | 5500
|  | VRV Air Conditioners (24,000 BTU) | Nos | 4 | 51000 | 204000
[5 empty] | TOTAL | 297450
3 | MINISTER'S ROOM
3.1 | Toilet Flooring/Wall Finishes |  |  |  |  | 74117.3
3.1.1 | Minister's Room | Dark grey Carpet tiles | m² | 20.47 | 450 | 9211.5
|  | Mid grey Carpet tiles | m² | 15.92 | 450 | 7164
|  | Silver Carpet tiles | m² | 30.86 | 450 | 13887
3.1.2 | Toilet Floor | 600X600mm MARAZZI MYSTONE | m² | 4.004 | 450 | 1801.8
SILVERSTONE FLOOR TILE ANTRACITE AS
PER MAUFACACTURES RECOMMENDATION
3.1.3 | Toilet Wall | 300x600 MML vivo matt porcellanato wall tile | m² | 17.61 | 450 | 7924.5
3.1.4 | Toilet Wall | 300x300 ceramic mosaic tiles | m² | 2.93 | 450 | 1318.5
3.1.5 | Toilet Wall | 300x600 MML roc face porcelain tileridges series | m² | 1.8 | 450 | 810
3.1.6 | Ministry Name | 10MM Thick Stainless Steel | Nos | 1 | 16000 | 16000
3.1.7 | National Emblem | 15MM Thick Stainless Steel | Nos | 1 | 16000 | 16000
3.2 | Electrical/Toilet Fittings |  |  |  |  | 28270
3.2.1 | A-6110-978-906 | Moonshadow H20S - Rainshower Hose connect (AS) | Nos | 1 | 5500 | 5500
3.2.2 | A-1311-200 | Acacia E Exp B&S Shower W/Hand Shower (AS) | Nos | 1 | 5900 | 5900
3.2.3 | 2307SC-WT-0 | Acacia E CC Vortex 2.6/4 CBR Comp.set WT (AS) | Nos | 1 | 7000 | 7000
3.2.4 | TF-476S | Aqualyn 1-Tap holes countertop Lava WT (AS) | Nos | 1 | 750 | 750
3.2.5 | A-1306-10 | Acacia E Mono Basin (AS) | Nos | 1 | 1550 | 1550
3.2.6 | A-8104-N | ABS Bottle Trap, Chrome Plated (A-810) (AS) | Nos | 1 | 600 | 600
3.2.7 | A-8016-A-N | Push Lock waster & over flow for lavatory (AS) | Nos | 1 | 500 | 500
3.2.8 | K-1394-52-N | Acacia E Double Towel Bar (AS) | Nos | 1 | 1300 | 1300
3.2.9 | K-1381-41-N | Acacia E Robe hook (AS) | Nos | 1 | 450 | 450
3.2.10 | K-1384-44-N | Acacia E Glass Holder (AS) | Nos | 1 | 450 | 450
3.2.11 | L-1382-42-N | Acacia E Soap Dish (AS) | Nos | 1 | 450 | 450
3.2.12 | A-5604-CH | Curve Hygiene Spray-Chrome (AS) | Nos | 1 | 500 | 500
3.2.13 | A-4401 | Stop valve Ceramic valve 90 Dgr 1/2" (AS) | Nos | 3 | 320 | 320
3.2.14 | LQ03 | Splash-Mirror 500x750mm (AS) | Nos | 1 | 3000 | 3000
3.3 | Switches |  |  |  |  | 5230
3.3.1 | 283406 | Legrand Switch 4G 1W 10A Mallia Dark Silver | Nos | 1 | 235 | 235
3.3.2 | 283402 | Legrand Switch 2G 1W 10A Mallia Dark Silver | Nos | 1 | 100 | 100
3.3.3 | 283400 | Legrand Switch 1G 1W 10A Mallia Dark Silver | Nos | 1 | 55 | 55
3.3.4 | 283511 | Legrand Single Socket Switch 13A Bs Mallia Dark Silver | Nos | 1 | 100 | 100
3.3.5 | 283562 | Legrand Data Socket Rj45 Cat6 Mallia Dark Silver | Nos | 1 | 200 | 200
3.3.6 | 283560 | Legrand Telephone Socket Rj11 Mallia Dark Silver | Nos | 1 | 95 | 95
3.3.7 | 283535 | Legrand Shaver Socket 20Va 240V Mallia Dark Silver | Nos | 1 | 1270 | 1270
3.3.8 | 283552 | Legrand Tv Socket Female F Type Mallia Dark Silver | Nos | 1 | 100 | 100
3.3.9 | 17CUF | Kdk Ceiling Ventilating Fan 12W 177x177 Mm | Nos | 1 | 1850 | 1850
3.3.10 | 8778-9W-DL | Led Mirror Light 9W DI Pvc Cvr | Nos | 1 | 850 | 850
3.3.11 | 12P06S-SN-18W-DL | Led Down Light 18W DI 6500K Square Satin | Nos | 1 | 375 | 375
[5 empty] | TOTAL | 107617.3
4 | RECEPTION AREA
4.1 | Flooring | Parquet | m² | 91.52 | 485 | 44387.2
4.2 | TV System | 65" Flat Screen TV | Nos | 1 | 17000 | 17000
4.3 | Numbering System display TV | 32" Flat Screen TV | Nos | 1 | 7000 | 7000
4.4 | Numbering System | Queueu Management System | L | 1 | 30000 | 30000
4.5 | Ministry Name | 10MM Thick Stainless Steel | Nos | 1 | 16000 | 16000
4.6 | National Emblem | 15MM Thick Stainless Steel | Nos | 1 | 16000 | 16000
4.7 | Ceiling Lights | Led Tube Light | Nos | 30 | 175 | 5250
4.8 | Ceiling Lights | Led Down Light 18W DI 6500K Square Satin | Nos | 1 | 375 | 375
4.9 | False Ceiling Paint | Nippon Paint Neutrals 2-Rustic Brown 1117 | m² | 80 | 45 | 3600
4.1 | False Ceiling | M-Board with Timber ceiling | m² | 80 | 118 | 9440
4.11 | Reception counters | Plywood Counters | L | 0 | 90000 | 90000
4.12 | Wall Paper | Caparol Capaver Wall paper Circle | m² | 43.83 | 240 | 10519.2
4.13 | Wall Paper | Capaver Capaver Wall paper Lino | m² | 38.13 | 240 | 9151.2
4.14 | 283511 | Legrand Single Socket Switch 13A Bs Mallia Dark Silver | Nos | 1 | 100 | 100
4.15 | 283406 | Legrand Switch 4G 1W 10A Mallia Dark Silver | Nos | 1 | 235 | 235
4.16 | 283560 | Legrand Telephone Socket Rj11 Mallia Dark Silver | Nos | 1 | 95 | 95
4.17 | Main Door | Frameless Glass Door | Nos | 1 | 25000 | 25000
[5 empty] | TOTAL | 284152.6
5 | SEMINAR ROOM
5.1 | Flooring | Laminated timber flooring | m² | 82.14 | 600 | 49284
5.2 | Wall Paint | Nippon Paint Neutrals 1-Aba | m² | 105.5 | 60 | 6330
5.3 | Stage Area | 150MM raised timber platform | LS | 1 | 7500 | 7500
5.4 | Ministry Name | 10MM Thick Stainless Steel | Nos | 1 | 16000 | 16000
5.5 | National Emblem | 15MM Thick Stainless Steel | Nos | 1 | 16000 | 16000
5.5 | Blinds | Seclution Grey Roller Blinds | m² | 6 | 560 | 3360
5.6 | Sound absorbtion system | Coloured Fabric with timber framing | LS | 1 | 18000 | 18000
[5 empty] | TOTAL | 116474
6 | VIP WAITING ROOM
6.1 | Flooring | Carpet Flooring | m² | 21.08 | 600 | 12648
6.2 | Wall paint | Nippon Paint Neutrals 1-Ultra Smooth NP Ow1020P | m² | 15 | 60 | 900
6.3 | Wall Lights | Wall Lamp Sc:4909 | Nos | 4 | 345 | 1380
6.4 | Wall Paper | Capaver ElementEffects Capaver Wall Paper Stripe | m² | 32.29 | 290 | 9364.1
6.5 | TV system | 46" Flat Screen TV | Nos | 1 | 15000 | 15000
[5 empty] | TOTAL | 39292.1
7 | WINDOW BLINDS
7.1 | All floors
7.1.1 | Window 1 | Venetian Blinds | m² | 230 | 560 | 128800
[5 empty] | TOTAL | 128800
8 | WALL PAINT
8.1 | Ground Floor | Nippon Paint White | m² | 510 | 45 | 22950
8.2 | First Floor | Nippon Paint White | m² | 670 | 45 | 30150
8.3 | Second Floor | Nippon Paint White | m² | 89.2 | 45 | 4014
8.4 | Third Floor | Nippon Paint White | m² | 144.4 | 45 | 6498
[5 empty] | TOTAL | 63612
9 | Aluminium low partitions
9.1 | 1.2m height aluminium partition
9.1.1 | Ground Floor | 1.2 height aluminium partitions | m | 117 | 2582 | 302094
9.1.2 | First Floor | 1.2 height aluminium partitions | m | 207 | 2582 | 534474
9.1.3 | Second Floor | 1.2 height aluminium partitions | m | 18 | 2582 | 46476
9.1.4 | Third Floor | 1.2 height aluminium partitions | m | 122 | 2582 | 315004
9.1.5 | Fourth Floor | 1.2 height aluminium partitions | m | 109 | 2582 | 281438
9.2 | 1.m height aluminium partition
9.2.1 | 2nd Floor | 1.65 height aluminium partitions | m | 22 | 3200 | 70400
[5 empty] | TOTAL | 1549886
|  |  | SUB TOTAL |  |  | 3740412

## low aluminium partitions
WORKS OF MHI (EXISTING BUILDING)
Item | Description (code) | Remarks | Unit | Qty | Rate | Amount (MVR)
1 | PRELIMINARIES
1.1 | GENERAL NOTES
1.1.1 | ABBREVIATIONS
m - metre
No - numbers
m³ - cubic metre
m² - square metre
Lm - Linear metre
t - tonnes
mm - millimetre
incl - including
SS - Stainless Steel
GI - Galvanised Iron
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar |  | item | 1 |  | 0
1.3 | 2
| Allow for clean-up upon completion of the works. |  | item | 1 |  | 0
2 | WOOD WORKS
2.1 | GENERAL
(1). | (a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws. (b) All timbers should be treated timber.
2.2 | PARTITION WORKS OF MHI
2.1 | Ground Floor
2.1.1 | 50mm x 100mm Timber partitions with 6mm M-Boards | To be removed | m | 3.8 |  | 0
2.1.2 | Masonry Walls | To be removed | m | 10.25 |  | 0
2.1.3 | 50mm x100mm thick Timber Partitions with 9mm M-Board with Paint finish | To be installed | m | 14 |  | 0
2.2 | First Floor
2.2.1 | 50mm x 100mm Timber partitions with 6mm M-Boards | To be removed | m | 43 |  | 0
2.2.2 | 50mm x100mm thick Timber Partitions with 9mm M-Board with Paint finish | To be installed | m | 23 |  | 0
2.3 | Second Floor
2.3.1 | 50mm x 100mm Timber partitions with 6mm M-Boards | To be removed | m | 90 |  | 0
2.3.2 | Masonry Walls | To be removed | m | 15.5 |  | 0
2.3.3 | 50mm x100mm thick Timber Partitions with 9mm M-Board with Paint finish | To be installed | m | 105 |  | 0
2.3 | VIP WAITING ROOM
2.3.1 | Laminate flooring installation must be as per manufacturers specifications
2.3.2 | Laminate flooring with PVC under layer |  | m² | 21.1 |  | 0
2.3.3 | 75mm wide x 50mm thick x 2400mm long timber strips with dark wood stain varnish finish as per drawing |  | No | 17 |  | 0
2.3.4 | 150mmx20mm thick timber skirting fixed as per drawing |  | m | 18.4 |  | 0
2.3.5 | 400mm wide x 60mm thick x 2500mm long Timber plank shelf finished with dark wood stain varnish fixed on wooden partition with LED strip underneath |  | No | 1 |  | 0
3 | PAINTING
3.1 | GENERAL
(1). | (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(2). | (b) All painting work shall be carried in accordance with the Specifications
3.2 | PARTITION WORKS OF MHI
3.2.1 | Emulsion paint finish including putty application and ground smoothing as specified in specification. (internal surfaces)
3.2.2 | Ground Floor
| Paint on walls as per drawing |  | m² | 45 |  | 0
3.2.3 | First Floor
| Paint on walls as per drawing |  | m² | 65 |  | 0
3.2.4 | Second Floor
| Paint on walls as per drawing |  | m² | 295 |  | 0
3.2.5 | VIP WAITING ROOM
| Paint on walls as per drawing |  | m² | 11.7 |  | 0
4 | FINISHES OF VIP ROOM & MHI BUILDING
4.1 | GENERAL
(1). | (a) Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
4.2 | WALL FINISHES
4.2.1 | Wall finishes with wallpaper |  | m² | 30.5 |  | 0
4.3 | TV BRACKETS
4.4 | GENERAL
(1). | (a) All brackets should have network point, Cable TV point and power cable point for connection.
(2). | SS moveable wall mount TV Brackets as per manufacture recommendation |  | LS | 1 |  | 0
4.5 | MHI Annex Building
| 50 x 50mm Aluminium C- Sections to be be supplied and installed at all stair and lift walls |  | m | 81.6 |  | 0
4.5 | CARPET FLOORING
4.5.1 | Ground Floor
(1). | Carpet material (Sample No, TF-201) |  | m² | 40 |  | 0
4.5.2 | First Floor
(1). | Carpet material (Sample No, TF-201) |  | m² | 104.29 |  | 0
4.5.3 | Second Floor
(1). | Carpet material (Sample No, TF-201) |  | m² | 352.07 |  | 0
(2). | Carpet material (Sample No, TF-203) |  | m² | 415 |  | 0
4.5.4 | Third Floor
(1). | Carpet material (Sample No, TF-201) |  | m² | 29.7 |  | 0
5 | DOORS AND WINDOWS
5.1 | GENERAL
(1). | (a) Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
(2). | (b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
(3). | (c) Sizes are given overall outside dimensions of actual doors and windows.
(4). | (d) Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
(5). | (e) Rates shall include for all painting as specified
(6). | (f) Rates shall include all items specified in the door schedule and specification
5.2 | DOORS AND WINDOWS (REFER TO DOOR/WINDOW SCHEDULE)
5.2.1 | First Floor
(1). | D3 (900mm x 2100mm) Solid Timber door with glass panel | To be installed | No | 2 |  | 0
(2). | FG (850mm x 1250mm) 6MM Fixed glass with timber frame | To be installed | No | 2 |  | 0
5.2.2 | Second Floor
(1). | D3 (900mm x 2100mm) Solid Timber door with glass panel with a door closer better than or equivalent to Yale brand and a good quality lock | To be installed | No | 13 |  | 0
(2). | D6A (2400mm x 1121mm)) Aluminum frame with clear glass and side hung with fixed glass at the top with a door closer better than or equivalent to Yale brand and a good quality lock | To be installed | No | 1 |  | 0
(3). | FG (850mm x 1250mm) 6MM Fixed glass with timber frame | To be installed | No | 14 |  | 0
5.2.3 | VIP Waiting Area
(1). | D1 (850x2100) ,timber frame with solid timber panel door and side hung with a door closer better than or equivalent to Yale brand and a good quality lock | To be installed | No | 1 |  | 0
5.2.4 | Panel Board Area
| Aluminum frame sliding door with fixed clear glass and aluminum louvers with fixed aluminum louvers at the top divided to three panels (Refer to the drawing) | To be installed | LS | 1 |  | 0
5.2.5 | MHI Annex Building
| Installing and Supplying Door closers better than or equivalent to Yale brand | To be installed | No | 60 |  | 0
6 | ELECTRICAL, IT & AC WORKS
6.1 | GENERAL
(1). | (a) Rate shall include for supply, fixing, installation of all fittings,accessories, conduit pipe, wire/cables and any provisions necessary in accordance to the standards set by local government body STELCO
(2). | (b) The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
6.2 | MAINS CONNECTIONS AND BOARDS
6.2.1 | Allow for connection to electrical mains |  | LS | 1 |  | 0
6.3 | ELECTRICAL BOARDS
6.3.1 | Complete installation, relocation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
6.3.2 | Light, Power & AC Distribution Board |  | LS | 1 |  | 0
6.4 | ELECTRICAL WIRING
6.4.1 | Electrical wiring with copper conductor cable in conduits in walls
6.4.2 | Wiring To Lights, Fittings socket |  | Item | 1 |  | 0
6.5 | LIGHTING
6.5.1 | Recessed Tube lights with bedding | To be relocated | No | 49 |  | 0
6.5.2 | Wall light with warm LED bulbs |  | No | 4 |  | 0
6.6 | SWITCHES
6.6.1 | 2 Gang switch | To install | No | 4 |  | 0
6.6.2 | 3 Gang switch | To install | No | 21 |  | 0
6.6.3 | 4 Gang switch | To install | No | 3 |  | 0
6.7 | SOCKETS
6.7.1 | 2x13A socket outlet | To install | No | 124 |  | 0
6.7.2 | Cable TV outlet | To install | No | 2 |  | 0
6.7.3 | 1x15A socket outlet for AC | No | No | 20 |  | 0
6.8 | IT
6.8.1 | (computer data outlet, net work point)
6.8.2 | CCTV | To install | No | 1 |  | 0
6.8.3 | Network point | To Install | No | 83 |  | 0
6.9 | AIR CONDITIONERS
6.9.1 | Ground Floor
(1). | Wall mount air condition system, Removing (BTU 9000) | To Remove | No | 2 |  | 0
(2). | Wall mount air condition system supply, installation and commissioning ,(BTU 24000 ) | To Install | No | 1 |  | 0
6.9.2 | First Floor
(1). | Wall mount air condition system supply, Relocation and commissioning ,(BTU 9000 ) | To Relocate | No | 1 |  | 0
6.9.3 | Second Floor
(1). | Wall mount air condition system supply, Relocation and commissioning ,(BTU 9000 ) | To Relocate | No | 10 |  | 0
(2). | Ceiling mount air condition system supply, Installation and commissioning ,(BTU 12000 ) | To Install | No | 4 |  | 0
7 | ADDITIONS AND OMMISIONS
7.1 | Additions
(1). | Preliminaries
(2). | Wood Work
(3). | Painting
(4). | Finishes
(5). | Doors and Windows
(6). | Electrical, IT and AC Installations
(7). | Metal Works
7.2 | Ommisions
(1). | Preliminaries
(2). | Wood Work
(3). | Painting
(4). | Finishes
(5). | Doors and Windows
(6). | Electrical, IT and AC Installations
(7). | Metal Works
[5 empty] | TOTAL | 0
[5 empty] | GST (6%) | 0
[5 empty] | TOTAL WITH GST | 0