## Summary Sheet
Summary of Bill of Quantities
|  | 1 | 2
|  | Fisaa | Best
Bill No. | Description | Amount (Rf) | Amount (Rf) | Amount (Rf)
1 | PRELIMINARIES | #REF! | #REF! | 0
2 | GROUND WORKS | #REF! | #REF! | 0
3 | CONCRETE WORKS | #REF! | #REF! | 0
4 | MASONRY AND PLASTERING AND PARTITION | #REF! | #REF! | 0
5 | ROOFING | #REF! | #REF! | 0
6 | METAL WORKS | #REF! | #REF! | 0
7 | DOORS AND WINDOWS | #REF! | #REF! | 0
8 | TILING | #REF! | #REF! | 0
9 | PAINTING | #REF! | #REF! | 0
10 | HYDRAULICS AND DRAINAGE | #REF! | #REF! | 0
11 | ELECTRICAL INSTALLATION | #REF! | #REF! | 0
12 | TENDERERS ADJUSTMENTS | 0 | 2 | 0
| Correct Total (Rf) | #REF! | #REF! | 0
| Bidding Price for This Bill (Rf) | 2249848.78 | 2286513.6 | 2326717.63
| Difference (Rf) [Correct Total - Bidding Price for This Bill] | #REF! | #REF! | -2326717.63
| Average Price (Rf) | #REF! | 2287717.151 | 2287717.151
| Difference (Rf) [Correct Total-Average Price] | #REF! | -1203.551 | 39000.479
| Percentage (Contractor's Average) | #REF! | #REF! | -100%
| Price / m² (534.78 sq.m) | #REF! | #REF! | 0
| No. of currently ongoing TEB projects | 0 | 1 | 8
| No. of TEB projects compeleted (since 1998) | 0 | 0 | 12
| Duration (days) | 210 | 210 | 210

## BOQ
Item | Description | Unit | Qty | Material Rate | Labour Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
No - numbers
m³ - cubic metre
m² - square metre
Lm - Linear metre
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.2 | Site Management Costs
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar. | item | 1
1.3 | Sign Board
1 | Allow for sign board. | no | 1
1.4 | Clean-up
1 | Allow for clean-up of completed works and site upon completion. | item | 1
BILL No: 01 PRELIMINARIES
BILL No: 02
GROUND WORKS
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | Site Clearing
1 | Clearing site including trees less than 0.5m girth complete with stumps and roots. | m² | 239.5
2.3 | Excavation
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork.
Excavation for
1 | Foundation Footings | m³ | 34.48
2 | Foundation Tie beam | m³ | 23.75
2.4 | Filling
(a) Rate shall include for leveling, grading, trimming and compacting
1 | Filling and backfilling | m² | 163
2.5 | Damp Proof Membrane
(a) Rates shall include for: dressing around and sealing to all penetrations.
1 | Damp proof membrane on ground floor slab incl turn up for walls | m² | 180
BILL No: 02 - GROUND WORKS
BILL No: 03
CONCRETE
3.1 | General
(a) Rates shall include for: Concrete including reinforcement and formwork, placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
(d) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including tie wire and chair supports, laps, distribution bars, spacer bar and wastage of reinforcement.
3.2 | Lean Concrete
(a) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
1 | 50mm thick lean concrete to bottom of foundations beams and raft. | m³ | 1.44
3.3 | Reinforced Concrete
In-situ reinforced concrete to:
3.3.1 | Foundations
1 | Foundation pads | m³ | 7.98
2 | Foundation tie beams | m³ | 8.42
3.3.2 | Ground Floor
1 | C1 (Circular column) dia 300mm | m³ | 0.2
2 | C2 (Circular column) dia 300mm | m³ | 0.54
3 | C3 (Circular column) dia 300mm | m³ | 0.27
4 | 100mm thick RC ground slab | m³ | 14.3
5 | Staircase | m³ | 2.3
3.3.3 | First floor level
1 | First slab beam, B1 | m³ | 3.15
2 | First slab beam, B2 | m³ | 2.8
3 | 150mm thick first floor slab | m³ | 21
4 | C1 (Circular column) dia 325mm | m³ | 0.2
5 | C2 (Circular column) dia 300mm | m³ | 0.55
6 | C3 (Circular column) dia 300mm | m³ | 0.28
3.3.4 | Roof level
1 | Roof beams RB1, | m³ | 2.92
3.6 | Other concrete works
3.6.1 | (a) Rates shall include for: Excavation, lean, concrete, formwork, reinforcement as specified and shown on the drawings.
1 | 1200 dia mm ground water well | no | 1
2 | RCC Landing tables | no | 8
3 | RCC Butchery bench | no | 2
4 | PVC Drain Lines with Inspection Chambers | item | 1
5 | RCC Foot path drain cover | m³ | 0.46
6 | Rain water tank foundation | item | 1
-7 | Lintel Beam Concrete | m³ | 0.19
3.6.2 | Water proofing
Rates shall include for: dressing around and sealing to all penetrations
1 | Bituminous paint waterproofing for all concrete surfaces below ground level | m² | 67.51
BILL No: 03 - CONCRETE WORKS
BILL No: 04
MASONRY, PLASTERING AND PARTITION
4.1 | General
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
4.2 | Cement brickwork
4.2.1 | 4" cement solid blocks, laid on and incl. mortar tie rods, compression joint gap filler, nylon/plastic mesh as specified (external walls )
1 | Ground floor | m² | 93
2 | First floor | m² | 110.7
4.2.2 | 4" cement solid blocks, laid on and incl. mortar tie rods, compression joint gap filler, nylon/plastic mesh as specified (internal walls )
1 | Ground floor | m² | 6.5
2 | First floor | m² | 56
4.3 | Plastering
(a) Cement plastering on walls and concrete surfaces as specified incl. wire mesh at the joints of concrete surfaces and walls
4.3.1 | 2x12mm thick (two coats) cement plastering (external surface of walls)
1 | Ground floor | m² | 186
2 | First floor | m² | 110.7
4.3.2 | 15mm thick cement plastering (internal surface of walls)
1 | Ground floor | m² | 106
2 | First floor | m² | 222.7
4.4 | Cement Screed
4.4.1 | 35 mm thick floor screed on:
1 | Ground floor including ramp and steps | m² | 191
2 | First floor | m² | 156
3 | Staircase | m² | 18
4.5 | Paving
4.5.1 | Paving blocks
1 | Ground | m² | 15.75
4.6 | Partition
4.6.1 | Gypsum board partition including timber framing and all other fixing
1 | First floor cafeteria area partition | m² | 22.8
BILL No: 04 - MASONRY
BILL No: 05
ROOFING
5.1 | General
(a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
5.2 | Roof Covering
1 | Lysaght or equivalent sheets, including all fixings, fixed in accordance with manufacturer's instructions. | m² | 234
5.3 | Capping
1 | Ridge capping | m | 26
5.4 | Gutter and down pipe
| Gutter | m | 36
| 75mm dia down pipe | m | 54
5.5 | Insulation
1 | 50mm thick rock wool insulation one side aluminum foil held with wire mesh laid between purlins at 1200 centers, including wire mesh as per specification | m² | 234
BILL No: 05 - ROOFING
BILL No: 06
METAL WORKS
6.1 | General
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing as specified in the specification.
(c) Rates shall include for fabrication and erection and temporary supports and fixing into position.
6.2 | Roof Trusses
1 | Roof Truss with 50mm dia and 25mm dia GI pipe including paint as specified in the drawing | no | 6
6.3 | Purlins
1 | 50x50x6mm equal angles @600 c/c | m | 344.8
6.4 | Cladding
1 | MSP colorbond profile sheet sides fascia as shown in the drawing | m² | 30
6.5 | Fresh water hose real stand
1 | Hose real stand with 75mm,50mm,25mm and 15mm SS pipes as shown in the drawing | item | 1
6.6 | GI Grills
1 | Grill with 25mm GI pipe as shown in the drawing | no | 2
6.7 | GI Railing (Stairs)
1 | Railling Complete as shown in drawing with 75mm Top Pipe, 50mm upright and 25 mm center pipe. | m | 9.73
BILL No: 6 METAL WORKS
BILL N0: 07
DOORS AND WINDOWS
7.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All doors and windows to be as specified in the drawing
7.2 | Door units
1 | D1 | no | 2
2 | D2 | no | 1
3 | D3 | no | 4
4 | W1 | no | 5
5 | V1 | no | 4
6 | Fixed Glass (FG) | no | 1
BILL N0: 07 - DOORS AND WINDOWS
BILL N0: 08
TILING
8.1 | General
(a) Rates shall include for:motar, fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
8.2 | Floor Tiles
8.2.1 | Ceramic floor tiles (450x450 Non slip)
1 | Ground floor fish landing area | m² | 150
8.2.2 | Ceramic floor tiles (300x300 Non slip)
1 | Ground floor ramps including steps | m² | 38
8.2.3 | Ceramic floor tiles (450x450 Non slip)
1 | First floor | m² | 144
8.2.4 | Ceramic floor tiles (300x300 Non slip)
1 | First floor toilet | m² | 13
8.2.5 | Ceramic floor tiles (300x300 Non slip)
1 | Staircase including nosing tile | m² | 18
8.3 | Wall tiles
8.3.1 | Ceramic wall tiles (200x200 Glazed)
1 | Ground floor fish landing area | m² | 94
8.3.2 | Ceramic wall tiles (200x300 Glazed)
1 | First floor toilet | m² | 57
BILL No: 08 - TILING
BILL No: 9
PAINTING
9.1 | General
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window
(b) All painting work shall be carried in accordance with the Specifications
(c) Paint system shall be Dulux or Equivelent
9.2 | Wall painting
9.2.1 | Emulsion paint finish on cement plastered surfaces (external surfaces of walls)
1 | Ground floor | m² | 213.9
2 | First floor | m² | 127.31
9.2.2 | Emulsion paint finish on cement plastered surfaces (internal surfaces of walls)
1 | Ground floor | m² | 27.9
2 | First floor | m² | 221.91
9.2.2 | Emulsion paint finish on soffits and sides of beams | m² | 182.7
BILL No:9 - PAINTING
BILL No:10
HYDRAULICS & DRAINAGE
10.1 | Hydraulics
10.1.1 | General
(a) Rates shall include for: valves, sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
10.1.2 | Ground water supply pipe work
1 | Connection to ground water well | no | 1
2 | 25 dia ground water pipe | m | 20
3 | 12 dia ground water pipe | m | 100
10.1.3 | Rain water supply pipe work
1 | 25 dia fresh water pipe | m | 25
2 | 12 dia fresh water pipe | m | 20
10.1.4 | Sanitary fixtures & accessories
Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified.
1 | WC | no | 2
2 | Wash basin | no | 1
3 | Hand shower | no | 2
4 | Basin tap | no | 1
5 | Tap | no | 1
6 | Floor drain | no | 2
10.1.8 | Pump
Supply and installation water pump "Grundfos" including pipe work and electricity as specified
1 | Ground water pump | No | 1
2 | Rainwater water pump | No | 1
10.1.9 | Rainwater water tank
Supply and installation rain water PVC black tank including pipe work
1 | Rain water tank | No | 1
10.2 | Drainage
10.2.1 | General
(a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipe work shall be uPVC
10.2.2 | Pipe work
1 | Connecting to existing sewer main. | no | 1
2 | 150 dia soil waste pipe | m | 55
10.2.3 | Inspection chambers
1 | Inspection chambers complete as shown on the drawings incl all pipe connections and similar | no | 1
2 | Cleaning chambers | no | 4
10.2.4 | Septic Tank
| (a)Complete as shown as Drawing | m³ | 4.86
BILL No: 10- HYDRAULICS & DRAINAGE
BILL No:11
ELECTRICAL INSTALLATIONS
11.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
11.2 | Mains connection
1 | Allow for connection to electrical mains | no | 1
11.3 | Electrical boards
Complete installation, including for all connections, earthing, painting, testing and similar of:
2 | Distribution board | no | 2
11.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
1 | Wiring with 2.5 mm² cable to lighting | points | 50
2 | Wiring with 2.5 mm² cable to power points | points | 13
11.5 | Lighting
1 | Ceiling mount 1x4 fluorescent tube light with prismatic cover | no | 38
2 | Ceiling mount 1x2 fluorescent tube light with prismatic cover | no | 1
3 | Street type light post | no | 4
4 | Ceiling fan | no | 7
11.6 | Socket outlets
(a) All socket outlets shall be "Clipsal" or equivalent.
1 | 2x13A socket outlet (weather proof) | no | 9
2 | Telephone socket | no | 2
3 | TV socket | no | 2
11.7 | Light switches
(a) All light switches shall be "Clipsal" or equivalent.
1 | One way switch | no | 20
2 | Fan regulator | no | 7
BILL No: 11 - ELECTRICAL INSTALLATIONS
BILL No: 12
TENDER'S ADJUSTMENT
12.1 | Additions
1 | Preliminaries - Bill 01
2 | Ground works - Bill 02
3 | Concrete - Bill 03
4 | Masonry, Plastering and Partition- Bill 04
5 | Roofing - Bill 05
6 | Metal works - Bill 06
7 | Doors and Windows - Bill 07
8 | Tiling - Bill 08
9 | Painting - Bill 09
10 | Hydraulic and Drainage - Bill 10
11 | Electric Installation - Bill 11
12.2 | Omissions
1 | Preliminaries - Bill 01
2 | Ground works - Bill 02
3 | Concrete - Bill 03
4 | Masonry, Plastering and Partition- Bill 04
5 | Roofing - Bill 05
6 | Metal works - Bill 06
7 | Doors and Windows - Bill 07
8 | Tiling - Bill 08
9 | Painting - Bill 09
10 | Hydraulic and Drainage - Bill 10
11 | Electric Installation - Bill 11
BILL No: 12 - TENDER'S ADJUSTMENTS
0

## Sheet2 (hidden)
Fisaa
4900000 | 4900000
1600000 | 1600000
6500000 | 1500000
65000
540000
812000
533000
3800000
13750000
Best
2500000 | 2500000
800000 | 800000
1100000 | 1100000
1200000 | 1200000
277960 | 277960
300000 | 300000
238000 | 238000
6415960 | 1200000
585127
169829
1498445.76
9869361.76
Alihavasa
3864175.49 | 3864175.49
1940685.05 | 1940685.05
1175059.39 | 1175059.39
931593.51 | 931593.51
1503105.1 | 1503105.1
1133429 | 1133429
2700000 | 2700000
13248047.54 | 1359187.82
2814857.99
2802687.96
3085641.34
23310422.65