## Cover
DEVELOPMENT AND EXPANSION OF THE
MAAFARU AIRPORT - PHASE II
ESTIMATED QUANTITES

## Bill No-02
Project: Development and Expansion of the Maafaru Airport-Phase II
Estimated Quantities
Bill No. 02
Item No. | Description | Quantity | Unit | Rate (USD $) | Amount (USD $)
2 | South Runway Extension (650 meters)
2.1 | Land Reclamation-A (contractor to verifiy quantity) | 310000 | m3
2.2 | Land Reclamation-B (contractor to verify quantitiy) | 530000 | m3
2.3 | Runway Emergency Safety Area (RESA)-South End 06 | 31000 | m3
2.4 | Runway Emergency Safety Area (RESA)-North End 24 | 31000 | m3
2.5 | Shoulder Backfill | 7500 | m3
2.6 | Revetment
2.6.1 | Type A - Ocean Side (rock or tetrapod, contractor to verify) | 3500 | m
2.6.2 | Type B - Lagoon Side (geobags, contractor to verify) | 2200 | m
2.7 | Sub Base (Thickness TBD, contractor to verify quantities and design) | 32300 | m2
2.8 | Base Course (contractor to verify quanties and design) | 32300 | m2
2.9 | Asphalt (contractor to verify quantities and design) | 32300 | m2
2.1 | Runway Paint Markings (Layout as per ICAO to be submitted for approval) | 1 | Item
2.11 | The Contractor shall arrange for weekly record photographs of Works as directed and specified by the Engineer using a high resolution camera with both a drone and ground level pictures. (cost of drone to be addressed in Bill 06-provional sum 6.3 | 1 | Item
Contractor's Adjustment
Contractor may price here any items which has been shown in the contract drawings or any other Tender/Contract documents but overlooked or not specifically mentioned in the schedule of items and is necessary for the satisfactory completion of the works. should the contractor fail to insert any item here , it will be deemed that Lump Sum Contract /Tender price includes all such items and so no claims for additional items will be entertained. Any and all items must be designed properly and certified by a Maldivian licensed engineer.

## Bill No-03
Project: Development and Expansion of the Maafaru Airport-Phase II
Estimated Quantities
Bill No. 03
Item No. | Description | Quantity | Unit | Rate (USD $) | Amount (USD $)
3 | Taxiway Modifications
3.1 | Sub Base (contractor to verify quantities and design) | 5600 | m2
3.2 | Base Course (contractor to verify quantities and design) | 5600 | m2
3.3 | Asphalt replacement (contractor to verify quantities and design)- Taxi Way B, Surface level adjust with same level for Existing Apron Level | 5600 | m2
3.4 | Strip and Remove Vegetation for the entire site as required | 1 | Item
3.5 | Compaction & Landscaping (Grass Seeding) | 1 | Item
3.6 | Taxiway Paint Markings | 1 | Item
Contractor's Adjustment
Contractor may price here any items which has been shown in the contract drawings or any other Tender/Contract documents but overlooked or not specifically mentioned in the schedule of items and is necessary for the satisfactory completion of the works. should the contractor fail to insert any item here , it will be deemed that Lump Sum Contract /Tender price includes all such items and so no claims for additional items will be entertained. Any and all items must be designed properly and certified by a Maldivian licensed engineer.

## Bill No-04
Project: Development and Expansion of the Maafaru Airport-Phase II
Estimated Quantities
Bill No. 04
Item No. | Description | Quantity | Unit | Rate (USD $) | Amount (USD $)
4 | Runway Airfield Upgrades
4.1 | Upgrade existing runway asphalt to meet B777 requirments | 100000 | m2
4.2 | Shoulder Raising- 2,200m x 9m x 100mm (contractor to verify) | 4000 | m3
4.3 | Airfield Earthwork Blending to New Shoulder | 1 | Item
4.4 | Boundary fence | 1 | Item
4.5 | Infrastructure Works (Storm Water Run-Off) | 1 | Item
4.6 | Runway Paint Markings (layout as per ICAO to be submitted for approval) | 1 | Item
Contractor's Adjustment
Contractor may price here any items which has been shown in the contract drawings or any other Tender/Contract documents but overlooked or not specifically mentioned in the schedule of items and is necessary for the satisfactory completion of the works. should the contractor fail to insert any item here , it will be deemed that Lump Sum Contract /Tender price includes all such items and so no claims for additional items will be entertained. Any and all items must be designed properly and certified by a Maldivian licensed engineer.

## Bill No-05
Project: Development and Expansion of the Maafaru Airport-Phase II
Estimated Quantities
Bill No. 05
Item No. | Description | Quantity | Unit | Rate (USD $) | Amount (USD $)
5 | Airfield Lighting
5.1 | Runway Lighting for 06 end
5.1.1 | Supply and Install Runway Edge Elevated Lights (Keep elevation of lights the same as existing) | 1 | Item
5.1.2 | Supply and Install Runway Edge Inset Lights as needed through the turn around areas (Left Side Amber) | 1 | Item
5.1.3 | Supply and Install Combined Runway Threshold & Runway End Inset lights (To be inset lights) | 1 | Item
5.1.4 | Supply and Install threshold Wing bar lights (To be elevated lights) | 1 | Item
5.1.5 | Supply and Install Approach Lights | 1 | Item
5.1.6 | Supply and Install PAPI (four units system) for three halogen lamps 200W, 6.6A. Complete with PAPI calibration tool box. Connectivity with the existing APAPI circuit, 20KVA CCR. Dismantling of the already installed APAPI System (1 sets) on the 06 approach. | 1 | Item
5.2 | Runway Lighting for 24 end
5.2.1 | Supply and Install threshold Wing bar lights (To be elevated lights) | 1 | Item
5.2.2 | Supply and Install Approach Light | 1 | Item
5.2.3 | Supply and Install PAPI (four units system) for three halogen lamps 200W, 6.6A. Complete with PAPI calibration tool box. Connectivity with the existing APAPI circuit, 20KVA CCR. Dismantle of the already installed APAPI System (1 sets) on the 24 approach. | 1 | Item
5.3 | Relocate and replace (if required) Existing Taxi Way Lighting (Replace if necessary) | 1 | Item
5.4 | Install additional wind cone near 06 end with associated power for Light (Provide 2 additional spare wind socks) | 1 | item
5.6 | Supply and installation of Constant Current Regulators for Approach lighting system | 1 | item
| Total For Collection Page |  |  |  | 0
5.7 | Supply and Installation of mandatory and information LED signage. | 1 | item
5.8 | Supply and Installation of Constant Current Regulators for Individual Taxiway Lighting System and LED signage. | 1 | item
5.9 | Modification and integration of the ALCMS System | 1 | item
5.1 | Supply and Installation of the new AGL Power Panel for new CCRs | 1 | item
5.11 | Existing CCR room in Fire House to be extended to accommodate additional CCR's due to extension (with additional AC) | 1 | item
5.12 | Replace emergency generator in Power House | 1 | item
Note: All associated works including laying of additional primary and secondary AFL cables, control cable works, power wiring, addition of power distribution boards, testing, excavation, backfill, builders works, commissioning, grounding, terminations, CCR's etc. etc. to be included
Contractor's Adjustment
Contractor may price here any items which has been shown in the contract drawings or any other Tender/Contract documents but overlooked or not specifically mentioned in the schedule of items and is necessary for the satisfactory completion of the works. should the contractor fail to insert any item here , it will be deemed that Lump Sum Contract /Tender price includes all such items and so no claims for additional items will be entertained. Any and all items must be designed properly and certified by a Maldivian licensed engineer.
| Total For Collection Page |  |  |  | 0
Bill Summary
| Bill No-02 Page 1 - SubTotal |  |  |  | 0
| Bill No-02 Page 2 - SubTotal |  |  |  | 0