## BOQ NEW
HOARAFUSHI ACCOMMODATION BUILDING - BOQ
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | m | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | MOBILIZATION
|  |  |  | Allow for Mobilization of the project | item | 1
1.3.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.4.00 | SIGN BOARD
|  |  |  | Allow for sign board. | nr | 1
1.5.00 | CLEAN-UP & MOBILIZATION
|  |  |  | Allow for clean-up upon completion of works. | item | 1
1.6.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. | item | 1
Note - Mobilization & demobilization cost included in accommodation building boq
TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: levelling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
2.2.01 |  |  |  | Clearing the area of site (rubbish and vegetable matters, stumps, roots. Rates shall include for removal of trees and tree stumps) | m2 | 500
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation for Foundation | m3 | 14
2.3.02 |  |  |  | Excavation for Tie beam | m3 | 11
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 240
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
Bituminous waterproofing membrane
2.5.01 |  |  |  | Polythene damp proof membrane (500gauge) laid under blinding layer | m2 | 240
2.5.02 |  |  |  | Water proof membrane to sides of pads, beams and walls below floor level | m2 | 240
2.6.00 | ANTI-TERMITE TREATMENT
2.6.01 |  |  |  | Anti-Termite treatment for the whole ground floor area | m2 | 240
2.7.00 | DE-WATERING
2.7.01 |  |  |  | De-watering the excavation until completion of concrete work as required | item | 1
TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fair faced, use plasticiser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
3.2.00 | REINFORCED INSITU CONCRETE
UP TO GROUND FLOOR
LEAN CONCRETE
|  |  |  | Under Footings | m2 | 18
|  |  |  | Under Plinth beams | m2 | 31
FOUNDATION
3.2.01 |  |  |  | Foundation Footings | m3 | 5
3.2.02 |  |  |  | Plinth Beam | m3 | 11
COLUMNS
3.2.03 |  |  |  | Reinforced Concrete columns | m3 | 1
RAFT SLABS
3.2.04 |  |  | 100 | mm thk Concrete Raft Slab | m3 | 24
3.4.00 | UP TO ROOF LEVEL
BEAMS
3.4.01 |  |  |  | Reinforced Concrete Beams | m3 | 6.5
COLUMNS
3.4.02 |  |  |  | Reinforced Concrete columns | m3 | 5
TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2.00 | BLOCK WORK
Internal Cement block wall (Hollow)
|  |  | 150 | mm thk full height
4.2.01 |  |  |  | GROUND FLOOR | m2 | 242
External Cement block wall (Solid)
|  |  | 150 | mm thk full height
4.2.03 |  |  |  | GROUND FLOOR | m2 | 277
4.3.00 | DRY WALLS
Dry wall partition walls fixed as per the drawing details
|  |  | 100 | mm thk full height
4.3.01 |  |  |  | GROUND FLOOR | m2 | 17
TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified.
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
5.2.00 | GROUND FLOOR
5.2.01 | 1650 | X | 1100 | W1 - POWDER COATED ALUMINIUM FRAMED SLIDING WINDOW (REFELCTIVE GLASS) | nos | 3
5.2.02 | 2450 | X | 1100 | W2 - POWDER COATED ALUMINIUM FRAMED SLIDING TRIPLE PANEL WINDOW (REFELCTIVE GLASS) | nos | 4
5.2.03 | 1900 | X | 2600 | D1 - GRP MAIN DOOR WITH POLISHED STAINLESS STEEL FRAME & 8MM TEMPERED GLASS | nos | 5
5.2.04 | 1000 | X | 2400 | D2 - GRP DOOR WITH POWDER COATED ALUMINIUM FRAME | nos | 3
5.2.05 | 5150 | X | 4200 | G1 - ROLLER SHUTTER GARRAGE DOOR TYPE 01 | nos | 1
5.2.06 | 4115 | X | 4200 | G2 - ROLLER SHUTTER GARRAGE DOOR TYPE 02 | nos | 1
5.3.00 | WINDOW SHADING
5.3.01 |  |  |  | Window Shading from Ground floor to First floor (Aluminium Composite panel) | Item | 1
TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - FINISHING
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for :all labour in framing , notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws
|  |  | (b) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (c) | Skirting rate is included in the Tiling rate
6.2.00 | PLASTERING
16mm thk cement plaster on internal surface as specified on the drawing.
6.2.01 |  |  |  | GROUND FLOOR | m2 | 761
16mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent to be applied.
6.2.02 |  |  |  | GROUND FLOOR | m2 | 277
6.3.00 | CEMENT SCREED
|  |  | 25 | mm thick cement screed
6.3.01 |  |  |  | GROUND FLOOR | m2 | 240
6.4.00 | FLOOR TILING FINISH
| 600 | x | 600 | mm Homogenous tiles
6.4.01 |  |  |  | GROUND FLOOR | m2 | 240
TOTAL OF BILL №: 06- Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
7.2.00 | WALL PAINTING
EXTERNAL PAINTING
Textured weather-bound paint finish as specified for external
7.2.01 |  |  |  | GROUND FLOOR | m2 | 277
INTERNAL PAINTING
Emulsion paint finish including putty application for internal
7.2.02 |  |  |  | GROUND FLOOR | m2 | 761
TOTAL OF BILL №: 07 - Carried Over To Summary
08.0.00 |  |  |  | Bill №: 08 - HYDRAULICS AND DRAINAGE
08.1.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; back nuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be uPVC.
|  |  | (c) | All costs related to installation of water supply system and waste water disposal system on site, that complies with the local standards at the property from the local mains.
|  |  | (d) | All measurements to be made on site by the contractor.
|  |  | (e) | Contractor shall submit shop drawings for all related works to be approved by the Engineer before executing the work.
08.2.00 | FRESH WATER SUPPLY SYSTEM
GROUND FLOOR
08.2.01 |  |  |  | uPVC pipe | Item | 1
08.3.00 | SEWER AND WASTE WATER DRAINAGE SYSTEM
GROUND FLOOR
WASTE PIPE
08.3.01 |  |  |  | uPVC pipe & necessary fittings | Item | 1
08.4.00 | SANITARY FITTINGS
GROUND FLOOR
08.4.01 |  |  |  | Wash basin | nr | 1
08.4.02 |  |  |  | Wash Basin tap | nr | 1
08.4.03 |  |  |  | Wall tap | nr | 5
08.4.04 |  |  |  | Floor drain | nr | 5
08.4.05 |  |  |  | Angle valve | nr | 6
08.4.06 |  |  |  | Gate Valve | nr | 5
08.4.07 |  |  |  | Allow for Installation | Item | 1
08.5.00 | STORM WATER SOAK PIT
08.5.01 |  |  |  | Supply & Installation of 300x300x500mm Concrete soak pit for Down pipes | Nos | 10
TOTAL OF BILL №: 08 - Carried Over To Summary
09.0.00 |  |  |  | Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
09.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc.) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvanized brackets for trenches, accessories, etc. as applicable.
|  |  | (j) | The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
|  |  | (k) | Rates for materials/ plants/ equipment not approved for duty free facilities to be quoted on duty paid basis.
|  |  | (l) | All equipment shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
|  |  | (m) | The rate shall include for insurance during handling, re-handling, transport, storage until ready for installation, delivery of equipment up to the point of installation and until handing over.
|  |  | (n) | The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
|  |  | (q) | Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
|  |  | (r) | All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
|  |  | (s) | All costs related to installation of service cables that complies with the local standards at the property from the local mains.
|  |  | (t) | All measurements to be made on site by the contractor.
|  |  | (u) | Contractor shall submit shop drawings for all related works to be approved by the Engineer before executing the work.
09.2.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including switches, power outlet, isolators, etc., all as specified
09.2.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for light point wiring | nr | 77
09.2.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for following Socket outlet/isolator point wiring | nr | 84
Wiring points
ELECTRICAL BOARDS
Complete installation incl. for all connection earthing, painting, testing and similar of;
09.3.00 | MAIN DISTRIBUTION BOARD
09.3.01 |  |  | GROUND FLOOR |  | nr | 1
09.4.00 | CONTROL PANEL
09.4.01 |  |  | GROUND FLOOR |  | nr | 5
09.5.00 | SOCKETS
GROUND FLOOR
09.5.01 |  |  | 13A | Twin Socket Outlet | nr | 23
09.5.02 |  |  | 13A | Power Socket Outlet | nr | 15
09.5.03 |  |  | 13A | Power Socket Outlet with Waterproof cover | nr | 4
09.5.04 |  |  | 15A | Power Socket Outlet | nr | 15
09.5.05 |  |  |  | TPN Isolator | nr | 4
09.5.06 |  |  |  | Telephone outlet | nr | 2
09.5.07 |  |  |  | Computer network outlet | nr | 2
09.5.08 |  |  |  | Emergency light | nr | 10
09.5.09 |  |  |  | Electricity meter | nr | 1
09.5.10 |  |  |  | Allow for Installation | Item | 1
09.6.00 | SWITCHES AND LIGHTING
GROUND FLOOR
09.6.01 |  |  |  | Ceiling Light (18W) | nr | 10
09.6.02 |  |  |  | Ceiling Light (12W) | nr | 22
09.6.03 |  |  |  | 4ft Tube light (IP65) | nr | 6
09.6.04 |  |  |  | Wall mounted light (70W) | nr | 2
09.6.05 |  |  |  | Weatherproof Wall Light (8/12W) | nr | 4
09.6.06 |  |  |  | Ceiling Fan Switch Controller | nr | 8
09.6.07 |  |  |  | Ceiling Fan | nr | 8
09.6.08 |  |  |  | 1 x 1 Switch (1Gang) | nr | 2
09.6.09 |  |  |  | 1 x 2 Switch (2Gang) | nr | 11
09.6.10 |  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 3
09.6.11 |  |  |  | 1 x 4 Switch ( 4Gang) | nr | 1
09.6.12 |  |  |  | Allow for Installation of All Light Fittings | Item | 1
Sub Total Carried Forward to Next page
Sub Total Brought Forward
09.7.00 | AIR CONDITIONERS
GROUND FLOOR
09.7.01 |  |  |  | Supply & Installation of Airconditioner 9000BTU | Nos | 1
09.7.02 |  |  |  | Supply & Installation of Airconditioner 12000BTU | Nos | 1
09.7.03 |  |  |  | Supply & Installation of Airconditioner 25000BTU (Cassette type) | Nos | 2
09.7.04 |  |  |  | Supply & Installation of Airconditioner 15000BTU (Cassette type) | Nos | 3
09.8.00 | OTHERS
CCTV System
09.8.01 |  |  |  | Supply & Installation of 07 nos Angular Cameras | Item | 1
TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - ROOF
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges,struts, collars and similar and all nails and screws.
10.2.00 | ROOFING WORKS
10.2.01 |  |  |  | 50mm x 38mm Timber Purlins | m | 470
10.2.02 |  |  |  | 50mm x 100mm Timber Rafters | m | 255
ROOF COVERING
10.2.03 |  |  |  | Supply and installation Lysaght Roofing Sheets as per the Manufacturer's specification. | m2 | 300
10.2.04 |  |  |  | 50mm thick single sided rock wool insulation. | m2 | 300
10.2.05 |  |  |  | PVC net to place 50mm thick single sided glass wool insulation. | m2 | 300
10.2.06 |  |  |  | Fixing of Lysaght Ridge flashing | m | 50
10.2.07 |  |  |  | Fixing of Lysaght horizontal flashing | m | 81
10.2.08 |  |  |  | Fixing of Lysaght gutter with Aluminium facia | m | 74
10.2.09 |  |  |  | Fixing of 100mm dia. PVC down pipes, with elbows and tee as required | Nos | 10
10.2.10 |  |  |  | Allow for cappings, endcaps, Valance boards etc | Item | 1
10.3.00 | CEILING WORKS
10.3.01 |  |  |  | Suspended False Ceiling Panels | m2 | 290
TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - FURNITURES
11.1.00 |  |  | Allow for all the Furniture and Interior Designs (Description to be included) |  | Item | 1
TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion.
|  |  | (d) | All items shall be supply and complete installation.
12.2.00 | FIRE FIGHTING SYSTEM
GROUND FLOOR
12.2.01 |  |  |  | FIRE ALARM PANEL WITH BEACONS | nr | 1
12.2.02 |  |  |  | OPTICAL SMOKE DETECTOR | nr | 8
12.2.03 |  |  |  | HEAT DETECTOR | nr | 5
12.2.04 |  |  |  | MANUAL CALL POINT | nr | 5
12.2.05 |  |  |  | BELL | nr | 1
12.2.06 |  |  |  | CO2 FIRE EXTINGUISHER CYLINDER(2kg) | nr | 4
12.2.07 |  |  |  | H2O FIRE EXTINGUISHER CYLINDER(2kg) | nr | 4
12.2.08 |  |  |  | EXIT SIGN LIGHT | nr | 4
12.2.09 |  |  |  | EMEREGENCY BOOSTER PUMP 24 LIT/MIN | nr | 1
12.2.10 |  |  |  | MANUAL OPERATED ELECTRIC PUMP | nr | 1
12.2.11 |  |  |  | HOSE REEL WITH NOZZLE (30M LONG) | nr | 1
12.2.12 |  |  |  | WATER TANK 5000 LITRES | nr | 1
TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - ADDITIONS AND OMMISIONS
13.1.00 | ADDITIONS
13.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
13.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
13.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
13.1.04 |  |  |  | Bill №: 04 - MASONRY
13.1.05 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
13.1.06 |  |  |  | Bill №: 06 - FINISHINGS
13.1.07 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
13.1.08 |  |  |  | Bill №: 08 - HYDRAULICS AND DRAINAGE
13.1.09 |  |  |  | Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
13.1.10 |  |  |  | Bill №: 10 - ROOFING
13.1.11 |  |  |  | Bill №: 11 - FURNITURES
13.1.12 |  |  |  | Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
13.1.13 |  |  |  | Bill №: 13 - ADDITIONS AND OMISSIONS
13.2.00 | OMISSIONS
13.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
13.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
13.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
13.2.04 |  |  |  | Bill №: 04 - MASONRY
13.2.05 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
13.2.06 |  |  |  | Bill №: 06 - FINISHINGS
13.2.07 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
13.2.08 |  |  |  | Bill №: 08 - HYDRAULICS AND DRAINAGE
13.2.09 |  |  |  | Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
13.2.10 |  |  |  | Bill №: 10 - ROOFING
13.2.11 |  |  |  | Bill №: 11 - FURNITURES
13.2.12 |  |  |  | Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
13.2.13 |  |  |  | Bill №: 13 - ADDITIONS AND OMISSIONS
TOTAL OF BILL №: 13 - Carried Over To Summary

## Rough Sheet (hidden)
KULHUDUFFUSHI HOSPITAL BOQ
Male', Republic of Maldives
BILL OF QUANTITIES | [9 empty] | 0.25 |  |  | BOQ ADDED RATE
ITEM |  |  |  | DESCRIPTION | UNIT | QTY |  | LABOUR |  | MATERIAL |  | TOTAL | RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES |  |  |  | RATE | TOTAL | RATE | TOTAL | [17 empty] | DESCRIPTION |  |  |  | AMOUNT | LABOUR | MATERIAL | TOTAL
1.1.00 | GENERAL NOTES | [27 empty] | Bill №: 01 - PRELIMINARIES |  |  |  | 1580000 | 1185875 | 151500 | 1337375
|  |  |  | Abbreviations | [24 empty] | Bill №: 02 - EXCAVATION AND FILING |  |  |  | #REF! | #REF! | 151500 | #REF!
|  |  | m | - metre | [24 empty] | Bill №: 03 - INSITU CONCRETE WORKS |  |  |  | #REF! | #REF! | #REF! | #REF!
|  |  | nr | - numbers | [24 empty] | Bill №: 04 - MASONRY |  |  |  | #REF! | #REF! | #REF! | #REF!
|  |  | m3 | - cubic metres | [24 empty] | Bill №: 05 - DOOR AND WINDOWS |  |  |  | #REF! | #REF! | #REF! | #REF!
|  |  | m2 | - square metres | [24 empty] | Bill №: 06 - STAIRS AND BALCONY RAILING |  |  |  | #REF! | 13584.375 | 54337.5 | 67921.875
|  |  | m | - linear metre | [24 empty] | Bill №: 07 - FINISHING |  |  |  | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | Transpoort | Site visits | Accom | Food
|  |  | t | - tons | [24 empty] | Bill №: 08 - PAINTING & DECORATIONS |  |  |  | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | 134100 | 76500 | 66300
|  |  | inc. | - including | [24 empty] | Bill №: 09 - HYDRAULICS AND DRAINAGE |  |  |  | #REF! | #REF! | #REF! | #REF!
|  |  | mm | - millimetre | [24 empty] | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES |  |  |  | #REF! | 954585 | 2583202 | 3537787 |  | Labour | #REF! | #REF!
|  |  | SS | - stainless steel | [24 empty] | Bill №: 11 - LIFTS |  |  |  | #REF! | 187500 | 750000 | 937500 |  | Machin + Fuel | #REF! | #REF!
|  |  | GI | - galvanized iron | [24 empty] | Bill №: 12 - FURNITURES |  |  |  | #REF! | 281250 | 1125000 | 1406250 |  |  | #REF! | #REF!
[29 empty] | Bill №: 13 - INSULATION, FIRE STOPPING & FIRE PROTECTION |  |  |  | #REF! | 69880.04 | 223300 | 293180.04 |  | Fuel | #REF!
[29 empty] | Bill №: 14 - MISCELLANEOUS |  |  |  | #REF! | 38150 | 127850 | 166000 |  |  | 17207095
1.2.00 | MOBILIZATION | [27 empty] | Bill №: 15 - ADDITIONS AND OMMISIONS |  |  |  | #REF!
[29 empty] | TOTAL AMOUNT |  |  |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Allow for Mobilization of the project | item | 1 |  | 340000 | 340000 |  |  | 340000 | 425000 | 425000 | [14 empty] | GST |  |  |  | #REF! | #REF! | #REF! | #REF! |  | Admin | 67500
[29 empty] | GRAND TOTAL |  |  |  | #REF! | #REF! | #REF! | #REF! |  | Rep | #REF!
1.3.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1 |  | 504000 | 504000 | 144000 | 144000 | 648000 | 720000 | 720000 | [21 empty] | #REF!
[36 empty] | #REF! |  | STAFF | 360000
1.4.00 | SIGN BOARD
|  |  |  | Allow for sign board. | nr | 1 |  | 1875 | 1875 | 7500 | 7500 | 9375 | 10000 | 10000 | [12 empty] | 1337375
#REF!
1.5.00 | CLEAN-UP & MOBILIZATION | [30 empty] | Original Budget
|  |  |  | Allow for clean-up upon completion of works. | item | 1 |  | 340000 | 340000 |  |  | 340000 | 425000 | 425000 | [16 empty] | ACCOMADATION | 76500
[31 empty] | ADMINISTRATIVE | 67500
[31 empty] | DIESEL FUEL | #REF!
1.6.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES | [29 empty] | REPAIR & MAINTENACE | #REF! | [8 empty] | #REF! | Transpoort | Site visits | Accom | Food
|  |  |  | Insurance as stated in the general conditions. | item | 1 | [6 empty] | - | - | [16 empty] | FOOD SUPPLIES | 66300 | [8 empty] | #REF! | #REF! | 134100 | 76500 | 66300
MOBILISATION
| Note - | Mobilization and Demobilization charges included in Kulhuduffushi Hospital OPD | [28 empty] | DEPRECIATION | [8 empty] | Labour | #REF! | #REF!
[31 empty] | SITE VISITS | 134100 | [7 empty] | Machin + Fuel | #REF! | #REF!
[31 empty] | STAFF COST | 360000 | [8 empty] | #REF! | #REF!
|  |  |  | TOTAL OF BILL №: 01 - Carried Over To Summary |  |  |  |  | 1185875 |  | 151500 | 1337375 | 1580000 | 1580000 | [25 empty] | Fuel | #REF!
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING | [26 empty] | MATERIALS TRPT | #REF! | [8 empty] | 17207095
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: levelling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil. | [26 empty] | MATERIALS | #REF! | [7 empty] | Admin | 67500
[40 empty] | Rep | #REF!
[31 empty] | SUBCONTRACT | #REF!
2.2.00 | SITE CLEARING
2.2.01 |  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. Rates shall include for removal of trees and tree stumps | m2 | 480 |  | 50 | 24000 | 25 | 12000 | 36000 | 75 | 36000 | [16 empty] | TOTAL | #REF!
[40 empty] | STAFF | 360000
2.3.00 | EXCAVATION | [29 empty] | Contract Value | #REF!
|  |  |  | Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling. | [11 empty] | ex Rate |  | lorry rate |  |  |  | length |  |  |  | Masonry blocks |  |  |  |  | ∑ Approved Varationas
2.3.01 |  |  |  | Excavation for Foundation | m3 | #REF! |  | 120 | #REF! |  |  | #REF! | 120 | #REF! | 1080 | 1280 | #REF! | 830 | 2.0699 | #REF! | #REF! | 81.625 | 6.15 | 8000 | 49200 | #REF! |  |  |  |  | Profit/Loss | #REF!
[15 empty] | 0 | [15 empty] | % Profit Losss | #REF!
2.4.00 | FILLING | [13 empty] | 0 | [5 empty] | #REF!
|  |  |  | Rate shall include for: levelling, grading, trimming, compacting and similar | [10 empty] | #REF! | #REF! | #REF! |  |  |  | #REF! | [9 empty] | Prepared By |  |  | Checked By |  |  | Approved By
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 400 |  | 40 | 16000 | 30 | 12000 | 28000 | 80 | 32000 |  |  | #REF! |  |  |  | #REF! | [9 empty] | Nisath.Masthan |  |  | Umar Zahir |  |  | Ahmed Latheef
[17 empty] | #REF! | 680 | #REF!
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.5.01 |  |  |  | Bituminous waterproofing membrane
|  |  |  | Polythene damp proof membrane (500gauge) laid under blinding layer | m2 | #REF! | [6 empty] | 45 | #REF!
|  |  |  | Polythene Roll ( 3.65 m x 36.57m -133.48 m2 ) | nos | #REF! |  | 90 | #REF! | 2000 | #REF! | #REF!
|  |  |  | Water proof membrane to sides of pads, beams and walls below floor level | m2 | #REF!
|  |  |  | Bitumen Paint 18 ltr.Bucket | Bkt | #REF! |  | 90 | #REF! | 450 | #REF! | #REF!
|  |  |  | Application of 'MASTERSEAL 550' chemical to Toilets Area up 300mm Height of wall | m2
2.6.00 | DE-WATERING
2.6.01 |  |  |  | De-watering the excavation until completion of concrete work as required | item | 1 |  | 12000 | 12000 | 3000 | 3000 | 15000 | 25000 | 25000
|  |  |  | TOTAL OF BILL №: 02 - Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 25320 | #REF!
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fair faced, use plasticiser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
3.2.00 | REINFORCED INSITU CONCRETE
UP TO GROUND FLOOR
FOUNDATION
3.2.01 |  |  |  | Foundation Footings | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! | #REF! |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! | #REF! |  |  | 110 | #REF!
3.2.02 |  |  |  | Plinth Beam | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | Bars 10mm | nos | #REF! |  |  |  | 67 | #REF!
COLUMNS
3.2.05 |  |  |  | Reinforced Concrete columns | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | Bars 10mm | nos | #REF! |  |  |  | 67 | #REF!
RAFT SLABS
3.2.06 |  |  | 100 | mm thk Concrete Raft Slab | m3 | #REF! |  | 350 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregate | bags | #REF! |  |  |  | 45 | #REF!
3.2.07 |  |  | LIFT 100 | mm thk Concrete Raft Slab | m3 | #REF! |  | 350 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregate | bags | #REF! |  |  |  | 45 | #REF!
LIFT & STAIRCASE RC WALL
3.2.08 |  |  | 150 | mm thk RC Wall Up to Ground Floor Level | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
3.3.00 | UPTO FIRST FLOOR
COLUMNS
3.3.01 |  |  |  | Reinforced Concrete columns | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | Bars 10mm | nos | #REF! |  |  |  | 67 | #REF!
SLABS
3.3.03 |  |  | 150 | mm thk Concrete Slab | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
STAIRS
3.3.04 |  |  |  | Main Staircase | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 64 |  |  |  | 40 | 2560
|  |  |  | Aggregate | bags | 96 |  |  |  | 45 | 4320
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
RC WALL
|  |  | 150 | mm thk LIFT RC walls
3.3.05 |  |  |  | Lift Wall | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
3.3.06 |  |  | 150 | Staircase RC wall | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 9500 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
BEAMS
|  |  |  | Reinforced Concrete Beams | m3 | #REF! |  | 1505 | #REF! |  |  | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | Bars 10mm | nos | #REF! |  |  |  | 67 | #REF!
3.4.00 | UP TO TERRACE
BEAMS
3.4.01 |  |  |  | Reinforced Concrete Beams | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 10000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! | #REF! |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | Bars 16mm | nos | #REF! | #REF! |  |  | 67 | #REF!
|  |  |  | Sub Total Carried Forward to Next page |  |  |  |  | #REF! |  | #REF! | #REF! | 114500 | #REF!
|  |  |  | Sub Total Brought Forward |  |  |  |  | #REF! |  | #REF! | #REF! | 114500 | #REF!
SLABS
3.4.02 |  |  | 150 | mm thk Concrete Slab | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 10000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
STAIRS
3.4.03 |  |  |  | Main Staircase | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 10000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
COLUMNS
3.4.04 |  |  |  | Reinforced Concrete columns | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 10000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Aggregates | bags | #REF! |  |  |  | 45 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | Bars 10mm | nos | #REF! |  |  |  | 67 | #REF!
RC WALL
|  |  | 150 | mm thk RC LIFT walls
3.4.05 |  |  |  | Lift Wall | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 10000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
3.4.06 |  |  | 150 | Stair case Walls | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 10000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
3.05.00 | ABOVE TERRACE
BEAMS
3.5.01 | 100 | x | 150 | mm Concrete Ring Beam | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 11000 | #REF!
|  |  |  | Cement | bags | 16 |  |  |  | 105 | 1680
|  |  |  | Sand | bags | 32 |  |  |  | 40 | 1280
|  |  |  | Aggregate | bags | 48 |  |  |  | 45 | 2160
LIFT RC WALL
|  |  | 150 | mm thk RC External walls
3.5.03 |  |  |  | Lift Walls | m3 | #REF! |  | 1505 | #REF! |  |  | #REF! | 11000 | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
STAIRCASE RC WALL
|  |  | 150 | mm thk Concrete Slab | m3 | #REF! |  | 1505 | #REF! |  |  | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
STAIRCASE SLAB
|  |  | 150 | mm thk Concrete Slab | m3 | #REF! |  | 1505 | #REF! |  |  | #REF!
|  |  |  | Cement | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | bags | 112 |  |  |  | 40 | 4480
|  |  |  | Aggregate | bags | 168 |  |  |  | 45 | 7560
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Binding wire | kg | #REF! |  |  |  | 41 | #REF!
|  |  |  | Timber 50 x 50 | m | #REF! |  |  |  | 110 | #REF!
|  |  |  | Plywood 12mm | nos | #REF! |  |  |  | 350 | #REF!
|  |  |  | Formoil | litre | #REF! |  |  |  | 15 | #REF!
|  |  |  | Nail | kg | #REF! |  |  |  | 35 | #REF!
|  |  |  | Bars 16mm | nos | #REF! |  |  |  | 110 | #REF!
|  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 186500 | #REF! | #REF! | #REF! | 720 | #REF! | [9 empty] | #REF!
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2.00 | BLOCK WORK
Internal Cement block wall (Hollow)
|  |  | 150 | mm thk full height
4.2.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 110 | #REF! |  |  | #REF! | 450 | #REF!
|  |  |  | 150 x 150 x 300 Hollow blocks | nos | #REF! |  |  |  | 6 | #REF!
|  |  |  | Cement for Masonry | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand for Masonry | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
4.2.02 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 110 | #REF! |  |  | #REF! | 450 | #REF!
|  |  |  | 150 x 150 x 300 Hollow blocks | nos | #REF! |  |  |  | 6 | #REF!
|  |  |  | Cement for Masonry | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand for Masonry | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | External Cement block wall (Solid) |  |  | #REF!
|  |  | 150 | mm thk full height |  |  | #REF!
4.2.03 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 110 | #REF! |  |  | #REF! | 550 | #REF!
|  |  |  | 150 x 150 x 300 Hollow blocks | nos | #REF! | #REF! |  |  | 6 | #REF!
|  |  |  | Cement for Masonry | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand for Masonry | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
4.2.04 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 110 | #REF! |  |  | #REF! | 550 | #REF!
|  |  |  | 150 x 150 x 300 Hollow blocks | nos | #REF! |  |  |  | 6 | #REF!
|  |  |  | Cement for Masonry | bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand for Masonry | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
#REF!
4.2.05 |  |  |  | TERRACE FLOOR | m2 | #REF! | #REF! | 110 | #REF! |  |  | #REF! | 550 | #REF!
|  |  |  | 150 x 150 x 300 Hollow blocks | nos | #REF! |  |  |  | 6 | #REF!
|  |  |  | Cement for Masonry | bags | #REF! | #REF! |  |  | 105 | #REF!
|  |  |  | Sand for Masonry | bags | #REF! |  |  |  | 40 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
4.3.00 | DRY WALLS
Dry wall partition walls fixed as per the drawing details
|  |  | 100 | mm thk full height
4.3.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 175 | #REF! | 850 | #REF! | #REF! | 950 | #REF!
4.3.02 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 175 | #REF! | 850 | #REF! | #REF! | 950 | #REF!
|  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 4450 | #REF!
5.0.00 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified.
|  |  | (f) | Rates shall include all items specified in the door schedule and specification. | [22 empty] | 31500 | 7875 | 23625
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified. | [22 empty] | 24500 | 6125 | 18375
5.2.00 | GROUND FLOOR
5.2.01 | 3100 | X | 2100 | W1 - POWDER COATED ALUMINIUM FRAMED TEMPERED GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 19600 | #REF! | #REF! | 30625 | #REF! | 5800 | #REF! | [10 empty] | 19758.0645 | 7 |  | 3500 | 30625 | 7 |  | 2800 | 19600
5.2.02 | 5800 | X | 1400 | W2 - POWDER COATED ALUMINIUM FRAMED TEMPERED GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 25200 | #REF! | #REF! | 39375 | #REF! | [12 empty] | 4939.5161 | 9 |  | 3500 | 39375 | 9 |  | 2800 | 25200
5.2.03 | 900 | X | 1400 | W3 - POWDER COATED ALUMINIUM FRAMED TEMPERED GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | 1200 | #REF! | [11 empty] | 2 |  | 3500 | 8750 | 2 |  | 2800 | 5600
5.2.04 | 1425 | X | 1400 | W4 - POWDER COATED ALUMINIUM FRAMED TEMPERED GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | [13 empty] | 2 |  | 3500 | 8750 | 2 |  | 2800 | 5600
5.2.05 | 2880 | X | 600 | W5 - POWDER COATED ALUMINIUM FRAMED TEMPERED GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | [13 empty] | 2 |  | 3500 | 8750 | 2 |  | 2800 | 5600
5.2.06 | 600 | X | 600 | W6 - POWDER COATED ALUMINIUM FRAMED TEMPERED GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 2800 | #REF! | #REF! | 4375 | #REF! | [13 empty] | 1 |  | 3500 | 4375 | 1 |  | 2800 | 2800
5.2.08 | 930 | X | 2100 | FG1 - ALUMINIUM FRAMED TEMPERED FIXED GLASS | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | 1160 | #REF! | [11 empty] | 2 |  | 3500 | 8750 | 2 |  | 2800 | 5600
5.2.09 | 2200 | X | 2100 | FG2 - ALUMINIUM FRAMED TEMPERED FIXED GLASS | nos | #REF! |  | 250 | #REF! | 14000 | #REF! | #REF! | 21875 | #REF! | 900 | #REF! | [11 empty] | 5 |  | 3500 | 21875 | 5 |  | 2800 | 14000
5.2.10 | 4240 | X | 2400 | D1 - ALUMINIUM FRAMED TEMPERED GLASS DOOR | nos | #REF! |  | 250 | #REF! | 30800 | #REF! | #REF! | 48125 | #REF! | 6515 | #REF! | [11 empty] | 11 |  | 3500 | 48125 | 11 |  | 2800 | 30800
5.2.11 | 980 | X | 2100 | D2 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 9600 | #REF! | #REF! | 11625 | #REF! | 6450 | #REF! | [11 empty] | 3 |  | 3100 | 11625 | 3 |  | 3200 | 9600
5.2.12 | 1000 | X | 2100 | D3 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 9600 | #REF! | #REF! | 11625 | #REF! | 4450 | #REF! | [11 empty] | 3 |  | 3100 | 11625 | 3 |  | 3200 | 9600
5.2.13 | 750 | X | 2100 | D4 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | 9 |  | 250 | 2250 | 6400 | 57600 | 59850 | 7750 | 69750 | 3257 | #REF! | [11 empty] | 2 |  | 3100 | 7750 | 2 |  | 3200 | 6400
5.2.14 | 750 | X | 1000 | D5 - FLAP DOOR | nos | #REF! | 15.5 | 250 | #REF! | 3200 | #REF! | #REF! | 5227.5 | #REF! | 23340 | #REF! | [11 empty] | 1 |  | 3100 | 3875 | 1 |  | 3200 | 3200
5.2.15 | 1000 | X | 2100 | D6 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 9600 | #REF! | #REF! | 11625 | #REF! | [13 empty] | 3 |  | 3100 | 11625 | 3 |  | 3200 | 9600
[16 empty] | #REF! | [18 empty] | 0
5.3.00 | FIRST FLOOR | [14 empty] | #REF! | [18 empty] | 0
5.3.01 | 3100 | X | 2100 | W1 - ALUMINIUM FRAME GLASS WINDOW WITH FIXED GLASS | nos | #REF! |  | 250 | #REF! | 19600 | #REF! | #REF! | 30625 | #REF! | 5770 | #REF! | [15 empty] | 7 |  | 2800 | 19600
5.3.02 | 5800 | X | 1400 | W2 - ALUMINIUM FRAME GLASS WINDOW WITH FIXED GLASS | nos | #REF! |  | 250 | #REF! | 25200 | #REF! | #REF! | 39375 | #REF! | 1200 | #REF! | [15 empty] | 9 |  | 2800 | 25200
5.3.03 | 900 | X | 1400 | W3 - ALUMINIUM FRAME WITH FIXED ALUMINUM LOUVERS | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | 2885 | #REF! | [15 empty] | 2 |  | 2800 | 5600
5.3.04 | 1425 | X | 1400 | W4 - ALUMINIUM FRAME WITH FIXED ALUMINUM LOUVERS | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | 900 | #REF! | [15 empty] | 2 |  | 2800 | 5600
5.3.05 | 2880 | X | 600 | W5 - ALUMINIUM FRAME WITH FIXED ALUMINUM LOUVERS | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | 1160 | #REF! | [15 empty] | 2 |  | 2800 | 5600
5.3.06 | 600 | X | 600 | W6 - ALUMINIUM FRAME WITH FIXED ALUMINUM LOUVERS | nos | #REF! |  | 250 | #REF! | 2800 | #REF! | #REF! | 4375 | #REF! | 5770 | #REF! | [15 empty] | 1 |  | 2800 | 2800
5.3.08 | 930 | X | 2100 | FG1 - ALUMINIUM FRAME GLASS WINDOW | nos | #REF! |  | 250 | #REF! | 5600 | #REF! | #REF! | 8750 | #REF! | 6515 | #REF! | [15 empty] | 2 |  | 2800 | 5600
5.3.09 | 2200 | X | 2100 | FG2 - ALUMINIUM FRAME WITH FIXED ALUMINUM LOUVERS | nos | #REF! |  | 250 | #REF! | 14000 | #REF! | #REF! | 21875 | #REF! | 6450 | #REF! | [15 empty] | 5 |  | 2800 | 14000
5.3.11 | 980 | X | 2100 | D2 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 9600 | #REF! | #REF! | 11625 | #REF! | 3257 | #REF! | [15 empty] | 3 |  | 3200 | 9600
5.3.12 | 1000 | X | 2100 | D3 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 9600 | #REF! | #REF! | 11625 | #REF! | [17 empty] | 3 |  | 3200 | 9600
5.3.13 | 750 | X | 2100 | D4 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 6400 | #REF! | #REF! | 7750 | #REF! | [14 empty] | #REF! | #REF! |  | 2 |  | 3200 | 6400
5.3.14 | 750 | X | 1000 | D5 - FLAP DOOR | nos | #REF! |  | 250 | #REF! | 3200 | #REF! | #REF! | 5227.5 | #REF! | [17 empty] | 1 |  | 3200 | 3200
5.3.15 | 1000 | X | 2100 | D6 - ALUMINIUM FRAMED GRP DOOR PANEL | nos | #REF! |  | 250 | #REF! | 9600 | #REF! | #REF! | 11625 | #REF! | [17 empty] | 3 |  | 3200 | 9600
|  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 406330 | #REF!
6.0.00 |  |  |  | Bill №: 06 - STAIRS AND BALCONY RAILING
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
6.2.00 | MAIN STAIRCASE RAILING
|  |  |  | STAINLESS STEEL-HANDRAIL-50MM SS PIPE ON TOP AND VERTICAL MIDRAIL ATTACHED TO 25MM SS PIPES AS SPECIFIED ON THE DRAWING. | [26 empty] | 3150
6.2.01 |  |  |  | GROUND to FIRST FLOOR | m | 10 |  | 646.875 | 6468.75 | 2587.5 | 25875 | 32343.75 | 3450 | 34500
6.2.02 |  |  |  | FIRST to TERRACE | m | 10 |  | 711.5625 | 7115.625 | 2846.25 | 28462.5 | 35578.125 | 3795 | 37950
|  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary |  |  |  |  | 13584.375 |  | 54337.5 | 67921.875 | 7245 | 72450
7.0.00 |  |  |  | Bill №: 07 - FINISHING
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for :all labour in framing , notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws
|  |  | (b) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
7.2.00 | PLASTERING | [5 empty] | #REF!
|  |  |  | 16mm thk cement plaster on internal surface as specified on the drawing. |  |  | #REF!
7.2.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 75 | #REF! |  |  | #REF! | 245 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.2.02 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 75 | #REF! |  |  | #REF! | 245 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! | #REF! |  |  | 40 | #REF!
#REF!
16mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent to be applied.
7.2.03 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 75 | #REF! |  |  | #REF! | 390 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.2.04 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 75 | #REF! |  |  | #REF! | 390 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.2.05 |  |  |  | TERRACE FLOOR | m2 | #REF! |  | 75 | #REF! |  |  | #REF! | 390 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.3.00 | CEMENT SCREED
|  |  | 25 | mm thick cement screed
7.3.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 80 | #REF! |  |  | #REF! | 325 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.3.02 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 80 | #REF! |  |  | #REF! | 325 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
#REF!
|  |  | 50 | mm thick cement screed (Toilets)
7.3.03 |  |  |  | GROUND FLOOR | m2 | #REF! | #REF! | 80 | #REF! |  |  | #REF! | 475 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.3.04 |  |  |  | FIRST FLOOR | m2 | #REF! | #REF! | 80 | #REF! |  |  | #REF! | 475 | #REF!
|  |  |  | Cement | Bags | #REF! | #REF! |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.3.05 |  |  |  | TERRACE FLOOR | m2 | #REF! |  | 80 | #REF! |  |  | #REF! | 475 | #REF!
|  |  |  | Cement | Bags | #REF! |  |  |  | 105 | #REF!
|  |  |  | Sand | Bags | #REF! |  |  |  | 40 | #REF!
7.4.00 | FLOOR TILING FINISH
| 600 | x | 600 | mm Homogenous tiles
7.4.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 720 | #REF!
|  |  |  | Cement (Tile adhesive 50 kg) | bags | #REF! | #REF! |  |  | 140 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Joint sealant ( Cement Grout ) | kg | #REF! | #REF! |  |  | 25 | #REF!
|  |  |  | FloorTiles 600 x 600 | nos | #REF! |  |  |  | 45 | #REF!
7.4.02 | 600 | x | 600 | FIRST FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 720 | #REF!
|  |  |  | Cement (Tile adhesive 50 kg) | bags | #REF! |  |  |  | 140 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Joint sealant ( Cement Grout ) | kg | #REF! | #REF! |  |  | 25 | #REF!
|  |  |  | FloorTiles 600 x 600 | nos | #REF! |  |  |  | 45 | #REF!
#REF!
7.4.03 | 600 | x | 600 | TERRACE FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 720 | #REF!
|  |  |  | Cement (Tile adhesive 50 kg) | bags | #REF! |  |  |  | 140 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Joint sealant ( Cement Grout ) | kg | #REF! |  |  |  | 25 | #REF!
|  |  |  | FloorTiles 600 x 600 | nos | #REF! |  |  |  | 45 | #REF!
| 300 | x | 600 | mm Homogenous tiles (Toilets)
7.4.04 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 820 | #REF!
|  |  |  | Cement (Tile adhesive 50 kg) | bags | #REF! |  |  |  | 140 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Joint sealant ( Cement Grout ) | kg | #REF! |  |  |  | 25 | #REF!
|  |  |  | FloorTiles 600 x 600 | nos | #REF! |  |  |  | 45 | #REF!
7.4.05 | 300 | x | 600 | FIRST FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 820 | #REF!
|  |  |  | Cement (Tile adhesive 50 kg) | bags | #REF! |  |  |  | 140 | #REF!
|  |  |  | Water | ton | #REF! |  |  |  | 120 | #REF!
|  |  |  | Joint sealant ( Cement Grout ) | kg | #REF! |  |  |  | 25 | #REF!
|  |  |  | FloorTiles 600 x 600 | nos | #REF! |  |  |  | 45 | #REF!
7.5.00 | WALL TILING
Toilet wall
| 300 | x | 600 | mm Non Skid Ceramic Floor Tiles
7.5.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 820 | #REF!
|  |  |  | 300 x 600 Non Skid Floor Tiles | Nos | 275 |  |  |  | 140 | 38500
|  |  |  | Conmix Tile Adhesive | Bags | 9 |  |  |  | 120 | 1080
|  |  |  | Tile Grout | Nos | 16 |  |  |  | 25 | 400
7.5.02 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 120 | #REF! |  |  | #REF! | 820 | #REF!
| 300 | x | 600 | mm Non Skid Floor Tiles | Nos | 275 |  |  |  | 140 | 38500
|  |  |  | Conmix Tile Adhesive | Bags | 9 |  |  |  | 120 | 1080
|  |  |  | Tile Grout | Nos | 16 |  |  |  | 25 | 400
|  |  |  | TOTAL OF BILL №: 07- Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 9175 | #REF!
8.0.00 |  |  |  | Bill №: 08 - PAINTING & DECORATIONS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
8.2.00 | WALL PAINTING
EXTERNAL PAINTING
Textured weather-bound paint finish as specified for external
8.2.01 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 45 | #REF! |  |  | #REF! | 275 | #REF!
|  |  |  | Wall sealer | litre | #REF! |  |  |  | 80 | #REF!
|  |  |  | Weather proof exterior paint | litre | #REF! | #REF! |  |  | 105 | #REF!
#REF!
8.2.02 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 45 | #REF! |  |  | #REF! | 275 | #REF!
|  |  |  | Wall sealer | litre | #REF! |  |  |  | 80 | #REF!
|  |  |  | Weather proof exterior paint | litre | #REF! |  |  |  | 105 | #REF!
8.2.03 |  |  |  | TERRACE FLOOR | m2 | #REF! | #REF! | 45 | #REF! |  |  | #REF! | 275 | #REF!
|  |  |  | Wall sealer | litre | #REF! | #REF! |  |  | 80 | #REF!
|  |  |  | Weather proof exterior paint | litre | #REF! |  |  |  | 105 | #REF!
INTERNAL PAINTING
Emulsion paint finish including putty application for internal
8.2.04 |  |  |  | GROUND FLOOR | m2 | #REF! |  | 45 | #REF! |  |  | #REF! | 225 | #REF!
|  |  |  | Wall sealer | litre | #REF! |  |  |  | 80 | #REF!
|  |  |  | Wall Putty | kg | #REF! |  |  |  | 105 | #REF!
|  |  |  | Semi-gloss emulsion paint | litre | #REF!
8.2.05 |  |  |  | FIRST FLOOR | m2 | #REF! |  | 45 | #REF! |  |  | #REF! | 225 | #REF!
|  |  |  | Wall sealer | litre | #REF! |  |  |  | 80 | #REF!
|  |  |  | Wall Putty | kg | #REF! |  |  |  | 105 | #REF!
|  |  |  | Semi-gloss emulsion paint | litre | #REF!
CEILING WORKS
|  |  |  | Suspended False Ceiling Panels both GF & First Floor | m2 | 600 |  | 130 | 78000 |  |  | 329440 | 950 | 570000
|  |  |  | Ceiling Board 9mm | nos | 209 |  |  |  | 160 | 33440
|  |  |  | Timber 35 x 50 mm x 20fts | nos | 250 |  |  |  | 110 | 27500
|  |  |  | Black screw 1" | nos | 10200 |  |  |  | 2.5 | 25500
|  |  |  | Celing Tape | nos | 1500 |  |  |  | 90 | 135000
|  |  |  | Wall Putty | kgs | 1500 |  |  |  | 20 | 30000
|  |  |  | 1500 x 1900 x 50 panels in wards in Respective Tile Color | m2 | 100 |  | 130 | 13000 |  |  | 54970 | 1300 | 130000
|  |  |  | Ceiling Board 9mm | nos | 35 |  |  |  | 160 | 5600
|  |  |  | Timber 35 x 50 mm x 20fts | nos | 42 |  |  |  | 110 | 4620
|  |  |  | Black screw 1" | nos | 1700 |  |  |  | 2.5 | 4250
|  |  |  | Celing Tape | nos | 250 |  |  |  | 90 | 22500
|  |  |  | Wall Putty | kgs | 250 |  |  |  | 20 | 5000
|  |  |  | PVC Ceiling System for Washroom | m2 | 50 |  | 130 | 6500 |  |  | 27565 | 800 | 40000
|  |  |  | Ceiling Board 9mm | nos | 18 |  |  |  | 160 | 2880
|  |  |  | Timber 35 x 50 mm x 20fts | nos | 21 |  |  |  | 110 | 2310
|  |  |  | Black screw 1" | nos | 850 |  |  |  | 2.5 | 2125
|  |  |  | Celing Tape | nos | 125 |  |  |  | 90 | 11250
|  |  |  | Wall Putty | kgs | 125 |  |  |  | 20 | 2500
|  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 4325 | #REF!
09.0.00 |  |  |  | Bill №: 09 - HYDRAULICS AND DRAINAGE
09.1.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; back nuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be uPVC.
|  |  | (c) | All costs related to installation of water supply system and waste water disposal system on site, that complies with the local standards at the property from the local mains.
|  |  | (d) | All measurements to be made on site by the contractor.
|  |  | (e) | Contractor shall submit shop drawings for all related works to be approved by the Engineer before executing the work.
09.2.00 | FRESH WATER SUPPLY SYSTEM
GROUND FLOOR
09.2.01 |  |  |  | uPVC pipe | Item | 1 |  | 5745.0187 | 5745.0187 | 22980.075 | 22980.075 | 28725.0937 | 30640.1 | 30640.1 |  | 226 |  | 1001 |  | 1227 | 1227
FIRST FLOOR
09.2.02 |  |  |  | uPVC pipe | Item | 1 |  | 1875 | 1875 | 7500 | 7500 | 9375 | 10000 | 10000
TERRACE FLOOR
09.2.03 |  |  |  | uPVC pipe | Item | 1 |  | 187.5 | 187.5 | 750 | 750 | 937.5 | 1000 | 1000
09.3.00 | WELL WATER SUPPLY
GROUND FLOOR
09.3.01 |  |  |  | uPVC pipe | Item | 1 |  | 1875 | 1875 | 7500 | 7500 | 9375 | 10000 | 10000 |  | 226 |  | 1950 |  | 2176 | 2176
FIRST FLOOR
09.3.02 |  |  |  | uPVC pipe | Item | 1 |  | 1875 | 1875 | 7500 | 7500 | 9375 | 10000 | 10000
09.4.00 | SEWER AND WASTE WATER DRAINAGE SYSTEM
GROUND FLOOR
WASTE PIPE
09.4.01 |  |  |  | uPVC pipe | Item | 1 |  | 5625 | 5625 | 22500 | 22500 | 28125 | 30000 | 30000 |  | 2418 | 4745 |  |  | 7163 | 7163
|  |  |  | Sub Total Carried Forward to Next page |  |  |  |  | 17182.5187 |  | 68730.075 | 85912.5938 | 91640.1 | 91640.1
|  |  |  | Sub Total Brought Forward |  |  |  |  | 17182.5187 |  | 68730.075 | 85912.5938 | 91640.1 | 91640.1
| FIRST FLOOR | [26 empty] | 13615.3846
WASTE PIPE
09.4.02 |  |  |  | uPVC pipe | Item | 1 |  | 3318.75 | 3318.75 | 13275 | 13275 | 16593.75 | 17700 | 17700
09.5.00 | SANITARY FITTINGS
GROUND FLOOR
09.5.01 |  |  |  | WC | nr | #REF! |  | 150 | #REF! | 3500 | #REF! | #REF! | 5500 | #REF! | [12 empty] | 37.5
09.5.02 |  |  |  | Wash basin | nr | 12 |  | 150 | 1800 | 3000 | 36000 | 37800 | 4500 | 54000
09.5.03 |  |  |  | Wash Basin tap | nr | 12 |  | 50 | 600 | 90 | 1080 | 1680 | 850 | 10200
09.5.04 |  |  |  | Head Shower | nr | 3 |  | 50 | 150 | 250 | 750 | 900 | 1200 | 3600
09.5.05 |  |  |  | Floor drain | nr | 10 |  | 50 | 500 | 75 | 750 | 1250 | 300 | 3000
09.5.06 |  |  |  | Muslim Shower with Tap | nr | 6 |  | 50 | 300 | 550 | 3300 | 3600 | 850 | 5100
09.5.07 |  |  |  | Control Valve | nr | 6 |  | 50 | 300 | 150 | 900 | 1200 | 500 | 3000
09.5.08 |  |  |  | Gate Valve | nr | 12 |  | 50 | 600 | 210 | 2520 | 3120 | 500 | 6000
09.5.09 |  |  |  | Water Heater | nr | 3 |  | 500 | 1500 | 3500 | 10500 | 12000 | 2000 | 6000
FIRST FLOOR
09.5.10 |  |  |  | WC | nr | 6 |  | 150 | 900 | 3500 | 21000 | 21900 | 5500 | 33000
09.5.11 |  |  |  | Wash basin | nr | 12 |  | 150 | 1800 | 3000 | 36000 | 37800 | 4500 | 54000
09.5.12 |  |  |  | Wash Basin tap | nr | 12 |  | 50 | 600 | 90 | 1080 | 1680 | 850 | 10200
09.5.13 |  |  |  | Head Shower | nr | 3 |  | 50 | 150 | 250 | 750 | 900 | 1200 | 3600
09.5.14 |  |  |  | Floor drain | nr | 10 |  | 50 | 500 | 75 | 750 | 1250 | 300 | 3000
09.5.15 |  |  |  | Muslim Shower with Tap | nr | 6 |  | 50 | 300 | 550 | 3300 | 3600 | 850 | 5100
09.5.16 |  |  |  | Control Valve | nr | 6 |  | 50 | 300 | 150 | 900 | 1200 | 500 | 3000
09.5.17 |  |  |  | Gate Valve | nr | 12 |  | 50 | 600 | 210 | 2520 | 3120 | 500 | 6000
09.5.18 |  |  |  | Water Heater | nr | 3 |  | 500 | 1500 | 3500 | 10500 | 12000 | 2000 | 6000
|  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary |  |  |  |  | #REF! |  | #REF! | #REF! | 141740.1 | #REF! | #REF! | #REF!
10.0.00 |  |  |  | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES
10.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc.) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvanized brackets for trenches, accessories, etc. as applicable.
|  |  | (j) | The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
|  |  | (k) | Rates for materials/ plants/ equipment not approved for duty free facilities to be quoted on duty paid basis.
|  |  | (l) | All equipment shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
|  |  | (m) | The rate shall include for insurance during handling, re-handling, transport, storage until ready for installation, delivery of equipment up to the point of installation and until handing over.
|  |  | (n) | The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
|  |  | (q) | Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
|  |  | (r) | All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
|  |  | (s) | All costs related to installation of service cables that complies with the local standards at the property from the local mains.
|  |  | (t) | All measurements to be made on site by the contractor.
|  |  | (u) | Contractor shall submit shop drawings for all related works to be approved by the Engineer before executing the work.
10.2.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including switches, power outlet, isolators, etc., all as specified
10.2.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for light point wiring | nr | 400 |  | 520 | 208000 | 120 | 48000 | 256000 | 780 | 312000
10.2.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for following Socket outlet/isolator point wiring | nr | 250 |  | 550 | 137500 | 130 | 32500 | 170000 | 815 | 203750
Wiring points
ELECTRICAL BOARDS
Complete installation incl. for all connection earthing, painting, testing and similar of;
10.3.00 | MAIN DISTRIBUTION BOARD
10.3.01 |  |  | GROUND FLOOR |  | nr | 1 |  | 32951.25 | 32951.25 | 131805 | 131805 | 164756.25 | 175740 | 175740 | 169600 | 1.15 | 195040 | [10 empty] | 135184.6154
33796.1538
10.4.00 | DISTRIBUTION BOARDS | [26 empty] | 101388.4615
10.4.01 |  |  | GROUND FLOOR |  | nr | 1 |  | 3093.75 | 3093.75 | 12375 | 12375 | 15468.75 | 16500 | 16500 | [12 empty] | 11000
10.4.02 |  |  | FIRST FLOOR |  | nr | 1 |  | 3093.75 | 3093.75 | 12375 | 12375 | 15468.75 | 16500 | 16500 | [12 empty] | 2750
10.4.03 |  |  | LIFT |  | nr | 1 |  | 3093.75 | 3093.75 | 12375 | 12375 | 15468.75 | 16500 | 16500
10.5.00 | SOCKETS
GROUND FLOOR
10.5.01 |  |  | 13 | A Single Socket Outlet | nr | 21 |  | 30 | 630 | 60 | 1260 | 1890 | 90 | 1890
10.5.02 |  |  | 13 | A Double Socket Outlet | nr | 13 |  | 30 | 390 | 120 | 1560 | 1950 | 180 | 2340
10.5.03 |  |  | 13 | A Socket Outlet with Waterproof cover | nr | 5 |  | 30 | 150 | 170 | 850 | 1000 | 200 | 1000
10.5.04 |  |  | 15 | A Single Socket Outlet | nr | 59 |  | 30 | 1770 | 260 | 15340 | 17110 | 230 | 13570
10.5.05 |  |  | 15 | A single Socket Outlet with Waterproof cover | nr | 3 |  | 30 | 90 | 260 | 780 | 870 | 290 | 870
10.5.06 |  |  |  | Hospital Gread Bed head panel | nr | 16 |  | 150 | 2400 | 3750 | 60000 | 62400 | 750 | 12000
10.5.07 |  |  |  | Allow for USB Outlet & others | Item | 1 |  | 150 | 150 | 3750 | 3750 | 3900 | 6500 | 6500
FIRST FLOOR
10.5.08 |  |  | 13 | A Single Socket Outlet | nr | 21 |  | 30 | 630 | 60 | 1260 | 1890 | 90 | 1890
10.5.09 |  |  | 13 | A Double Socket Outlet | nr | 13 |  | 30 | 390 | 120 | 1560 | 1950 | 180 | 2340
10.5.10 |  |  | 13 | A Socket Outlet with Waterproof cover | nr | 5 |  | 30 | 150 | 170 | 850 | 1000 | 200 | 1000
10.5.11 |  |  | 15 | A Single Socket Outlet | nr | 52 |  | 30 | 1560 | 260 | 13520 | 15080 | 230 | 11960 |  | 2017-09-24
10.5.12 |  |  | 15 | A single Socket Outlet with Waterproof cover | nr | 3 |  | 30 | 90 | 260 | 780 | 870 | 290 | 870 |  | 2017-10-24
10.5.13 |  |  |  | Hospital Gread Bed head panel | nr | 15 |  | 150 | 2250 | 3750 | 56250 | 58500 | 750 | 11250 | 60 | 2017-12-23 | fl
10.5.14 |  |  |  | Allow for USB Outlet & others | Item | 1 |  | 150 | 150 | 3750 | 3750 | 3900 | 6500 | 6500
TERRACE FLOOR
10.5.15 |  |  | 13 | A Socket Outlet with Waterproof cover | nr | 1 |  | 30 | 30 | 170 | 170 | 200 | 200 | 200
10.5.16 |  |  | 15 | A single Socket Outlet with Waterproof cover | nr | 2 |  | 30 | 60 | 260 | 520 | 580 | 290 | 580
10.6.00 | SWITCHES AND LIGHTING
GROUND FLOOR
10.6.01 |  |  |  | LED Panel Lights | nr | 30 |  | 150 | 4500 | 920 | 27600 | 32100 | 1250 | 37500
10.6.02 |  |  |  | Pendent Lights | nr | 1 |  | 150 | 150 | 3500 | 3500 | 3650 | 9500 | 9500
10.6.03 |  |  |  | Led Strip Lights | item | 1 |  | 1500 | 1500 | 5000 | 5000 | 6500 | 52030 | 52030
10.6.04 |  |  |  | Ceiling Fan | nr | 15 |  | 150 | 2250 | 950 | 14250 | 16500 | 3000 | 45000
10.6.05 |  |  |  | Wall Mount DIM Able Down Light | nr | 15 |  | 150 | 2250 | 350 | 5250 | 7500 | 950 | 14250
10.6.09 |  |  |  | LED Recessed light (35w) | nr | 23 |  | 150 | 3450 | 550 | 12650 | 16100 | 1450 | 33350
10.6.10 |  |  |  | Wall Mount up and down Lights | nr | 20 |  | 150 | 3000 | 360 | 7200 | 10200 | 950 | 19000
10.6.11 |  |  |  | LED Emeregemcy Wall Mount Lights | nr | 30 |  | 150 | 4500 | 350 | 10500 | 15000 | 980 | 29400
|  |  |  | 1 x 1 Switch (1Gang) | nr | 23 |  | 150 | 3450 | 32 | 736 | 4186 | 175 | 4025
|  |  |  | 1 x 2 Switch (2Gang) | nr | 2 |  | 150 | 300 | 35 | 70 | 370 | 280 | 560
|  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 2 |  | 150 | 300 | 65 | 130 | 430 | 600 | 1200
|  |  |  | 1 x 4 Switch ( 4Gang) | nr | 1 |  | 150 | 150 | 90 | 90 | 240 | 1500 | 1500
|  |  |  | Dimmer switch (1Gang) | nr | 21 |  | 150 | 3150 | 85 | 1785 | 4935 | 800 | 16800
10.6.13 |  |  |  | Allow for Installation of All Light Fittings | Item | 1 |  | 1500 | 1500 | 5000 | 5000 | 6500 | 60000 | 60000
|  |  |  | Sub Total Carried Forward to Next page |  |  |  |  | 429072.5 |  | 505391 | 934463.5 | 377270 | 1139865
|  |  |  | Sub Total Brought Forward |  |  |  |  | 429072.5 |  | 505391 | 934463.5 | 377270 | 1139865
FIRST FLOOR
10.6.14 |  |  |  | LED Panel Lights | nr | 30 |  | 150 | 4500 | 920 | 27600 | 32100 | 1250 | 37500 | [12 empty] | 30
10.6.15 |  |  |  | Pendent Lights | nr | 1 |  | 150 | 150 | 3500 | 3500 | 3650 | 9500 | 9500
10.6.16 |  |  |  | Led Strip Lights | item | 1 |  | 1500 | 1500 | 5000 | 5000 | 6500 | 52030 | 52030
10.6.17 |  |  |  | Ceiling Fan | nr | 15 |  | 150 | 2250 | 950 | 14250 | 16500 | 3000 | 45000
10.6.18 |  |  |  | Wall Mount Dim Able Down Light | nr | 15 |  | 150 | 2250 | 350 | 5250 | 7500 | 950 | 14250
10.6.22 |  |  |  | LED Recessed light (35w) | nr | 23 |  | 150 | 3450 | 550 | 12650 | 16100 | 1450 | 33350
10.6.23 |  |  |  | Wall Mount up and down Lights | nr | 20 |  | 150 | 3000 | 360 | 7200 | 10200 | 950 | 19000
10.6.24 |  |  |  | LED Emeregemcy Wall Mount Lights | nr | 30 |  | 150 | 4500 | 350 | 10500 | 15000 | 980 | 29400
|  |  |  | 1 x 1 Switch (1Gang) | nr | 23 |  | 150 | 3450 | 32 | 736 | 4186 | 175 | 4025
|  |  |  | 1 x 2 Switch (2Gang) | nr | 2 |  | 150 | 300 | 35 | 70 | 370 | 280 | 560
|  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 2 |  | 150 | 300 | 65 | 130 | 430 | 600 | 1200
|  |  |  | 1 x 4 Switch ( 4Gang) | nr | 1 |  | 150 | 150 | 90 | 90 | 240 | 1500 | 1500
10.6.25 |  |  |  | Dimmer switch (1Gang) | nr | 21 |  | 150 | 3150 | 85 | 1785 | 4935 | 800 | 16800
10.6.26 |  |  |  | Allow for Installation of All Light Fittings | Item | 1 |  | 1500 | 1500 | 5000 | 5000 | 6500 | 60000 | 60000
TERRACE FLOOR
10.6.27 |  |  |  | Wall Mount Light ( Weatherproof) | nr | 6 |  | 150 | 900 | 350 | 2100 | 3000 | 950 | 5700
10.6.28 |  |  |  | Terrace Wall Mount Light( Weatherproof) | nr | 10 |  | 150 | 1500 | 350 | 3500 | 5000 | 950 | 9500
10.6.29 |  |  |  | LED Emeregemcy Wall Mount Lights (Weatherproof) | nr | 2 |  | 150 | 300 | 350 | 700 | 1000 | 1500 | 3000
10.7.00 | AIR CONDITIONERS
GROUND FLOOR
10.7.01 |  |  |  | AIR CONDITIONERS | Item | 1 |  | 234375 | 234375 | 937500 | 937500 | 1171875 | 1250000 | 1250000 | [12 empty] | 961538.4615
FIRST FLOOR
10.7.02 |  |  |  | AIR CONDITIONERS | Item | 1 |  | 234375 | 234375 | 937500 | 937500 | 1171875 | 1250000 | 1250000
10.8.00 | OTHERS | [28 empty] | 18 | 15000 | 27000
Exhaust Fan
10.8.01 |  |  |  | GROUND FLOOR | nr | 9 |  | 100 | 900 | 850 | 7650 | 8550 | 750 | 6750
10.8.02 |  |  |  | FIRST FLOOR | nr | 9 |  | 100 | 900 | 850 | 7650 | 8550 | 750 | 6750
CCTV System
10.8.03 |  |  |  | GROUND FLOOR, FIRST FLOOR AND TERRACE FLOOR | Item | 1 |  | 17812.5 | 17812.5 | 71250 | 71250 | 89062.5 | 95000 | 95000
p
Network Points
10.8.04 |  |  |  | GROUND FLOOR | nr | 7 |  | 200 | 1400 | 750 | 5250 | 6650 | 950 | 6650
|  |  |  | FIRST FLOOR | nr | 3 |  | 200 | 600 | 750 | 2250 | 2850 | 950 | 2850
Telephone points
|  |  |  | GROUND FLOOR | nr | 3 |  | 200 | 600 | 750 | 2250 | 2850 | 950 | 2850
|  |  |  | FIRST FLOOR | nr | 3 |  | 200 | 600 | 750 | 2250 | 2850 | 950 | 2850
|  |  | Access control points | [10 empty] | 0
10.8.05 |  |  |  | GROUND FLOOR | nr | 1 |  | 400 | 400 | 2100 | 2100 | 2500 | 2500 | 2500
|  |  |  | FIRST FLOOR | nr | 1 |  | 400 | 400 | 2100 | 2100 | 2500 | 2500 | 2500
|  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary |  |  |  |  | 954585 |  | 2583202 | 3537787 | 3119435 | 4110880
11.0.00 |  |  |  | Bill №: 11 - LIFT
11.1.00 | GENERAL
|  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  | (b) | Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  | (c) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  | (d) | Rates shall include for all necessary electrical wiring and accessories required for completion of the lift installation.
|  | (e) | Rate shall include for complete installation.
Lift: Bed lift (2.5m x 1.5m)
11.1.01 |  |  | Complete installation with all necessary equipment and accessories and maintenance. |  | Item | 1 |  | 187500 | 187500 | 750000 | 750000 | 937500 | 1000000 | 1000000 | 1000000 | 96000 | 1096000 | 1260400
|  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary |  |  |  |  | 187500 |  | 750000 | 937500 | 1000000 | 1000000
12.0.00 |  |  |  | Bill №: 12 - FURNITURES
12.1.00 |  |  | Allow for all the Furniture and Interior Designs including Medical beds |  | Item | 1 |  | 281250 | 281250 | 1125000 | 1125000 | 1406250 | 1500000 | 1500000 | [12 empty] | 1153846.1538
[29 empty] | 6778.8 | 8600 | 1821.2
3.7222
12500000
|  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary |  |  |  |  | 281250 |  | 1125000 | 1406250 | 1500000 | 1500000
13.0.00 |  |  |  | Bill №: 13 - INSULATION, FIRE STOPPING & FIRE PROTECTION
13.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion.
|  |  | (d) | All items shall be supply and complete installation. | [22 empty] | 1500 | 375 | 1125
[27 empty] | 11538.4615 | 2884.6154 | 8653.8462
[27 empty] | 10769.2308 | 2692.3077 | 8076.9231
13.2.00 | DRY RISER SYSTEM
13.2.01 |  |  |  | Dry riser pipe system to all floor with breeching inlet | Item | 1 |  | 28125 | 28125 | 112500 | 112500 | 140625 | 150000 | 150000 | 31500 | 44100 | [11 empty] | 923.0769 | 230.7692
692.3077
13.3.00 | FIRE FIGHTING SYSTEM
|  |  | GROUND FLOOR | [11 empty] | conventional | addressable
13.3.01 |  |  |  | FIRE ALARM PANEL | nr | 1 |  | 120 | 120 | 1200 | 1200 | 1320 | 16000 | 16000 | [12 empty] | 12307.6923 | 1153.8462
13.3.02 |  |  |  | OPTICAL SMOKE DETECTOR | nr | 9 |  | 120 | 1080 | 1200 | 10800 | 11880 | 1500 | 13500 | [12 empty] | 1153.8462
|  |  |  | HEAT DETECTOR | nr | 1 |  | 120 | 120 | 1200 | 1200 | 1320 | 1500 | 1500 | [12 empty] | 288.4615
13.3.03 |  |  |  | MANUAL CALL POINT | nr | 1 |  | 120 | 120 | 850 | 850 | 970 | 1000 | 1000 | 1494 | [12 empty] | 769.2308
13.3.04 |  |  |  | BELL | nr | 1 |  | 120 | 120 | 900 | 900 | 1020 | 2400 | 2400 | [12 empty] | 1846.1538 | 192.3077
13.3.06 |  |  |  | CO2 FIRE EXTINGUISHER CYLINDER(2kg) | nr | 2 |  | 120 | 240 | 1600 | 3200 | 3440 | 1200 | 2400 | 1700 | [11 empty] | 461.5385 | 576.9231
13.3.07 |  |  |  | H2O FIRE EXTINGUISHER CYLINDER(2kg) | nr | 2 |  | 120 | 240 | 1600 | 3200 | 3440 | 1200 | 2400 | [12 empty] | 1384.6154
13.3.08 |  |  |  | EXIT SIGN LIGHT | nr | 7 |  | 120 | 840 | 1200 | 8400 | 9240 | 1950 | 13650
|  |  |  | EMEREGENCY BOOSTER PUMP 24 LIT/MIN | nr | 1 |  | 250 | 250 | 3700 | 3700 | 3950 | 15000 | 15000
|  |  |  | MANUAL OPERATED ELECTRIC PUMP | nr | 1 |  | 250 | 250 | 2800 | 2800 | 3050 | 14000 | 14000 | [13 empty] | 1846.1538
13.3.10 |  |  |  | HOSE REEL WITH NOZZLE (30M LONG) | nr | 1 |  | 250 | 250 | 12500 | 12500 | 12750 | 13300 | 13300 | [13 empty] | 461.5385
|  |  |  | WATER TANK 600LITRES | nr | 1 |  | 250 | 250 | 8500 | 8500 | 8750 | 3000 | 3000 | [13 empty] | 1384.6154
FIRST FLOOR
13.3.11 |  |  |  | OPTICAL SMOKE DETECTOR | nr | 9 |  | 1153.85 | 10384.65 | 1200 | 10800 | 21184.65 | 1500 | 13500 | [12 empty] | 10230.7692 | 2557.6923
|  |  |  | HEAT DETECTOR | nr | 1 |  | 1153.85 | 1153.85 | 1200 | 1200 | 2353.85 | 1500 | 1500 | [13 empty] | 7673.0769
13.3.12 |  |  |  | MANUAL CALL POINT | nr | 1 |  | 576.92 | 576.92 | 850 | 850 | 1426.92 | 1000 | 1000
13.3.13 |  |  |  | BELL | nr | 1 |  | 1384.62 | 1384.62 | 900 | 900 | 2284.62 | 2400 | 2400 | [12 empty] | 2307.6923
13.3.15 |  |  |  | CO2 FIRE EXTINGUISHER CYLINDER(2kg) | nr | 2 |  | 700 | 1400 | 1600 | 3200 | 4600 | 1200 | 2400
13.3.16 |  |  |  | H2O FIRE EXTINGUISHER CYLINDER(2kg) | nr | 2 |  | 800 | 1600 | 1600 | 3200 | 4800 | 1200 | 2400
13.3.17 |  |  |  | EXIT SIGN LIGHT | nr | 6 |  | 1125 | 6750 | 1200 | 7200 | 13950 | 1950 | 11700
13.3.19 |  |  |  | HOSE REEL WITH NOZZLE (30M LONG) | nr | 1 |  | 10500 | 10500 | 12500 | 12500 | 23000 | 13300 | 13300
TERRACE FLOOR
13.3.23 |  |  |  | HORSE REEL AIR RELEASE | nr | 1 |  | 3000 | 3000 | 12500 | 12500 | 15500 | 5000 | 5000
13.3.24 |  |  |  | EXIT SIGN LIGHT | nr | 1 |  | 1125 | 1125 | 1200 | 1200 | 2325 | 1950 | 1950
[28 empty] | 923.0769 | 230.7692
692.3077
|  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary |  |  |  |  | 69880.04 |  | 223300 | 293180.04 | 253050 | 303300
14.0.00 |  |  |  | Bill №: 14 - MISCELLANEOUS
14.1.00 |  |  | LANDSCAPING
14.1.01 |  |  |  | Supply and Laying of Interlock in the Walking path as per drawing | m2 | 100 |  | 350 | 35000 | 1100 | 110000 | 145000 | 1775 | 177500 | [13 empty] | 1365.3846 | 341.3462
1024.0385
14.2.00 |  |  | FLOWER TROUGH
1538.4615
14.2.01 |  |  |  | Ground Floor | m2 | 10.5 |  | 150 | 1575 | 850 | 8925 | 10500 | 1200 | 12600 | [13 empty] | 384.6154
14.2.02 |  |  |  | First Floor | m2 | 10.5 |  | 150 | 1575 | 850 | 8925 | 10500 | 2000 | 21000 | [13 empty] | 1153.8462
|  |  |  | TOTAL OF BILL №: 14 - Carried Over To Summary |  |  |  |  | 38150 |  | 127850 | 166000 | 216075 | 211100
15.0.00 |  |  |  | Bill №: 15 - ADDITIONS AND OMMISIONS
15.1.00 | ADDITIONS
15.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
15.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
15.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
15.1.04 |  |  |  | Bill №: 04 - MASONRY
15.1.05 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
15.1.06 |  |  |  | Bill №: 06 - STAIRS AND BALCONY RAILINGS
15.1.07 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING FINISHINGS
15.1.08 |  |  |  | Bill №: 08 - PAINTING & DECORATIONS
15.1.09 |  |  |  | Bill №: 09 - HYDRAULICS AND DRAINAGE
15.1.10 |  |  |  | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES
15.1.11 |  |  |  | Bill №: 11 - LIFT
15.1.12 |  |  |  | Bill №: 12 - FURNITURES
15.1.13 |  |  |  | Bill №: 13 - INSULATION, FIRE STOPPING & FIRE PROTECTION
15.1.14 |  |  |  | Bill №: 14 - MISCELLANEOUS
15.1.15 |  |  |  | Bill №: 15 - ADDITIONS AND OMISSIONS
15.2.00 | OMISSIONS
15.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
15.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
15.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
15.2.04 |  |  |  | Bill №: 04 - MASONRY
15.2.05 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
15.2.06 |  |  |  | Bill №: 06 - STAIRS AND BALCONY RAILINGS
15.2.07 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING FINISHINGS
15.2.08 |  |  |  | Bill №: 08 - PAINTING & DECORATIONS
15.2.09 |  |  |  | Bill №: 09 - HYDRAULICS AND DRAINAGE
15.2.10 |  |  |  | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES
15.2.11 |  |  |  | Bill №: 11 - LIFT
15.2.12 |  |  |  | Bill №: 12 - FURNITURES
15.2.13 |  |  |  | Bill №: 13 - INSULATION, FIRE STOPPING & FIRE PROTECTION
15.2.14 |  |  |  | Bill №: 14 - MISCELLANEOUS
15.2.15 |  |  |  | Bill №: 15 - ADDITIONS AND OMISSIONS
|  |  |  | TOTAL OF BILL №: 16 - Carried Over To Summary | [9 empty] | 0

## Budget (hidden)
#REF!
Original Budget
| ACCOMADATION | 76500
| ADMINISTRATIVE | 67500
| DIESEL FUEL | 244292.6075
| REPAIR & MAINTENACE | 97717.043
| FOOD SUPPLIES | 66300
MOBILISATION
DEPRECIATION
| SITE VISITS | 134100
| STAFF COST | 360000
[6 empty] | 10691104.135 | Transpoort | Site visits | Accom | Food
| MATERIALS TRPT | 534555.2068 |  |  |  | 9879648.9283 | 534555.2068 | 134100 | 76500 | 66300
[5 empty] | Labour | 2791915.5144 | 3210702.8415
| MATERIALS | 10691104.135 |  |  | Machin + Fuel | 977170.43 | 642140.5683
[6 empty] | 3769085.9444 | 3852843.4098
| SUBCONTRACT | 3852843.4098 |  |  | Fuel | 244292.6075
17207095
| TOTAL | 16124912.4021
| Contract Value | 17207095 |  |  | Admin | 67500
| ∑ Approved Varationas |  |  |  | Rep | 97717.043
| Profit/Loss | 1082182.5979
| % Profit Losss | 6.289%
| Prepared By |  | Checked By | Approved By | STAFF | 360000
| Nisath.Masthan |  | Umar Zahir | Ahmed Latheef
12272068.9923