## SUM
ESTABLISHMENT OF SULTAN PARK E-SPORTS AREA
Client: | Ministry of Infrastructure, Housing and Urban Development
QTN No:
VALIDITY:
DATE:
BILL NO | DESCRIPTION | MATERIAL AMOUNT | LABOUR AMOUNT | TOTAL
Bill no 1 | PRELIMINARIES | 0 | 0 | 0
Bill no 2 | RENOVATION WORK AT EXISTING SPORT BUILDING | 0 | 0 | 0
Bill no 3 | ELECTRICAL & TELECOMUNICATION SYSTEMS | 0 | 0 | 0
Bill no 4 | AIR-CONDITIONING SYSTEM | 0 | 0 | 0
Bill no 5 | FIRE FIGHTING SYSTEM | 0 | 0 | 0
Bill no 6 | PLUMBING AND SANITORY FITTING INSTALLTION | 0 | 0 | 0
Bill no 7 | CAFÉ AREA SEATING | 0 | 0 | 0
| TOATAL AMOUNT | 0 | 0 | 0
| GST 8% |  |  | 0
| GRAND TOTAL with GST (MVR) |  |  | 0
|  |  | DURATION: | days

## BOQ
ITEM NO | DESCRIPTION | QTY | UOM | Material Rate | Labour Rate | Total
BILL NO 1 | PRELIMINARIES
1.1.00 | SITE MANAGEMENT COSTS
| Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone & similar. | 1 | item | 0 | 0 | 0
1.2.00 | CLEAN-UP
| Allow for clean-up upon completion of works. | 1 | item | 0 | 0 | 0
1.3.00 | SHOP DRAWINGS & AS-BUILT DRAWINGS
| Allow for Shop Drawings during the progress of the project and As-Built Drawings after the completion of the project as stated in the general conditions. | 1 | item | 0 | 0 | 0
1.4.00 | SCAFFOLDING & TEMPARARY COVERING
| The Rate shall includes fixing removing and Maintaining any type of scaffolding work allied with the construction work and the covering and any other adequate measures against to the dust and Noice pollution. | 1 | Item | 0 | 0 | 0
BILL NO 1 | Total Amount carried out to summary |  |  | 0 | 0 | 0
BILL NO 2 | RENOVATION WORK AT EXISTING SPORT BUILDING
2.1.00 | DEMOLITION & DISPOSAL
2.1.01 | Demolition existing wooden component such as Ramp, Deks ,Staircase, Existing Doors & windows, Damage Wooden members &150mm thick block wall the rate shall include demolishing and disposal derbies away from the site. | 1 | Item |  |  | 0
2.1.02 | Cutting & demolition floor & wall for laying new Service lines, conduit & Etc. The Rate shall include disposal derbies away from the site. | 1 | Item |  |  | 0
2.2 | MODIFICATION WORKS & REPAIR WORK
2.2.01 | Wall Modification works for fix proposed doors and windows as per the New design at existing walls. The rate shall include block work/ Partition work or if any and door with window reveals if required. | 1 | Item |  |  | 0
2.2.02 | Repair damaged Zn/Al wall Cladding, Flashing, and other component if required. | 1 | item |  |  | 0
2.3 | MASONRY WORK
2.3.1 | 150mm thick hollow block wall with 1:5 Cement mortar at required locations as per the design. The rate shall include all the Stiffners & other concrete componant that will required for the Block wall. | 1 | item |  |  | 0
2.4 | STEEL FABRICATION, CARPETRY & JOINARY WORK
2.4.01 | Supply & Fixing Mezzanine floor as per the design. The Rate Shall include new Columns, Gi pipe truss, wooden framework, Decking sheets & timber flooring with all the required fixtures. | 1 | item |  |  | 0
2.4.02 | Supply, Fabrication & Fixing Wooden Step Seating over the 1 1/2" x 1/1/2" GI Frame work as per the design. | 1 | Item |  |  | 0
2.4.03 | Supply, Fabrication & Fixing Wooden Stage with the timber Frame work as per the design. | 1 | Item |  |  | 0
2.4.04 | Supply, Fabrication & Fixing Timber Staircases to access the both Mezzanine floors. | 1 | Item |  |  | 0
2.4.05 | Supply, Fabrication & Etraction of proposed Shelter building for proposed service area kitchen and Drinks bar area with Wooden frame work & Zn/Al roofing as per the design. | 1 | Item |  |  | 0
2.4.06 | Supply, Fabrication & fixing Aluminum partition as per the design at mezzanine floor office area. | 1 | Item |  |  | 0
2.4.07 | Supply & Fixing set of Kitchen Cabinet , Joice bar panty & Reception counter as per the design | 1 | Item |  |  | 0
0
2.4.08 | Supply & fixing SS Name board "E SPORT STADIUM" as per the Drawing. | 1 | Item |  |  | 0
2.4 | FLOOR, WALL & CEILING FINISHES
Floor Finishes
2.4.1 | Supply & laying 600 x 600 Floor Semi Gloss floor Tiles at Ground floor all the General Areas. | 306 | Sqm |  |  | 0
2.4.2 | Supply & laying 300 x 300 Floor Non Slip floor Tiles at Ground floor all the Toilets. | 3.3 | Sqm |  |  | 0
2.4.3 | Supply & laying 600 x 600 Floor Non Slip floor Tiles at Kitchen areas. | 20 | Sqm |  |  | 0
2.4.4 | Supply & laying 600 x 600 Floor Semi gloss Tiles at Kitchen Pantry with all the corner tile trims & etc. | 10.98 | Sqm |  |  | 0
Wall Finishes
2.4.6 | 20mm Thick Cement Mortar plater at the both sides of all the new Cement block walls | 706.92 | Sqm |  |  | 0
2.4.7 | Supply & laying 300 x 600 Floor Wall Tiles at Toilet MV | 23.18 | Sqm |  |  | 0
Ceiling Finishes
2.4.8 | Supply & Fixing Timber Framed Gypsum board ceiling at General Areas at the Ground floor level except stage area | 242.79 | Sqm |  |  | 0
2.4.9 | Supply & Fixing Timber Framed Cement Fiber board ceiling at Toilets. | 3.3 | Sqm |  |  | 0
2.5 | DOORS , WINDOWS & FIXED GLASS
The rate shall Include all the ironmongeries, fixtures & etc.
2.5.1 | D1-2400 x 2680 mm Aluminum framed, wooden & tinted glass door as per the design. | 1 | Nos |  |  | 0
2.5.2 | D2-1350 x 2680 mm Aluminum framed, wooden & tinted glass door as per the design. | 2 | Nos |  |  | 0
2.5.3 | D3-5360 x 2860mm Aluminum framed, wooden & tinted glass door with fixed glasses as per the design. | 1 | Nos |  |  | 0
2.5.4 | D4-4200 x 2500mm Timber framed, wooden door as per the design. | 1 | Nos |  |  | 0
2.5.5 | D5-650 x 2500mm Timber framed, wooden door as per the design. | 6 | Nos |  |  | 0
2.5.6 | D6-700 x 2500 mm Aluminum framed, wooden & tinted glass door as per the design. | 3 | Nos |  |  | 0
2.5.7 | D7-750 x 2500 mm Timber framed, wooden door as per the design. | 2 | Nos |  |  | 0
2.5.8 | D8-850 x 2000 mm Timber framed, wooden door as per the design. | 1 | Nos |  |  | 0
2.5.9 | D9 -650 x 2200 mm PVC framed, Wooden door as per the design. | 1 | Nos |  |  | 0
2.5.10 | D10-1410 x 2500 mm Timber framed, wooden door as per the design. | 1 | Nos |  |  | 0
2.5.11 | D11 -850 x 2500 mm Timber framed, Wooden door as per the design. | 1 | Nos |  |  | 0
2.5.12 | D12 -650 x 2200 mm Timber framed, Wooden door as per the design. | 2 | Nos |  |  | 0
2.5.13 | D13 -650 x 2680 mm Timber framed, Wooden door as per the design. | 1 | Nos |  |  | 0
2.5.14 | FG-2950 x 1450 Aluminum framed tinted fixed glass as per the design. | 1 | Nos |  |  | 0
2.5.15 | FG-10796 x 1998 Aluminum framed tinted fixed glass as per the design. | 1 | Nos |  |  | 0
2.5.16 | W1-1685 x 1500mm Aluminum framed tinted Glass window as per the design. | 1 | Nos |  |  | 0
2.6 | PAINTING & DECORATION
2.6.01 | Cleaning & painting External Existing Wall Cladding, Roofing, internal timber wall partitions & ceiling with existing paint finish as per the design. | 1 | Item |  |  | 0
2.6.02 | Cleaning & painting existing boundary wall with appropriate paint finishes as per the design. | 291 | Sqm |  |  | 0
2.6.03 | Supply & Application of 2 coat of skim coat wall putty, primer coat and finishing paint coat for all the internal masonry wall surfaces. | 706.92 | Sqm |  |  | 0
2.4.5 | Supply & Apply Epoxy Floor Paint at External entrance areas. The rate Shall include clean the existing concrete floor and apply 2 coat of Epoxy floor paint. | 102 | Sqm | 0 | 0 | 0
BILL NO 2 | Total Amount carried out to summary |  |  | 0 | 0 | 0
BILL NO 3 | ELECTRICAL & TELECOMUNICATION SYSTEMS
3.01 | Electric Boards
3.01.01 | Wiring connection to Main Panel Board from Main Electricity network. | 1 | Nos |  |  | 0
3.01.02 | DB, Supply and Installation of Utility Regulation Authority approved brand Distribution board | 2 | Nos |  |  | 0
3.01.03 | 16mm2 Cabling to DBs Wiring | 2 | Nos |  |  | 0
3.01.04 | Complete Cable tray system including all the fixtures.. | 1 | Item |  |  | 0
3.02 | Point Wiring
3.02.01 | 1.5mm2 Wiring to Light Points | 290 | Nos |  |  | 0
3.02.02 | 2.5mm2 Wiring to Power Points | 129 | Nos |  |  | 0
3.03 | Electrical Lighting System
3.03.01 | L06,WARM UP LIGHT IN SURFACE MOUNT LUMINAIRE | 14 | Nos |  |  | 0
3.03.02 | L07,CEILING HUNG CHANDELIER | 22 | Nos |  |  | 0
3.03.03 | L10,1X26W COMPACT FLOURESCENT LAMPS IN RECESSED LUMINAIRE | 58 | Nos |  |  | 0
3.03.04 | WATER PROOF LED STRIP WITH THE CONTROL UNITS. | 675 | m |  |  | 0
3.03.05 | L13,1X26W COMPACT FLOURESCENT LAMPS IN RECESSED WEATHER PROOF LUMINAIRE | 6 | Nos |  |  | 0
3.03.06 | P19,1 GANG 1 WAY SWITCH | 7 | Nos |  |  | 0
3.03.07 | P20,2 GANG 1 WAY SWITCH | 4 | Nos |  |  | 0
3.03.08 | P21,3 GANG 1 WAY SWITCH | 18 | Nos |  |  | 0
3.03.09 | P22,4 GANG 1 WAY SWITCH | 19 | Nos |  |  | 0
3.03.10 | P23,FAN / LIGHT DIMMER SWITCH | 1 | Nos |  |  | 0
3.03.11 | V01,DIA. 1200 CEILING FAN | 1 | Nos |  |  | 0
3.03.12 | E01,EMERGENCY LIGHT WITH 2 HOURS POWER PACK | 5 | Nos |  |  | 0
3.04 | Electrical Power System
3.04.01 | P01,1 GANG 13A SOCKET OUTLET AT 300mm ABOVE FINISHED FLOOR LEVEL | 6 | Nos |  |  | 0
3.04.02 | P02,2 GANG 13A SOCKET OUTLET AT 300mm ABOVE FINISHED FLOOR LEVEL | 88 | Nos |  |  | 0
3.04.03 | P03,1 GANG 13A SOCKET OUTLET AT 2400mm FROM FFL OR AT CEILING | 27 | Nos |  |  | 0
3.04.04 | P04,WATER PROOF 1 GANG 13A SOCKET OUTLET AT 1500mm ABOVE FINISHED FLOOR LEVEL | 2 | Nos |  |  | 0
3.04.05 | P09,1 GANG 13A SOCKET OUTLET AT 1150mm ABOVE FFL | 3 | Nos |  |  | 0
3.04.06 | P10,2 GANG 13A SOCKET OUTLET AT 1150mm ABOVE FFL | 3 | Nos |  |  | 0
3.04.07 | 3 Phase isolator | 3 | Nos |  |  | 0
3.05 | Network/Internet/Telecommunication
Provide & install Network and Telephone fittings, wiring equipment inclusive of all necessary connection as per local regulations as described
All network ,TV and Telephone socket outlets shall be 'Legrand' brand or equivalent, and PABX Gigabit switch shall be Cisco or equivalent
3.05.01 | INTERNET SWITCH BOARDS RACK, UPS & ETC. | 1 | Item |  |  | 0
3.05.01 | T04,COMPUTER NETWORK OUTLET (RJ 45 CONNECTORS) | 7 | Nos |  |  | 0
3.05.02 | T10,TV POINT | 1 | Nos |  |  | 0
0
3.05 | Telecommunication Wiring |  |  |  |  | 0
3.02.03 | Cabling - Data Network points (CAT6) | 7 | Nos |  |  | 0
3.02.04 | Cabling - Internet Switchboard | 1 | Nos |  |  | 0
3.02.05 | Cabling - Wireless Access Point | 1 | Nos |  |  | 0
3.02.06 | Cabling - Medianet Booster (TV) | 1 | Nos |  |  | 0
3.02.07 | Cabling - Medianet Booster | 1 | Nos |  |  | 0
3.06 | CCTV System
Design, Supply and installation of CCTV security system as per specifications including all Wiring connection, equipment inclusive of all necessary testing according operators’ demand/specifications.
3.06.01 | Ground Floor | 1 | Item |  |  | 0
3.06.02 | Mezzanine Floor | 1 | Item | 0 | 0 | 0
BILL NO 3 | Total Amount carried out to summary |  |  | 0 | 0 | 0
Bill No 4 | AIR-CONDITIONING SYSTEM
4.01 | Supplying and complete installation of air-conditioning systems; including all pipework, electrical wiring, insulation, stands for outdoor units etc. as per the design. | 1 | item | 0 | 0 | 0
BILL NO 4 | Total Amount carried out to summary |  |  | 0 | 0 | 0
Bill No 5 | FIRE FIGHTING SYSTEM
General
a )Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts, and similar incidental fittings, clips, saddles, brackets, straps, hangers screws nails and fixing complete including cutting and forming holes.
b ) Rate shall include for pipe works and inner and outer surface of all pipe work shall be galvanized steel.
c )All wiring and pipe work shall be done as specified in the drawing.
d )Shop drawings of the system shall be prepared to the standard of the government's relevant authority and submitted to the Consultant for approval.
e )Heat Resistant cable shall be laid for connecting the detectors.
5.01 | Fire Alarm / Detection System
5.01.01 | Manual Call Point | 3 | Nos |  |  | 0
5.01.02 | Smoke Detector | 27 | Nos |  |  | 0
5.01.03 | Beacon | 3 | Nos |  |  | 0
5.01.05 | Exit Sign for all exist doors | 11 | Nos |  |  | 0
5.01.06 | Fire Alarm Control Panel | 1 | Item |  |  | 0
5.02 | Fire Fighting System
5.02.01 | Fire Extinguisher CO2 2kg with polycarbonate enclosure | 15 | Nos |  |  | 0
5.02.02 | 30m Length Hose Real With Cabinet | 3 | Nos |  |  | 0
5.02.03 | Fire Piping Sytem with All the Fittings, Valves & other Equipment without the Fire pumps. | 1 | Item | 0 | 0 | 0
BILL NO 5 | Total Amount carried out to summary |  |  | 0 | 0 | 0
Bill No 6 | PLUMBING AND SANITORY FITTING INSTALLTION
General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure Upvc.
6.1 | Hydraulics
6.1.01 | Charges for Piping for fresh water Pipe Network with all the fittings & fixtures. | 1 | Item |  |  | 0
6.1.02 | Charges for Piping for Waste water Pipe Network with all the fittings & fixtures. | 1 | Item |  |  | 0
6.1.03 | Charges for Piping for Sewerage Pipe Network with all the fittings & fixtures. | 1 | Item |  |  | 0
6.2 | Sanitory Fittings Installation
6.2.01 | Water closet | 1 | Nos |  |  | 0
6.2.02 | Bidet Shower | 1 | Nos |  |  | 0
6.2.03 | Ceramic Wash basin. | 1 | Nos |  |  | 0
6.2.04 | SS Basin foucet | 1 | Nos |  |  | 0
6.2.05 | SS Bottke trap | 1 | Nos |  |  | 0
6.2.06 | Kitchen sink type 1 | 1 | Nos |  |  | 0
6.2.07 | Kitchen sink type 2 | 1 | Nos |  |  | 0
6.2.08 | SS Sink Foucet | 2 | Nos |  |  | 0
6.2.09 | SS bottle trap for kitcken sinks. | 2 | Nos |  |  | 0
6.2.10 | SS Angle Valve. | 5 | Nos |  |  | 0
6.2.11 | Mirror | 1 | Nos |  |  | 0
6.2.12 | Soap Tray | 1 | Nos |  |  | 0
6.2.13 | Rob Hook | 1 | Nos |  |  | 0
6.2.14 | Paper Holder | 1 | Nos |  |  | 0
6.2.15 | MWSC Meter | 1 | Nos |  |  | 0
6.2.16 | Floor Drain with SS Gully Grating | 3 | Nos | 0 | 0 | 0
BILL NO 6 | Total Amount carried out to summary |  |  | 0 | 0 | 0
Bill No 7 | CAFÉ AREA SEATING
7.01 | Woodedn Café Table with terrazo paint finish & insert wire mesh at the middle including 4 nos Chairs as per the design | 13 | Set |  |  | 0
7.02 | Steel Framed Shade with wooden table top & seating including all the decorations as per the design. | 9 | Set | 0 | 0 | 0
BILL NO 7 | Total Amount carried out to summary |  |  | 0 | 0 | 0