**Section 4 - Bidding Forms**

This section contains the forms to be completed by the Bidder and submitted as part of its Bid.

**TABLE OF FORMS**

[Letter of Technical Bid 3](#_Toc146107238)

[COUNTRY OF ORIGIN DECLARATION FORM 8](#_Toc146107239)

[Letter of price bid 9](#_Toc146107240)

[Price Schedules 11](#_Toc146107241)

[PREAMBLE 11](#_Toc146107242)

[Bid Security 36](#_Toc146107243)

[Bid-Securing Declaration 37](#_Toc146107244)

[Technical Proposal 38](#_Toc146107245)

[Site Organization 39](#_Toc146107246)

[Method Statement 40](#_Toc146107247)

[Mobilization Schedule 41](#_Toc146107248)

[Construction Schedule 42](#_Toc146107249)

[Environmental, Health and Safety Management Plan (EHSMP) 43](#_Toc146107250)

[Environmental, Health and Safety Code of Conduct 44](#_Toc146107251)

[Plant 46](#_Toc146107252)

[Personnel 47](#_Toc146107253)

[Form PER – 1: Proposed Personnel 47](#_Toc146107254)

[Form PER – 2: Resume of Proposed Personnel 48](#_Toc146107255)

[Equipment 49](#_Toc146107256)

[Form EQU: Equipment 49](#_Toc146107257)

[Proposed Subcontractors and/or Manufacturers for Major Items of Plant and Services 50](#_Toc146107258)

[Manufacturer's Authorization 51](#_Toc146107259)

[Functional Guarantee of the Proposed Facilities 54](#_Toc146107260)

[Data sheets 55](#_Toc146107261)

[Bidders are required to submit Guaranteed Technical Particulars (GTPs) for Major Plant and Equipment as per Technical Specifications. 55](#_Toc146107262)

[Form Schedule of Deviations 56](#_Toc146107263)

[Bidder’s Qualification 57](#_Toc146107264)

[Form ELI - 1: Bidder’s Information Sheet 58](#_Toc146107265)

[Form ELI - 2: Joint Venture Information Sheet 59](#_Toc146107266)

[Form CON – 1: Historical Contract Nonperformance 60](#_Toc146107267)

[Form CON – 2: EHS Performance Declaration 61](#_Toc146107268)

[Form FIN - 1: Historical Financial Performance 63](#_Toc146107269)

[Form FIN - 2: Average Annual Turnover 64](#_Toc146107270)

[Form FIN – 3: Availability of Financial Resources 65](#_Toc146107271)

[Form FIN- 4: Financial Requirements for Current Contract Commitments 66](#_Toc146107272)

[Form FIN - 5: Self-Assessment Tool for Bidder’s Compliance to Financial Resources (Criterion 2.3.3 of Section 3) 67](#_Toc146107273)

[Form EXP – 1: Contracts of Similar Size and Nature 68](#_Toc146107274)

[Form EXP - 2: Experience in Key Activities 69](#_Toc146107275)

[Form EXP – 3: Specific Experience in Managing Environmental, Health and Safety Aspects 70](#_Toc146107276)

[Form EXP – 4: Environmental, Health and Safety Certification 71](#_Toc146107277)

[Form EXP – 5: Environmental, Health and Safety Documentation 71](#_Toc146107278)

[Form EXP – 6: Environmental, Health and Safety Dedicated Personnel 71](#_Toc146107279)

[Form EXP - 7: Subcontractor 72](#_Toc146107280)

# Letter of Technical Bid

-- Note –

*The Bidder must accomplish the Letter of Technical Bid on its letterhead clearly showing the Bidder’s complete name and address.*

Date:

OCB No.:

Invitation for Bid No.:

To: MINISTRY OF FINANCE

We, the undersigned, declare that:

1. We have examined and have no reservations to the Bidding Documents, including Addenda issued in accordance with Instructions to Bidders (ITB) 8.
2. We acknowledge that we have read and understand ADB’s Anticorruption Policy (1998) and Integrity Principles and Guidelines (2015), both as amended from time to time.
3. We offer to design, manufacture, test, deliver, install, pre-commission, and commission in conformity with the Bidding Document the following Plant and Services: [insert narrative - indicating lots submitted to]
4. Our Bid consisting of the Technical Bid and the Price Bid shall be valid for a period of [insert bid validity period as specified in ITB 20.1 of the BDS] days starts from the date fixed for the bid submission deadline in accordance with ITB 24.1, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.
5. Our firm, including any Subcontractors or Manufacturers for any part of the Contract, have or will have nationalities from eligible countries, in accordance with ITB 4.2.
6. We, our directors, key officers, key personnel, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers for any part of the Contract, do not have any conflict of interest in accordance with ITB 4.3.

If there is any conflict of interest, please state details:

1. Parties involved in the conflict of interest: \_\_\_\_\_\_\_\_\_\_
2. Details about the conflict of interest: \_\_\_\_\_\_\_\_\_\_\_\_\_\_
3. We are not participating, as a Bidder, either individually or as partner in a Joint Venture, in more than one bid in this bidding process in accordance with ITB 4.3(e), other than alternative offers submitted in accordance with ITB 13.
4. Our firm, Joint Venture partners, our respective direct and indirect shareholders, directors, key officers, key personnel, associates, parent company, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers for any part of the contract, are not subject to, or not controlled by any entity or individual that is subject to, a temporary suspension or a debarment imposed by the Asian Development Bank or a debarment imposed by the Asian Development Bank in accordance with the Agreement for Mutual Enforcement of Debarment Decisions between the Asian Development Bank and other development banks.[[1]](#footnote-2)
5. Our firm, Joint Venture partners, our respective direct and indirect shareholders, directors, key officers, key personnel, associates, parent company, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers for any part of the contract, are not under ongoing investigation and/or sanctions proceedings by the Asian Development Bank or any multilateral development bank.

If under ongoing investigation and/or sanction proceedings by the Asian Development Bank or any multilateral development bank, please state details:

(i) Name of the multilateral development bank: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(ii) Reason for the ongoing investigation / allegations: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Our firm, Joint Venture partners, our respective direct and indirect shareholders, directors, key officers, key personnel, associates, parent company, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers for any part of the Contract, are not temporarily suspended, debarred, declared ineligible, or subject to any national and/or international sanctions by any country, any international organization, any multilateral development bank and other donor agency.

If so temporarily suspended, debarred, declared ineligible, or subject to any national and/or international sanctions by any country, any international organization, any multilateral development bank and other donor agency, please state details (as applicable to each Joint Venture partner, their respective direct or indirect shareholders, directors, key officers, key personnel, associate, parent company, affiliate, subsidiaries, Subcontractors, consultants, subconsultants, manufacturers, service providers and/or Suppliers):

(i) Name of Institution: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(ii) Period of the temporary suspension, debarment, ineligibility, or national or international sanction [*start and end date*]: \_\_\_\_\_\_\_\_\_\_\_\_

(iii) Reason for the temporary suspension, debarment, ineligibility, or national or international sanction: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Our firm, Joint Venture partners, associates, parent company affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers Suppliers, key officers directors and key personnel have never been *charged or convicted* with any criminal offense (including felonies but excluding misdemeanors) or infractions and/or violations of ordinance; nor charged or found liable in any civil or administrative proceedings in the last 10 years; or undergoing investigation for such, or subject to any criminal, civil or administrative orders, monitorship or enforcement actions.

If so charged, convicted/found liable, under ongoing investigation, or subject to orders, monitorship or enforcement actions, please state details:

(i) Nature of the offense/violation, proceedings, investigation, and/or monitorship or enforcement actions: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(ii) Court, area of jurisdiction and/or the enforcement agency: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(iii) Resolution [*i.e. dismissed, settled, or convicted; duration of penalty*]: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(iv) Other relevant details [*please specify*]: \_\_\_\_\_\_\_\_\_\_\_\_

1. Our firm, Joint Venture partners, our respective direct and indirect shareholders, directors, key officers, key personnel, associates, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers, can make and receive electronic fund transfer payments through the international banking system or otherwise discharge the Employer’s obligation upon initiation of wire transfer.

If unable to make or receive funds through the international banking system or otherwise discharge the Employer’s obligation upon initiation of wire transfer, please state the details:

1. Nature of the restriction: \_\_\_\_\_\_\_\_\_\_\_\_\_
2. Jurisdiction of the restriction: \_\_\_\_\_\_\_\_\_\_
3. Other relevant details: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
4. Our firm, Joint Venture partners, associates, parent company, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers, key officers, directors and key personnel are not from a country which is prohibited to export goods or services to, or receive any payments from the Employer’s country and/or are not prohibited to receive payments for particular goods or services by the Employer’s country by an act of compliance with a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations.
5. We have paid, or will pay the following commissions, gratuities, or fees with respect to the bidding process or execution of the Contract.**[[2]](#footnote-3)**

|  |  |  |  |
| --- | --- | --- | --- |
| Name of Recipient | Address | Reason | Amount |
|  |  |  |  |
|  |  |  | . |

1. We understand that it is our obligation to notify the Employer of any changes in connection with the matters described in paragraphs (f), (h), (i), (j), (k), (l), (m) and (n) of this Letter of Technical Bid.
2. [We are not a government-owned enterprise] / [We are a government-owned enterprise but meet the requirements of ITB 4.5].**[[3]](#footnote-4)**
3. We have not been suspended nor declared ineligible by the Employer based on execution of a Bid-Securing Declaration in accordance with ITB 4.6.
4. At any time following submission of our Bid, we shall permit, and shall cause our Joint Venture partners, directors, key officers, key personnel, associates, parent company, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers for any part of the contract to permit ADB or its representative to inspect our sites, assets, accounts and records and other documents relating to the bid submission and to have them audited by auditors appointed by ADB. We understand that failure of this obligation may constitute obstructive practice that may result in debarment and/or contract termination.
5. Regardless of whether the contract will be awarded to us, we shall preserve all accounts, records and other documents related to bid submission for at least 3 years from the date of submission of the bid or the period prescribed in applicable law, whichever is longer.
6. If we are awarded the contract, we shall preserve all accounts, records and other documents related to the procurement and execution of the contract for at least 5 years after completing the works contemplated in the relevant contracts or the period prescribed in applicable law, whichever is longer.
7. If our Bid is accepted, we commit to mobilizing key equipment and personnel in accordance with the requirements set forth in Section 6 (Employer’s Requirements) and our technical proposal, or as otherwise agreed with the Employer.
8. We certify on behalf of the Bidder, that the information provided in the bid has been fully reviewed, given in good faith, and to the best of our knowledge is true and complete. We understand that it is our obligation to inform the Employer of any changes to the information as and when it becomes known to us. We understand that any misrepresentation that knowingly or recklessly misleads, or attempts to mislead may lead to the automatic rejection of the Bid or cancellation of the contract, if awarded, and may result in remedial actions, in accordance with ADB’s Anticorruption Policy (1998, as amended to date) and Integrity Principles and Guidelines (2015, as amended from time to time).

Name

In the capacity of

Signed

Duly authorized to sign the Bid for and on behalf of

Date…………………………………………………………………………………………………

# COUNTRY OF ORIGIN DECLARATION FORM

Name of Bidder \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ IFB Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_ Page \_\_\_ of \_\_\_

|  |  |  |
| --- | --- | --- |
| Item | Description | Country of Origin |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

# Letter of price bid

-- Note –

*The Bidder must accomplish the Letter of Price Bid on its letterhead clearly showing the Bidder’s complete name and address.*

Date:

OCB No.:

Invitation for Bid No.:

To: MINISTRY OF FINANCE

We, the undersigned, declare that:

1. We have examined and have no reservations to the Bidding Document, including Addenda issued in accordance with Instructions to Bidders (ITB) 8.
2. We acknowledge that we have read and understand ADB’s Anticorruption Policy (1998) and Integrity Principles and Guidelines (2015), both as amended from time to time.
3. We offer to design, manufacture, test, deliver, install, pre-commission, and commission in conformity with the Bidding Document the following Plant and Services: [insert narrative]
4. The total price of our Bid, excluding any discounts offered in item (d) below is the sum of

[*amount of foreign currency in words*], [*amount in figures*], and [*amount of local currency in words*], [*amount in figures*]

*The total bid price from the Grand Total (from below table) should be entered by the Bidder inside this box. Absence of the total bid price in the Letter of Price Bid may result in the rejection of the bid.*

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Total** | **Taxes** | **Grand Total inclusive of Taxes** |
| **LOT 1** |  |  |  |
| **LOT 2** |  |  |  |
| **LOT 3** |  |  |  |
| **GRAND TOTAL** | | |  |

1. The discounts offered and the methodology for their application are as follows: [insert discounts and methodology for their application if any]
2. Our Bid shall be valid for a period of [insert bid validity period as specified in ITB 20.1 of the BDS] days starts from the date fixed for the submission deadline in accordance with ITB 24.1, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.
3. If our Bid is accepted, we commit to obtain a performance security in accordance with the Bidding Document.
4. We understand that this bid, together with your written acceptance thereof included in your notification of award through the issuance of Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed.
5. We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.
6. At any time following submission of our Bid, we shall permit, and shall cause our Joint Venture partners, directors, key officers, key personnel, associates, parent company, affiliates or subsidiaries, including any Subcontractors, consultants, subconsultants, manufacturers, service providers or Suppliers for any part of the contract to permit ADB or its representative to inspect our sites, assets, accounts and records and other documents relating to the bid submission and to have them audited by auditors appointed by ADB. We understand that failure of this obligation may constitute obstructive practice that may result in debarment and/or contract termination.
7. Regardless of whether the contract will be awarded to us, we shall preserve all accounts, records and other documents related to bid submission for at least 3 years from the date of submission of the bid or the period prescribed in applicable law, whichever is longer.
8. If we are awarded the contract, we shall preserve all accounts, records and other documents related to the procurement and execution of the contract for at least 5 years after the completing the works contemplated in the relevant contracts or the period prescribed in applicable law, whichever is longer.
9. We confirm and stand by our commitments and other declarations made in connection with the submission of our Letter of Technical Bid.
10. We certify on behalf of the Bidder, that the information provided in the bid has been fully reviewed, given in good faith, and to the best of our knowledge is true and complete. We understand that it is our obligation to inform the Employer of any changes to the information as and when it becomes known to us. We understand that any misrepresentation that knowingly or recklessly misleads, or attempts to mislead may lead to the automatic rejection of the Bid or cancellation of the contract, if awarded; and may result in remedial actions, in accordance with ADB’s Anticorruption Policy (1998, as amended to date) and Integrity Principles and Guidelines (2015, as amended from time to time).

Name

In the capacity of

Signed

Duly authorized to sign the Bid for and on behalf of

Date

# Price Schedules

## PREAMBLE

**General**

1. The Price Schedules are divided into separate Schedules as follows for each LOT:

Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad

Schedule No. 2: Plant and Mandatory Spare Parts Supplied from within the Employer’s Country

Schedule No. 3: Design Services

Schedule No. 4: Installation and Other Services

Schedule No. 5: Grand Summary

Schedule No. 6: Recommended Spare Parts

1. The Schedules do not generally give a full description of the plant to be supplied and the services to be performed under each item. Bidders shall be deemed to have read the Employer’s Requirements and other sections of the Bidding Document and reviewed the Drawings to ascertain the full scope of the requirements included in each item prior to filling in the rates and prices. The entered rates and prices shall be deemed to cover the full scope as aforesaid, including overheads and profit.
2. If Bidders are unclear or uncertain as to the scope of any item, they shall seek clarification in accordance with ITB 7 prior to submitting their bid.

**Pricing**

1. The units and rates in figures entered into the Price Schedules should be typewritten or if written by hand, must be in print form. Price Schedules not presented accordingly may be considered nonresponsive. Any alterations necessary due to errors, etc., shall be initialled by the Bidder.

As specified in the Bid Data Sheet and Special Conditions of Contract, prices shall be fixed and firm for the duration of the Contract, or prices shall be subject to adjustment in accordance with the corresponding Appendix (Price Adjustment) to the Contract Agreement.

1. Bid prices shall be quoted in the manner indicated and, in the currencies, specified in the Instructions to Bidders in the Bidding Document.

For each item, Bidders shall complete each appropriate column in the respective Schedules, giving the price breakdown as indicated in the Schedules.

Prices given in the Schedules against each item shall be for the scope covered by that item as detailed in Section 6 (Employer’s Requirements) or elsewhere in the Bidding Document.

1. Payments will be made to the Contractor in the currency or currencies indicated under each respective item.
2. When requested by the Employer for the purposes of making payments or part payments, valuing variations or evaluating claims, or for such other purposes as the Employer may reasonably require, the Contractor shall provide the Employer with a breakdown of any composite or lump sum items included in the Schedules.

**PRICE SCHEDULES - LOT 1**

A04 DHIDHDHOO ISLAND

B01 HANIMAADHOO ISLAND

C02 MILANDHOO ISLAND

D02 MANADHOO ISLAND

D04 HOLHUDHOO ISLAND

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **Lot 1 - Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad** | |
| **Instructions to bidders:** **(i) Prices shall be quoted in accordance with ITB 18.4 (a)**  (ii) Prices for items supplied from abroad should be quoted in Schedule 1. Do not duplicate same in Schedule 2.  (iii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currencies in accordance with ITB 19.1 of the BDS. | |

| **Item** | **Description** | **Ref.  Schedule** | **Country of Origin** | **Unit** | **Quantity** | **Unit Price*a*** | | **Total Price*a*** | **Taxes and Duties** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Foreign Currency** | **CIP** | **Foreign**  **Currency** | **Local Currency** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 = 6 x 8 | 10 |
| **A** | **Supply of Equipment and Materials** |  |  |  |  |  |  |  |  |
| **1.0** | **Extension of LVDB - Supply items** | **Sch S1** |  |  |  |  |  |  |  |
| 1.01 | A04-LVDB - Dhidhdhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.02 | B01-LVDB - Hanimaadhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.03 | C02-LVDB - Milandhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.04 | D02-LVDB - Manadhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.05 | D04-LVDB - Hulhudhoo Island |  |  | Nos | 1 |  |  | - |  |
| **2.0** | **MVDB and RMUs** | **Sch S2** |  |  |  |  |  |  |  |
| 2.1 | MVDB - 11 kV, 630 A, 25 KA, 02 Nos Incomer, 02 Nos Outgoing and Bus Coupler Panels as per schedules and specifications |  |  | Nos | 2 |  |  | **-** |  |
| **3.0** | **0.415/11 kV Step-Up Transformer** | **Sch S3** |  |  |  |  |  |  |  |
| 3.1 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **3150 KVA** |  |  | Nos | 2 |  |  | - |  |
| 3.2 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **2500 KVA** |  |  | Nos | 6 |  |  | - |  |
| **4.0** | **Package Substation** | **Sch S4** |  |  |  |  |  |  |  |
| 4.1 | Packaged Substation, **1500 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  | **-** |  |
| 4.2 | Packaged Substation, **1250 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  | **-** |  |
| 4.3 | Packaged Substation, **630 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 7 |  |  | **-** |  |
| **5.0** | **LV Distribution Box (Replacement)** | **Sch S5** |  |  |  |  |  |  |  |
| 5.1 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with **630 A** (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  |  | Nos | 5 |  |  | - |  |
| 5.2 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with **400 A** (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  |  | Nos | 4 |  |  | - |  |
| 5.3 | Addl. MCCB 250 A for C02 Milandhoo Substation # 1 LV Dist Panel |  |  | Nos | 1 |  |  | - |  |
| **6.0** | **LV Cables and accessories** | **Sch S6** |  |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured |  |  | m | 5805 |  |  | - |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured |  |  | m | 25 |  |  | - |  |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 300 sqmm, Armoured |  |  | m | 330 |  |  | - |  |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 240 sqmm, Armoured |  |  | m | 400 |  |  | - |  |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured |  |  | m | 1690 |  |  | - |  |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured |  |  | m | 660 |  |  | - |  |
| 6.07 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured |  |  | m | 1865 |  |  | - |  |
| 6.08 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured |  |  | m | 570 |  |  | - |  |
| 6.09 | Tinned copper cables lugs, crimp type (assorted sizes) |  |  | Nos | 682 |  |  | - |  |
| 6.10 | HS End Caps (all cable sizes) |  |  | Nos | 58 |  |  |  |  |
| **7.0** | **MV Cables and accessories** | **Sch S7** |  |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured |  |  | m | 3990 |  |  | - |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  |  | Nos | 14 |  |  | - |  |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  |  | Nos | 39 |  |  | - |  |
| **B** | **Mandatory Spare Parts and Tools (1 Lot for each unit supplied)** |  |  |  |  |  |  |  |  |
| 8.1 | Mandatory spare parts and tools for each LVDB, as per specification | Sch S1 |  | Lot | 5 |  |  | - |  |
| 8.2 | Mandatory spare parts and tools for each MVDB, as per specification | Sch S2 |  | Lot | 2 |  |  | - |  |
| 8.4 | Mandatory spare parts for for each Step-up transformer, as per specification | Sch S3 |  | Lot | 8 |  |  | - |  |
| 8.5 | Mandatory spare parts and tools for Package Substations, as per specification | Sch S4 |  | Lot | 9 |  |  | - |  |
| 8.6 | Mandatory spare parts for 11 kV Cables as per specification | Sch S7 |  | Lot | 4 |  |  |  |  |
| **TOTAL Column 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | |  |  |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 1 - Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country** | |
| **Instructions to bidders :** **(i) Prices shall be quoted in accordance with ITB 18.4 (b)**  (ii) Prices for items supplied locally should be quoted in Schedule 2. Do not duplicate same in Schedule 1.  (iii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currency in accordance with ITB 19.1 of the BDS.  b  Column 7 EXW Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items. | |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Price** | | **Total EXW Pricea** | **Sales and other Taxes** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Local Currency** | **EXW Priceb** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 7 | 9 |
| **A** | **Supply of Equipment and Materials** |  |  |  |  |  |  |  |
| **1.0** | **Extension of LVDB - Supply items** | **Sch S1** |  |  |  |  | **-** |  |
| 1.01 | A04-LVDB - Dhidhdhoo Island |  | Nos | 1 |  |  | - |  |
| 1.02 | B01-LVDB - Hanimaadhoo Island |  | Nos | 1 |  |  | - |  |
| 1.03 | C02-LVDB - Milandhoo Island |  | Nos | 1 |  |  | - |  |
| 1.04 | D02-LVDB - Manadhoo Island |  | Nos | 1 |  |  | - |  |
| 1.05 | D04-LVDB - Hulhudhoo Island |  | Nos | 1 |  |  | - |  |
| **2.0** | **MVDB and RMUs** | **Sch S2** |  |  |  |  |  |  |
| 2.1 | MVDB - 11 kV, 630 A, 25 KA, 02 Nos Incomer, 02 Nos Outgoing and Bus Coupler Panels as per schedules and specifications |  | Nos | 2 |  |  | - |  |
| **3.0** | **0.415/11 kV Step-Up Transformer** | **Sch S3** |  |  |  |  |  |  |
| 3.1 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 3150 KVA |  | Nos | 2 |  |  | - |  |
| 3.2 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 2500 KVA |  | Nos | 6 |  |  | - |  |
| **4.0** | **Package Substation** | **Sch S4** |  |  |  |  |  |  |
| 4.1 | Packaged Substation, 1500 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  | - |  |
| 4.2 | Packaged Substation, 1250 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  | - |  |
| 4.3 | Packaged Substation, 630 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 7 |  |  | - |  |
| **5.0** | **LV Distribution Box (Replacement)** | **Sch S5** | **Nos** |  |  |  |  |  |
| 5.1 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with 630 A (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  | Nos | 5 |  |  | - |  |
| 5.2 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with 400 A (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  | Nos | 4 |  |  | - |  |
| 5.3 | Addl. MCCB 250 A for C02 Milandhoo Substation # 1 LV Dist Panel |  | Nos | 1 |  |  | - |  |
| **6.0** | **LV Cables and accessories** | **Sch S6** |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured |  | m | 5805 |  |  | - |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured |  | m | 25 |  |  | - |  |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 300 sqmm, Armoured |  | m | 330 |  |  | - |  |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 240 sqmm, Armoured |  | m | 400 |  |  | - |  |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured |  | m | 1690 |  |  | - |  |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured |  | m | 660 |  |  | - |  |
| 6.07 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured |  | m | 1865 |  |  | - |  |
| 6.08 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured |  | m | 570 |  |  | - |  |
| 6.09 | Tinned copper cables lugs, crimp type (all cable sizes) |  | Nos | 682 |  |  | - |  |
| 6.10 | HS End Caps (all cable sizes) |  | Nos | 58 |  |  | - |  |
| **7.0** | **MV Cables and accessories** | **Sch S7** |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured |  | m | 3990 |  |  | - |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  | Nos | 14 |  |  | - |  |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  | Nos | 39 |  |  | - |  |
| **B** | **Mandatory Spare Parts and Tools (1 Lot for each unit supplied)** |  |  |  |  |  |  |  |
| 8.1 | Mandatory spare parts and tools for each LVDB, as per specification | Sch S1 | Lot | 5 |  |  | - |  |
| 8.2 | Mandatory spare parts and tools for each MVDB, as per specification | Sch S2 | Lot | 2 |  |  | - |  |
| 8.4 | Mandatory spare parts for each Step-up transformer, as per specification | Sch S3 | Lot | 8 |  |  | - |  |
| 8.5 | Mandatory spare parts and tools for Package Substations, as per specification | SchS4 | Lot | 9 |  |  | - |  |
| 8.6 | Mandatory spare parts for 11 kV Cables as per specification | Sch S7 | Lot | 4 |  |  | - |  |
| **TOTAL Column 8 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 1 - Schedule No. 3: Design Services** | |
| **Instructions to bidders :**  **(i) Prices shall be quoted in accordance with ITB 18.4 (c)**  (ii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  (iii) Survey, Engineering and design shall include but not limited to scope specified in Section 6.  a Specify currency in accordance with ITB 19.1 of the BDS. | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| **Local Currency Portion** | **Foreign Currency Portion** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| 1.0 | Site Survey (as specified in Section 6) and submission of survey information (one Lot for each Island) | Sec 6 | Lot | 5 |  |  | - | - |
| 2.0 | Design & Engineering Services (as specified in Section 6) and submission of design details, drawings, maps, equipment schedules and cost estimates (one Lot for each Island) | Sec 6 | Lot | 5 |  |  | - | - |
| **TOTAL Column 8 and 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|  |
| **Name of the Bidder / JV** |  |  |
|  | |  |
| **LOT 1 - Schedule No. 4 - Installation and Other Services** | |  |

|  |
| --- |
| **Instructions to bidders :**  (**i) Prices shall be quoted in accordance with ITB 18.4 (d)**  (ii) Item no C 5.0 - Provisional Sum : Maximum allocation given should be entered as unit price per Lot. Building modification works will be paid on actual basis based approved rates for civil works by FENAKA.  (iii) Any miscellaneous items not specifically mentioned in supply schedules but required for complete installation are deemed to be included in Bidders scope.  (iv) Rates shall include removal of existing equipment (if required) and handing over to Employer in the Island.  (v) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currency in accordance with ITB 19.1 of the BDS. |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Local Currency Portion** | **Foreign Currency Portion** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| **A** | **Installation of Equipment and Cables including Testing and Commissioning** |  |  |  |  |  |  |  |
| 1.0 | Extension of LVDB | Sch S1 | Nos | 5 |  |  | - | - |
| 2.0 | MVDB - 11 kV | Sch S2 | Nos | 2 |  |  | - | - |
| 3.0 | Step-Up Transformer | Sch S3 | Nos | 8 |  |  | - | - |
| 4.0 | Package Substations | Sch S4 | Nos | 9 |  |  | - | - |
| 5.0 | LV Distribution Box (Replacement & New) | Sch S5 | Nos | 10 |  |  | - | - |
| **6.0** | **LV Cables and accessories** | **Schedule S6** |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured | Installation in Trenches at P/House | m | 5725 |  |  | - | - |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured | Installation - Underground | m | 80 |  |  | - | - |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured | m | 25 |  |  | - | - |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 300 sqmm, Armoured | m | 330 |  |  | - | - |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 240 sqmm, Armoured | m | 400 |  |  | - | - |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured | m | 1690 |  |  | - | - |
| 6.07 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured | m | 660 |  |  | - | - |
| 6.08 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured | m | 1865 |  |  | - | - |
| 6.09 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured | m | 570 |  |  | - | - |
| 6.10 | Tinned copper cables lugs, crimp type (all cable sizes) |  | Nos | 682 |  |  | - | - |
| 6.11 | HS End Caps (all cable sizes) |  | Nos | 58 |  |  | - | - |
| **7.0** | **MV Cables and accessories** | **Schedule S7** |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured | Installation in Trenches at P/House | m | 750 |  |  | - | - |
| 7.02 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured | Installation - Underground | m | 3240 |  |  |  |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  | Nos | 14 |  |  | - | - |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  | Nos | 39 |  |  | - | - |
| 7.04 | Integration of LVDB and MVDB Panels with SCADA and PCMS / EMS systems in each Island | Sch S1 , S2 | Lot | 5 |  |  | - | - |
| **B** | **Other Services - Training** |  |  |  |  |  |  |  |
| 1.0 | Provision of training on installed microgrid components including LVDB, MVDB, Step-up Transformer & Package Substations as per specification (one Lot per each Island) | - | Lot | 5 |  |  | - | - |
| **C** | **Civil works including supply of civil construction materials** |  |  |  |  |  |  |  |
| 1.0 | Foundation for Step-up transformer as per OEM recommendations | Sch S3 | Nos | 8 |  |  | - | - |
| 2.0 | Elevated foundation (above established flood levels) as per OEM recommendations for Package Substations | Sch S4 | Nos | 9 |  |  | - | - |
| 3.0 | Elevated foundation (above established flood levels) as per OEM recommendations for New Dist Boxes | Sch S5 | Nos | 1 |  |  |  |  |
| 4.0 | Cable joint pits for 11 kV cables | Sch S7 | Nos | 14 |  |  | - | - |
| 5.0 | Provisional sum for Powerhouse building modifications to accommodate new / modified equipment (LVDB/MVDB), cable trenches etc. and demolition / dismantling works as required, to be paid on actuals as per approved rates. **(Maximum allocation US$ 4000 or equivalent per Lot (Island))** | - | Lot | 5 |  |  | - | - |
| **TOTAL Column 8 and 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | | | |
|
| **Name of the Bidder / JV :** |  |  |  |
|  | | | |
| **LOT 1 - Schedule No. 5: Grand Summary** | | | |
| Instructions to bidders : a Specify currency in accordance with ITB 19.1 of the BDS. b Taxes and/or duties from Schedules 1 and 2 may be added to the contract price in accordance with GCC 14 (Taxes and Duties) but excluded from bid evaluation in accordance with ITB 39.2. | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Schedule No.** | **Title** | **Total Price *a*** | |
| **Foreign** | **Local** |
| 1 | Plant and Mandatory Spare Parts Supplied from Abroad *b* |  |  |
| 2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country *b* |  |  |
| 3 | Design Services |  |  |
| 4 | Installation and Other Services |  |  |
| **Grand Total to be carried forward to Letter of Price Bid** | |  |  |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 1 : Schedule No. 6: Recommended Spare Parts** | |
| **Instructions to bidders :** (i) Bidder to specify recommended spare parts for long term (upto 10 year) operation of specified equipment (for full quantity supplied in the Lot) . (ii) The price of recommended spare parts quoted in this Schedule shall not be considered for evaluation.  a Specify currency in accordance with ITB 19.1 of the BDS. | |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **EXW Local Parts Local Currency** | **CIP Imported Parts Foreign Currency** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| **1.0** | **Recommended Spare Parts for LVDBs** | **Sch S1** |  |  |  |  |  |  |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  | - | - |
| **2.0** | **Recommended Spare Parts for MVDBs** | **Sch S2** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **3.0** | **Recommended Spare Parts for RMUs** | **Sch S2** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **4.0** | **Recommended Spare Parts for Step-Up Transformers** | **Sch S3** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **4.0** | **Recommended Spare Parts for PSS** | **Sch S4** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **TOTAL .** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

**PRICE SCHEDULES - LOT 2**

D03 VELIDHOO ISLAND

E01 ALIFUSHI ISLAND (FPV)

E02 HULHUDHUFFARU ISLAND

F01 THULHAADHOO ISLAND

F03 DHARAVANDHOO ISLAND

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **Lot 2 - Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad** | |
| **Instructions to bidders:** **(i) Prices shall be quoted in accordance with ITB 18.4 (a)**  (ii) Prices for items supplied from abroad should be quoted in Schedule 1. Do not duplicate same in Schedule 2.  (iii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currencies in accordance with ITB 19.1 of the BDS. | |

| **Item** | **Description** | **Ref.  Schedule** | **Country of Origin** | **Unit** | **Quantity** | **Unit Price*a*** | | **Total Price*a*** | **Taxes and Duties** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Foreign Currency** | **CIP** | **Foreign Currency** | **Local Currency** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 = 6 x 8 | 10 |
| **A** | **Supply of Equipment and Materials** |  |  |  |  |  |  |  |  |
| **1.0** | **Extension of LVDB - Supply items** | **Sch S1** |  |  |  |  |  |  |  |
| 1.01 | D03 - LVDB - Velidhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.02 | E01 - LVDB - ALIFUSHI Island |  |  | Nos | 1 |  |  | - |  |
| 1.03 | E02-LVDB - Hulhudhuffaaru Island |  |  | Nos | 1 |  |  | - |  |
| 1.04 | F01-LVDB - Thulhaadhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.05 | F03-LVDB - Dharavandhoo Island |  |  | Nos | 1 |  |  | - |  |
| **2.0** | **MVDB and RMUs** | **Sch S2** |  |  |  |  |  |  |  |
| 2.1 | MVDB - 11 kV, 630 A, 25 KA, 02 Nos Incomer, 02 Nos Outgoing and Bus Coupler Panels as per schedules and specifications |  |  | Nos | 4 |  |  | **-** |  |
| **3.0** | **0.415/11 kV Step-Up Transformer** | **Sch S3** |  |  |  |  |  |  |  |
| 3.1 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **2500 KVA** |  |  | Nos | 4 |  |  | - |  |
| 3.2 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **2000 KVA** |  |  | Nos | 2 |  |  | - |  |
| **4.0** | **Package Substation** | **Sch S4** |  |  |  |  |  |  |  |
| 4.1 | Packaged Substation, **1250 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  | **-** |  |
| 4.2 | Packaged Substation, **1250 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU (4 Way) with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  |  |  |
| 4.3 | Packaged Substation, **1000 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 2 |  |  | **-** |  |
| 4.4 | Packaged Substation, **630 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 4 |  |  | **-** |  |
| **5.0** | **LV Distribution Box (Replacement)** | **Sch S5** |  |  |  |  |  |  |  |
| 5.1 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with **630 A** (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  |  | Nos | 3 |  |  | - |  |
| 5.2 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with **400 A** (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  |  | Nos | 9 |  |  | - |  |
| **6.0** | **LV Cables and accessories** | **Sch S6** |  |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured |  |  | m | 5075 |  |  | - |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured |  |  | m | 245 |  |  | - |  |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 300 sqmm, Armoured |  |  | m | 1755 |  |  | - |  |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 240 sqmm, Armoured |  |  | m | 50 |  |  | - |  |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured |  |  | m | 666 |  |  | - |  |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured |  |  | m | 145 |  |  | - |  |
| 6.07 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured |  |  | m | 790 |  |  | - |  |
| 6.08 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured |  |  | m | 1639 |  |  | - |  |
| 6.09 | Tinned copper cables lugs, crimp type (assorted sizes) |  |  | Nos | 618 |  |  | - |  |
| 6.10 | HS End Caps (all cable sizes) |  |  | Nos | 47 |  |  |  |  |
| **7.0** | **MV Cables and accessories** | **Sch 7** |  |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured |  |  | m | 5800 |  |  | - |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  |  | Nos | 10 |  |  | - |  |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  |  | Nos | 38 |  |  | - |  |
| **B** | **Mandatory Spare Parts and Tools (1 Lot for each unit supplied)** |  |  |  |  |  |  |  |  |
| 8.1 | Mandatory spare parts and tools for each LVDB, as per specification | Sch S1 |  | Lot | 5 |  |  | - |  |
| 8.2 | Mandatory spare parts and tools for each MVDB, as per specification | Sch S2 |  | Lot | 4 |  |  | - |  |
| 8.4 | Mandatory spare parts for for each Step-up transformer, as per specification | Sch S4 |  | Lot | 6 |  |  | - |  |
| 8.5 | Mandatory spare parts and tools for Package Substations, as per specification | Sch S5 |  | Lot | 8 |  |  | - |  |
| 8.6 | Mandatory spare parts for 11 kV Cables as per specification | Sch S7 |  | Lot | 4 |  |  |  |  |
| **TOTAL Column 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | |  |  |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 2 - Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country** | |
| **Instructions to bidders :** **(i) Prices shall be quoted in accordance with ITB 18.4 (b)**  (ii) Prices for items supplied locally should be quoted in Schedule 2. Do not duplicate same in Schedule 1.  (iii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currency in accordance with ITB 19.1 of the BDS.  b  Column 7 EXW Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items. | |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Price** | | **Total EXW Pricea** | **Sales and other Taxes** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Local Currency** | **EXW Priceb** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 7 | 9 |
| **A** | **Supply of Equipment and Materials** |  |  |  |  |  |  |  |
| **1.0** | **Extension of LVDB - Supply items** | **Sch S1** |  |  |  |  | **-** |  |
| 1.01 | D03 - LVDB - Velidhoo Island |  | Nos | 1 |  |  | - |  |
| 1.02 | E01 - LVDB - ALIFUSHI Island |  | Nos | 1 |  |  | - |  |
| 1.03 | E02-LVDB - Hulhudhuffaaru Island |  | Nos | 1 |  |  | - |  |
| 1.04 | F01-LVDB - Thulhaadhoo Island |  | Nos | 1 |  |  | - |  |
| 1.05 | F03-LVDB - Dharavandhoo Island |  | Nos | 1 |  |  | - |  |
| **2.0** | **MVDB and RMUs** | **Sch S2** |  |  |  |  |  |  |
| 2.01 | MVDB - 11 kV, 630 A, 25 KA, 02 Nos Incomer, 02 Nos Outgoing and Bus Coupler Panels as per schedules and specifications |  | Nos | 4 |  |  | - |  |
| **3.0** | **0.415/11 kV Step-Up Transformer** | **Sch S3** |  |  |  |  |  |  |
| 3.1 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 2500 KVA |  | Nos | 4 |  |  | - |  |
| 3.2 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 2000 KVA |  | Nos | 2 |  |  | - |  |
| **4.0** | **Package Substation** | **Sch S4** |  |  |  |  |  |  |
| 4.1 | Packaged Substation, 1250 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  | - |  |
| 4.2 | Packaged Substation, 1250 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU (4 Way) with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  |  |  |
| 4.3 | Packaged Substation, 1000 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 2 |  |  | - |  |
| 4.4 | Packaged Substation, 630 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 4 |  |  | - |  |
| **5.0** | **LV Distribution Box (Replacement)** | **Sch S5** | **Nos** |  |  |  |  |  |
| 5.1 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with 630 A (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  | Nos | 3 |  |  | - |  |
| 5.2 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with 400 A (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  | Nos | 9 |  |  | - |  |
| **6.0** | **LV Cables and accessories** | **Sch S6** |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured |  | m | 5075 |  |  | - |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured |  | m | 245 |  |  | - |  |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 300 sqmm, Armoured |  | m | 1755 |  |  | - |  |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 240 sqmm, Armoured |  | m | 50 |  |  | - |  |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured |  | m | 666 |  |  | - |  |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured |  | m | 145 |  |  | - |  |
| 6.07 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured |  | m | 790 |  |  | - |  |
| 6.08 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured |  | m | 1639 |  |  | - |  |
| 6.09 | Tinned copper cables lugs, crimp type (all cable sizes) |  | Nos | 618 |  |  | - |  |
| 6.10 | HS End Caps (all cable sizes) |  | Nos | 47 |  |  | - |  |
| **7.0** | **MV Cables and accessories** | **Sch S7** |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured |  | m | 5800 |  |  | - |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  | Nos | 10 |  |  | - |  |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  | Nos | 38 |  |  | - |  |
| **B** | **Mandatory Spare Parts and Tools (1 Lot for each unit supplied)** |  |  |  |  |  |  |  |
| 8.1 | Mandatory spare parts and tools for each LVDB, as per specification | Sch S1 | Lot | 5 |  |  | - |  |
| 8.2 | Mandatory spare parts and tools for each MVDB, as per specification | Sch S2 | Lot | 4 |  |  | - |  |
| 8.3 | Mandatory spare parts for each Step-up transformer, as per specification | Sch S3 | Lot | 6 |  |  | - |  |
| 8.4 | Mandatory spare parts and tools for Package Substations, as per specification | SchS4 | Lot | 8 |  |  | - |  |
| 8.5 | Mandatory spare parts for 11 kV Cables as per specification | Sch S7 | Lot | 4 |  |  | - |  |
| **TOTAL Column 8 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 2 - Schedule No. 3: Design Services** | |
| **Instructions to bidders :**  **(i) Prices shall be quoted in accordance with ITB 18.4 (c)**  (ii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  (iii) Survey, Engineering and design shall include but not limited to scope specified in Section 6.  a Specify currency in accordance with ITB 19.1 of the BDS. | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| **Local Currency Portion** | **Foreign Currency Portion** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| 1.0 | Site Survey (as specified in Section 6) and submission of survey information (one Lot for each Island) | Sec 6 | Lot | 5 |  |  | - | - |
| 2.0 | Design & Engineering Services (as specified in Section 6) and submission of design details, drawings, maps, equipment schedules and cost estimates (one Lot for each Island) | Sec 6 | Lot | 5 |  |  | - | - |
| **TOTAL Column 8 and 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|  |
| **Name of the Bidder / JV** |  |  |
|  | |  |
| **LOT 2 - Schedule No. 4 - Installation and Other Services** | |  |

|  |
| --- |
| **Instructions to bidders :**  (i) Prices shall be quoted in accordance with ITB 18.4 (d)  (ii) Item no C 5.0 - Provisional Sum : Maximum allocation given should be entered as unit price per Lot. Building modification works will be paid on actual basis based on approved rates for civil works by FENAKA.  (iii) Any miscellaneous items not specifically mentioned in supply schedules but required for complete installation are deemed to be included in Bidders scope.  (iv) Rates shall include removal of existing equipment (if required) and handing over to Employer in the Island.  (v) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currency in accordance with ITB 19.1 of the BDS. |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Local Currency Portion** | **Foreign Currency Portion** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| **A** | **Installation of Equipment and Cables including Testing and Commissioning** |  |  |  |  |  |  |  |
| 1.0 | Extension of LVDB | Sch S1 | Nos | 5 |  |  | - | - |
| 2.0 | MVDB - 11 kV | Sch S2 | Nos | 4 |  |  | - | - |
| 3.0 | Step-Up Transformer | Sch S3 | Nos | 8 |  |  | - | - |
| 4.0 | Package Substations | Sch S4 | Nos | 8 |  |  | - | - |
| 5.0 | LV Distribution Box (Replacement & New) | Sch S5 | Nos | 12 |  |  | - | - |
| **6.0** | **LV Cables and accessories** | **Schedule S6** |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured | Installation in Trenches at P/House | m | 5075 |  |  | - | - |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured | m | 0 |  |  |  |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured | Installation - Underground | m | 0 |  |  | - | - |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured | m | 245 |  |  | - | - |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 300 sqmm, Armoured | m | 1755 |  |  | - | - |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 240 sqmm, Armoured | m | 50 |  |  | - | - |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured | m | 666 |  |  | - | - |
| 6.07 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured | m | 145 |  |  | - | - |
| 6.08 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured | m | 790 |  |  | - | - |
| 6.09 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured | m | 1639 |  |  | - | - |
| 6.10 | Tinned copper cables lugs, crimp type (all cable sizes) |  | Nos | 618 |  |  | - | - |
| 6.11 | HS End Caps (all cable sizes) |  | Nos | 47 |  |  | - | - |
| **7.0** | **MV Cables and accessories** | **Schedule S7** |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured | Installation in Trenches at P/House | m | 750 |  |  | - | - |
| 7.02 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured | Installation - Underground | m | 5050 |  |  |  |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  | Nos | 10 |  |  | - | - |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  | Nos | 38 |  |  | - | - |
| 8.0 | Integration of LVDB and MVDB Panels with SCADA and PCMS / EMS systems in each Island | Sch S1 , S2 | Lot | 5 |  |  | - | - |
| **B** | **Other Services - Training** |  |  |  |  |  |  |  |
| 9.0 | Provision of training on installed microgrid components including LVDB, MVDB, Step-up Transformer & Package Substations as per specification (one Lot per each Island) | - | Lot | 5 |  |  | - | - |
| **C** | **Civil works including supply of civil construction materials** |  |  |  |  |  |  |  |
| 1.0 | Foundation for Step-up transformer as per OEM recommendations | Sch S3 | Nos | 6 |  |  | - | - |
| 2.0 | Elevated foundation (above established flood levels) as per OEM recommendations for Package Substations | Sch S4 | Nos | 8 |  |  | - | - |
| 3.0 | Elevated foundation (above established flood levels) as per OEM recommendations for New Dist Boxes | Sch S5 | Nos | 2 |  |  |  |  |
| 4.0 | Cable joint pits for 11 kV cables | Sch S7 | Nos | 10 |  |  | - | - |
| 5.0 | Provisional sum for Powerhouse building modifications to accommodate new / modified equipment (LVDB/MVDB), cable trenches etc. and demolition / dismantling works as required, to be paid on actuals as per approved rates. (Maximum allocation US$ 4000 or equivalent per Lot (Island)) | - | Lot | 5 |  |  | - | - |
| **TOTAL Column 8 and 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | | | |
|
| **Name of the Bidder / JV :** |  |  |  |
|  | | | |
| **LOT 2 - Schedule No. 5: Grand Summary** | | | |
| Instructions to bidders : a Specify currency in accordance with ITB 19.1 of the BDS. b Taxes and/or duties from Schedules 1 and 2 may be added to the contract price in accordance with GCC 14 (Taxes and Duties) but excluded from bid evaluation in accordance with ITB 39.2. | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Schedule No.** | **Title** | **Total Price *a*** | |
| **Foreign** | **Local** |
| 1 | Plant and Mandatory Spare Parts Supplied from Abroad *b* |  |  |
| 2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country *b* |  |  |
| 3 | Design Services |  |  |
| 4 | Installation and Other Services |  |  |
| **Grand Total to be carried forward to Letter of Price Bid** | |  |  |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 2 : Schedule No. 6: Recommended Spare Parts** | |
| **Instructions to bidders :** (i) Bidder to specify recommended spare parts for long term (upto 10 year) operation of specified equipment (for full quantity supplied in the Lot) . (ii) The price of recommended spare parts quoted in this Schedule shall not be considered for evaluation.  a Specify currency in accordance with ITB 19.1 of the BDS. | |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **EXW Local Parts Local Currency** | **CIP Imported Parts Foreign Currency** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| **1.0** | **Recommended Spare Parts for LVDBs** | **Sch S1** |  |  |  |  |  |  |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  | - | - |
| **2.0** | **Recommended Spare Parts for MVDBs** | **Sch S2** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **3.0** | **Recommended Spare Parts for RMUs** | **Sch S2** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **4.0** | **Recommended Spare Parts for Step-Up Transformers** | **Sch S3** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **4.0** | **Recommended Spare Parts for PSS** | **Sch S4** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **TOTAL .** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

**PRICE SCHEDULES - LOT 3**

K01 RAIYMANDHOO ISLAND

K02 MULAH ISLAND

K03 VEYVAH ISLAND

K05 MULI ISLAND ISLAND

L02 NILANDHOO ISLAND

N02 THIMARAFUSHI ISLAND

N04 GURAIDHOO ISLAND

P02 MAAMENDHOO ISLAND

Q04 FARESMAATHODA ISLAND

Q05 GADHDHOO ISLAND

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **Lot 3 - Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad** | |
| **Instructions to bidders:** **(i) Prices shall be quoted in accordance with ITB 18.4 (a)**  (ii) Prices for items supplied from abroad should be quoted in Schedule 1. Do not duplicate same in Schedule 2.  (iii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currencies in accordance with ITB 19.1 of the BDS. | |

| **Item** | **Description** | **Ref.  Schedule** | **Country of Origin** | **Unit** | **Quantity** | **Unit Price*a*** | | **Total Price*a*** | **Taxes and Duties** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Foreign Currency** | **CIP** | **Foreign Currency** | **Local Currency** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 = 6 x 8 | 10 |
| **A** | **Supply of Equipment and Materials** |  |  |  |  |  |  |  |  |
| **1.0** | **Extension of LVDB - Supply items** | **Sch S1** |  |  |  |  |  |  |  |
| 1.01 | K01-LVDB - RAIYMANDHOO Island |  |  | Nos | 1 |  |  | - |  |
| 1.02 | K02-LVDB - MULAH Island |  |  | Nos | 1 |  |  | - |  |
| 1.03 | K03-LVDB - VEYVAH Island |  |  | Nos | 1 |  |  | - |  |
| 1.04 | K05-LVDB - MULI Island |  |  | Nos | 1 |  |  | - |  |
| 1.05 | L02-LVDB - NILANDHOO Island |  |  | Nos | 1 |  |  | - |  |
| 1.06 | N02-LVDB - THIMARAFUSHI Island |  |  | Nos | 1 |  |  | - |  |
| 1.07 | N04-LVDB - Guraidhoo Island |  |  | Nos | 1 |  |  | - |  |
| 1.08 | P02-LVDB - MAAMENDHOO Island |  |  | Nos | 1 |  |  | - |  |
| 1.09 | Q04 - LVDB - FARESMAATHODA Island |  |  | Nos | 1 |  |  | - |  |
| 1.10 | Q05-LVDB - GADHDHOO Island |  |  | Nos | 1 |  |  | - |  |
| **2.0** | **MVDB and RMUs** | **Sch S2** |  |  |  |  |  |  |  |
| 2.1 | MVDB - 11 kV, 630 A, 25 KA, 02 Nos Incomer, 02 Nos Outgoing and Bus Coupler Panels as per schedules and specifications |  |  | Nos | 6 |  |  | **-** |  |
| 2.2 | Outdoor Type Two way Ring Main Unit , 12 kV, 21 kA LBS : 1x 630 A , VCB : 1x 200 A VCB, with Earth switches |  |  | Nos | 3 |  |  | **-** |  |
| 2.3 | Outdoor Type Three way Ring Main Unit , 12 kV, 21 kA LBS : 2x 630 A , VCB : 1x 200 A VCB, with Earth switches |  |  | Nos | 2 |  |  | **-** |  |
| **3.0** | **0.415/11 kV Step-Up Transformer** | **Sch S3** |  |  |  |  |  |  |  |
| 3.1 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **2500 KVA** |  |  | Nos | 2 |  |  | - |  |
| 3.2 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **2000 KVA** |  |  | Nos | 5 |  |  | - |  |
| 3.3 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **1500 KVA** |  |  | Nos | 1 |  |  | - |  |
| 3.4 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, **400 KVA** |  |  | Nos | 2 |  |  | - |  |
| **4.0** | **Package Substation** | **Sch S4** |  |  |  |  |  |  |  |
| 4.1 | Packaged Substation, **1500 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU (4 Way) with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  | **-** |  |
| 4.2 | Packaged Substation, **1250 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 2 |  |  | **-** |  |
| 4.3 | Packaged Substation, **1250 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU (4Way) with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  | **-** |  |
| 4.4 | Packaged Substation, **630 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 4 |  |  | **-** |  |
| 4.5 | Packaged Substation, **250 KVA** with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  |  | Nos | 1 |  |  | **-** |  |
| **5.0** | **LV Distribution Box (Replacement)** | **Sch S5** |  |  |  |  |  |  |  |
| 5.1 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with **630 A** (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  |  | Nos | 2 |  |  | - |  |
| 5.2 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with **400 A** (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  |  | Nos | 2 |  |  | - |  |
| **6.0** | **LV Cables and accessories** | **Sch S6** |  |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured |  |  | m | 5155 |  |  | - |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured |  |  | m | 600 |  |  | - |  |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured |  |  | m | 210 |  |  | - |  |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured |  |  | m | 353 |  |  | - |  |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured |  |  | m | 1394 |  |  | - |  |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured |  |  | m | 45 |  |  | - |  |
| 6.07 | Tinned copper cables lugs, crimp type (assorted sizes) |  |  | Nos | 618 |  |  | - |  |
| 6.08 | HS End Caps (all cable sizes) |  |  | Nos | 23 |  |  |  |  |
| **7.0** | **MV Cables and accessories** | **Sch S7** |  |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured |  |  | m | 5375 |  |  | - |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  |  | Nos | 5 |  |  | - |  |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  |  | Nos | 48 |  |  | - |  |
| **B** | **Mandatory Spare Parts and Tools (1 Lot for each unit supplied)** |  |  |  |  |  |  |  |  |
| 8.1 | Mandatory spare parts and tools for each LVDB, as per specification | Sch S1 |  | Lot | 10 |  |  | - |  |
| 8.2 | Mandatory spare parts and tools for each MVDB, as per specification | Sch S2 |  | Lot | 6 |  |  | - |  |
| 8.3 | Mandatory spare parts and tools for each RMU, as per specification | Sch S2 |  | Lot | 5 |  |  |  |  |
| 8.4 | Mandatory spare parts for each Step-up transformer, as per specification | Sch S3 |  | Lot | 10 |  |  | - |  |
| 8.5 | Mandatory spare parts and tools for Package Substations, as per specification | Sch S4 |  | Lot | 9 |  |  | - |  |
| 8.6 | Mandatory spare parts for 11 kV Cables as per specification | Sch S7 |  | Lot | 8 |  |  |  |  |
| **TOTAL Column 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | |  |  |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 3 - Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country** | |
| **Instructions to bidders :** **(i) Prices shall be quoted in accordance with ITB 18.4 (b)**  (ii) Prices for items supplied locally should be quoted in Schedule 2. Do not duplicate same in Schedule 1.  (iii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currency in accordance with ITB 19.1 of the BDS.  b  Column 7 EXW Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items. | |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Price** | | **Total EXW Pricea** | **Sales and other Taxes** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Local Currency** | **EXW Priceb** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 7 | 9 |
| **A** | **Supply of Equipment and Materials** |  |  |  |  |  |  |  |
| **1.0** | **Extension of LVDB - Supply items** | **Sch S1** |  |  |  |  | **-** |  |
| 1.01 | K01-LVDB - RAIYMANDHOO Island |  | Nos | 1 |  |  | - |  |
| 1.02 | K02-LVDB - MULAH Island |  | Nos | 1 |  |  | - |  |
| 1.03 | K03-LVDB - VEYVAH Island |  | Nos | 1 |  |  | - |  |
| 1.04 | K05-LVDB - MULI Island |  | Nos | 1 |  |  | - |  |
| 1.05 | L02-LVDB - NILANDHOO Island |  | Nos | 1 |  |  | - |  |
| 1.06 | N02-LVDB - THIMARAFUSHI Island |  | Nos | 1 |  |  | - |  |
| 1.07 | N04-LVDB - Guraidhoo Island |  | Nos | 1 |  |  | - |  |
| 1.08 | P02-LVDB - MAAMENDHOO Island |  | Nos | 1 |  |  | - |  |
| 1.09 | Q04 - LVDB - FARESMAATHODA Island |  | Nos | 1 |  |  | - |  |
| 1.10 | Q05-LVDB - GADHDHOO Island |  | Nos | 1 |  |  | - |  |
| **2.0** | **MVDB and RMUs** | **Sch S2** |  |  |  |  |  |  |
| 2.10 | MVDB - 11 kV, 630 A, 25 KA, 02 Nos Incomer, 02 Nos Outgoing and Bus Coupler Panels as per schedules and specifications |  | Nos | 6 |  |  | - |  |
| 2.20 | Outdoor Type Two way Ring Main Unit , 12 kV, 21 kA LBS : 1x 630 A , VCB : 1x 200 A VCB, with Earth switches |  | Nos | 3 |  |  | - |  |
| 2.30 | Outdoor Type Three way Ring Main Unit , 12 kV, 21 kA LBS : 2x 630 A , VCB : 1x 200 A VCB, with Earth switches |  | Nos | 2 |  |  | - |  |
| **3.0** | **0.415/11 kV Step-Up Transformer** | **Sch S3** |  |  |  |  |  |  |
| 3.1 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 2500 KVA |  | Nos | 2 |  |  | - |  |
| 3.2 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 2000 KVA |  | Nos | 5 |  |  | - |  |
| 3.3 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 1500 KVA |  | Nos | 1 |  |  | - |  |
| 3.4 | 0.415 / 11 kV Step-up Transformer, oil immersed, conservator or hermetically sealed type, 400 KVA |  | Nos | 2 |  |  | - |  |
| **4.0** | **Package Substation** | **Sch S4** |  |  |  |  |  |  |
| 4.1 | Packaged Substation, 1500 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU (4 Way) with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  | - |  |
| 4.2 | Packaged Substation, 1250 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 2 |  |  | - |  |
| 4.3 | Packaged Substation, 1250 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU (4Way) with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  | - |  |
| 4.4 | Packaged Substation, 630 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 4 |  |  | - |  |
| 4.5 | Packaged Substation, 250 KVA with 11/0.415 kV Dry Type Transformer,11 kV RMU with 01 No Fault Passage Indicator and LV Switchgear Panel as per schedules |  | Nos | 1 |  |  | - |  |
| **5.0** | **LV Distribution Box (Replacement)** | **Sch S5** | **Nos** |  |  |  |  |  |
| 5.1 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with 630 A (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  | Nos | 2 |  |  | - |  |
| 5.2 | Outdoor Type 0.415 kV Distribution Box (Feeder Pillar Panel) with 400 A (MCCB) incomer and outgoing MCCBs/ MCBs as per schedules |  | Nos | 2 |  |  | - |  |
| **6.0** | **LV Cables and accessories** | **Sch S6** |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured |  | m | 5155 |  |  | - |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured |  | m | 600 |  |  | - |  |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured |  | m | 210 |  |  | - |  |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured |  | m | 353 |  |  | - |  |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured |  | m | 1394 |  |  | - |  |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured |  | m | 45 |  |  | - |  |
| 6.07 | Tinned copper cables lugs, crimp type (all cable sizes) |  | Nos | 618 |  |  | - |  |
| 6.08 | HS End Caps (all cable sizes) |  | Nos | 23 |  |  | - |  |
| **7.0** | **MV Cables and accessories** | **Sch S7** |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured |  | m | 5375 |  |  | - |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  | Nos | 5 |  |  | - |  |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  | Nos | 48 |  |  | - |  |
| **B** | **Mandatory Spare Parts and Tools (1 Lot for each unit supplied)** |  |  |  |  |  |  |  |
| 8.1 | Mandatory spare parts and tools for each LVDB, as per specification | Sch S1 | Lot | 10 |  |  | - |  |
| 8.2 | Mandatory spare parts and tools for each MVDB, as per specification | Sch S2 | Lot | 6 |  |  | - |  |
| 8.3 | Mandatory spare parts and tools for each RMU, as per specification | Sch S2 | Lot | 5 |  |  |  |  |
| 8.4 | Mandatory spare parts for each Step-up transformer, as per specification | Sch S3 | Lot | 10 |  |  | - |  |
| 8.5 | Mandatory spare parts and tools for Package Substations, as per specification | SchS4 | Lot | 9 |  |  | - |  |
| 8.6 | Mandatory spare parts for 11 kV Cables as per specification | Sch S7 | Lot | 8 |  |  | - |  |
| **TOTAL Column 8 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 3 - Schedule No. 3: Design Services** | |
| **Instructions to bidders :**  **(i) Prices shall be quoted in accordance with ITB 18.4 (c)**  (ii) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  (iii) Survey, Engineering and design shall include but not limited to scope specified in Section 6.  a Specify currency in accordance with ITB 19.1 of the BDS. | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| **Local Currency Portion** | **Foreign Currency Portion** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| 1.0 | Site Survey (as specified in Section 6) and submission of survey information (one Lot for each Island) | Sec 6 | Lot | 10 |  |  | - | - |
| 2.0 | Design & Engineering Services (as specified in Section 6) and submission of design details, drawings, maps, equipment schedules and cost estimates (one Lot for each Island) | Sec 6 | Lot | 10 |  |  | - | - |
| **TOTAL Column 8 and 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|  |
| **Name of the Bidder / JV** |  |  |
|  | |  |
| **LOT 3 - Schedule No. 4 - Installation and Other Services** | |  |

|  |
| --- |
| **Instructions to bidders :**  (i) Prices shall be quoted in accordance with ITB 18.4 (d)  (ii) Item no C 5.0 - Provisional Sum : Maximum allocation given should be entered as unit price per Lot. Building modification works will be paid on actual basis based on approved rates for civil works by FENAKA.  (iii) Any miscellaneous items not specifically mentioned in supply schedules but required for complete installation are deemed to be included in Bidders scope.  (iv) Rates shall include removal of existing equipment (if required) and handing over to Employer in the Island.  (v) Refer to Volume II of the bid document for design diagrams, equipment schedules and technical specifications.  a Specify currency in accordance with ITB 19.1 of the BDS. |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Local Currency Portion** | **Foreign Currency Portion** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| **A** | **Installation of Equipment and Cables including Testing and Commissioning** |  |  |  |  |  |  |  |
| 1.0 | Extension of LVDB | Sch S1 | Nos | 10 |  |  | - | - |
| 2.1 | MVDB - 11 kV | Sch S2 | Nos | 6 |  |  | - | - |
| 2.2 | RMU - 11 kV | Sch S2 | Nos | 5 |  |  |  |  |
| 3.0 | Step-Up Transformer | Sch S3 | Nos | 10 |  |  | - | - |
| 4.0 | Package Substations | Sch S4 | Nos | 9 |  |  | - | - |
| 5.0 | LV Distribution Box (Replacement & New) | Sch S5 | Nos | 4 |  |  | - | - |
| **6.0** | **LV Cables and accessories** | **Schedule S6** |  |  |  |  |  |  |
| 6.01 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured | Installation in Trenches at P/House | m | 5075 |  |  | - | - |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 4Cx 400sqmm, Armoured | m | 600 |  |  |  |  |
| 6.02 | 0.6/1 kV Cu/XLPE/PVC 1Cx 630 sqmm, Armoured | Installation - Underground | m | 80 |  |  | - | - |
| 6.03 | 0.6/1 kV Cu/XLPE/PVC 4Cx 185sqmm, Armoured | m | 210 |  |  | - | - |
| 6.04 | 0.6/1 kV Cu/XLPE/PVC 4Cx 120 sqmm, Armoured | m | 353 |  |  | - | - |
| 6.05 | 0.6/1 kV Cu/XLPE/PVC 4Cx 95 sqmm, Armoured | Installation - Underground | m | 1394 |  |  | - | - |
| 6.06 | 0.6/1 kV Cu/XLPE/PVC 4Cx 50 sqmm, Armoured | m | 45 |  |  | - | - |
| 6.07 | Tinned copper cables lugs, crimp type (all cable sizes) |  | Nos | 618 |  |  | - | - |
| 6.08 | HS End Caps (all cable sizes) |  | Nos | 23 |  |  | - | - |
| **7.0** | **MV Cables and accessories** | **Schedule S7** |  |  |  |  |  |  |
| 7.01 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured | Installation in Trenches at P/House | m | 750 |  |  | - | - |
| 7.02 | 6.35/11 (12) kV Cu/XLPE/PVC 3C x 70 sqmm, Armoured | Installation - Underground | m | 4625 |  |  |  |  |
| 7.02 | Straight through jointing kit for 11kV, 3 core, armoured cable - 70 sqmm, heat-shrink type including all accessories & lugs |  | Nos | 5 |  |  | - | - |
| 7.03 | Termination kit for 11kV, 3 core, armoured cable - 70 sqmm, indoor / heat-shrinkable type including screen and armour earth kits, all accessories and lugs. |  | Nos | 48 |  |  | - | - |
| 8.0 | Integration of LVDB and MVDB Panels with SCADA and PCMS / EMS systems in each Island | Sch S1 , S2 | Lot | 10 |  |  | - | - |
| **B** | **Other Services - Training** |  |  |  |  |  |  |  |
| 9.0 | Provision of training on installed microgrid components including LVDB, MVDB, Step-up Transformer & Package Substations as per specification (one Lot per each Island) | - | Lot | 10 |  |  | - | - |
| **C** | **Civil works including supply of civil construction materials** |  |  |  |  |  |  |  |
| 1.0 | Foundation for Step-up transformer as per OEM recommendations | Sch S3 | Nos | 10 |  |  | - | - |
| 2.0 | Elevated foundation (above established flood levels) as per OEM recommendations for Package Substations | Sch S4 | Nos | 9 |  |  | - | - |
|  | Elevated foundation (above established flood levels) as per OEM recommendations for New Dist Boxes | Sch S5 | Nos | 0 |  |  |  |  |
| 3.0 | Cable joint pits for 11 kV cables | Sch S7 | Nos | 5 |  |  | - | - |
| 4.0 | Provisional sum for Power House building modifications to accommodate new / modified equipment (LVDB/MVDB), cable trenches etc. and demolition / dismantling works as required, to be paid on actuals as per approved rates. (Maximum allocation US$ 4000 or equivalent per Lot (Island)) | - | Lot | 10 |  |  | - | - |
| **TOTAL Column 8 and 9 to be carried forward to Schedule No. 5: Grand Summary** | | | | | | | 0 | 0 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Authorized Signature, Date and Official Stamp** | |  | | |
| **Assure Project - Microgrid Modifications and Expansions** | | | | | |
|
| **Name of the Bidder / JV :** | |  | |  |  |
|  | | | | | |
| **LOT 3 - Schedule No. 5: Grand Summary** | | | | | |
| Instructions to bidders : a Specify currency in accordance with ITB 19.1 of the BDS. b Taxes and/or duties from Schedules 1 and 2 may be added to the contract price in accordance with GCC 14 (Taxes and Duties) but excluded from bid evaluation in accordance with ITB 39.2. | | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Schedule No.** | **Title** | **Total Price *a*** | |
| **Foreign** | **Local** |
| 1 | Plant and Mandatory Spare Parts Supplied from Abroad *b* |  |  |
| 2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country *b* |  |  |
| 3 | Design Services |  |  |
| 4 | Installation and Other Services |  |  |
| **Grand Total to be carried forward to Letter of Price Bid** | |  |  |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

|  |  |
| --- | --- |
| **Assure Project - Microgrid Modifications and Expansions** | |
|
| **Name of the Bidder / JV** |  |
|  | |
| **LOT 3 : Schedule No. 6: Recommended Spare Parts** | |
| **Instructions to bidders :** (i) Bidder to specify recommended spare parts for long term (upto 10 year) operation of specified equipment (for full quantity supplied in the Lot) . (ii) The price of recommended spare parts quoted in this Schedule shall not be considered for evaluation.  a Specify currency in accordance with ITB 19.1 of the BDS. | |

| **Item** | **Description** | **Ref.  Schedule** | **Unit** | **Quantity** | **Unit Pricea** | | **Total Pricea** | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **EXW Local Parts Local Currency** | **CIP Imported Parts Foreign Currency** | **Local Currency Portion** | **Foreign Currency Portion** |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9=5 x 7 |
| **1.0** | **Recommended Spare Parts for LVDBs** | **Sch S1** |  |  |  |  |  |  |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | - | - |
|  |  |  |  |  |  |  | - | - |
| **2.0** | **Recommended Spare Parts for MVDBs** | **Sch S2** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **3.0** | **Recommended Spare Parts for RMUs** | **Sch S2** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **4.0** | **Recommended Spare Parts for Step-Up Transformers** | **Sch S3** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **4.0** | **Recommended Spare Parts for PSS** | **Sch S4** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **TOTAL .** | | | | | | | 0 | 0 |

|  |  |
| --- | --- |
| **Authorized Signature, Date and Official Stamp** |  |

Tables of Adjustment Data

Not applicable

# Bid Security

**Bank Guarantee**

[*Bank’s name, and address of issuing branch or office*]**[[4]](#footnote-5)**

**Beneficiary: *MINISTRY OF FINANCE***

**Date:**

**Bid Security No.:**

We have been informed that [*name of the Bidder*] (hereinafter called "the Bidder") has submitted to you its bid dated [*insert date*] (hereinafter called "the Bid") for the execution of [*name of contract*] under Invitation for Bids No. [*insert IFB number*] (“the IFB”).

Furthermore, we understand that, according to your conditions, bids must be supported by a bid guarantee.

At the request of the Bidder, we [*name of Bank*]hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of [*amount in words*] [*amount in figures*]upon receipt by us of your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation(s) under the bid conditions, because the Bidder:

1. has withdrawn its Bid during the period of bid validity specified by the Bidder in the Letters of Technical and Price Bid; or
2. does not accept the correction of errors in accordance with the Instructions to Bidders (hereinafter “the ITB”); or
3. having been notified of the acceptance of its Bid by the Employer during the period of bid validity, (i) fails or refuses to execute the Contract Agreement, or (ii) fails or refuses to furnish the Performance Security, in accordance with the ITB.

This guarantee will expire (a) if the Bidder is the successful Bidder, upon our receipt of copies of the Contract Agreement signed by the Bidder and the Performance Security issued to you upon the instruction of the Bidder; or (b) if the Bidder is not the successful Bidder, upon the earlier of (i) our receipt of a copy of your notification to the Bidder of the name of the successful Bidder, or (ii) 28 days after the expiration of the Bidder’s bid.

Consequently, any demand for payment under this guarantee must be received by us at the office indicated above on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees (URDG) 2010 Revision, ICC Publication No.758.**[[5]](#footnote-6)**

[*Authorized signature(s) and bank’s seal (where appropriate)*]

# Bid-Securing Declaration

Not Applicable

# Technical Proposal

The technical should include the following documentation:

**Site Organization**

**Method Statement**

**Mobilization Schedule**

**Construction Schedule**

**Environmental, Health and Safety Management Plan**

**Environmental, Health and Safety Code of Conduct**

**Plant**

**Personnel**

**Equipment**

**Proposed Subcontractors for Major Items of Plant and Services**

**Manufacturer’s Authorization**

**Affiliate Company Guarantee**

**Time Schedule**

**Functional Guarantee of the Proposed Facilities**

**Data Sheets**

## Site Organization

The Bidder shall present a detailed organization chart and list of key personnel showing the intended project organization in the Contractor's head office and at site, including involvement of subcontractors.

## Method Statement

The Bidder shall submit a program of work giving a general description of the methods which the Contractor intends to adopt for the execution of each major stage of the Works such as e.g. for the design, procurement, manufacturing, shipping time incl. custom clearance, inland transport, civil works, mechanical works, commissioning, trial run, training, and final completion.

Technical Approach and Methodology: Explain your understanding of the objectives of the assignment, approach to services, methodology for carrying out the activities and obtaining the expected output, and the degree of detail of such output. Highlight the problems being addressed and their importance and explain your technical approach addressing them. Also explain the methodologies you propose to adopt and highlight the compatibility of those methodologies with the proposed approach.

The program must detail the project step by step including milestones, describing how the contractor intends to perform the Works and site supervision showing the function of their key personnel and the involvement of the subcontractors, if any, also reflecting the anticipated timing of the Contractor’s time schedule. The Bidder shall clearly show all major and important activities and number of staff involved e.g. number of teams/ personnel for foundation works and equipment intended to be deployed.

## Mobilization Schedule

The Mobilization Schedule should indicate bidder’s proposed plan to mobilize equipment, services and project staffs. It should reflect the no-objection request and approval step for Site Specific Environmental, Health and Safety Management Plan as per Contract Conditions.

## Construction Schedule

The Contractor shall provide a construction schedule where he proposes the main assignment activities, their content and duration, phasing and interrelations, milestones (including interim Employer / ADB approvals), and delivery dates for the reports. The proposed work plan should be consistent with the technical approach and methodology, showing understanding of Section 6 (Employer’s Requirements) and ability to translate them into a feasible working plan.

The construction schedule shall be consistent with proposed mobilization schedule and Time Schedule given in Section 9.

The Contractor shall among other show how the activities in the 20 islands, which phases will be done in parallel, etc.

## Environmental, Health and Safety Management Plan (EHSMP)

The Bidder shall submit an outline Environmental, Health and Safety Management Plan (EHSMP) commensurate with the risks and impacts of the proposed works and activities. These strategies and plans shall describe in detail the actions, materials, equipment, management processes, etc. that will be implemented by the Contractor, and its subcontractors.

In developing these strategies and plans, the Bidder shall have regard to the EHS provisions of the contract and EHS risks including those as may be more fully described in Section 6 (Employer’s Requirements) as well as the Environmental Management Plan (EMP) attached to the bidding document and also available at <https://www.adb.org/projects/documents/mld-55191-001-iee>.

## Environmental, Health and Safety Code of Conduct

**Environmental, Health and Safety Code of Conduct**

**for Contractor’s Personnel Form**

***Note to Bidder***

*The minimum content of the* *EHS Code of Conduct form as set out by the Employer shall not be substantially modified. However, the Bidder may add requirements as appropriate, including to take into account Contract-specific issues/risks.*

*The Bidder shall initial and submit the EHS Code of Conduct form as part of its bid.*

**ENVIRONMENTAL, HEALTH AND SAFETY CODE OF CONDUCT**

**FOR CONTRACTOR’S PERSONNEL**

We are the Contractor, [enter name of Contractor]. We have signed a contract with [enter name of Employer] for [enter description of the Works]. These Works will be carried out at [enter the Site and other locations where the Works will be carried out]. Our contract requires us to implement measures to address environmental, health and safety risks related to the Works.

This EHS Code of Conduct is part of our measures to deal with environmental, health and safety risks related to the Works. It applies to all our staff, labourers and other employees at the Works Site or other places where the Works are being carried out. It also applies to the personnel of each subcontractor and any other personnel assisting us in the execution of the Works. All such persons are referred to as “Contractor’s Personnel” and are subject to this EHS Code of Conduct.

This EHS Code of Conduct identifies the behavior that we require from all Contractor’s Personnel.

Our workplace is an environment where unsafe, offensive, abusive or violent behavior will not be tolerated and where all persons should feel comfortable raising issues or concerns without fear of retaliation.

**REQUIRED CONDUCT**

Contractor’s Personnel shall:

1. carry out his/her duties competently and diligently;
2. comply with this EHS Code of Conduct and all applicable laws, regulations and other requirements, including requirements to protect the health, safety and well-being of other Contractor’s Personnel and any other person;
3. maintain a safe working environment including by:
   1. ensuring that workplaces, machinery, equipment and processes under each person’s control are safe and without risk to health;
   2. wearing required personal protective equipment;
   3. using appropriate measures relating to chemical, physical and biological substances and agents; and
   4. following applicable emergency operating procedures.
4. report work situations that he/she believes are not safe or healthy and remove himself/herself from a work situation which he/she reasonably believes presents an imminent and serious danger to his/her life or health;
5. treat other people with respect, and not discriminate against specific groups such as women, people with disabilities, migrant workers or children;
6. report violations of this EHS Code of Conduct; and
7. not retaliate against any person who reports violations of this EHS Code of Conduct, whether to us or the Employer, or who makes use of the grievance mechanism for Contractor’s Personnel or the project’s Grievance Redress Mechanism.

**RAISING CONCERNS**

If any person observes behavior that he/she believes may represent a violation of this EHS Code of Conduct, or that otherwise concerns him/her, he/she should raise the issue promptly. This can be done by call [ ] to reach the Contractor’s hotline (if any) and leave a message.

The person’s identity will be kept confidential, unless reporting of allegations is mandated by the country law. Anonymous complaints or allegations may also be submitted and will be given all due and appropriate consideration. We take seriously all reports of possible misconduct and will investigate and take appropriate action. We will provide warm referrals to service providers that may help support the person who experienced the alleged incident, as appropriate.

**CONSEQUENCES OF VIOLATING THE ENVIRONMENTAL, HEALTH AND SAFETY**

**CODE OF CONDUCT**

Any violation of this EHS Code of Conduct by Contractor’s Personnel may result in serious consequences, up to and including termination and possible referral to legal authorities.

**FOR CONTRACTOR’S PERSONNEL:**

I have received a copy of this EHS Code of Conduct written in a language that I comprehend. I understand that if I have any questions about this EHS Code of Conduct, I can contact [enter name of Contractor’s contact person(s) with relevant experience)] requesting an explanation.

Name of Contractor’s Personnel: [insert name]

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: (day month year): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Countersignature of authorized representative of the Contractor:

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: (day month year): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

## Plant

## Personnel

### Form PER – 1: Proposed Personnel

Bidders should provide the details of proposed personnel and their experience record in the relevant Information Forms below for each of the candidate.

|  |  |
| --- | --- |
| 1. | **Title of position\*** |
|  | **Name** |
| **2.** | **Title of position\*** |
|  | **Name** |
| **3.** | **Title of position\*** |
|  | **Name** |
| **4.** | **Title of position\*** |
|  | **Name** |
| **etc.** | **Title of position\*** |
| **Name** |

-- Note --

*All titles of positions will be as listed in Section 6 (Employer’s Requirements).*

### Form PER – 2: Resume of Proposed Personnel

The Bidder shall provide all the information requested below. Use one form for each position.

|  |  |  |
| --- | --- | --- |
| **Position** | | |
| **Personnel information** | **Full Legal Name** | **Date of Birth** |
|  | **Known as** | **Place of Birth** |
|  | **Nationality** | **Citizenship** |
|  | **Type of government ID**  **Attach a copy of ID to this form** | **ID number** |
|  | **Professional qualifications** | |
| **Present employment** | **Name of employer** | |
|  | **Address of employer** | |
|  | **Telephone** | **Contact (manager/personnel officer)** |
|  | **Fax** | **E-mail** |
|  | **Job title** | **Years with present employer** |

Summarize professional experience in reverse chronological order. Indicate particular technical and managerial experience relevant to the project.

|  |  |  |
| --- | --- | --- |
| **From** | **To** | **Company/Project/Position/Relevant Technical and Management Experience** |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

## Equipment

### Form EQU: Equipment

The Bidder shall provide adequate information and details to demonstrate clearly that it has the capability to meet the equipment requirements indicated in Section 6 (Employer’s Requirements), using the Forms below. A separate Form shall be prepared for each item of equipment listed, or for alternative equipment proposed by the Bidder.

|  |  |  |
| --- | --- | --- |
| **Item of Equipment** | | |
| **Equipment Information** | **Name of manufacturer** | **Model and power rating** |
|  | **Capacity** | **Year of manufacture** |
| **Current Status** | **Current location** | |
|  | **Details of current commitments** | |
|  |  | |
| **Source** | **Indicate source of the equipment**  **o Owned o Rented o Leased o Specially manufactured** | |

Omit the following information for equipment owned by the Bidder.

|  |  |  |
| --- | --- | --- |
| **Owner** | **Name of owner** | |
|  | **Address of owner** | |
|  |  | |
|  | **Telephone** | **Contact name and title** |
|  | **Fax** | **Telex** |
| **Agreements** | **Details of rental/lease/manufacture agreements specific to the project** | |
|  |  | |
|  |  | |

## Proposed Subcontractors and/or Manufacturers for Major Items of Plant and Services

The following Subcontractors and/or Manufacturers are proposed for carrying out the item of the facilities indicated based on Criterion 2.5 of Section 3 (Evaluation and Qualification Criteria). Bidders are free to propose more than one for each item.

Bidders may propose Subcontractors and Manufacturers pre-approved by the Employer, if provided in the Tables below. However, they are free to propose subcontractors and/or manufacturers not included in the pre-approved list, who will be subject to approval of the Employer.

|  |  |  |
| --- | --- | --- |
| **Major Items of Plant** | **Proposed Subcontractors or Manufacturers** | **Nationality** |
| (a) LVDB - Extension |  |  |
| (b) MVDB |  |  |
| (c) LV Underground Cables and Accessories |  |  |
| (d) MV Underground Cables and Accessories |  |  |
| (e) Step-up transformers |  |  |
| (f) Packaged Substations (PSS) |  |  |
| (g) LV Distribution Boxes |  |  |

|  |  |  |
| --- | --- | --- |
| **Major Items of Services** | **Proposed Subcontractors or Manufacturers** | **Nationality** |
| 1. Civil Works |  |  |
|  |  |  |
|  |  |  |

## Manufacturer's Authorization

Date: *[insert date (as day, month and year) of bid submission]*

OCB No.: *[insert number of bidding process]*

To: *[insert complete name of the Employer]*

WHEREAS

We *[insert complete name of the manufacturer or manufacturer’s authorized agent]*, who are official manufacturers or agent authorized by the Manufacturer of *[insert type of goods manufactured]*, having factories at *[insert full address of manufacturer’s factories]*, do hereby authorize *[insert complete name of the Bidder]* to submit a bid the purpose of which is to provide the following goods, manufactured by us *[insert name and/or brief description of the goods]*, and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 27 of the General Conditions of Contract, with respect to the goods offered by the above firm.

Signed: *[insert signature(s) of authorized representative(s) of the manufacturer]*

Name: *[insert complete name(s) of authorized representative(s) of the manufacturer]*

Title: *[insert title]*

Duly authorized to sign this Authorization on behalf of *[insert complete name of the manufacturer]*

Dated on \_\_\_\_\_\_\_\_\_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, \_\_\_\_\_\_\_ *[insert date of signing]*

-- Note --

*The bidder shall require the manufacturer to fill out this form in accordance with the instructions indicated. This letter of authorization should be signed by a person with the proper authority to sign documents that are binding on the manufacturer. The bidder shall include it in its bid, if so indicated in the BDS.*

## 

**Affiliate Company Guarantee**

Not Applicable

**Time Schedule**

(To be used by Bidder when alternative Time for Completion is invited in ITB 13.2.)

Not Applicable.

## Functional Guarantee of the Proposed Facilities

**Form FUNC:** Not Applicable

## Data sheets

### Bidders are required to submit Guaranteed Technical Particulars (GTPs) for Major Plant and Equipment as per Employers Requirements (Volume II).

### Form Schedule of Deviations

To be filled by the Bidder´s for each declared non-compliance to the Employer´s requirements / Technical Specifications.

| **Schedule of Deviations** | | | **Bidder:** | ***[Name of Bidder]*** | |
| --- | --- | --- | --- | --- | --- |
| **No.** | **Reference** | |  |  | |
| **Section /**  **Specification** | **Clause / Page** | **Specified Requirement** | | **Non-Compliance / Deviation and**  **Bidder’s Clarifications** |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |
|  |  |  |  | |  |

# Bidder’s Qualification

To establish its qualifications to perform the contract in accordance with Section 3 (Evaluation and Qualification Criteria) the Bidder shall provide the following information requested in the corresponding Information Sheets.

### 

### Form ELI - 1: Bidder’s Information Sheet

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Bidder’s Information | | | | |
|  | | **Information of the Bidder** | **If the Bidder is a subsidiary or branch, information of any parent company/companies** |
| **Names** | **Full legal name(s)** |  |  |
| **Full trading name(s) (if any)** |  |  |
| **Addresses** | **Registered address(es)** |  |  |
| **Trading address(es)** |  |  |
| **Postal address(es) (if different from trading address)** |  |  |
| **Type of organization** | |  |  |
| **Country of constitution/incorporation/registration** | |  |  |
| **Year of constitution/incorporation/ registration** | |  |  |
| **Corporate or registration number** | |  |  |
| **In case of a Joint Venture, legal name of each partner** | |  | |
| **Bidder’s authorized representative**  (name, address, telephone number(s), fax number(s), e-mail address) | |  | |
| **Attached are copies of the following documents:**   * 1. In case of a single entity, articles of incorporation or constitution and company incorporation/registration of the legal entity named above, in accordance with ITB 4.1 and ITB 4.2. * 2. Authorization to represent the firm or Joint Venture named above, in accordance with ITB 22.2. * 3.In case of a Joint Venture, a letter of intent to form a Joint Venture or Joint Venture agreement, in accordance with ITB 4.1. * 4.In case of a government-owned enterprise, any additional documents not covered under 1 above required to comply with ITB 4.5. | | | |

### Form ELI - 2: Joint Venture Information Sheet

Each partner of the Joint Venture and Specialist Subcontractors must fill out this form separately.

|  |  |  |  |
| --- | --- | --- | --- |
| Joint Venture / Specialist Subcontractor Information | | | |
| **Bidder’s legal name** | |  | |
|  | | **Information of Joint Venture Partner or Specialist Subcontractor** | **If any Joint Venture Partner or Specialist Subcontractor is a subsidiary or branch, information of any parent company/companies** |
| **Names** | **Full Legal name(s)** |  |  |
| **Full trading name(s) (if any)** |  |  |
| **Addresses** | **Registered address(es)** |  |  |
| **Trading address (es)** |  |  |
| **Postal address (es) (if different from trading address)** |  |  |
| **Type of organization** | |  | |
| **Country of constitution/**  **incorporation/ registration** | |  | |
| **Year of constitution/ incorporation/ registration** | |  | |
| **Corporate or registration number** | |  | |
| **Joint Venture Partner’s or Specialist Subcontractor’s authorized representative information**  (name, address, telephone number(s), fax number(s), e-mail address) | |  | |
| **Attached are copies of the following documents:**   * 1. Articles of incorporation or constitution and company incorporation/registration of the legal entity named above, in accordance with ITB 4.1 and ITB 4.2. * 2. Authorization to represent the firm named above, in accordance with ITB 22.2. * 3. In the case of a government-owned enterprise, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITB 4.5. | | | |

Subcontractors are those listed in Technical Proposal – Proposed Subcontractors and/or Manufacturers for Major Items of Plant and Services.

### Form CON – 1: Historical Contract Nonperformance

Each Bidder must fill out this form in accordance with Criteria 2.2.1 and 2.2.3 of Section 3 (Evaluation and Qualification Criteria) to describe any history of nonperforming contracts and pending litigation or arbitration formally commenced against it.

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |
| --- | --- | --- | --- |
| **Table 1: History of Nonperforming Contracts** | | | |
| **Choose one of the following:**   * No nonperforming contracts. * Below is a description of nonperforming contracts involving the Bidder (or each Joint Venture partner if Bidder is a Joint Venture). | | | |
| **Year** | **Description** | **Amount of Nonperformed Portion of Contract ($ equivalent)** | **Total Contract Amount ($ equivalent)** |
| *[insert year]* | Contract Identification: *[indicate complete contract name/ number, and any other identification]*  Name of Employer: *[insert full name]*  Address of Employer: *[insert street/city/country]*  Reason(s) for nonperformance: *[indicate main reason(s)]* | *[insert amount]* | *[insert amount]* |
|  |  |  |  |

### Form CON – 2: EHS Performance Declaration

Each Bidder must fill out this form in accordance with Criterion 2.2.4 of Section 3 (Evaluation and Qualification Criteria).

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

In case of a Specialist Subcontractors, each Specialist Subcontractor must fill out this form and provide the Specialist Subcontractor’s name:

Specialist Subcontractor: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |
| --- | --- | --- | --- |
| **Environmental and Health and Safety Performance Declaration**  **in accordance with Section 3 (Evaluation and Qualification Criteria)** | | | |
|  **No suspension or termination of contract**: An employer has not suspended or terminated a contract and/or called the performance security for a contract for reasons related to Environmental or Health and Safety performance since the date specified in Criterion 2.5 of Section 3 (Evaluation and Qualification Criteria).   **Declaration of suspension or termination of contract**: The following contract(s) has/have been suspended or terminated and/or Performance Security called by an employer(s) for reasons related to Environmental or Health and Safety performance since the date specified in Criterion 2.5 of Section 3 (Evaluation and Qualification Criteria). Details are described below:   **Declaration of request for replacement of Key Environment, Health and Safety Personnel**: The following contract(s) has/have experienced a request by the Employer to replace Environmental, Health and Safety Personnel for reasons related to Environmental or Health and Safety performance since the date specified in Criterion 2.5 of Section 3 (Evaluation and Qualification Criteria). Details are described below:   **Declaration of past fatality resulted from EHS issues on site**: The following contract(s) has/have experienced a fatality resulted from EHS issues on site since the date specified in Criterion 2.5 of Section 3 (Evaluation and Qualification Criteria). Details are described below: | | | |
| **Year** | **Suspended or terminated portion of contract** | **Contract Identification** | **Total Contract Amount (current value, currency, exchange rate and US$ equivalent)** |
| *[insert year]* | *[insert amount and percentage]* | Contract Identification: *[indicate complete contract name/ number, and any other identification]*  Name of Employer: *[insert full name]*  Address of Employer: *[insert street/city/country]*  Reason(s) for suspension or termination: *[indicate main reason(s) e.g., discharge over environmental limit, workers did not have required health and safety permits to undertake high risk work, work carried out was not adhered to approved construction methodology and quality control plan]* | *[insert amount]* |
| *[insert year]* | *[insert amount and percentage]* | Contract Identification: *[indicate complete contract name/ number, and any other identification]*  Name of Employer: *[insert full name]*  Address of Employer: *[insert street/city/country]*  Reason(s) for suspension or termination: *[indicate main reason(s)]* | *[insert amount]* |
| *…* | *…* | *[list all applicable contracts]* | *…* |
| **Performance Security called by an employer(s) for reasons related to EHS performance** | | | |
| **Year** | **Contract Identification** | | **Total Contract Amount (current value, currency, exchange rate and US$ equivalent)** |
| *[insert year]* | Contract Identification: *[indicate complete contract name/ number, and any other identification]*  Name of Employer: *[insert full name]*  Address of Employer: *[insert street/city/country]*  Reason(s) for suspension or termination: *[indicate main reason(s) e.g. discharge over environmental limit, workers did not have required health and safety permits to undertake high risk work, work carried out was not adhered to approved construction methodology and quality control plan]* | | *[insert amount]* |
| **Key EHS personnel replacement requested by the Employer for reasons related to EHS performance** | | | |
| **Year** | **Contract Identification and Reasons** | | **Personnel replacement action and results** |
| *[insert year]* | Contract Identification: *[indicate complete contract name/ number, and any other identification]*  Name of Employer: *[insert full name]*  Address of Employer: *[insert street/city/country]*  Reason(s) for requesting for replacement: *[indicate main reason(s)]* | | *[insert description]* |
| **Fatality due to EHS issues on Site** | | | |
| **Year** | **Contract Identification** | | **Follow-on actions taken by the contractor** |
| *[insert year]* | Contract Identification: *[indicate complete contract name/ number, and any other identification]*  Name of Employer: *[insert full name]*  Address of Employer: *[insert street/city/country]*  Description of fatality event:  Causation: | | *[insert description]* |

### Form FIN - 1: Historical Financial Performance

Each Bidder must fill out this form.

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Financial Data for Previous \_\_\_\_\_ Years [$ Equivalent]** | | | | |
| **Year 1:** | **Year 2:** | **Year 3:** | **Year 4:** | **Year 5:** |

**Information from Balance Sheet**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Total Assets (TA)** |  |  |  |  |  |
| **Total Liabilities (TL)** |  |  |  |  |  |
| **Net Worth = TA-TL** |  |  |  |  |  |
| **Current Assets (CA)** |  |  |  |  |  |
| **Current Liabilities (CL)** |  |  |  |  |  |
| **Working Capital = CA - CL** |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **Most Recent**  **Working Capital** |  | To be obtained for most recent year and carried forward to FIN - 3 Line 1; in case of Joint Ventures, to the corresponding Joint Venture Partner’s FIN – 3. |

**Information from Income Statement**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Total Revenues** |  |  |  |  |  |
| **Profits Before Taxes** |  |  |  |  |  |
| **Profits After Taxes** |  |  |  |  |  |
|  | * Attached are copies of financial statements (balance sheets including all related notes, and income statements) for the last \_\_\_\_\_ years, as indicated above, complying with the following conditions. * Unless otherwise required by Section 3 of the Bidding Documents, all such documents reflect the standalone financial situation of the legal entity or entities comprising the Bidder and not the Bidder’s parent companies, subsidiaries or affiliates. * Historical financial statements must be audited by a certified accountant. * Historical financial statements must be complete, including all notes to the financial statements. * Historical financial statements must correspond to accounting periods already completed and audited (no statements for partial periods shall be requested or accepted). | | | | |

### Form FIN - 2: Average Annual Turnover

Each Bidder must fill out this form.

The information supplied should be the Annual Turnover of the Bidder or each partner of a Joint Venture for the total certified payments received from the clients for contracts in progress or completed, converted to US dollars at the rate of exchange at the end of the period reported.

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |
| --- | --- | --- | --- |
| **Annual Turnover Data for the Last \_\_\_\_\_ Years** | | | |
| **Year** | **Amount**  **Currency** | **Exchange**  **Rate** | **$**  **Equivalent** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
| **Average Annual Turnover** | | |  |

### Form FIN – 3: Availability of Financial Resources

Bidders must demonstrate sufficient financial resources, usually comprising of Working Capital supplemented by credit line statements or overdraft facilities and others to meet the Bidder’s financial requirements for

1. its current contract commitments, and
2. the subject contract.

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |
| --- | --- | --- |
| **Financial Resources** | | |
| **No.** | **Source of financing** | **Amount ($ equivalent)** |
| 1 | Working Capital (to be taken from FIN - 1) |  |
| 2 | Credit Line***a*** |  |
| 3 | Other Financial Resources |  |
| Total Available Financial Resources | |  |

a *To be substantiated by a letter from the bank issuing the line of credit.*

### Form FIN- 4: Financial Requirements for Current Contract Commitments

Bidders (or each Joint Venture partner) should provide information on their current commitments on all contracts that have been awarded, or for which a letter of intent or acceptance has been received, or for contracts approaching completion, but for which an unqualified, full completion certificate has yet to be issued.

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| **Current Contract Commitments** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Name of Contract** | **Employer’s**  **Contact**  **(Address, Tel, Fax)** | **Contract Completion**  **Date** | **Outstanding Contract  Value**  **(X) *a*** | **Remaining Contract Period in months (Y) *b*** | **Monthly Financial Resources Requirement**  **(X / Y)** |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| Total Monthly Financial Requirement for Current Contract Commitments | | | | | | **$** . . . . . . . . . . . . . . . . . |

a*Remaining outstanding contract values to be calculated from 28 days prior to the bid submission deadline ($ equivalent based on the foreign exchange rate as of the same date).*

b *Remaining contract period to be calculated from 28 days prior to bid submission deadline.*

### Form FIN - 5: Self-Assessment Tool for Bidder’s Compliance to Financial Resources (Criterion 2.3.3 of Section 3)

This form requires the same information submitted in Forms FIN - 3 and FIN - 4. All conditions of “Available Financial Resources Net of CCC **≥** Requirement for the Subject Contract” must be satisfied to qualify.

**Form FIN - 5A: For Single Entities**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **For Single Entities:**  **(A)** | **Total Available Financial Resources from FIN – 3 (B)** | **Total Monthly Financial Requirement for Current Contract Commitments (CCC) from FIN – 4 (C)** | **Available Financial Resources Net of CCC D = (B - C)** | **Requirement**  **for the Subject Contract**  **(E)** | **Results:**  **Yes or No**  **[*D must be greater than or equal to E*]**  **(F)** |
| \_\_\_\_\_\_\_\_\_  (Name of Bidder) |  |  |  | . . . . . . . . . . . |  |

**Form FIN - 5B: For Joint Ventures**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **For Joint Ventures:**  **(A)** | **Total Available Financial Resources from FIN – 3  (B)** | **Total Monthly Financial Requirement for Current Contract Commitments (CCC) from FIN – 4 (C)** | **Available Financial Resources Net of CCC D = (B - C)** | **Requirement**  **for the Subject Contract**  **(E)** | **Results:**  **Yes or No**  **[*D must be greater than or equal to E*]**  **(F)** |
| One Partner: |  |  |  |  |  |
| \_\_\_\_\_\_\_\_\_\_\_\_  (Name of Partner) |  |  |  | . . . . . . . . . . . |  |
| Each Partner: |  |  |  |  |  |
| \_\_\_\_\_\_\_\_\_\_\_\_\_  (Name of Partner 1) |  |  |  | . . . . . . . . . . . |  |
| \_\_\_\_\_\_\_\_\_\_\_\_\_  (Name of Partner 2) |  |  |  | . . . . . . . . . . . |  |
| \_\_\_\_\_\_\_\_\_\_\_\_\_  (Name of Partner 3) |  |  |  | . . . . . . . . . . . |  |
| All partners  combined | ∑ D = Sum of available financial resources net of current contract commitments for all partners | | ∑ D = \_\_\_\_\_\_\_ | . . . . . . . . . . . |  |

- Note -

*Form FIN – 5 is made available for use by the bidder as a self-assessment tool, and by the Employer as an evaluation work sheet, to determine compliance with the financial resources requirement as stated in 2.3.3. Failure to submit Form FIN - 5 by the Bidder shall not lead to bid rejection.*

### Form EXP – 1: Contracts of Similar Size and Nature

Fill out one (1) form per contract. Each contract shall be supported by documents such as Signed Contract Agreement, Taking-Over Certificate, Contract Completion Certificate or Performance Certificate.

The exchange rate to be used to calculate the value of the contract for conversion to a specific currency shall be the selling rate of the Borrower’s Central bank on the date of the contract.

|  |  |  |  |
| --- | --- | --- | --- |
| **Contract of Similar Size and Nature** | | | |
| **Contract No** . . . . . . **of** . . . . . | **Contract Identification** |  | |
| **Award Date** |  | **Completion Date** |  |
| **Role in Contract** | * **Contractor** | * **Management Contractor** | * **Subcontractor** |
| **Total Contract Amount** | **$** | | |
| **If partner in a Joint Venture or Subcontractor, specify participation of total contract amount** | **Percent of Total** | **Amount** | |
| **Employer’s name**  **Address**  **Telephone number**  **Fax number**  **E-mail** |  | | |
| **Description of the Similarity in Accordance with Criterion 2.4.1 of Section 3**  **(Evaluation and Qualification Criteria)** | | | |
| 1.Nature of scope of works including design, supply and installation.  2.Physical size of works  3.Complexity of works  4.Methods  5.Technology or other characteristics as described in Section 6 (Employer`s Requirements). |  | | |

### 

### Form EXP - 2: Experience in Key Activities

Fill out one (1) form per contract. Each contract shall be supported by documents such as Signed Contract Agreement, Taking-Over Certificate or Contract Completion Certificate.

Each Bidder must fill out this form.

If complied by Specialist Subcontractor, each Specialist Subcontractor must fill out this form and provide the Specialist Subcontractor’s name:

Specialist Subcontractor: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |
| --- | --- | --- | --- |
| **Contract with Similar Key Activities** | | | |
| **Contract No** . . . . . . **of** . . . . . . | **Contract Identification** |  | |
| **Award Date** |  | **Completion Date** |  |
| **Role in Contract** | * **Contractor** | * **Management Contractor** | * **Subcontractor** |
| **Total Contract Amount** | **US$** | | |
| **If partner in a Joint Venture or subcontractor, specify participation of total contract amount** | **Percent of Total** | **Amount** | |
| **Employer’s name**  **Address**  **Telephone number**  **Fax number**  **E-mail** |  | | |
| **Description of the key activities in accordance with Criterion 2.4.2 of Section 3**  **(to be filled for the relevant criteria listed below)** | | | |
| * Design, supply, installation, testing and commissioning of Low Voltage (LV) and Medium Voltage switchgear panels providing multiple power source synchronization. * Supply, installation, testing and commissioning of step-up / step-down transformers upto 2500 KVA capacity for voltage class 11 kV or above. * Integration of switchgear panels and equipment with automated control systems such as DG Controllers, Battery Management Systems (BMS) and Energy Management Systems (EMS) in a microgrid environment |  | | |
| * Supply and installation of Low Voltage (LV) and Medium Voltage (MV) Underground Cables, packaged substations (PSS) and Outdoor Low Voltage Feeder Pillars with following minimum quantities of demonstrated experience;   + LV / MV Underground Cables : **15 km**   + 11/0.415 kV or higher voltage class Packaged Substations (PSS) upto 630 KVA or higher capacity : **10 Nos**   + Outdoor Low Voltage Feeder Pillars : **15 Nos** |  | | |

### Form EXP – 3: Specific Experience in Managing Environmental, Health and Safety Aspects

Fill out one form per contract.

Each Bidder must fill out this form.

In case of a Joint Venture, each Joint Venture Partner must fill out this form separately and provide the Joint Venture Partner’s name:

Joint Venture Partner: \_\_\_\_\_\_\_\_\_

1. Key Requirements in accordance with Criterion 2.4.3 of Section 3:

* Health and Safety on worksites
* Preparation and implementation of safety procedures for carrying out similar electrical works.
* Community stakeholder engagement

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contract Identification |  | | | |
| Award date |  | | | |
| Completion date |  | | | |
| Role in Contract | Prime  Contractor | Partner  In JV | Management  Contractor | Subcontractor |
| Total Contract Amount |  | | US$ | |
| Details of relevant experience |  | | | |

### Form EXP – 4: Environmental, Health and Safety Certification

Please provide the following information:

Availability of the following valid ISO certification or internationally - recognized equivalent (equivalency to be demonstrated by the Bidder), and applicable to the worksite:

* At least one or more certifications indicated below;

1 Quality management certificate ISO 9001

2 Environmental management certificate ISO 14001

3 Health and Safety management certificate ISO 45001

### Form EXP – 5: Environmental, Health and Safety Documentation

Please provide the following information:

Availability of in-house policies and procedures acceptable to the Employer for EHS management:

1. ISO 45001: Occupational Health and Safety (OH&S) Management System

2. ISO 14001: Environment Management System

3. ISO 9001 Quality Management System

Existence of documented policies for the management of the following relevant points;

* Existence of a system for supervising and monitoring compliance with EHS commitments by the Bidder and by the Bidder’s Subcontractors and all its partners.
* Existence of procedures for hazardous materials transport, use and storage
* Existence of procedures for the tracking of hazardous waste generation, storage, transport and disposal including transboundary movement.
* Existence of procedures for community stakeholder engagement
* Existence of procedures for health and safety risk assessment and management planning and reporting
* EHS training of local staff/subcontractors/partners

### Form EXP – 6: Environmental, Health and Safety Dedicated Personnel

Please provide CV [Form PER-2] of the in-house personnel of the main contractor/ Joint Venture partners for the EHS positions specified in Section 6 (Employers Requirements):

*- Environmental Specialist*

*- Health and Safety Specialist*

### Form EXP - 7: Subcontractor

Fill out one (1) form per contract.

|  |  |  |  |
| --- | --- | --- | --- |
| **Contract for the Major Items** | | | |
| **Contract No** . . . . . . **of** . . . . . . | **Contract Identification** |  | |
| **Award Date** |  | **Completion Date** |  |
| **Role in Contract** | * **Contractor** | * **Management Contractor** | * **Subcontractor** |
| **Total Contract Amount** | **$** | | |
| **If partner in a Joint Venture or Subcontractor, specify participation of total contract amount** | **Percent of Total** | **Amount** | |
| **Employerʼs name**  **Address**  **Telephone number**  **Fax number**  **E-mail** |  | | |
| **Description of the Major Items in Accordance with Criterion 2.5 of Section 3 (Evaluation and Qualification Criteria)** | | | |
|  |  | | |

1. These institutions include African Development Bank, European Bank for Reconstruction and Development (EBRD), Inter-American Development Bank (IADB), and the World Bank Group. According to paragraph 9 of the Agreement, other international financial institutions may join upon the consent of all Participating Institutions and signature of a Letter of Adherence by the international financial institution substantially in the form provided (Annex B to the Agreement). Upon adherence, such international financial institution shall become a Participating Institution for purposes of the Agreement. Bidders are advised to check [www.adb.org/integrity](http://www.adb.org/integrity) for updates. [↑](#footnote-ref-2)
2. If none has been paid or is to be paid, indicate “None”. [↑](#footnote-ref-3)
3. Use one of the two options as appropriate. [↑](#footnote-ref-4)
4. All italicized text is for use in preparing this form and shall be deleted from the final document. [↑](#footnote-ref-5)
5. Or the employer may use “Uniform Rules for Demand Guarantees (URDG), ICC Publication No. 458” as appropriate. [↑](#footnote-ref-6)