## Summary
CONSTRUCTION OF WASTE MANAGEMENT CENTRE - ADDU HULHUDHOO-MEEDHOO
Bill of Quantities
SUMMARY SHEET
Bill No | Item | Amount
1 | Preliminaries
2 | Site Clearance
3 | Earth works
4 | Concrete works
5 | Masonry works
6 | Plastering works
7 | Painting works
8 | Roofing works
9 | Ceiling works
10 | Tiling Works
11 | Structural steel works
12 | Electrical works
13 | Plumbing works
14 | Doors and windows
15 | Others
Sub Total
GST 6%
GRAND TOTAL

## BOQ
CONSTRUCTION OF WASTE MANAGEMENT CENTRE - ADDU HULHUDHOO-MEEDHOO
Bill of Quantities
No | Item | Unit | Quantity | Rate | Amount
1 | Preliminaries
1.1 | Mobilization to site | LS | 1
1.2 | Site management cost including set up of tempory services for contractor's services as maybe ncessary | Months | 3
1.3 | Setup sign board on site | LS | 1
1.4 | Clean up site upon completion of works | LS | 1
1.5 | Demobilization | LS | 1
2 | Site Clearance
2.1 | Allow for all site clean up work including relocation of existing waste to a temporary location identified by island council | LS | 1
3 | Earth works
Allow for all excavation work for foundations as follows
3.1 | Collection bay footings | m3 | 0.144
3.2 | Compost drying area footings | m3 | 0.216
3.3 | Perimeter fence wall | m3 | 27.945
3.4 | Perimeter fence footings | m3 | 2.5151
3.5 | Flood light pole | m3 | 0.576
3.6 | Ground levelling works for ground slab works | m2 | 475.15
3.7 | Leachate collection tank | m3 | 6
3.8 | Setting up a ground water well in the location shown | LS | 1
4 | Concrete works
4.1 | Provide 100mm concrete floor screed for collection bay area. Reinforcement for the slab shall be R6@150 BW single layer | m3 | 5.665
4.2 | Compost slab panels cast according to the slopes shown on drawing. Reinforcement shall be as shown on drawings. | m3 | 41.85
4.3 | B1 beams of compost slab cast according to drawing. Reinforcement shall be as shown on drawing. | m3 | 7.722
4.4 | B2 beams of compost slab cast according to drawing. Reinforcement shall be as shown on drawing. | m3 | 10.422
4.5 | B3 beams of compost slab with a mortar layer at an adequate slope, cast according to drawing. Reinforcement shall be as shown on drawing. Rate shall include reinforcement work, formwork, casting and mortar works. | m3 | 2.511
4.6 | Foundation for collection bay column footings | m3 | 0.144
4.7 | Foundation for compost drying area column footings | m3 | 0.216
4.8 | Foundation for perimeter fence column footings | m3 | 5.0301
4.9 | Plinth beam for perimeter fence wall | m3 | 7.452
4.1 | Foundation for flood light pole | m3 | 0.576
4.11 | Ground water well casting work | LS | 1
4.12 | Leachate collection tank with primary and secondary tanks as shown on drawing. Rate shall include all formwork, casting and placing of the tank | Nos | 1
5 | Masonry works
150mm thick walls
5.1 | New 3500mm high walls for Collection Bay Walls | m2 | 74.55
5.2 | New 1500mm high walls for Collection Bay section separation | m2 | 7.5
5.3 | Extension of 1500mm high walls to 3500mm height | m2 | 50.86
5.4 | New 3500mm high walls for equipment room, office, bathroom | m2 | 67.515
5.5 | New 600mm high walls for collection bay area | m2 | 3.3
5.6 | 2000mm high walls for Ground Water Pump Room Hut (1700mm high wall above ground level with 300mm below ground level) | m2 | 11.7
200mm thick walls
5.7 | 900mm wall for perimeter fence (600mm high wall above ground level with 300mm below ground level) | m2 | 167.67
6 | Plastering works
150mm thick walls
6.1 | 25mm plastering on new 3500mm high walls for Collection Bay Walls | m2 | 149.1
6.2 | 25mm plastering on new 1500mm high walls for Collection Bay section separation | m2 | 15
6.2 | 25mm plastering on extended 3500mm high walls | m2 | 178.01
6.3 | 25mm plastering on 3500mm high walls for equipment room, office, bathroom | m2 | 135.03
6.4 | 25mm plastering on 600mm high wall for collection bay area | m2 | 6.6
6.5 | 25mm plastering on 1700mm high walls for Ground Water Pump Room Hut | m2 | 19.89
200mm thick walls
6.6 | 25mm plastering on 600mm wall for perimeter fence | m2 | 223.56
7 | Painting works
150mm thick walls
7.1 | Apply emulsion paint coating on 3500mm high walls for Collection Bay Walls | m2 | 149.1
7.2 | Apply emulsion paint coating on 1500mm high walls for Collection Bay section separation | m2 | 15
7.3 | Apply emulsion paint coating on extended 3500mm high walls | m2 | 178.01
7.4 | Apply emulsion paint coating on 3500mm high walls for equipment room, office, bathroom | m2 | 135.03
7.5 | Apply emulsion paint coating on 600mm high walls for equipment room, office, bathroom | m2 | 6.6
7.6 | Apply emulsion paint coating on 1700mm high walls for Ground Water Pump Room Hut | m2 | 19.89
200mm thick walls
7.7 | Apply emulsion paint coating on 600mm high wall for perimeter fence | m2 | 223.56
Steel members
7.8 | Apply emulsion paint coating on G.I columns of collection bay | LS | 1
7.9 | Apply emulsion paint coating on the roof trusses | LS | 1
7.1 | Apply emulsion paint coating on G.I columns of compost drying area | LS | 1
7.11 | Apply emulsion paint coating on G.I members of perimeter fence | LS | 1
7.12 | Apply paint coating on flood light poles | LS | 1
7.13 | Apply paint coating on the metal folding doors | LS | 1
7.14 | Apply emulsion paint coating on the metal hand pump of the secondary tank of leachate collection tank | LS | 1
Timber parts
7.15 | Apply emulsion paint coating on the removable timber covers of the leachate collection tanks | LS | 1
8 | Roofing works
8.1 | Lysaght roofing sheet for collection bay area. Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m2 | 323.085
8.2 | Roof flashing. Rate shall include fastening and sealing of joints | m | 27.15
8.3 | Timber beams - 150 x 75mm. Rate shall include for all fixing and joints. | m | 108.6
8.4 | Timber rafters - 100 x 50mm. Rate shall include for all fixing and joints | m | 358.9833
8.5 | Timber battens - 50 x 38mm. Rate shall include for all fixing and joints. | m | 538.475
8.6 | Gutter system 5" vinyl roof gutter with 2" x 3" downspouts for collecting bay area. Rate shall include all items necessary including fixing and joints, downpipes, fascia board and the likes. | m | 54.3
8.7 | Rock wool installation in office area and bathroom. Rate shall include rock wool, single sided aluminium foil, plastic mesh and the likes. | m2 | 24
8.8 | Lysaght roofing sheet for compost drying area. Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m2 | 25.8084
8.9 | Roof flashing. Rate shall include fastening and sealing of joints | m | 14.59
8.1 | Timber beams - 150 x 75mm. Rate shall include for all fixing and joints. | m | 12.06
8.11 | Timber rafters - 100 x 50mm. Rate shall include for all fixing and joints | m | 22.646
8.12 | Timber battens - 50 x 38mm. Rate shall include for all fixing and joints. | m | 33.969
8.13 | Gutter system 5" vinyl roof gutter with 2" x 3" downspouts for compost drying area. Rate shall include all items necessary including fixing and joints, downpipes, fascia board and the likes. | m | 6.03
8.14 | Lysaght roofing sheet for ground water pump room hut. Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m2 | 4
8.15 | Timber rafters for ground well hut - 100 x 50mm. Rate shall include for all fixing and joints | m | 4
8.16 | Timber battens for ground well hut - 50 x 38mm. Rate shall include for all fixing and joints. | m | 6.6667
9 | Ceiling works
9.1 | Suspended gypsum board ceiling for office and bathroom. Rate shall include all frame work and fixing of ceiling supporting members to rafters | m2 | 21.13
10 | Tiling Works
10.1 | 300x300mm ceramic floor tiles in office area | m2 | 194.5496
10.2 | 300x300mm floor tiles in bathroom | m2 | 72.2615
10.3 | 200x300mm wall tiles in bathroom for a height of 3.5m | m2 | 40.5143
10.4 | 300x300mm floor tiling in wash area | m2 | 23.7653
10.5 | 200x300mm wall tiling in wash area for a height of 3.5m | m2 | 4.7948
11 | Structural steel works
11.1 | Provide 75mm G.I pipe as structural columns for collection bay area. Rate shall include all fixings at both ends of the pipe for necessary connections as shown on drawing | Nos | 28
11.2 | Perimeter fence using 50mm G.I pipe as shown on drawing. Rate shall include all cuttings, weldings, applying of protective coating for welded joints, and, setting up the fence. | m | 75.61
11.3 | Provide 75mm G.I pipe as flood light fixing poles. Rate shall include installation charges as shown on drawing. | Nos | 4
11.4 | Provide 75mm G.I pipe as structural columns for compost drying area. Rate shall include all fixings at both ends of the pipe for necessary connections as shown on drawing | Nos | 6
12 | Electrical works
12.1 | Provide 3 phase 13 A power sockets in equipment room. Rate shall include connection to circuit breaker and all necessary accessories | Nos | 4
12.2 | Provide well water pump. Rate shall include its fixing inside the well pump hut. | Nos | 1
12.3 | Provide 13 A power socket for well water pump inside the well water pump hut and, provide the switch for the pump near circuit breaker inside the equipment room. Rate shall include connection to circuit breaker. | Nos | 1
12.4 | Provide 13 A power sockets for office. Rate shall include connection to circuit breaker. | Nos | 4
12.5 | Provide 600mm ceiling mount energy saving light in equipment room, provide the switches near circuit breaker inside the equipment room. Rate shall include connection to circuit breaker | Nos | 4
12.6 | Provide 600mm ceiling mount energy saving light in office and bathroom, provide the switches near respective entrances. Rate shall include connection to circuit breaker | Nos | 6
12.7 | Provide wall mounted energy saving light in office. Rate shall include fixing of required power socket. | Nos | 1
12.8 | Provide 200 W flood light for illuminating the waste yard. Rate shall include connecting each light to a switch near circuit breaker inside the equipment roomand providing power to the switch | Nos | 4
12.9 | Provide and mount a Ceiling fan inside the Equipment Room as indicated. Rate shall include provision of switch near the circuit breaker inside the equipment room, connection to circuit breaker and all necessary accessories | Nos | 2
12.1 | Provide and mount a Ceiling fan inside office area as indicated. Rate shall include provision of switch near the entrance, connection to circuit breaker and all necessary accessories | Nos | 4
12.11 | 13000BTU inverter AC in office area. Rate shall include providing required 15A power socket. | Nos | 1
12.12 | Supply and fix circuit breakers, main circuit breakers and current meter. All should be fixed inside equipment room. | LS | 1
12.13 | Connection of the circuit breakers to the main power supply from a distrubution box of utility provider in the island | m | 500
12.14 | All other work required to power the waste yard elecrical installations mentioned above | LS | 1
13 | Plumbing works
13.1 | Provide connection from pump to ground water well. Rate shall include all necessary pipes, bends, fittings and footvalve and others as maybe required. | LS | 1
13.2 | Provide outlet pipes as shown on drawing. Rate shall include connection to pump, bends, fittings and others as maybe necessary. | m | 51
13.3 | Provide PVC taps at ends of outlet pipes. | Nos | 3
13.4 | Supply 25mm diameter flexible hose | m | 25
13.5 | Wash closet in bathroom. Rate shall include connection to pump, bends, fittings and others as maybe necessary. | nos | 1
13.6 | Sink and tap in bathroom. Rate shall include connection to pump, bends, fittings and others as maybe necessary. | nos | 1
13.7 | Muslim shower in bathroom. Rate shall include connection to pump, bends, fittings and others as maybe necessary. | nos | 1
13.8 | PVC taps in wash area. Rate shall include connection to pump, bends, fittings and others as maybe necessary. | nos | 2
13.9 | Sitting style flush toilet bowl for the bathroom. Rate shall include connection to septic tank, pump, bends, fittings and others as maybe necessary. | Nos | 1
13.1 | Connection of bathroom drain to the septic tank. Rate shall include bends, fittings and others as maybe necessary. | Nos | 1
14 | Doors and windows
Metal Doors
14.1 | Provide lockable metal foldable sliding gates for entrance to equipment room. Rate shall include all cuts, welds, applying protective coating to welded joints, painting the door and proper fixing of the door. Rate shall include fabrication and fixing of truss, guide rails and wheels as well. | Nos | 1
14.2 | Provide lockable metal foldable sliding gates for entrance to hazardous waste storage room. Rate shall include all cuts, welds, applying protective coating to welded joints, painting the door and proper fixing of the door. Rate shall include fabrication and fixing of truss, guide rails and wheels as well. | Nos | 1
14.3 | Provide lockable metal gates for entrance to waste yard as specified in the drawing. Rate shall include all cuts, welds, applying protective coating to welded joints, painting the frame and properly fixing the door to the fence. | Nos | 2
Timber Doors
14.4 | Provide a lockable timber door of dimensions 1000mm x 1000mm with double door frames and fixed timber louvers for the ground water pump room hut. Rates shall include all materials, hinges and finxings. | Nos | 1
Aluminium Doors
(a) Rates shall include for locks, latches, closure, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames, mullions, transorms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) Rates Shall include for finishing.
14.5 | Supplying and fixing of aluminium door (D1) as specified. Including door closer and all accessories. | Nos | 1
14.6 | Supplying and fixing of aluminium door (D2) as specified. Including all accessories. | Nos | 1
14.7 | Supplying and fixing of aluminium sliding window (W1) as specified. Including all accessories. | Nos | 1
14.8 | Supplying and fixing of aluminium louver window (W2) as specified. Including all accessories. | Nos | 1
15 | Others
15.1 | Provide HDPE membrane below compost slab and collection bay floor slab | m2 | 475.15
15.2 | 50 x 50 PVC coated mesh. Rate shall include properly securing the mesh to G.I steel frame | m2 | 409.86
15.3 | Provide expansion joint in slab and fill the joint with polyethylene joint filler form and silicone as shown on drawing | m | 67.6
15.4 | Provide two timber removable covers for the primary and secondary tanks of the leachate collection tank. Rates shall include all materials, fastenings and handles. | m2 | 0.72
15.5 | Provide a metal hand pump for the secondary tank of the leachate collection tank. Rates shall include all materials, pipes, fastenings and handles. | LS | 1
15.6 | Connection of compost slab drain to leachate well including ball valve | LS | 1
15.7 | Demolition of existing walls as specified. | LS | 1
15.8 | Provide septic tank for flush toilet as shown in drawing. Rate shall include the connection of flush toilet to the septic tank, provision of appropriate drain, bends, fittings and others as maybe necessary.
15.9 | Cutting existing GI pipe sections in collection bay area and filling the holes with concrete grout. | LS | 1
TOTAL