## SUMMARY SHEET
BILL OF QUANTITIES
GRAND SUMMARY
1 | Waste Intake Building |  | 0
2 | Control Building |  | 0
0
| SUB TOTAL |  | 0
| GST 6% |  | 0
| GRAND TOTAL |  | 0

## WAIN BLDG
BOQ FOR WASTE INTAKE BUILDING
Rev.1
No. | DESCRIPTION | Specification | UNIT | Q'TY | Amount | Total Cost
A. Waste Intake Building
1 | Civil works for building foundation
1) | Excavation | by equipment | m3 | 496 | 0 | 0
2) | Backfill | by excavated soil | m3 | 135 | 0 | 0
3) | Disposal | Within site | m3 | 361 | 0 | 0
[5 empty] | 0 | 0
2 | Reinforced Concrete works |  |  |  | 0 | 0
1) | Crushed stone |  | m3 | 132 | 0 | 0
2) | Lean concrete | fcu=15, Thk.50 | m3 | 41 | 0 | 0
3) | Concrete | fcu=35 | m3 | 189 | 0 | 0
4) | High yield deformed bar |  |  |  | 0 | 0
|  | HD10 | ton | 2 | 0 | 0
|  | HD16 | ton | 7 | 0 | 0
|  | HD22 | ton | 13 | 0 | 0
5) | Formwork | Euro Form 3 times | m2 | 230 | 0 | 0
6) | Polyethylene Film | Two(2) layer of 150 μm | m2 | 724 | 0 | 0
7) | Non shrink mortar |  | m3 | 0.5 | 0 | 0
8) | Sump Pit | 1500*1500*1500 | Ea | 1 | 0 | 0
9) | Trench | Open W=300 | m | 60 | 0 | 0
[5 empty] | 0 | 0
3 | Steel and Other Structural Works |  |  |  | 0 | 0
| Fabricated Steel |  |  |  | 0 | 0
1) | RH Beam, SS400 | H-588*300*12*20 | TON | 73 | 0 | 0
2) | RH Beam, SS400 | H-582*300*12*17 | TON | 12 | 0 | 0
3) | RH Beam, SS400 | H-450*200*9*14 | TON | 16 | 0 | 0
4) | RH Beam, SS400 | H-300*150*6.5*9 | TON | 19 | 0 | 0
5) | RH Beam, SS400 | H-194*150*6*9 | TON | 4 | 0 | 0
6) | C-Channel | 100*50*20*2.3 | TON | 11 | 0 | 0
7) | ㄱ-Channel (CRANE BRACING) | 65*65*6 | TON | 1 | 0 | 0
8) | ㄱ-Channel (BRACING) | 90*90*7 | TON | 2 | 0 | 0
9) | Round Bar | ￠19 | TON | 1 | 0 | 0
10) | Steel plate | for others | ton | 13 | 0 | 0
11) | Other steel related accessories |  | ton | 7 | 0 | 0
12) | Anchor Bolt | M16 x L600 | Ea | 120 | 0 | 0
13) | High Tension Bolt, Washer & Nut | ASTM A325 Type 1, Mech Galv. Per class 50 | Ea | 2640 | 0 | 0
[5 empty] | 0 | 0
4 | Architectural Works |  |  |  | 0 | 0
1) | Panel for roof and its accessories | Expanded poly styrene flame retardant panel 100t, or Polyurethane sandwich panel 100t | m2 | 483 | 0 | 0
1) | Panel for wall and its accessories | Expanded poly styrene flame retardant panel 100t, or Polyurethane sandwich panel 100t | m2 | 2343 | 0 | 0
2) | Canopy Panel and its accessories | Expanded poly styrene flame retardant panel 50t, or Polyurethane sandwich panel 50t | m2 | 24 | 0 | 0
3) | Roof drain | Vertical, ¢100 | Ea | 8 | 0 | 0
4) | Guttor | Stainless steel, 200x200x200 | Ea | 8 | 0 | 0
5) | Guttor, Horizontal | Stainless steel, w250xh350x1.6t | m | 73 | 0 | 0
6) | Steel Downspout | Stainless Steel, ¢100 | m | 198 | 0 | 0
7) | Roof Ventilator | Non-powered, ¢1000 | ea |  | 0 | 0
8) | Floor for Crane Operator Room | Steel Plate, 20t, 2320 x 2200 | Ea | 2 | 0 | 0
[5 empty] | 0 | 0
5 | Doors and Windows |  |  |  | 0 | 0
1) | Steel doors and frames -2 | 1800 x 2100 | set | 1 | 0 | 0
2) | Plastic window - 1 | 16t, double glass 1500 x 1000 | set | 36 | 0 | 0
2)-1 | Windows for Crane Operator Room | 12t, tempered glass with Al frame | m2 | 12 |  | 0
3) | Shutter | 3500 x 4000 | Ea | 2 | 0 | 0
4) | Coking for glass | 5*5, silicon | m | 504 | 0 | 0
5) | Coking for water proofing | 10*10, Silicon | m | 436 | 0 | 0
[5 empty] | 0 | 0
6 | Painting |  |  |  | 0 | 0
| Painting for structural steel |  |  |  | 0 | 0
| Surface Preparation | SSPC-SP5 | m2 | 3727 | 0 | 0
| Primer coat | Zinc Rich Primer (60μm) | m2 | 3727 | 0 | 0
| Intermediate/ finish coat | Epoxy coat (120μm) x 2 times | m2 | 7454 | 0 | 0
| Fire retardant paint | for 1 hr | m2 | 2048 | 0 | 0
[5 empty] | 0 | 0
7 | Preparation for Shop Drawings |  | Lot | 1 | 0 | 0
8 | Design and Installation of LV Distribution |  | Lot | 1
9 | Design and Installation of Communication, Telephone and Computer Networks (ICT) |  | Lot | 1
10 | Design and Installation of Fire Detection Alarm and Suppression Sytems |  | Lot | 1
11 | Design and Installation of Ventilation and Air Conditioning |  | Lot | 1 | 0 | 0
12 | Design and Installation of Grounding and Lightning Protection |  | Lot | 1
13 | Design and Installation of Plumbing and Sanitary Installations |  | Lot | 1
14 | Design and Installation of CCTV System |  | Lot | 1
15 | Design and Installation of Access Control, Security and Alarm Systems |  | Lot | 1
16 | ADDITIONS: Provision to include quantities as per the drawing which is missed in the bill of quantities.
17 | OMISSIONS: Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
| TOTAL |  |  |  |  | 0
AMOUNT
AMOUNT
AMOUNT
AMOUNT

## CTRL BLDG
BOQ FOR CONTROL BUILDING
Rev.1
No. | DESCRIPTION | Specification | UNIT | Q'TY |  | Total Cost
B. Control Room Building
1 | Civil works for building foundation
1) | Excavation | by equipment | m3 | 497 | 0 | 0
2) | Backfill | by excavated soil | m3 | 240 | 0 | 0
3) | Disposal | Within site | m3 | 257 | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
2 | Reinforced Concrete works |  |  |  | 0 | 0
1) | Crushed stone |  | m3 | 110 | 0 | 0
2) | Lean concrete | fcu=15, Thk.50 | m3 | 35 | 0 | 0
3) | Concrete | fcu=35 | m3 | 320 | 0 | 0
4) | High yield deformed bar |  |  |  | 0 | 0
|  | HD10 | ton | 4 | 0 | 0
|  | HD13 | ton | 7 | 0 | 0
|  | HD19 | ton | 7 | 0 | 0
|  | HD22 | ton | 32 | 0 | 0
5) | Formwork | Euro Form 3 times | m2 | 445 | 0 | 0
6) | Polyethylene Film | Two(2) layer of 150 μm | m2 | 607 | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
3 | Architectural Works |  |  |  | 0 | 0
1) | Roof drain | Vertical, ¢100 | Ea | 8 | 0 | 0
2) | Guttor | Stainless steel, 200x200x200 | Ea | 8 | 0 | 0
3) | Guttor, Horizontal | Stainless steel, w250xh350x1.6t | m | 48 | 0 | 0
4) | Steel Downpipe with necessary fittings including roof drain | Stainless Steel, ¢100 | Ea | 8 | 0 | 0
[5 empty] | 0 | 0
4 | Doors and Windows |  |  |  | 0 | 0
1) | Steel doors and frames -1(SD-2) | 900 x 2100 | set | 8 | 0 | 0
2) | Steel doors and frames -2 (SD-1) | 1900 x 2100 | set | 2 | 0 | 0
3) | Steel doors and frames -3 | 2100 x 2400 | set |  | 0 | 0
4) | Plastic window - 1 | 16t, double glass 1000x1000 | set |  | 0 | 0
5) | Plastic window - 2 | 16t, double glass1500x1500 | set |  | 0 | 0
6) | Plastic window - 3 (Fixed) (PW-1) | 16t, double glass 2000x1000 | set | 8 | 0 | 0
7) | Hanger Door Shutter | 3200 x 3500 | Ea | 3 | 0 | 0
8) | Coking for glass | 5*5, silicon | m | 948 | 0 | 0
9) | Coking for water proofing | 10*10, Silicon | m | 806 | 0 | 0
[5 empty] | 0 | 0
5 | Brick, Water Proofing and Tile (for Toilet) |  |  |  | 0 | 0
1) | Cement Block | 8" | ea | 9234 | 0 | 0
2) | Brick | Cement, 190x57x90 | ea | 7510 | 0 | 0
3) | Water proofing, Floor | Cement | m2 | 24 | 0 | 0
4) | Water proofing, wall | Cement | m2 | 30 | 0 | 0
5) | Water proofing, Floor | Urethane 3t | m2 | 120 | 0 | 0
6) | Mortar, floor | 15mm | m2 | 30 | 0 | 0
7) | Ceramic Tile, wall | 300 x 600 | m2 | 48 | 0 | 0
8) | Ceramic Tile, floor | 300 x 300 | m2 | 24 | 0 | 0
9) | Urinals, Toilets, Septic tank and water piping |  | Lot | 1 | 0 | 0
[5 empty] | 0 | 0
6 | Interior |  |  |  | 0 | 0
1) | Ceiling Suspension, | T-bar | m2 | 24 | 0 | 0
2) | Ceiling Suspension, | M-bar | m2 | 240 | 0 | 0
3) | Sheet Molding Compound | 600 x 600 | m2 | 24 | 0 | 0
4) | Sound Absorption Textile | 6t | m2 | 240 | 0 | 0
5) | Aluminum Molding |  | m2 | 108 | 0 | 0
6) | Light weight partition | Stud W=65 | m2 | 240 | 0 | 0
7) | Gypsum Board | 9.5t | m2 | 240 | 0 | 0
8) | Access Floor for Control Room | 3t D=300, 300 x 300 | m2 | 120 | 0 | 0
8)-1 | Access Floor for Electrical Room | 3t D=600, 300 x 300 | m2 | 120 | 0 | 0
9) | Cubicle Dividers for toilet | H=1800 | m | 11 | 0 | 0
10) | Urinal Divider |  | ea | 8 | 0 | 0
[5 empty] | 0 | 0
7 | Painting |  |  |  | 0 | 0
1) | Painting for wall outside | Water based 2 times | m2 | 3200 | 0 | 0
2) | Painting for wall inside | Water based 2 times | m2 | 269 | 0 | 0
3) | Painting for Gypsum board surface | All putty | m2 | 211 | 0 | 0
4) | Hardner | Liquid phase | m2 | 240 | 0 | 0
[5 empty] | 0 | 0
8 | Metal works |  |  |  | 0 | 0
1) | Wire Mesh | #8 | m2 | 132 | 0 | 0
2) | Hand Rail for Roof | CS H=1,500 | m | 44 | 0 | 0
3) | Hand Rail for Stair | CS H=1,100 | m | 64 | 0 | 0
4) | Steel Stair Extension (between control room and condenser) | CS Width=1m, H=1,100m | m | 5 | 0 | 0
9 | Design and Installation of LV Distribution |  | Lot | 1
10 | Design and Installation of Communication, Telephone and Computer Networks (ICT) |  | Lot | 1
11 | Design and Installation of Fire Detection Alarm and Suppression Sytems |  | Lot | 1
12 | Design and Installation of Ventilation and Air Conditioning |  | Lot | 1 | 0 | 0
13 | Design and Installation of Grounding and Lightning Protection |  | Lot | 1
14 | Design and Installation of Plumbing and Sanitary Installations |  | Lot | 1
15 | Design and Installation of CCTV System |  | Lot | 1
16 | Design and Installation of Access Control, Security and Alarm Systems |  | Lot | 1
[5 empty] | 0 | 0
17 | Preparation for Shop Drawings |  | Lot | 1 | 0 | 0
18 | ADDITIONS: Provision to include quantities as per the drawing which is missed in the bill of quantities.
19 | OMISSIONS: Provision to remove the excess quantity given in the bill quantities if any as per the drawing details |  |  |  |  | 0
| TOTAL |  |  |  |  | 0
AMOUNT
AMOUNT
AMOUNT
AMOUNT