## Cover
BILL OF QUANTITIES
SPORTS COMPLEX
CLIENT: Ministry of Youth, Sports & Community Empowerment
MAY 2023

## Summary
BOQ - SUMMARY Sports Complex- Ministry of Youth, Sports & Community Empowerment
No. | Description |  | Total Without GST | Total GST | Total With GST | Total With GST
1 | PRELIMINARIES & GROUND WORKS |  | 0 | 0 | 0 | 0
2 | FOUNDATION |  | 0 | 0 | 0 | 0
3 | GROUND FLOOR
|  | Concrete works | 0 | 0 | 0
|  | Finishing works | 0 | 0 | 0
| GROUND FLOOR TOTAL |  |  |  |  | 0
4 | COMMON WORKS |  | 0 | 0 | 0 | 0
| Total Without GST |  | 0
| 8% GST |  |  | 0
| Total With GST |  |  |  | 0 | 0

## BOQ
BILL OF QUANTITIES
No | Description | Qty | Unit | Material rate | Labour rate | Material amount | Labour amount | Total
01 | PRELIMINARIES & GROUND WORKS |  |  |  |  | 0 | 0 | 0
| Preliminaries may include for hire equipment, plant, props, clean-up after completion etc. | 1 | item |  |  | 0 | 0 | 0
| Building demolition & Site clearance | 221.31 | m2 |  |  | 0 | 0 | 0
| Dewatering | 1 | item |  |  | 0 | 0 | 0
| Back filling | 221.31 | m2 |  |  | 0 | 0 | 0
| Concrete testing | 1 | item |  |  | 0 | 0 | 0
| Sign board | 1 | item |  |  | 0 | 0 | 0
| Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation | 221.31 | m² |  |  | 0 | 0 | 0
| Polythene damp proof membrane(500 gauge) below ground slab | 221.31 | m² |  |  | 0 | 0 | 0
| Management cost Concrete, Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, transport & similar. | 1 | item |  |  | 0 | 0 | 0
| Management cost Finishing, Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoarding, transport & similar. | 1 | item |  |  | 0 | 0 | 0
| Insurance, bonds, guarantees and warranties (Insurance as stated in the general conditions. | 1 | item |  |  | 0 | 0 | 0
02 | FOUNDATION |  |  |  |  | 0 | 0 | 0
c | Concrete works |  |  |  |  | 0 | 0 | 0
c1 | F1 | 30 | no |  |  | 0 | 0 | 0
| Concrete | 17.64 | m3 |  |  |  | 0 | 0
| Excavation | 121.38 | m3 |  |  |  | 0 | 0
| Lean concrete (1:3:6) | 3.38 | m3 |  |  |  | 0 | 0
| Cement | 176 | bags |  |  | 0 |  | 0
| Coarse Sand | 370 | bags |  |  | 0 |  | 0
| Aggregate | 582 | bags |  |  | 0 |  | 0
| Steel deformed bars,10mm dia. | 152 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 18 | no |  |  | 0 |  | 0
| Timber, 50x50 | 1.1 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 2.59 | kgs |  |  | 0 |  | 0
| Binding wire, 16 gauge | 3.04 | kgs |  |  | 0 |  | 0
| Mould oil | 3 | l |  |  | 0 |  | 0
| Water proofing compound | 1 | item |  |  | 0 |  | 0
c2 | F2 | 20 | no |  |  | 0 | 0 | 0
| Concrete | 2.94 | m3 |  |  |  | 0 | 0
| Excavation | 18 | m3 |  |  |  | 0 | 0
| Lean concrete (1:3:6) | 0.64 | m3 |  |  |  | 0 | 0
| Cement | 31 | bags |  |  | 0 |  | 0
| Coarse Sand | 66 | bags |  |  | 0 |  | 0
| Aggregate | 105 | bags |  |  | 0 |  | 0
| Steel deformed bars,10mm dia. | 32 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 6 | no |  |  | 0 |  | 0
| Timber, 50x50 | 0.4 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 0.86 | kgs |  |  | 0 |  | 0
| Binding wire, 16 gauge | 0.64 | kgs |  |  | 0 |  | 0
| Mould oil | 1 | l |  |  | 0 |  | 0
| Water proofing compound | 1 | item |  |  | 0 |  | 0
c3 | Foundation Beam FB1, 350 X 200 | 1 | no |  |  | 0 | 0 | 0
| Concrete | 10.63 | m3 |  |  |  | 0 | 0
| Excavation | 47.88 | m3 |  |  |  | 0 | 0
| Lean concrete (1:3:6) | 2.28 | m3 |  |  |  | 0 | 0
| Cement | 107 | bags |  |  | 0 |  | 0
| River sand | 226 | bags |  |  | 0 |  | 0
| Aggregate | 357 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 110.47 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia Ring | 303.8 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 37 | no |  |  | 0 |  | 0
| Timber, 50x50 | 2.3 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 5.33 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 8.29 | kgs |  |  | 0 |  | 0
| Mould oil | 6 | l |  |  | 0 |  | 0
| Water proofing compound | 1 | item |  |  | 0 |  | 0
c4 | Foundation Beam WB, 350 X 200 | 1 | no |  |  | 0 | 0 | 0
| Concrete | 7 | m3 |  |  |  | 0 | 0
| Excavation | 31.53 | m3 |  |  |  | 0 | 0
| Lean concrete (1:3:6) | 1.5 | m3 |  |  |  | 0 | 0
| Cement | 71 | bags |  |  | 0 |  | 0
| River sand | 150 | bags |  |  | 0 |  | 0
| Aggregate | 237 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 72.73 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia Ring | 200 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 25 | no |  |  | 0 |  | 0
| Timber, 50x50 | 1.5 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 3.6 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 5.45 | kgs |  |  | 0 |  | 0
| Mould oil | 4 | l |  |  | 0 |  | 0
| Water proofing compound | 1 | item |  |  | 0 |  | 0
c5 | Concrete columns C1, 350 X 350 (below ground level) | 30 | no |  |  | 0 | 0 | 0
| Concrete | 3.86 | m3 |  |  |  | 0 | 0
| Cement | 35 | bags |  |  | 0 |  | 0
| Coarse Sand | 70 | bags |  |  | 0 |  | 0
| Aggregate | 105 | bags |  |  | 0 |  | 0
| Steel deformed bars, 16mm dia. | 3.64 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 4.24 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 11 | no |  |  | 0 |  | 0
| Timber, 50x50 | 0.7 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 1.58 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 0.16 | kgs |  |  | 0 |  | 0
| Mould oil | 2 | l |  |  | 0 |  | 0
| Water proofing compound below ground lvl | 1 | item |  |  | 0 |  | 0
| Bolt, 400x10mm dia | 81 | no |  |  | 0 |  | 0
c6 | Concrete columns C2, 200 X 200 (below ground level) | 21 | no |  |  | 0 | 0 | 0
| Concrete | 0.71 | m3 |  |  |  | 0 | 0
| Cement | 7 | bags |  |  | 0 |  | 0
| Coarse Sand | 14 | bags |  |  | 0 |  | 0
| Aggregate | 21 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 2 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 44 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 4 | no |  |  | 0 |  | 0
| Timber, 50x50 | 0.3 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 0.58 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 0.92 | kgs |  |  | 0 |  | 0
| Mould oil | 1 | l |  |  | 0 |  | 0
| Water proofing compound below ground lvl | 1 | item |  |  | 0 |  | 0
| Bolt, 400x10mm dia | 53.9 | no |  |  | 0 |  | 0
c7 | Ground Slab 80mm | 1 | no |  |  | 0 | 0 | 0
| Concrete | 128 | m3 |  |  |  | 0 | 0
| Cement | 1209 | bags |  |  | 0 |  | 0
| Coarse Sand | 2418 | bags |  |  | 0 |  | 0
| Aggregate | 3627 | bags |  |  | 0 |  | 0
| Steel deformed bars, 06mm dia. | 2906.04 | bars |  |  | 0 |  | 0
| Binding wire, 16 gauge | 58.12 | kgs |  |  | 0 |  | 0
03 | GROUND FLOOR |  |  |  |  | 0 | 0 | 0
c | Concrete works |  |  |  |  | 0 | 0 | 0
c1 | Concrete columns C1, 350 X 350 (below ground level) | 30 | no |  |  | 0 | 0 | 0
| Concrete | 29.58 | m3 |  |  |  | 0 | 0
| Cement | 265 | bags |  |  | 0 |  | 0
| Coarse Sand | 530 | bags |  |  | 0 |  | 0
| Aggregate | 795 | bags |  |  | 0 |  | 0
| Steel deformed bars, 16mm dia. | 12.36 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 14.42 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 62 | no |  |  | 0 |  | 0
| Timber, 50x50 | 3.8 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 8.93 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 0.54 | kgs |  |  | 0 |  | 0
| Mould oil | 9 | l |  |  | 0 |  | 0
| Water proofing compound below ground lvl | 1 | item |  |  | 0 |  | 0
| Bolt, 400x10mm dia | 221 | no |  |  | 0 |  | 0
c2 | Concrete columns C2, 200 X 200 (below ground level) | 21 | no |  |  | 0 | 0 | 0
| Concrete | 2.35 | m3 |  |  |  | 0 | 0
| Cement | 21 | bags |  |  | 0 |  | 0
| Coarse Sand | 42 | bags |  |  | 0 |  | 0
| Aggregate | 63 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 2.18 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 3.49 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 9 | no |  |  | 0 |  | 0
| Timber, 50x50 | 0.6 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 1.3 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 0.11 | kgs |  |  | 0 |  | 0
| Mould oil | 2 | l |  |  | 0 |  | 0
| Water proofing compound below ground lvl | 1 | item |  |  | 0 |  | 0
| Bolt, 400x10mm dia | 81.2 | no |  |  | 0 |  | 0
c3 | Attached beam, B1 250 X 400 | 1 | no |  |  | 0 | 0 | 0
| Concrete | 9.3 | m3 |  |  |  | 0 | 0
| Cement | 84 | bags |  |  | 0 |  | 0
| Coarse Sand | 168 | bags |  |  | 0 |  | 0
| Aggregate | 252 | bags |  |  | 0 |  | 0
| Steel deformed bars, 16mm dia. | 67.64 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 146.55 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 34 | no |  |  | 0 |  | 0
| Timber, 50x50 | 2.1 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 4.9 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 4.28 | kgs |  |  | 0 |  | 0
| Mould oil | 5 | l |  |  | 0 |  | 0
| Bolt, 300x10mm dia | 187 | no |  |  | 0 |  | 0
c4 | Attached beam, B2 200 x 350 | 1 | no |  |  | 0 | 0 | 0
| Concrete | 4.06 | m3 |  |  |  | 0 | 0
| Cement | 37 | bags |  |  | 0 |  | 0
| Coarse Sand | 74 | bags |  |  | 0 |  | 0
| Aggregate | 111 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 42.18 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 77.33 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 19 | no |  |  | 0 |  | 0
| Timber, 50x50 | 1.2 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 2.74 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 2.39 | kgs |  |  | 0 |  | 0
| Mould oil | 3 | l |  |  | 0 |  | 0
| Bolt, 300x10mm dia | 117 | no |  |  | 0 |  | 0
c5 | Attached beam, B3 150 x 350 | 1 | no |  |  | 0 | 0 | 0
| Concrete | 7.97 | m3 |  |  |  | 0 | 0
| Cement | 72 | bags |  |  | 0 |  | 0
| Coarse Sand | 144 | bags |  |  | 0 |  | 0
| Aggregate | 216 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 110.47 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 184.12 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 45 | no |  |  | 0 |  | 0
| Timber, 50x50 | 2.7 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 6.48 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 5.89 | kgs |  |  | 0 |  | 0
| Mould oil | 7 | l |  |  | 0 |  | 0
| Bolt, 300x10mm dia | 304.8 | no |  |  | 0 |  | 0
c6 | Attached beam, B4 200 x 200 | 1 | no |  |  | 0 | 0 | 0
| Concrete | 4 | m3 |  |  |  | 0 | 0
| Cement | 36 | bags |  |  | 0 |  | 0
| Coarse Sand | 72 | bags |  |  | 0 |  | 0
| Aggregate | 108 | bags |  |  | 0 |  | 0
| Steel deformed bars, 12mm dia. | 72.73 | bars |  |  | 0 |  | 0
| Steel deformed bars, 6mm dia. | 96.97 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 21 | no |  |  | 0 |  | 0
| Timber, 50x50 | 1.3 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 3.02 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 3.39 | kgs |  |  | 0 |  | 0
| Mould oil | 4 | l |  |  | 0 |  | 0
| Bolt, 300x10mm dia | 201 | no |  |  | 0 |  | 0
c7 | Attached RC Gutter | 1 | no |  |  | 0 | 0 | 0
| Concrete | 13.16 | m3 |  |  |  | 0 | 0
| Cement | 118 | bags |  |  | 0 |  | 0
| Coarse Sand | 236 | bags |  |  | 0 |  | 0
| Aggregate | 354 | bags |  |  | 0 |  | 0
| Steel deformed bars, 10mm dia. | 188 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 5 | no |  |  | 0 |  | 0
| Timber, 50x50 | 0.3 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 0.72 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 3.76 | kgs |  |  | 0 |  | 0
| Mould oil | 1 | l |  |  | 0 |  | 0
| Bolt, 300x10mm dia | 1.28 | no |  |  | 0 |  | 0
c8 | Attached top beam side | 1 | no |  |  | 0 | 0 | 0
| Concrete | 0.38 | m3 |  |  |  | 0 | 0
| Cement | 4 | bags |  |  | 0 |  | 0
| Coarse Sand | 8 | bags |  |  | 0 |  | 0
| Aggregate | 12 | bags |  |  | 0 |  | 0
| Steel deformed bars, 10mm dia. | 106.18 | bars |  |  | 0 |  | 0
| Plywood, 12mm thick | 2 | no |  |  | 0 |  | 0
| Timber, 50x50 | 0.2 | m3 |  |  | 0 |  | 0
| Nails, 35mm | 0.29 | kgs |  |  | 0 |  | 0
| Binding wire, 18 gauge | 2.12 | kgs |  |  | 0 |  | 0
| Mould oil | 1 | l |  |  | 0 |  | 0
| Bolt, 300x10mm dia | 1.13 | no |  |  | 0 |  | 0
mpa | Office MASONRY WORKS including Plastering and Screeding |  |  |  |  | 0 | 0 | 0
mp1 | 100mm thick Solid block for exterior walls and Hollow Blocks for interior walls | 123.56 | m2 |  |  |  | 0 | 0
| Cement Solid/Hollow Blocks | 2745.78 | no |  |  | 0 |  | 0
| Cement | 46 | bags |  |  | 0 |  | 0
| Coarse Sand | 230 | bags |  |  | 0 |  | 0
mp2 | Plastering of walls , 15mm thick | 247.12 | m2 |  |  |  | 0 | 0
| Cement | 65 | bags |  |  | 0 |  | 0
| Coarse Sand | 325 | bags |  |  | 0 |  | 0
mp3 | 50mm thick floor screed | 200 | m2 |  |  |  | 0 | 0
| Cement | 90 | bags |  |  | 0 |  | 0
| Coarse Sand | 450 | bags |  |  | 0 |  | 0
mpa | Main MASONRY WORKS including Plastering and Screeding |  |  |  |  | 0 | 0 | 0
mp1 | 100mm thick Solid block for exterior walls and Hollow Blocks for interior walls | 1511.79 | m2 |  |  |  | 0 | 0
| Cement Solid/Hollow Blocks | 33595.33 | no |  |  | 0 |  | 0
| Cement | 556 | bags |  |  | 0 |  | 0
| Coarse Sand | 2780 | bags |  |  | 0 |  | 0
mp2 | Plastering of walls , 15mm thick | 3023.58 | m2 |  |  |  | 0 | 0
| Cement | 794 | bags |  |  | 0 |  | 0
| Coarse Sand | 3970 | bags |  |  | 0 |  | 0
mp3 | 50mm thick floor screed | 1366 | m2 |  |  |  | 0 | 0
| Cement | 615 | bags |  |  | 0 |  | 0
| Coarse Sand | 3075 | bags |  |  | 0 |  | 0
mpb | MASONRY WORKS 2M WALL including Plastering and Screeding |  |  |  |  | 0 | 0 | 0
mp1 | 100mm thick Solid block for exterior walls and Hollow Blocks for interior walls | 56 | m2 |  |  |  | 0 | 0
| Cement Solid/Hollow Blocks | 1244.44 | no |  |  | 0 |  | 0
| Cement | 21 | bags |  |  | 0 |  | 0
| Coarse Sand | 105 | bags |  |  | 0 |  | 0
mp2 | Plastering of walls , 15mm thick | 112 | m2 |  |  |  | 0 | 0
| Cement | 30 | bags |  |  | 0 |  | 0
| Coarse Sand | 150 | bags |  |  | 0 |  | 0
dw | DOORS & WINDOWS |  | item |  |  | 0 | 0 | 0
All doors and windows to be as specified in the drawing
All external doors and windows are anodized aluminium with clear glass
Rate shall include for fixings and painting
dw1 | External doors /windows |  |  |  |  | 0 | 0 | 0
| D1 | 1 | no |  |  | 0 | 0 | 0
| D2 | 8 | no |  |  | 0 | 0 | 0
| D3 | 4 | no |  |  | 0 | 0 | 0
| W1 | 24 | no |  |  | 0 | 0 | 0
| W2 | 2 | no |  |  | 0 | 0 | 0
| V1 | 6 | no |  |  | 0 | 0 | 0
| TOILET PARTITION WITH DOORS | 1 | no |  |  | 0 | 0 | 0
ew | ELECTRICAL WORKS |  | item |  |  | 0 | 0 | 0
All wiring shall be concealed in conduit. Decorative lights of medium range Subject to change with cost variation). Light switches and sockets to be Clipsa l,ABB, LE Brand or equivalent.
| Distribution Board, (ELCB,MCB,Circuit Brakers) | 1 | no |  |  | 0 |  | 0
| Ceiling Mount light small | 32 | no |  |  | 0 |  | 0
| Ceiling Mount light small water proofing | 5 | no |  |  | 0 |  | 0
| Ceiling Mount light mid | 4 | no |  |  | 0 |  | 0
| Ceiling Mount light mid water proofing | 5 | no |  |  | 0 |  | 0
| Ceiling Mount light Big | 54 | no |  |  | 0 |  | 0
| 150MM recessed ceiling down light | 55 | no |  |  | 0 |  | 0
| Toilet mirror F-Tube light | 6 | no |  |  | 0 |  | 0
| One gang switch | 33 | no |  |  | 0 |  | 0
| Three gang switch | 8 | no |  |  | 0 |  | 0
| Four gang switch | 6 | no |  |  | 0 |  | 0
| Four gang switch | 6 | no |  |  | 0 |  | 0
| Water Heater | 6 | no |  |  | 0 |  | 0
| Air conditioning split type 9000BTU | 4 | no |  |  | 0 |  | 0
| Air conditioning split type 12000BTU | 2 | no |  |  | 0 |  | 0
| 13AMP single gng socket | 8 | no |  |  | 0 |  | 0
| Shaver socket @1300 MM | 2 | no |  |  | 0 |  | 0
| 13AMP for hood | 1 | no |  |  | 0 |  | 0
| Cable TV socket outlet | 1 | no |  |  | 0 |  | 0
| Phone socket outlet | 1 | no |  |  | 0 |  | 0
| Network socket outlet | 1 | no |  |  | 0 |  | 0
| 600 no natural ventilation hood roof ventilation turbine exhaust fan roof fan | 7 | no |  |  | 0 | 0 | 0
| Emergency Light | 8 | no |  |  | 0 |  | 0
| Number of fan, lights and switch points | 220 | no |  |  | 0 | 0 | 0
| Number of points power socket points | 35 | no |  |  | 0 | 0 | 0
pw | PLUMBING WORKS |  | item |  |  | 0 | 0 | 0
| Ground water pipe 25mm dia UPVC | 12.5 | no |  |  | 0 |  | 0
| Ground water pipe 12.5mm dia UPVC | 12.5 | no |  |  | 0 |  | 0
| Waste disposal pipe 50mm dia UPVC | 12.5 | no |  |  | 0 |  | 0
| Vent pipe 75mm dia PVC | 12.5 | no |  |  | 0 |  | 0
| Sewage disposal pipe 100mm dia UPVC | 12.5 | no |  |  | 0 |  | 0
| Valve | 13 | no |  |  | 0 |  | 0
| Inspection chamber | 1 | no |  |  | 0 | 0 | 0
| Allow for pipe fittings and accessories (Material) | 3 | no |  |  | 0 |  | 0
| Allow for pipe fittings and accessories (labour) | 3 | no |  |  |  | 0 | 0
sf | SANITARY FIXTURES including toilet fitting and fixtures |  | item |  |  | 0 | 0 | 0
Toilet fittings to be water Tec pvc and fixtures to be cotto or equivalent
| No. of toilets | 3 | no |  |  |  | 0 | 0
| No. of kitchen | 1 | no |  |  |  | 0 | 0
| WC | 3 | no |  |  | 0 |  | 0
| Wash basin | 3 | no |  |  | 0 |  | 0
| Wash basin tap | 8 | no |  |  | 0 |  | 0
| Head shower with hand shower | 6 | no |  |  | 0 |  | 0
| Shower single lever mixer | 6 | no |  |  | 0 |  | 0
| Toilet paper holder | 6 | no |  |  | 0 |  | 0
| Sink | 1 | no |  |  | 0 |  | 0
| Sink Tap | 1 | no |  |  | 0 |  | 0
| Washing machine tap | 1 | no |  |  | 0 |  | 0
| Mirror set | 3 | no |  |  | 0 |  | 0
| Muslim shower | 3 | no |  |  | 0 |  | 0
| Floor trap | 4 | no |  |  | 0 |  | 0
fw | FINISHING WORKS including tiling general areas, staircases, toilet floor and walls and all decorative works |  | item |  |  | 0 | 0 | 0
f1 | Office Painting exterior surfaces of walls | 117 | m2 |  |  |  | 0 | 0
| Waller sealer | 18 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 21 | l |  |  | 0 |  | 0
f2 | Main Painting exterior surfaces of walls | 1575 | m2 |  |  |  | 0 | 0
| Waller sealer | 237 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 276 | l |  |  | 0 |  | 0
f3 | Office Painting interior surfaces of walls | 418.6 | m2 |  |  |  | 0 | 0
| Waller sealer | 63 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 74 | l |  |  | 0 |  | 0
f4 | Main Painting interior surfaces of walls | 455 | m2 |  |  |  | 0 | 0
| Waller sealer | 69 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 80 | l |  |  | 0 |  | 0
f5 | Painting exterior surfaces of 2M walls | 35.2 | m2 |  |  |  | 0 | 0
| Waller sealer | 6 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 7 | l |  |  | 0 |  | 0
f6 | Office Painting interior surfaces of ceiling and concrete surfaces | 200 | m2 |  |  |  | 0 | 0
| Waller sealer | 30 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 35 | l |  |  | 0 |  | 0
f7 | Main Painting interior surfaces of ceiling and concrete surfaces | 1443 | m2 |  |  |  | 0 | 0
| Waller sealer | 217 | l |  |  | 0 |  | 0
| Deluxe sigma or equivalent | 253 | l |  |  | 0 |  | 0
f8 | Office Tiling floor ( general area) | 116.5 | m2 |  |  |  | 0 | 0
| Tiling adhesive (Master Tile 40) | 39 | bags |  |  | 0 |  | 0
| Homogeneous tiles, 600 x 600 | 323.61 | no |  |  | 0 |  | 0
f9 | Tiling floor ( toilet ) | 11.77 | m2 |  |  |  | 0 | 0
| Tiling adhesive (Master Tile 40) | 4 | bags |  |  | 0 |  | 0
| Homogeneous tiles, 300 x 300 | 130.78 | no |  |  | 0 |  | 0
f10 | Tiling wall ( toilet ) 2.6m high | 24.34 | m2 |  |  |  | 0 | 0
| Tiling adhesive (Master Tile 40) | 9 | bags |  |  | 0 |  | 0
| Homogeneous tiles, 450 x 300 | 180.3 | no |  |  | 0 |  | 0
ASPHALT WORK (WATER PROOFING) SEE DETAIL E
as1 | Floor, Walls in ground floor toilet | 143 | m2 |  |  | 0 | 0 | 0
Thermal bonding with a torch on overlapped sheets 10cm wide Attraction interrupting uniform thermal bonding with torch, resulting in frequent waterproofing defects on sheet joints due to deficient water tightness at portion with excessive melted asphalt compound Thermal bonding with a torch on overlapped sheets 10 cm wide Preventing waterproofing defects on sheet joints by enhancing water-tightness of sheet joints by coating asphalt mastic membrane waterproofing material in 2 to 3mm thickness on area of 5 cm width from the end of overlapped portion of the sheet for the purpose of increasing adhesiveness of sheets and preventing sheet separation (Coating asphalt mastic on the ends of sheet waterproofing layer for enhancing water-tightness)
as2 | 1000 Gauge polythene under ground floor slab | 1366 | m2 |  |  | 0 | 0 | 0
as3 | Damp proof membrane (Consultant approved) | 68 | m2 |  |  | 0 | 0 | 0
cl | Office CEILING |  |  |  |  | 0 | 0 | 0
cl1 | Office CEILING |  |  |  |  | 0 | 0 | 0
| Cement fiber board 4mm thk | 72.92 | no |  |  | 0 | 0 | 0
| Timber battens, 50 x 50 | 4.4 | m3 |  |  | 0 |  | 0
| Allow for screw and accessories | 1 | item |  |  | 0 |  | 0
c2 | Main CEILING |  |  |  |  | 0 | 0 | 0
cl1 | Main CEILING | 1443 |  |  |  | 0 | 0 | 0
| Cement fiber board 4mm thk | 501.04 | no |  |  | 0 | 0 | 0
| Timber battens, 50 x 50 | 30.1 | m3 |  |  | 0 |  | 0
| Allow for screw and accessories | 1 | item |  |  | 0 |  | 0
r1 | Office ROOFING |  |  |  |  | 0 | 0 | 0
| MSP colour bond profile sheets or equivalent type | 210 | m2 |  |  | 0 | 0 | 0
| Roofing Rock wool | 210 | m2 |  |  | 0 | 0 | 0
| Timber rafters, 50 x 150 | 1.42 | m3 |  |  | 0 |  | 0
| Timber battens, 50 x 50 | 0.71 | m3 |  |  | 0 |  | 0
| Timber fascia, 250 x 50 | 0.35 | m3 |  |  | 0 |  | 0
| gutter | 10.2 | m |  |  | 0 |  | 0
| Allow for screw and accessories | 1 | item |  |  | 0 |  | 0
r2 | The Roof Canopy |  |  |  |  | 0 | 0 | 0
| MSP colour bond profile sheets or equivalent type | 210 | m2 |  |  | 0 | 0 | 0
| Roofing Rock wool | 210 | m2 |  |  | 0 | 0 | 0
| Timber rafters, 50 x 150 | 0.27 | m3 |  |  | 0 |  | 0
| Timber battens, 50 x 50 | 0.14 | m3 |  |  | 0 |  | 0
| Timber fascia, 250 x 50 | 0.24 | m3 |  |  | 0 |  | 0
| gutter | 10.2 | m |  |  | 0 |  | 0
| Allow for screw and accessories | 1 | item |  |  | 0 |  | 0
r3 | Main ROOFING |  |  |  |  | 0 | 0 | 0
| MSP colour bond profile sheets or equivalent type | 1442.9 | m2 |  |  | 0 | 0 | 0
| Roofing Rock wool | 1442.9 | m2 |  |  | 0 | 0 | 0
t1 | TRUSS (TR1) | 1 | no
| CHS 60.3X2.4MM (2") | 120 | nos |  |  | 0 | 0 | 0
| CHS 48.3X2.4MM (1.5") | 80 |  |  |  | 0 | 0 | 0
t2 | TRUSS (TR2) | 1 | no
| CHS 60.3X2.4MM (2") | 20 | nos |  |  | 0 | 0 | 0
| CHS 48.3X2.4MM (1.5") | 14 |  |  |  | 0 | 0 | 0
t3 | TRUSS (TR3) | 1 | no
| CHS 60.3X2.4MM (2") | 48 | nos |  |  | 0 | 0 | 0
| CHS 48.3X2.4MM (1.5") | 32 |  |  |  | 0 | 0 | 0
c1 | C Purling, 50 x 150 | 260 | no |  |  | 0 | 0 | 0
| Allow for screw and accessories | 1 | item |  |  | 0 |  | 0
04 | COMMON WORKS |  |  |  |  | 0 | 0 | 0
cw1 | Main Connection (Allow for three phase main connection from STELCO board to Panel board from STELCO Transformer / Road DB) | 1 | no |  |  | 0 | 0 | 0
cw2 | Main Panel Board (Complete installation incl. for all connection earthing, painting, testing) | 1 | no |  |  | 0 | 0 | 0
cw3 | Connecting to MWSC sewer mains with all provisions to connect pipelines as per drawing. | 1 | no |  |  | 0 | 0 | 0
cw4 | MWSC Inspection chamber | 1 | no |  |  | 0 | 0 | 0
1) | CCTV camera (Refer to attached Specs Detail PDF) | 8 | no |  |  | 0 | 0 | 0
2) | CCTV camera outdoor (Refer to attached Specs Detail PDF) | 8 | no |  |  | 0 | 0 | 0
3) | CCTV control, storage and cables (Refer to attached Specs Detail PDF) | 1 | item |  |  | 0 | 0 | 0
cw5 | Big bench see drawing BIG BENCH AND SMALL BENCH DETAIL (Refer to attached Drawing Detail PDF) | 1 | no |  |  | 0 | 0 | 0
cw6 | Small bench see drawing BIG BENCH AND SMALL BENCH DETAIL (Refer to attached Drawing Detail PDF) | 6 | no |  |  | 0 | 0 | 0
cw7 | Basket ball hoops (Refer to attached Specs Detail PDF) | 2 | no |  |  | 0 | 0 | 0
cw8 | Netball hoops (Refer to attached Specs Detail PDF) | 2 | no |  |  | 0 | 0 | 0
cw9 | Handball Goal Posts (Refer to attached Specs Detail PDF) | 2 | no |  |  | 0 | 0 | 0
cw10 | Volleyball Net (Refer to attached Specs Detail PDF) | 1 | no |  |  | 0 | 0 | 0
cw11 | Locker 1 drawer (Refer to attached Specs Detail PDF) | 12 | no |  |  | 0 | 0 | 0
cw12 | Locker 12 drawer (Refer to attached Specs Detail PDF) | 14 | no |  |  | 0 | 0 | 0
cw13 | Office chair (Refer to attached Specs Detail PDF) | 14 | no |  |  | 0 | 0 | 0
cw14 | Office meeting Table (Refer to attached Specs Detail PDF) | 1 | no |  |  | 0 | 0 | 0
cw15 | OfficeTable (Refer to attached Specs Detail PDF) | 4 | no |  |  | 0 | 0 | 0
cw16 | bench chair (Refer to attached Specs Detail PDF) | 26 | no |  |  | 0 | 0 | 0
05 | ADDITIONS
01 | Preliminaries & Ground Works
02 | Foundation
03 | Ground floor
04 | Common Works
06 | OMISSIONS
01 | Preliminaries & Ground Works
02 | Foundation
03 | Ground floor
04 | Common Works
Total Material Cost With GST | [5 empty] | 0
Total Labour Cost With GST | [6 empty] | 0
TOTAL WITH GST | [7 empty] | 0